# Submission ID #: 60696

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18512328

Title: Analysis of Non-Human Primate Pancreatic Islet Oxygen Consumption

Authors and Affiliations: Joseph M. Elsakr1, Charles Deeter2, Valerie Ricciardi3, and Maureen Gannon1,4,5,6

1Department of Molecular Physiology and Biophysics, Vanderbilt University

2Agilent Technologies

3Department of Biological Sciences, Vanderbilt University

4Department of Veterans Affairs Tennessee Valley

5Department of Medicine, Vanderbilt University Medical Center

6Department of Cell and Developmental Biology, Vanderbilt University

# Corresponding Author:

# Maureen Gannon

# maureen.gannon@vumc.org

Email addresses for Co-authors:

joseph.elsakr@vanderbilt.edu

charles.deeter@agilent.com

valerie.f.ricciardi@vanderbilt.edu

Author Questionnaire:

- Microscopy: Does your protocol require JoVE to film through your microscope? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most important for viewers to see?

2.1., 5.1.-5.3., 5.5., 6.1.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

5.3 (loading the islets into the microplate). To ensure islets are properly loaded, we wait for islets to settle to the bottom of the pipet tip and only pipet a small volume of media (containing all the islets) right above the center of the bottom of the well. We ensure that all islets have left the pipet tip after loading and confirm presence in the center of the well under the microscope.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Maureen Gannon: This method enables the quantification of oxygen consumption from small numbers of primary islets from relevant species, such as non-human primates and humans, allowing the assessment of mitochondrial function [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Joseph Elsakr: This technique can be performed with small numbers of primary islets, increasing the technical replicates, allowing the testing of multiple conditions, and improving the rigor and reproducibility of the assay [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Charles Deeter: This technique assesses mitochondrial health, a major determinant of islet function and insulin secretion that is often impaired in diabetes and is a significant predictor of successful islet transplantation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Joseph Elsakr: It is essential to make sure that the islets are localized to the center of the wells following transfer. Failure to do so results in inconsistent oxygen consumption measurements [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Maureen Gannon: Demonstrating the procedure will be Valerie Ricciardi, an undergraduate student from my laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at Oregon Health and Science University.

# Section - Protocol

- Spheroid Microplate Preparation

  - The day before the assay, add 200 microliters of cell and tissue adhesive to 2.8 milliliters of 0.1-molar sodium bicarbonate solution [1-TXT] and add 20 microliters of the resulting solution to the bottom of each well of a 96-well spheroid microplate [2].

    - WIDE: Talent adding cell and tissue adhesive to solution, with cell and tissue adhesive and sodium bicarbonate containers visible in frame TEXT: See text for all solution and medium preparation details

    - Talent adding solution to well(s) Videographer: Important step

  - Ensure that any air bubbles are removed from the pipet tip [1] and that only the bottom of the plate is covered [2].

    - Air bubble being removed from the pipet tip

    - Shot of solution at bottom of well

  - When all of the wells have been loaded, place the plate in a 37-degree Celsius, non-carbon dioxide incubator [1].

    - Talent placing plate into incubator

  - After one hour, aspirate cell adhesive solution from the plate within a sterile environment [1] and wash each well two times with 400 microliters of 37-degree Celsius sterile water [2].

    - Solution being aspirated

    - Well(s) being washed

  - Then allow the wells to air dry for 30-40 minutes [1] before covering the plate for overnight storage at 4 degrees Celsius [2].

    - Talent setting timer, with plate visible in frame

    - Talent placing plate into refrigerator

- Sensor Cartridge Hydration

  - To hydrate the sensor cartridge, in a sterile environment, open the sensor cartridge package [1] and remove the contents [2].

    - WIDE: Talent opening package

    - Talent removing contents

  - Place the sensor cartridge upside down next to the utility plate [1] and fill each well of the utility plate with 200 microliters of sterile water [2].

    - Talent placing cartridge next to utility plate

    - Talent filling well(s) with water

  - When all of the wells have been loaded, lower the sensor cartridge into the utility plate [1] and place the assembled sensor cartridge and utility plate into the 37-degree Celsius, non-carbon dioxide incubator overnight [2].

    - Cartridge being placed into plate

    - Cartridge being placed into incubator

- Sensor Cartridge Preparation

  - On the day of the assay, remove the sensor cartridge lid [1] and decant the water from the wells of the utility plate [2].

    - WIDE: Talent removing cartridge

    - Talent dumping water

  - Add 200 milliliters of pre-warmed calibrant to each well [1] and replace the sensor cartridge lid [2].

    - Talent adding calibrant to well(s)

    - Lid being replaced

  - Then place the sensor cartridge back into the incubator for about 1 hour [1].

    - Talent placing cartridge into incubator

- Pancreatic Islet Transfer

  - To prepare the islets for transfer, hand-pick the islets into a 60- x 15-millimeter cell culture dish containing assembled medium to a near 100% purity [1-TXT].

    - WIDE: Talent at microscope picking islets Videographer: Important step TEXT: Harvest rounded, clearly-defined, dense islets

  - When all of the islets have been collected, load each well of the prepared spheroid microplate with 175 microliters of assembled medium [1] and use a P20 (P-twenty) pipette set to 15 microliters to aspirate 15 islets in 15 microliters of medium from the cell culture dish [2].

    - Talent loading well(s), with medium container visible in frame Videographer: Important step

    - LAB MEDIA: Islets being aspirated

  - To seed the islets onto the spheroid microplate, lower the pipette tip to the bottom of the well [1], barely lift the tip [2], and slowly dispense about 5 microliters of medium [3].

    - Tip being lowered Videographer: Important step

    - Tip being lifted Videographer: Important step

    - Medium being dispensed Videographer: Important step

  - Joseph Elsakr: To load the islets into the wells, allow the islets to settle in the pipette tip before gently releasing them directly above the bottom of the well center in a small volume of medium [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Confirm that all of the islets have left the pipette tip [1], occasionally checking the spheroid microplate under the microscope to verify that the islets [2] are seeded at the bottom of the plate and not stuck to the sides of the wells [3-TXT].

    - Talent holding tip up to eye/checking tip Videographer: Important step

    - LAB MEDIA: Islets on bottom of well

    - LAB MEDIA: Islets on side of well TEXT: Avoid loading corner wells

  - When all of the islets have been transferred, place the microplate in the 37-degree Celsius, non-carbon dioxide incubator [1].

    - Talent placing plate into incubator

- Oxygen Consumption Assay

  - Before initiating the assay procedure, load port A of the sensor cartridge with 20 microliters of freshly prepared, 25-micromolar oligomycin [1], port B with 22 microliters of freshly prepared, 10-micromolar FCCP (F-C-C-P) [2-TXT] and port C with 25 microliters of freshly prepared 25-micromolar rotenone-AA (A-A) [3].

    - WIDE: Talent loading port with oligomycin, with oligomycin container visible in frame Videographer: Important step

    - Talent loading port with FCCP, with FCCP container visible in frame Videographer: Important step TEXT: FCCP: carbonyl cyanide-4-(trifluoromethoxy)phenylhydrazone

    - Talent loading port with rotenone-AA, with rotenone-AA container visible in frame Videographer: Important step

  - Next, program an extracellular flux analyzer assay for a 30-minute baseline respiration period [1], 42-minute oligomycin measurement period, 30-minute FCCP period, and 30-minute rotenone/AA period [2].

    - Talent at analyzer, setting respiration period, with monitor visible in frame

    - SCREEN: Assay setup: 00:55-00:58 Video Editor: please emphasize Duration 00:42:00, Duration 00:30:00, and Duration 00:30:00 texts in frame if appropriate

  - Then run the assay, following the instructions on the screen for calibrating the sensor and inserting the microplate [1].

    - SCREEN: Assay setup: 01:22-01:53 Video Editor: please cut “Loading Assay…” waiting period

# Section – Results

- Results: Representative Pancreatic Islet Oxygen Consumption Analyses

  - For islet delivery to the assay plate, 15 islets should be aspirated in 15 microliters of medium as illustrated [1].

    - LAB MEDIA: Figure 1A: JoVE Video Editor please emphasize islets in tip as indicated by red arrow

  - This technique will result in the consistent placement of islets at the bottom center of each microplate well, allowing for accurate oxygen consumption measurements [1].

    - LAB MEDIA: Figure 1B: JoVE Video Editor please emphasize white islets in center of image

  - In this representative experiment showing the oxygen consumption of individual wells, the wells were loaded poorly [1], resulting in a very low baseline level of oxygen consumption [2] and little to no response to FCCP [3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize bold blue data line

    - LAB MEDIA: Figure 2: JoVE Video Editor please emphasize green FCCP line and text

  - In this experiment, most of the wells demonstrated a significant baseline respiration and response to drugs [1].

    - LAB MEDIA: Figure 3

  - However, two wells exhibited no response to rotenone [1], suggesting that the drug was not properly released into the well. These wells were excluded from further analyses [2].

    - LAB MEDIA: Figure 3: JoVE Video Editor please emphasize bold blue data lines after Rotenone line

    - LAB MEDIA: Figure 3

  - Here the results from a successful assay in which the wells were properly loaded with islets and correctly injected with drugs can be observed [1].

    - LAB MEDIA: Figure 4

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Valerie Ricciardi: It is beneficial to prepare the reagents and plates the day before performing the assay to allow the islets to be used shortly after they are isolated or received [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Charles Deeter: Following the assay, the islets can be recovered for protein or DNA extraction to normalize the oxygen consumption data or to quantify the mitochondrial DNA content [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Joseph Elsakr: The ability to measure mitochondrial function in small numbers of primary primate islets allows the testing of multiple drugs and other manipulations in a single biological replicate [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Maureen Gannon: Individuals working with primary primate islets should be properly trained in the safe handling of these tissues, including the use of the appropriate personal protective equipment and proper sample disposal [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera