# Submission ID #: 60701

# Scriptwriter Name: Qingyun Ping

# Project Page Link: https://www.jove.com/account/file-uploader?src=18513853

# Title: Combining Fluidic Devices with Microscopy and Flow Cytometry to Study Microbial Transport in Porous Media Across Spatial Scales

# Authors and Affiliations:  David Scheidweiler1, 2, Pietro De Anna2, Tom J. Battin1, Hannes Peter1

1Stream Biofilm and Ecosystem Research Laboratory, École Polytechnique Fédérale de Lausanne, Lausanne, Switzerland

2Institute of Earth Sciences, University of Lausanne, Lausanne, Switzerland

# Corresponding Author:

Hannes Peter

# hannes.peter@epfl.ch

# Email addresses for Co-authors:

# david.scheidweiler@epfl.ch

# pietro.deanna@unil.ch

# tom.battin@epfl.ch

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? Yes

Can you record movies/images using your own microscope camera? Yes

2. Does your protocol include software usage? Yes

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Authors: Please upload all screen capture footage to your project page: https://www.jove.com/account/file-uploader?src=18513853

3. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

It is important to choose an appropriate temporal resolution and duration of sampling for the breakthrough curve.

5. Will the filming need to take place in multiple locations? No

If yes, how far apart are the locations?

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)

  - Hannes Peter: Studying the transport of microbes in porous systems is important with regards to contamination, transmission of disease, and bioremediation. This requires experiments and mathematical models operating at the single cell, population and microbial community level.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Hannes Peter: Here we present tools to study bacterial transport using microfluidic devices in combination with microscopy as well as larger devices made of plexiglass in combination with flow cytometry.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# OPTIONAL Interview Statements:

  - Hannes Peter: The combination of fluidic devices with microscopy and flow cytometry offers a range of possibilities to study bacterial transport phenomena at different spatial scales.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Videographer: This statement is optional. If you don’t have time, don’t film it.

  - David Scheidweiler: In order to fully exploit this protocol, it is beneficial to have previous experience in designing microfluidic devices, flow cytometry, microscopy, and basic image processing.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Section - Protocol

- Preparation of A Microfluidic Device in Polydimethylsiloxane (PDMS)

  - To begin, design a desired porous geometry that consists of a matrix of circles [1]. Based on the chosen geometry, prepare a mold using standard SU-8 (pronounce as S-U-eight)-photolithography [2].

    - SCREEN: Talent shows the geometry from the PC monitor. Videographer: Please film the screen for all SCREEN shots as a backup.  NOTE: Use LAB MEDIA: Figure_Script.pdf page 1.

    - Talent shows the prepared mold.

  - Prepare 50 grams of PDMS (pronounce as P-D-M-S) by adding 10% of curing agent to 90% of elastomer, by weight, in a clean disposable container, and mix the two reagents with a clean tool [1]. Apply a vacuum of 100 millibar for 30 minutes to remove dissolved air and bubbles [2].

    - Talent adds one agent into another, and mixes.

    - Talent places the container into a vacuum chamber and applies vacuum.

  - Place the mold into a Petri dish, and pour the PDMS onto the mold to the desired height between 2 and 5 millimeters [1]. Cover the Petri dish with a lid and keep it at 60 degrees Celsius for at least 4 hours [2].

    - Talent shows the mold into the dish, and pours agent.

    - Talent covers the dish, and places the dish into an oven.

  - After that, allow the microfluidic device to cool to room temperature [1]. Once it is cooled, carefully remove the desired portion of PDMS with a scalpel [2]. Temporarily seal the bottom of the PDMS channel with tape [3]. With a 0.5-millimeter diameter puncher, pierce channels to create an inlet and an outlet [4].

    - Talent takes out the dish, and places it on a surface.

    - CU: Talent removes the portion of PDMS.

    - Talent seals the channel with tape.

    - Talent creates an inlet and an outlet.

  - Remove the tape from the PDMS channel and place the channel with the porous side facing up [1]. Treat the glass slide and PDMS surfaces with plasma for about 45 seconds each at room temperature [2].

    - Talent removes the tape, and adjusts the channel position.

    - Talent applies oxygen plasma to the slide and PDMS surfaces.

  - Place the pretreated PDMS channel onto the pretreated glass slide and heat at 100 degrees Celsius for 30 minutes on a hot plate [1]. Then, remove the microfluidic device from the hot plate and cool it to room temperature [2]. Apply vacuum for 30 minutes to remove air from PDMS [3].

    - Talent places the PDMS channel on the slide, and places them on a hot plate.

    - Talent places the device on a surface to cool it down.

    - Talent places the channel in a vacuum chamber and applies vacuum.

- Preparation of a Fluidic Device in Poly(methyl methacrylate)(PMMA)

  - To produce the base containing the pore compartment, use high precision micromilling to remove 0.5 millimeters from the base PMMA (pronounce as P-M-M-A) layer and mill a groove at the size of 1.1 millimeters by 1.1 millimeters for a rubber O-ring [1].

    - Talent shows the prepared base compartment.

  - Drill two threaded holes for an inlet and outlet into the top part of the fluidic device and 12 holes for screws [1]. This serves as the lid of the fluidic device [2].

    - LAB MEDIA: Supplemental Figure 1B

    - Talent shows the lid.

  - After cleaning and sterilizing the fluidic device, screw the base and lid together using the 12 threaded holes [1].

    - Talent screws the base and the lid.

- Analyze Bacterial Transport using PDMS Microfluidic Devices

  - Remove the microfluidic from vacuum and place it on the microscope stage [1]. Use the syringe pump to saturate it with motility buffer [2]. Using bright field microscopy or phase contrast, adjust the magnification and focus on the center of the observation channel [3]. Videographer: This step is important!

    - Talent removes the microfluidic channel from the vacuum chamber and places the device on the microscope stage.

    - Talent saturates the microfluidic channel with motility buffer.

    - SCREEN: 4.1.3.mov. Talent adjusts magnification and focuses on the center of channel.

  - Switch the light path settings to fluorescence microscopy, adjust focus through an off-set and the camera exposure time to resolve individual bacterial cells, in this case 100 milliseconds [1]. Videographer: This step is important!

    - SCREEN: 4.2.1.mov

  - Next, insert the inlet tubing into a 2-milliliter tube containing the bacterial suspension [1]. Reverse the pump direction and start withdrawing the suspension at a flow rate of 1 microliter per minute [2]. Scan the cross section of the entire observation channel, recording a picture every 2 minutes [3]. Videographer: This step is important!

    - Talent inserts tubing into a tube with bacterial suspension.

    - Talent operates on the pump.

    - SCREEN: 4.3.3.mov

- Basic Image Processing

  - Import images to a desired software platform. Record the background as the average of the first images, when no particles have been recorded. Subtract the background from each image to remove camera noise and optical aberration [1].

    - LAB MEDIA: 60701_Jove_present.pdf, slide 1.

  - Crop the images to a region of interest [1].

    - LAB MEDIA: 60701_Jove_present.pdf, slide 2.

  - Identify a threshold value equal to the cell fluorescence pixel intensity, so that values greater than the threshold include bacterial cells. Use image processing to subtract the threshold value from each picture [1]. Binarize the resulting image, so that bacterial cells take a value of 1, whereas the background takes a value of 0 [2].

    - LAB MEDIA: 60701_Jove_present.pdf, slide 3.

  - Remove clusters of pixels with an area smaller than the smallest bacterial cell size in pixels [1].

    - LAB MEDIA: 60701_Jove_present.pdf, slide 4.

  - Sum the binarized image to obtain the total number of pixels of the remaining clusters. Divide the number of pixels by the average size of a bacterial cell in pixels to obtain an estimate of the number of cells. Transform the counts into concentration in particles per milliliter [1].

    - LAB MEDIA: 60701_Jove_present.pdf, slide 5.

  - To identify the concentration of the injected bacterial suspension, inject the bacterial suspension into the observation channel of a clean microfluidic device with a syringe [1]. Record the image and calculate the influent bacterial concentration as previously shown [2].

    - SCOPE: Talent injects bacterial suspension into a microfluidic device. NOTE: Replace this with 4.3.1 – 4.3.2

  - Visualize breakthrough curves by normalizing the effluent bacterial concentration C with the influent bacterial concentration C zero, and plotting C over C zero versus time [1].

# LAB MEDIA: 60701_Jove_present.pdf, slide 6.

- Analyze Bacterial Transport at the Pore Scale

  - In order to analyze local velocities and trajectories of bacteria transported through the porous matrix, move the microscope stage to a region of interest and adjust the focus to the center of the microfluidic device. Set the microscope to bright field or phase contrast [1].

    - SCREEN: 6.1.1.mov Talent adjusts the microscope stage, and the focus.

  - Record time-lapse images at an exposure time short enough to capture bacterial displacement, in this case 50 milliseconds. Record pictures over a sufficient amount of time, for example, 3 minutes [1].

    - SCREEN: 6.2.1.mov, take 3. Talent adjusts the exposure time, and recording time.

  - To remove noise from each image, subtract the background which is the average of the sum of all recorded images [1].

    - LAB MEDIA: 60701_Jove_present.pdf, slide 7.

  - Determine the modulus of the numerical gradient and normalize it by its maximum value [1]. Find and record bacterial coordinates and the time of image acquisition into a three-column file [2]. Perform particle tracking analysis to process the recorded data and compute the trajectories [3].

    - LAB MEDIA: 60701_Jove_present.pdf, slide 8.

    - LAB MEDIA: 60701_Jove_present.pdf, slide 9.

    - LAB MEDIA: 60701_Jove_present.pdf, slide 10.

- Study Bacterial Filtration by Means of Deposition Profiles

  - To obtain deposition profiles, record a composite image of the entire porous channel before, that is the background, and after injection of bacterial suspension through the microfluidic device [1].

    - SCREEN: Talent records two images. NOTE: Use LAB MEDIA: Figure_Script.pdf, page 2

  - Remove background from the images recorded after bacterial injection [1].

    - LAB MEDIA: 60701_Jove_present.pdf, slide 11.

  - Compute the deposition profile, D, as the sum of the bacteria fluorescence signal along transversal sections, of length x, of the porous channel [1]. Visualize the deposition profile as the local fluorescence signal versus the porous channel length [2].

    - LAB MEDIA: 60701_Jove_present.pdf, slide 12.

    - LAB MEDIA: 60701_Jove_present.pdf, slide 13.

- Analyze Bacterial Transport using PMMA Fluidic Devices

  - To setup the automated dispenser, place the robotic dispenser close to the fluidic device [1]. Connect the robotic dispenser to the computer running bCNC (pronounce ‘B-C-N-C’) and identify the correct COM (pronounce ‘com’) port [2]. In bCNC, click the home button to return the robotic dispenser to the home position [3]. Videographer: This step is important!

    - Talent places the automatic dispenser near the fluidic device.

    - Talent connects the dispenser to the computer, and points to the COM port.

    - SCREEN: Talent clicks on home button. NOTE: Didn’t find this on project page so if it’s still missing just keep playing 8.1.2.

  - Connect the peristaltic pump with the inlet using 50-centimeter long 1-millimeter inner diameter tubing and the outflow with the automated dispenser using the same tubing [1]. Pump cultivation medium through the fluidic device [2]. Note the arrival of medium at the outlet tubing fixed to the robotic dispenser and place a 96 well plate, which will collect the outflow [3]. Videographer: This step is important!

    - Talent connects the pump’s inlet and outlet with tubings.

    - Talent starts the pump.

    - Talent places a 96 well plate in the correct place.

  - At the same time, activate the robotic dispenser and inject the bacterial suspension through the PMMA fluidic device at a flow rate of 0.2 milliliters per minute [1]. Inject bacterial suspension equivalent to several pore volumes, for example, 30 times the volume of the fluidic device [2]. Videographer: This step is important!

    - Talent starts the robotic dispenser and the pump to inject the bacterial suspension.

    - Shot of the robotic dispenser, dispensing the bacterial suspension in the 96 well-plate.

  - After injection, switch to sterile cultivation medium until the end of the experiment [1]. Once a 96 well plate is completed, cover the plate and store at 4 degrees Celsius until flow cytometry analysis [2]. Videographer: This step is important!

    - Talent switches the medium.

    - Talent covers a plate, and places it into a refrigerator.

  - Analyze samples with flow-cytometry [1] and visualize breakthrough curves by normalizing the effluent bacterial concentration C with the influent bacterial concentration C zero, and plotting C over C zero versus time [2]. Videographer: This step is important!

    - Talent analyzing sample with flow cytometer.

    - LAB MEDIA: Figure 3 A.

# Section – Results

- Results: Motile and Nonmotile GFP-tagged P. putida KT2440

  - In this study, using both motile and nonmotile GFP-tagged P. putida KT2440 (pronounce ‘pseudomonas-putida-K-T-2-4-4-0’), sequential experiments were performed in PDMS microfluidic devices with a random array of pillars [1].

    - LAB MEDIA: Figure 1B

  - Breakthrough curves normalized to the concentration of injected cells [1] as well as bacterial trajectories at the pore scale are shown here [2].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2B

  - Experiments with large-scale fluidic devices milled from PMMA were also performed [1]. Motile and nonmotile P. putida KT2440 were injected into a regularly spaced porous matrix [2].

    - LAB MEDIA: Figure 1A

    - LAB MEDIA: Figure 3A

  - Strikingly, in a porous environment devoid of biofilm, motile and nonmotile P. putida KT2440 showed a markedly different transport behavior based on breakthrough curves [1].

    - LAB MEDIA: Figure 3A – Video editor: Emphasize Figure 3A, and emphasize red trace, and then blue trace.

  - In a porous matrix colonized for 48 hour with a complex stream biofilm community, these differences in breakthrough curves between motile and nonmotile P. putida KT2440 vanished [1].

    - LAB MEDIA: Figure 3B – Video editor: Emphasize Figure 3B.

# Section - Conclusion

- Conclusion Interview Statements:

  - Hannes Peter: We use this system to study bacterial transport in the hyporheic zone of streams, but the tools can be readily adapted to study bacterial transport in other natural or engineered systems.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - David Scheidweiler: Bacterial transport through hydrated porous media encapsulates processes over multiple spatial scales. The methodology presented here allows linking the local bacterial displacement to the macroscopic transport across the entire porous medium.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Videographer: This statement is optional. If you don’t have time, don’t film it.