# Submission ID #:  60702

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18514158

# Title:   Ubiquitin Chain Analysis by Parallel Reaction Monitoring

# Authors and Affiliations:

Joseph Longworth1, Marta L. Mendes1, Gunnar Dittmar1

1Quantitative Biology Unit, Luxembourg Institute of Health, Strassen, Luxembourg

# Corresponding Authors:

# Gunnar Dittmar	(gunnar.dittmar@lih.lu)

# Email Addresses for Co-authors:

# Joseph Longworth	(joseph.longworth@lih.lu)

# Marta L. Mendes	(Marta.Mendes@lih.lu)

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes, all set

3. Filming location: Will the filming need to take place in multiple locations?   No

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Joseph Longworth: As different ubiquitin chain topologies are associated with a broad range of biological effects, understanding changes in the abundance is relevant to a wide variety of biological states.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Joseph Longworth: Applying parallel reaction monitoring to ubiquitin chain analysis allows the specific identification and quantification of the ubiquitin chain topologies.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Marta Mendes: Unlike typical PRM experiments, Analysis of the ubiquitin chain topology is restricted to specific modified peptides, many of which are not ideal for MS analysis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Marta Mendes: Visual demonstration of this technique highlights the adjustments and expected results observed with these non-ideal peptides.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Sample Preparation

  - Begin by preparing an ammonium bicarbonate solution, N-ethylmaleimide solution, and ubiquitin stabilization buffer as described in the text manuscript [1]. Resuspend the biological sample in the ubiquitin stabilization buffer and lyse the cells with an appropriate method [2]. Videographer: This step is difficult!

    - WIDE: Establishing shot of talent at the lab bench preparing buffers.

    - Talent resuspending the sample.

  - After cell lysis, centrifuge the sample at 18,000 x g for 10 minutes at 4 degrees Celsius [1] and transfer the supernatant to a fresh low protein binding microcentrifuge tube [2]. If necessary, store the samples at negative 20 degrees Celsius before proceeding [3].

    - Talent putting samples into the centrifuge and closing the lid.

    - Talent transferring the supernatant to a fresh tube.

    - Talent putting the samples in the freezer.

  - To thaw the samples, mix them rapidly with a thermomixer and do not use temperatures above 50 degrees Celsius [1].

    - Samples on a thermomixer.

  - Once thawed, centrifuge the samples at 18,000 x g for 10 minutes at 4 degrees Celsius [1] and transfer 20 micrograms to a fresh low-bind microcentrifuge tube [2], then adjust the volume to 50 microliters with ubiquitin stabilization buffer [3].

    - Talent putting the sample in the centrifuge and closing the lid.

    - Talent transferring sample to a fresh tube.

    - Talent adding ubiquitin stabilizing solution to the sample.

  - Prepare a negative control with a normalized volume of ubiquitin stabilization buffer [1] and a positive control with the buffer and commercially available chain types [2]. Videographer: This step is important!

    - Talent preparing the negative control.

    - Talent adding the chain types to the positive control.

  - Prepare a solution of 50 millimolar ammonium bicarbonate in water and adjust the pH to 8 with 1 molar sodium hydroxide [1]. Pellet an E. coli culture by centrifugation at 5,000 x g for 5 minutes [2], wash the cells twice with PBS [3], and resuspend them in ubiquitin stabilization buffer at 5 micrograms per milliliter [4].

    - Talent adjusting the pH of the ammonium bicarbonate.

    - Talent putting a tube with the E. coli into the centrifuge and closing the lid.

    - Talent adding PBS to the cell pellet, with the PBS container in the shot.

    - Talent resuspending the cells in ubiquitin stabilization buffer.

  - Add 1 microgram of E. coli lysate to each sample and control [1]. Then, prepare 500 millimolar TCEP in MS grade water [2-TXT] and add it to each sample to a final concentration of 50 millimolar [3]. Vortex the samples briefly and incubate them for 30 minutes at room temperature [4]. Videographer: This step is important!

    - Talent adding E. coli lysate to a few samples.

    - Talent preparing TCEP. TEXT: TCEP = tris(2-carboxyethyl)phosphine

    - Talent adding TCEP to a few samples.

    - Talent vortexing a sample and setting it down on the lab bench.

  - Next, prepare a solution of 550 millimolar chloroacetamide in ammonium bicarbonate [1-TXT] and add it to the samples and controls to a final concentration of 55 millimolar [2]. Vortex the samples briefly and incubate them in the dark for 20 minutes [3].

    - Talent preparing the CAA solution. TEXT: Store in the dark

    - Talent adding the solution to the samples.

    - Talent putting the samples in a dark place to incubate.

  - Add endopeptidase LysC (pronounce ‘lyse-C’) to the samples [1-TXT] and incubate them at 37 degrees Celsius for 3 hours [2]. After the incubation, dilute the samples with 200 microliters of 50 millimolar ammonium bicarbonate [3], add trypsin, and incubate them for another 12 hours [4-TXT]. Videographer: This step is difficult!

    - Talent adding endopeptidase LysC to a sample. TEXT: 1:25 (w/w) ratio to the protein content

    - Talent putting the samples in the thermomixer and closing the lid.

    - Talent diluting the sample with the ammonium bicarbonate, with the 50 mM NH4HCO3 container in the shot and clearly labeled.

    - Talent adding trypsin to the samples. TEXT: 1:25 (w/w) ratio to the protein content

  - On the next day, add 10% formic acid solution to each sample and control at a 1 to 10 volume to volume ratio [1]. Verify that the pH is less than 3 [2-added] then add 0.5 microliters of heavy peptide standard to each sample [3].

    - Talent adding formic acid to a few samples, with the formic acid container labeled and in the shot. This is performed in the chemical hood.

    - Added shot: pH verification

    - Talent adding the heavy peptide standard to a few samples.

  - After standard C18 sample cleanup, proceed with Mass Spectrometry analysis of the samples with a PRM based methodology. NOTE: Author added VO narration but no shots. Please add this to 2.10.3

- Software Analysis

  - To export the isolation list, select Isolation List from the Export Menu, select the instrument type, and set the method to Standard [1]. Click Ok, which will open a prompt to save a CSV file that can be used to create a PRM method [2].

    - SCREEN: 60702_screenshot_1.mkv. 0:00 – 0:11. Video Editor: At around 0:10, emphasize the Method type selection (Standard) at the bottom of the small Export Isolation List window.

    - SCREEN: 60702_screenshot_1.mkv. 0:11 – 0:17.

  - Next, import the scheduling run by selecting File, Import, and Results. Choose Several files to import simultaneously and click Ok, then select the files and wait for the import to complete [1].

    - SCREEN: 60702_screenshot_2.mkv. 0:00 – 0:28. Video Editor: You can speed through the import starting at about 0:15.

  - When ready, review the identifications by clicking on the mass for each heavy peptide entry. Correct recognition of the peak is often determined automatically, but manual curation may be required [1].

    - SCREEN: 60702_screenshot_2.mkv. 0:28 – 0:45.

  - Retention times selected for the heavy variants are also applied to the light versions, creating a schedule for the PRM. To modify the scheduling window, select the peak and click on Settings and Peptide Settings, then change the Time Window in the Prediction tab [1].

    - SCREEN: 60702_screenshot_2.mkv. 0:45 – 1:03.

  - The schedule inclusion list can then be exported using File, Export, and Isolation List. Choose the appropriate instrument type, set method type to Scheduled, and click Ok [1].

    - SCREEN: 60702_screenshot_2.mkv. 1:03 – 1:18.

  - To analyze the data, import all samples and perform curation, removing transitions with interference or poor signal to noise ratios [1]. Then, export data by either right clicking on relevant graphs and selecting Copy data or clicking on File, Export, and Results [2].

    - SCREEN: 60702_screenshot_3.mkv. 0:20 – 1:02. Video Editor: You can either speed this up, or show a few peaks being deleted and skip to the finished plot at 1:01.

    - SCREEN: 60702_screenshot_3.mkv. 1:02 – 1:15.

# Results

- Results: Derivation of the Ubiquitin Topology-characteristic Peptide

  - Treatment with the proteasome inhibitor MG-132 prevents the degradation of ubiquitin-conjugated proteins, which results in an increase of the K48 chain [1] in the mouse melanoma cell line B16 [2], as well as the two human cell lines A549 and HeLa [3].

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the B16 bars.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the A459 and HeLa bars.

  - Parallel reaction monitoring, or PRM, performs a full product ion scan after selection of the precursor ion, which means that product ions should be curated post run. The chromatogram for K48 is shown before and after curation [1-TXT].

    - LAB MEDIA: Figure 4. Video Editor: Label the first plot “Before” and the second plot “After”.

  - Product ions that have a signal with an inconsistent elution profile [1] and low intensity were removed [2]. The transitions selected during curation should be consistent between experiments, but may differ depending on chromatographic conditions, analysis settings, and the biological background of the sample [3].

    - LAB MEDIA: Figure 4, just the left image. Video Editor: Emphasize the y1 and y6 curves, just on the legend.

    - LAB MEDIA: Figure 4 just the left image. Video Editor: Emphasize the y7, b1, b6, and b7 curves, just on the legend.

    - LAB MEDIA: Figure 4, just the right image.

  - Shown here are typical product ion chromatograms for each of the identified ubiquitin chain topologies in this experiment [1].

    - LAB MEDIA: Figure 5.

  - When designing a PRM experiment, collision energy can be optimized to improve the signal [1]. When collision energies from 14 to 28 were applied, it was found that a higher collision energy of 26 was optimal for K63 [2] while a lower energy of 18 was ideal for M1 [3].

    - LAB MEDIA: Figure 6.

    - LAB MEDIA: Figure 6. Video Editor: Emphasize the bar at 26 on the K63 graph.

    - LAB MEDIA: Figure 6. Video Editor: Emphasize the bar at 18 on the M1 graph.

  - Favourable collision energies were found for the topology-characteristic peptides in this experiment and a selection of unmodified ubiquitin fragments, but they may need to be optimized based on the mass spectrometer and fragmentation method used. [1].

    - LAB MEDIA: Table 1.

# Conclusion

- Conclusion Interview Statements

  - Joseph Longworth: When attempting this procedure, it is important to remember that the identification of ubiquitin chain topology requires a balancing of conditions to ensure ubiquitin linkages are maintained whilst promoting its digestion into peptides.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.9.3.

  - Gunnar Dittmar: This method has been vital to the understanding of ubiquitin signaling by providing accurate quantification of ubiquitin chain topology. It could be combined with a pulldown or organelle fractionation to address which ubiquitin chain topologies are associated with the targeted protein sample.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.