# Submission ID #: 60706

# Scriptwriter Name: Bridget Colvin	 postshoot: Anastasia Gomez

Project Page Link: http://www.jove.com/files_upload.php?src=18515378

Title: Measuring and Manipulating Functionally Specific Neural Pathways in the Human Motor System with Transcranial Magnetic Stimulation

Authors and Affiliations: Elana R. Goldenkoff1, Amir Mashni1, Katherine J. Michon1, Hannah Lavis1, and Michael Vesia1

1School of Kinesiology, Brain Behavior Laboratory, University of Michigan

# Corresponding Author:

# Michael Vesia

# mvesia@umich.edu

Email addresses for Co-authors:

egolden@umich.edu

amashni@umich.edu

katmich@umich.edu

hlavis@umich.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page by your script return deadline.

3. Which steps from the protocol section below are the most visually important?

4.4.1.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

4.6.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Michael Vesia: This technique provides insight into how brain circuits go awry in psychiatric and neurological disorders and how we can manipulate brain activity to repair these dysfunctional circuits to enhance behavior [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Michael Vesia: By directly activating and inhibiting brain excitability and circuitry, this technique enables shifting of neuroscientific focus from observation to causation and provides a deeper understanding of the brain and behavior [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Elena Goldenkoff: Noninvasive brain stimulation can be used to both assess and treat many neurological disorders and can help improve diagnoses and therapies based on more sophisticated models of brain-behavior connections [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Elena Goldenkoff: This method can not only counteract altered connectivity patterns in the motor system but also in cognitive networks associated with physiological aging and psychiatric and neurological disorders [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Michael Vesia: Demonstrating the procedure with Elena Goldenkoff, will be Katherine Michon, a technician, and Hannah Lavis and Danielle Destiny, students from my laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) at the University of Michigan.

# Section - Protocol

NOTE to Video Editor: Authors apparently made a lot of audio notes, including when they wanted similar looking shots reused

- Participant Recruitment and Electromyography (EMG) Electrode Placement

  - After screening Participants for right-handedness and any contraindications to TMS (T-M-S) and MRI (M-R-I) [1-TXT], inform each Participant about the study objectives, procedures, and risks approved by the local institutional review board [2] and obtain written consent [3].

    - WIDE: Talent reviewing Participant information TEXT: TMS: transcranial magnetic stimulation; MRI: magnetic resonance imaging

    - Talent explaining objectives to Participant

    - Participant handing written consent to Talent

  - For placement of the EMG (E-M-G) electrodes, have the Participant sit comfortably in the experimental chair with both arms supported in a relaxed position [1] and provide a chin rest to keep the head movement to a minimum during the stimulation [2].

    - Talent indicating chair/Participant getting seated

    - Talent providing/indicating chin rest

  - Use a mild abrasive to clean the skin over the muscle of interest [1] and, using a belly-tendon electrode arrangement, place one disposable silver-silver-chloride electrode on the belly muscle [2] and another on a nearby bony landmark as a reference site on both hands of the participant [3-TXT].

    - Skin being cleaned

    - Electrode being placed on muscle belly

    - Electrode being placed on bony landmark TEXT: Repeat for each muscle of interest

  - Then connect a ground electrode to the ulnar styloid process [1] and check between each electrode and the skin to confirm a complete contact [2], placing tape over the surface of the electrode to improve the skin surface contact as necessary [3-TXT].

    - Ground electrode being placed

    - Contact being checked

    - Tape being placed TEXT: Re-check throughout experiment

- Target Transcranial Magnetic Stimulation (TMS) Brain Area Localization

  - Before the TMS session, upload the Participant’s structural MRI scan to a neuronavigation system [1].

    - WIDE: Talent uploading scan to system

  - Within the scan, place a trajectory marker at the hand knob, the anatomical landmark that corresponds to M1, in the left precentral gyrus 45 degrees from the midsagittal line and approximately perpendicular to the central sulcus [1].

    - SCREEN: To be provided by Authors: Trajectory marker being placed at hand knob

  - Record and name the anatomical landmark with the neuronavigation system [1] and place a second trajectory marker over the nonmotor area of interest. Then record and name the second location with the neuronavigation system [2].

    - SCREEN: To be provided by Authors: Landmark being recorded and/or named

    - SCREEN: To be provided by Authors: Second marker being placed, then marker being recorded and/or named

  - To calibrate each TMS coil with the calibration block, place the head tracker securely on the head of the Participant so that the tracker is in view throughout the duration of the experiment [1] and co-register the anatomical landmarks on the Participant’s head to the neuronavigation system [2-TXT].

    - Talent placing tracker on Participant head

    - SCREEN: To be provided by Authors: Landmarks being co-registered Alternative: Use template MRI from Montreal Neurological Institute to co-register landmarks as necessary

- Optimal TMS Coil Position Localization and Threshold Determination

  - To localize and threshold with coil two, first position the center of the coil over the target M1 location to induce a posterior-anterior current direction in the brain [1].

    - WIDE:  Talent placing coil over location

  - To find the optimal location for activation of the target muscle, deliver pulses to M1 at 30% of the machine’s maximum stimulator output [1] and observe whether the delivered stimulation produces a muscle twitch [2].

    - Talent delivering pulses

    - Shot of muscle twitch

  - Determine the amplitude of the motor evoked potential recorded with the EMG electrodes from the muscle activity displayed by the data acquisition system [1].

    - SCREEN: To be provided by Authors: Shot of muscle activity on acquisition system

  - If a motor evoked potential or a visible muscle twitch is not observed, continue to increase the stimulator output by 5% increments [1-TXT].

    - Talent increasing output Videographer: Important step TEXT: Adjust TMS coil position, rotation, pitch and/or yaw to optimize MEP amplitude

  - When a response is observed, lower the intensity in a stepwise manner to the lowest intensity that produces at least 5 out of 10 motor evoked potential responses [1] with an amplitude of at least 50 microvolts while the Participant is at rest to determine the resting motor threshold [2].

    - Talent lowering intensity

    - SCREEN: To be provided by Authors: Shot of MEP w/ amplitude of at least 50 microvolts

  - To localize and threshold with coil M1, use the M1 coil to determine the optimal stimulation location [1] and determine the lowest stimulator intensity needed to generate motor evoked potentials of at least 1 millivolt in 5 of 10 trials in the target hand muscle when the muscle is completely relaxed [2].

    - Talent placing Coil M1 Videographer: Difficult step

    - Talent adjusting intensity Videographer: Difficult step

  - Then mark and record the position of the M1 coil within the neuronavigation system [1].

    - SCREEN: To be provided by Authors: Position being marked/recorded

- Dual-Site TMS (Resting State)

  - For dual-site TMS when the Participant is in the resting state, connect the figure-8-shaped coils to two individual TMS stimulators [1] and deliver the test stimuli over M1 with the M1 coil [2] and deliver the conditioning stimuli to the other area of interest with coil two [3].

    - WIDE: Talent connecting coil to stimulator

    - Talent adjusting Coil M1

    - Talent adjusting Coil two

  - Determine the percentage of the maximum stimulator output intensity for the conditioning stimulus for Coil two as demonstrated [1].

    - Talent adjusting coil

  - For the test stimulus, use the previously determined intensity that elicits motor evoked potential amplitudes of approximately 1 millivolt in the targeted quiescent hand muscle [1] and set the precise interstimulus interval between the conditioning and test stimuli [2].

    - Talent setting M1 coil intensity

    - Talent setting interstimulus interval

  - Position the M1 Coil over the left M1 [1] and position Coil two over the other area of interest [2].

    - Talent placing Coil M1

    - Talent placing Coil two

  - Deliver the test stimuli alone trials with the M1 Coil [1].

    - Talent delivering stimuli to M1 Coil OR Shot of muscle twitching OR SCREEN:

  - For the paired-pulse trials, deliver the conditioning stimuli with Coil two [1] followed by the testing stimuli to the M1 Coil at the predetermined interstimulus interval, using a 4-second data acquisition sweep for each trial followed by a 1-second intertrial interval [2-TX].

    - Talent delivering stimuli to Coil two

    - Talent delivering stimuli to M1 Coil TEXT ≥12 trials/condition

  - To deliver the programmed TMS pulses, use the trigger button on the TMS machine for the supplied control software or use the custom-made coding script from the external controller [1]. Using the previously described method, examine the functional interactions between different cortical areas interconnected to M1, but during the preparatory phase of a task that engages the network [2].

    - SCREEN: To be provided by Authors: Shot of script for delivering pulses

    - Added shot

- Cortical Paired Associative Stimulation (cPAS)

  - To deliver two pairs of monophasic pulses to two different cortical areas over short periods, using a custom-made coding script, generate 100 pairs of stimuli at 0.2 hertz for 8.3 minutes per stimulus [1].

    - WIDE: Talent using script to generate stimuli, with monitor visible in frame

  - For the experimental cPAS (C-pass) two to M1 condition, deliver the first group of stimuli over the nonmotor area with Coil two with a specified pulse intensity for 5 milliseconds [1] before delivering the second group of stimuli over M1 with the M1 Coil with a pulse intensity that elicits a motor evoked potential amplitude of approximately 1 millivolt in the targeted hand muscle [2].

    - Talent delivering stimuli over coil two

    - Talent delivering stimuli over M1 coil

  - After obtaining baseline corticospinal measurements with the M1 Coil [1], obtain corticospinal measurements with the M1 Coil at different times after cPAS to examine the time course of the TMS-induced effect on brain excitability [2].

    - Talent obtaining baseline corticospinal measurements

    - Corticospinal measurement being obtained

# Section – Results

- Results: Representative MEP Traces Under Various Test Conditions

  - Here the size of a representative motor evoked potential response elicited in the first dorsal interosseous muscle by TMS for an unconditioned test [1] or conditioned stimulus from the posterior parietal cortex [2] while the participant was at rest [3] or planning a goal-directed grasping action to an object is shown [4].

    - LAB MEDIA: Figure 5 inhibition and facilitation panels Video Editor: please emphasize TA alone traces

    - LAB MEDIA: Figure 5 inhibition and facilitation panels Video Editor: please emphasize CS-TS traces

    - LAB MEDIA: Figure inhibition and facilitation panels Video Editor: please emphasize top panel

    - LAB MEDIA: Figure 5 inhibition and facilitation panels Video Editor: please emphasize bottom panel

  - At rest, the posterior parietal cortex exerts an inhibitory influence on the ipsilateral M1 [1], as shown by the decrease in motor evoked potential amplitudes potentiated by a subthreshold conditioning stimulus delivered over the posterior parietal cortex for 5 milliseconds before a suprathreshold testing stimulus over M1 [2].

    - LAB MEDIA: Figure 5 middle panels

    - LAB MEDIA: Figure 5 middle panels Video Editor: please emphasize red CS-TS data bar in top panel

  - During the preparation of a grasp action, this net inhibitory drive at rest from the posterior parietal cortex switched to facilitation [1].

    - LAB MEDIA: Figure 5 middle panels Video Editor: please emphasize red CS-TS data bar in bottom panel

  - Normalization of the motor evoked potential amplitudes to testing stimuli alone trials for each condition and plotting as a ratio for motor evoked potential amplitude [1] revealed that the posterior parietal cortex-M1 interaction was facilitated from rest when planning an object-directed grasp [2].

    - LAB MEDIA: Figure 5 Normalized panel

    - LAB MEDIA: Figure 5 Normalized panel Video Editor: please emphasize sequentially emphasize Rest then Action data bars

  - In these analyses, the changes in motor evoked potential amplitudes during the administration of the cPAS protocol can be observed [1].

    - LAB MEDIA: Figure 6

  - Motor evoked potential amplitudes induced by paired stimulation of the posterior parietal cortex and M1 gradually increased over time during the stimulation protocol [1], suggesting plastic effects at the level of the parieto-motor connection, M1 corticospinal neurons, or both [2].

    - LAB MEDIA: Figure 6 top panel Video Editor: please emphasize data line

    - LAB MEDIA: Figure 6 top panel

  - The size of the motor evoked potential amplitudes increased 10 minutes after the cPAS protocol [1], suggesting that motor excitability aftereffects were induced after administration of the repeated pairs of cortical stimuli over the posterior parietal cortex and M1 [2].

    - LAB MEDIA: Figure 6 bottom panel Video Editor: please emphasize dark grey data bar

    - LAB MEDIA: Figure 6 bottom panel

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Elena Goldenkoff: This protocol can be applied to other brain regions or used in conjunction with brain imaging to study cortical connectivity and its effect on cognition, sensory perception, and mood [1].

    - INTERVIEW: Named talent says the statement above

  - Elena Goldenkoff: Standardizing these dual-site protocols will enable improvements in experimental design and the optimization of targeted therapies, reducing morbidity and impairments in neurological and psychiatric disorders [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera