60709_Screenshot_1

- 7.1.1 (Use the following settings … use low laser power)

  - Setting up a beampath 00:00 – 00:18

  - Defining acquisition parameters 00:18 – 00:31

  - Defining channels 00:31 – 01:14

  - Optimizing channels 01:14 – 02:19

60709_Screenshot_2

- 7.1.2 (Use the Z-stack mode to define the lower and upper bounds and set the Z-step to optimal)

  - Activating Z-stack 00:00 – 00:05

  - Defining lower and upper bounds 00:05 – 00:26

  - Optimizing Z-step 00:26 – 00:37

60709_Screenshot_3

- 7.1.2 (When imaging large organoid structures or multiple organoids together, use the tiling mode with 10% overlap and indicate the area of interest.)

  - Activating tiling mode, convex hull 00:00 – 00:13

  - Indicating area of interest 00:13 – 01:23

  - Starting the imaging 01:23 – 01:31

60709_Screenshot_4

- 7.3 (Obtain the 3D rendered representation of the imaging under the 3D View tab in the imaging software and subsequently optimize brightness, contrasting and 3D rendering properties.)

  - Opening the file 00:00 – 00:14

  - Optimizing brightness and contrast 00:14 – 00:44

  - Changing 3D rendering mode 00:44 – 00:49

  - Optimizing brightness and contrast for new rendering 00:44 – 01:04

60709_Screenshot_5

- 7.3 (Export RGB snapshots of the results as TIFF files.)

  - Defining location 00:03 – 00:08