# Submission ID #: 60716

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18518428

# Title: Retrograde Tracing of Drosophila Embryonic Motor Neurons Using Lipophilic Fluorescent Dyes

# Authors and Affiliations:

Melissa Inal1, Kota Banzai1, Daichi Kamiyama1

1Department of Cellular Biology, University of Georgia, Athens, GA, USA

# Corresponding Author:

# Daichi Kamiyama	(daichi.kamiyama@uga.edu)

# Email addresses for Co-authors:

# Melissa Inal		(melissa.inal25@uga.edu)

# Kota Banzai		(kota.banzai@uga.edu)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? Yes, scope kit needed

Yes, three microscopes are involved. Two of the microscopes listed below don’t have a capability to record movies. Because we hope to use both of the oculars during demonstrations, we need your support for filming some steps of our protocol through camera ports.

Dissecting microscope (Nikon, SMZ-U); we don’t’ have an adapter (i.e., C-mount) and a camera, although there is a camera port on the microscope.

Upright fluorescence microscope (Nikon, Eclipse Ci); there is no camera port. Could you please prepare for a Nikon observation head with a camera port (i.e., Trinocular microscope head) and a camera?

2. Does your protocol include software usage? No

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

2.2, 4.1, 4.2, 4.3, 5.4, 5.5, 5.6

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

5.5, 5.6; The alignment of the dye injection micropipette containing the proper size of dye droplet with the precise location of the injection site is the most difficult part of this procedure. To ensure success, check the size of the dye droplet with bright-field microscope and verify positioning of the axon terminal and the tip of the injection micropipette by using fluorescent microscope.

5. Will the filming need to take place in multiple locations? No

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Melissa Inal: The tracing technique described in this protocol helps us study neuronal morphogenesis and synaptic connectivity in the motor neuron system of Drosophila.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Melissa Inal: The lipophilic dye can rapidly diffuse to every part of the cellular membrane with an extremely high density. This is why our protocol efficiently resolves the fine structures of a labeled neuron.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Melissa Inal: If an axon terminal is accessible with an injection micropipette, this technique could be applied to any neuron in the larval and adult stages of flies or in other organisms.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Kota Banzai: If you have no experience dissecting or using a microinjector, precise operation on the specimen can be challenging. Understanding the anatomy of the embryo will help with guidance to proper positioning of tools to carry out dissection or dye injection.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Section - Protocol

- Preparation of Equipment

  - Start by preparing embryo collecting materials for training adult flies to lay eggs [1]. Prepare the filtration apparatus by severing a 50-milliliter tube [2] and cutting open a hole in the cap [3], then set a mesh filter with 100-micrometer pores in between the tube and the cap [4-TXT].

    - WIDE: Establishing shot of talent walking to the lab bench. Videographer comment: 2.1.1-2.1.3 are married

    - Talent severing the tube.

    - Talent cutting a hole in the cap.

    - Talent setting the filter. TEXT: 100 µm cell strainer can also be used

  - Prepare the dye injection micropipette and dissection needle from the same capillary tubing with an inner diameter of 1.2 millimeters [1]. Pull the tubing with a micropipette puller at 7% from 170 Volt maximum output to create a sharp needle with a taper of about 0.4 centimeters in length [2]. Videographer: This step is important!

    - Talent inserting the capillary tubing into the puller.  Videographer comment: 2.2.1-2.2.2 are married

    - The puller creating the needle.

  - To prepare the dye injection micropipette, soak the grinder with a wetting agent [1] and place the needle on the micropipette clamp at 25 to 30 degrees [2], then lower the tip onto two-thirds of the radius out from the center of the beveling surface [3]. Grind the needle while a syringe with tubing pushes air into it [4].

    - Talent soaking the grinder with the wetting agent. Videographer comment: 2.3.1-2.3.2 are married

    - Talent placing the needle on the micropipette clamp.

    - Talent lowering the tip. Videographer comment: 2.3.3-2.3.4 are married

    - Needle grinding.

  - Mark the micropipette with a fine-tip permanent marker to indicate the position of the opening at the tip after beveling because it can be challenging to locate the narrow opening that is formed at an angle [1].

    - Talent marking the micropipette.

- Embryo Staging

  - Allow the flies to lay eggs overnight at room temperature and collect the plate with the eggs in the morning [1]. To collect the embryos, dechorionate the eggs on the plate with 50% bleach for 5 minutes [2].

    - Talent collecting the plate with the eggs.

    - Talent dechorionating the eggs.

  - Once the chorions have cleared, pour the contents of the plate through the filtration apparatus or cell strainer to separate the embryos [1]. Use a squeeze bottle of water to dilute the bleach left on the plate [2] and gather as many embryos as possible by decanting the mixture into the filter [3].

    - Talent pouring the contents of the plate through the filter. Videographer comment: 3.2.1-3.3.2 are married

    - Talent diluting the bleach on the plate with water.

    - Talent decanting the mixture into the filter.

  - Wash the embryos 3 to 4 times with water until the bleach odor dissipates [1], remove the filter from the apparatus [2] and wash them onto another clean plate with water [3], then decant the water from the new plate that the embryos are on [4].

    - Talent washing the embryos.

    - Talent removing the filter.

    - Talent washing the embryos onto a clean plate.

    - Talent decanting the water from the plate with the embryos.

  - Use fine forceps to select 5 to 10 embryos at 15 hours after egg laying [1] and place them on double-sided tape with the dorsal side facing up [2]. Add insect Ringer’s saline to the dissection pool to protect the embryos from desiccation [3].

    - SCOPE: Talent selecting embryos. Nikon, SMZ-U will be used here.

# [Added Shot] Shot of more embryo

    - SCOPE: Talent placing embryos on the tape in the correct position. Nikon, SMZ-U will be used here.

    - Talent adding saline to the dissection pool.  Videographer comment: There are two shots, one medium, and one macro.

- Dissection and Staining

  - Use a glass needle under a dissection microscope to cut through the midline of a single embryo at its surface from its posterior to anterior end [1]. Then, drag the embryo out from the vitelline membrane from the tape onto the glass, taking care not to damage the interior tissues of the embryo [2]. Videographer: This step is important!

    - SCOPE: Talent cutting through the embryo.

# Videographer comment: 4.1.1-4.1.2 are married.  4.1.1 (second take) marries up to 4.2.1.

    - SCOPE: Talent dragging the embryo out from the vitelline membrane.

  - Flip the epithelial tissues from the center and attach the epidermal edge onto the surface of the glass slide [1]. Use a tube-connected needle with a tip opening of about 300 micrometers to aspirate or blow air to remove the dorsal longitudinal tracheal trunks as well as any remaining guts [2]. Videographer: This step is important!

    - SCOPE: Talent attaching the epidermal edge onto the glass slide. Video Editor: Use the inset from Figure 1 as an inset here.

    - SCOPE: Talent using the needle to aspirate or blow air.

  - Use 4% PFA in PBS to fix the embryos for 5 minutes at room temperature on an orbital shaker [1], then wash them 5 times with PBS [2]. Stain the embryos with 1 microliter of anti-horseradish peroxidase antibody conjugated with cyanine 3 dye in 200 microliters of PBS for 1 hour on the orbital shaker [3] and repeat the washes in PBS [4]. Videographer: This step is important!

    - Talent adding PFA to the embryos and placing embryos on a shaker.

# [Added Shot] 4.3.1B: Shaker for 5 minutes.

    - Talent washing the embryos in PBS.

    - Talent adding dye to the embryos.

    - Talent washing the embryos with PBS. Videographer comment: Reuse from 4.3.2

- Dye Injection and Confocal Microscopy

  - To fill the injection micropipette, place it into the capillary holder [1] Next, place the dye slide onto stage and use the micromanipulator to position it over the slide [2]. Then, adjust the stage to place the micropipette onto the dye [3].

    - Talent placing the micropipette into the capillary holder.

# [Added shot] Talent placing dye slide on the microscope stage.

    - Talent positioning the micromanipulator.

    - Talent adjusting the stage.

  - Collect the dye in the micropipette by setting the injection pressure to between 200 and 500 hectopascal, the injection time between 0.1 and 0.5 seconds, and the compensation pressure to 0 for 5 minutes [1].

    - Talent inputting the settings and starting the dye collection. Videographer comment: There is a scope shot.

  - Once the dye has been collected, remove the dye slide and place the sample onto the microscope stage [1]. Then, increase the compensation pressure to a range of 30 to 60 hectopascal [2] and lower the micropipette into the sample [3].

    - Talent removing the dye slide and placing the sample onto the stage. Videographer comment: 5.3.1-5.3.3 are married and there is a scope shot with it.

    - Talent adjusting the compensation pressure.

    - Micropipette lowering into the sample.

  - Use the 10 X objective lens to locate the embryo and align the micropipette with the embryo [1]. Change the objective lens to a water-immersion 40 X lens [2] and submerge the lens into the PBS [3]. Videographer: This step is important!

    - SCOPE: Talent locating embryo and aligning the micropipette with the embryo.

    - Talent switching objectives. Videographer comment: 5.4.2-5.4.3 are married.

    - Objective submerging in the PBS.

  - Use fluorescence microscopy to check the neuronal morphology marked by anti-HRP Cy3 and determine the injection site [1]. When the embryo is in focus, change the position of the micropipette to make gentle contact with the tip of the axon of interest [2]. then use brightfield microscopy during the injection to see the dye droplet [3]. Videographer: This step is difficult and important!

    - SCOPE: Neuronal morphology. Videographer comment: 5.5.1-5.5.3 are married. Reverse 5.5.3 and 5.5.2.

    - SCOPE: Micropipette making contact with the axon.

    - SCOPE: Switch to brightfield.

  - Drop the dye in a right abdominal hemi-segment at the neuromuscular junction of aCC or RP3 with either DiD or DiO (pronounced dye-D or dye-O). Use the hand control to release the dye and remove the micropipette, then move on to the next injection site [1]. Incubate the sample for 1 hour at room temperature on an orbital shaker prior to imaging [2]. Videographer: This step is difficult and important!

    - SCOPE: Dye releasing at the injection site.

    - Sample incubating at room temperature on shaker. Videographer comment: Use second take.

  - Using fine forceps, remove the tapes from the glass slide [0]. To mount the sample, prepare a cover slip with a small amount of vacuum grease at the four corners [1], carefully place it on the sample, making sure to avoid air bubbles [2]. Push down the coverslip to adjust the working distance between the objective lens and the sample [3]. Remove any excess PBS with task wipes [4].

# [Added shot] 5.7.0: Talent removing tape from glass slide.

    - Talent adding vacuum grease to the corners of a coverslip.

    - Talent placing the cover slip on the sample.

    - Talent pushing down on the cover slip.

    - Talent wiping excess with a task wipe.

  - Completely seal the edges of the cover slip with nail polish [1]. Image at 10 X and 100 X magnification with a confocal microscope [2] and process the images with ImageJ software [3].

    - Talent sealing the edges of the slide with nail polish.

    - Talent at the microscope imaging the slide.

    - Talent at the computer working with ImageJ.

# Section – Results

- Results: Retrograde Labeling of aCC and RP3 Motor Neurons

  - This protocol was used to retrograde-label the aCC motor neuron innervating muscle 1 and the RP3 motor neuron innervating muscles 6 and 7 [1]. Dendritic branches from the aCC and RP3 motor neurons show extensive overlap. Both neurons are bipolar, establishing two different populations of dendrites [2].

    - LAB MEDIA: Figure 3 A. Video Editor: Emphasize the muscle 1 in the image when VO says, ‘muscle 1’ and muscle 6/7 when VO says ‘muscle 6/7’.

    - LAB MEDIA: Figure 3 C.

  - To demonstrate the quantitative capabilities of this method, it was used to count the total number of dendrite tips in wild type and dscam1 (pronounce ‘D-S-cam-one’) mutants [1]. The ipsilateral dendrites of aCC are shown for the wild type [2], but few ipsilateral dendrites were observed for the dscam1 mutant [3].

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4. Video Editor: Emphasize A.

    - LAB MEDIA: Figure 4. Video Editor: Emphasize B.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Melissa Inal: When attempting this procedure, it is important to remember that the size of dye droplet is crucial, which is approximately 10-20 m. Test the size on the double-sided tape and then apply it to the injection site.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 5.6.1.

  - Melissa Inal: Using this procedure, we can take advantage of the photo-switchable property of DiD probe to obtain super-resolution images of the plasma membrane. This way, we can study the ultrastructural characterization of the synaptic membranes at the NMJ.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Kota Banzai: With this technique, we performed phenotypic analysis of the aCC dendrites in mutant strain and discovered that a Dscam1-Dock-Pak interaction defines the site of dendrite outgrowth in aCC.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.