## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
4.5 mm ARTHROGARDE Hip Access Cannula GREEN | Smith&Nephew | 72201741 | Arthroscopy cannula
70° Autoclavable, Direct View | Smith&Nephew | 72202088 | 70 degrees arthroscope
Bandicam | Bandicam Company |  | an advanced screen recording software
da Vinci 2.0 A Duo | XYZ printing Japan |  | 3D printer
Disposable Hip Pac | Smith&Nephew | 7209874 | A set of 3 guidewires and 2 arthroscopy needles
Hip phantom | Sawbones USA, A Pacific Research Company | SKU:1516-23 | The phantom model for hip arthroscopy
Labview | National Instruments |  | Systems engineering software for applications that require test, measurement, and control with rapid access to hardware
LAC-1 | SMAC |  | Electromechanical actuator
LSB200 | Futek | FSH00092 | A load cell
Nanopass | Stryker | CAT02298 | A suturing instrument for the labrum repair
Osteoraptor 2.3 Suture Anchor | Smith&Nephew | 72201991 | Anchor set for the labrum repair
PC software for Probing sensor | Moosoft |  | PC software for Probing sensor
Poly-vinyl alcohol hydrogels | Sunarrow Limited |  | Poly-vinyl alcohol hydrogels
portable arthroscopy camera | Sawbones USA, A Pacific Research Company | SKU:5701 | Portable arthroscopy camera
Probing sensor | Takumi Precise Metal Work Manufacturing Ltd |  | Probing device to measure resistance force to soft tissue in joint while probing
Samurai Blade | Stryker | CAT00227 | Arthroscopic scalpel
Standard fixation device | Sawbones USA, A Pacific Research Company | SKU:1703-19 | The fixation device for the hip phantom
Strain gauge sensor | Nippon Liniax Co.,LTD | MFS20-100 | The sensor works with three Wheatstone bridges
Ultra-Hard C2 Tungsten Carbide Ball, 1 mm Diameter | McMaster-Carr | 9686K81 | Ultra-Hard C2 Tungsten Carbide Ball, 1 mm Diameter