Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

We have thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

• Textual Overlap: Significant portions show significant overlap with previously published work. Please re-write lines 123-151, 212-224 avoid this overlap.

We have re-written lines 123-151, and lines 212-224, to avoid overlap with previously published work.

• Introduction: Please expand your Introduction to include the following: The advantages over alternative techniques with applicable references to previous studies; Description of the context of the technique in the wider body of literature; Information that can help readers to determine if the method is appropriate for their application.

We have now expanded the Introduction to include advantages over alternative techniques with applicable references to relevant studies, which puts the technique in context in the body of literature around esophageal protection.  We have additionally included recent studies and reports showing the protective effects of the described technique to further allow readers to determine if the method is appropriate for their application.  

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

We have added more specific details to the protocol steps accordingly.

1) 2.3: Is the patient sedated? If so, mention drugs used.

We have included additional details on sedation, general anesthesia, and drugs typically used.

2) 6.1: how?

We have removed this sentence, as it was redundant to section 2.3, and not as relevant in troubleshooting for this application.  

• Results: Please present some of your results in graphical format, e.g., figure or table.

We have now included results from published or presented studies on esophageal cooling or warming in the Results section, with the addition of one Figure and one Table. 

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

We have reorganized the Discussion accordingly.

• References: Please spell out journal names.

We have revised the References to spell out full journal names. 

• Commercial Language:JoVE is unable to publish manuscripts containing commercial sounding language, including trademark or registered trademark symbols (TM/R) and the mention of company brand names before an instrument or reagent. Examples of commercial sounding language in your manuscript are ensoETM,
1) Please use MS Word’s find function (Ctrl+F), to locate and replace all commercial sounding language in your manuscript with generic names that are not company-specific. All commercial products should be sufficiently referenced in the table of materials/reagents. You may use the generic term followed by “(see table of materials)” to draw the readers’ attention to specific commercial names.

We have removed all instances of ensoETM, including from Figures.  

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

We have obtained figure permissions, but note that variations of some figures have also appeared in print in an earlier work published by JoVE.

Comments from Peer-Reviewers:



Reviewers' comments:
Reviewer #1:

Manuscript Summary:

Esophageal injury during either radiofrequency or cryo thermal ablation to achieve pulmonary vein isolation in the treatment of atrial fibrillation is a rare complication but carries extremely high morbidity and mortality. A proposed method for reducing the risk of esophageal injury is to counteract eating or cooling of the esophagus during ablation in the posterior left atrium this manual script describes a novel intra esophageal device to control local esophageal temperature during ablation. It also describes how the use of this device would look in practice with either radiofrequency or cryo thermal ablation.  I feel this article does a excellent job explaining the thinking behind esophageal temperature modulation during ablation as well as the practical considerations surrounding the use of the device during a procedure.

Major Concerns:
I have no major concerns regarding this manuscript

Minor Concerns:
Most of my concerns may or may not be germane to this particular manuscript which principally discusses the function and design of this device as well as the practical considerations of its use. However, I feel it will be challenging to prove that techniques to prevent esophageal injury during atrial fibrillation ablation are effective given that severe esophageal injury is a high consequence but low incidence complication of ablation. As such it would be almost impossible to adequately power study to prove that any technique prevents esophageal atrial fistula per se and surrogate end-points such as post procedure endoscopy to evaluate for esophageal lesions will need to be used. I appreciate that the authors include the caution that standard ablation technique should be employed so that operators do not deliver excessively aggressive ablation energy to tissue adjacent to the esophagus .

Thank you for your review of our manuscript, and the supportive comments above.  We agree that indeed, powering a study for fistula development as an end-point will require tens of thousands of patients.  Fortunately, the general consensus that high-grade lesions are the precursor to fistula formation allows us to rely more heavily on surrogate end points of esophageal injury, with particular attention to high-grade lesions.  We have now included additional background and newer data on this aspect in the manuscript.   

Reviewer #2:

Manuscript Summary: Esophageal warming and cooling devices have utility in temperature maintenance during catheter ablation of left atrial arrhythmia (both heat and cold).  This manuscript attempts to describe the utility and usage of one of these devices.  The authors have written a well-described manuscript.

Major Concerns:
As these are two case studies, please describe the catheter ablation parameters in more detail.  RF parameters should include power (W), duration of ablation, and a description of the ablation strategy (PVI only?).  The cryo parameter should include nadir balloon temp, duration of ablation, and number of ablations at each PV.  This will help to better understand the conditions for temp change/control of the esophageal device.

We have now included more data from a recently presented study to provide further details on a larger number of patients in addition to the two example cases, and have added further details on the two example cases as suggested.

Minor Concerns:

Please review for small typing errors. Anesthesia does not need to be capitalized. "One may also need to have Anesthesia remove air from ETT cuff if overinflated and causing obstruction. Advance the device with light pressure until the required length of tube has been inserted. (Figure 4)."

We have reviewed for typos, and made corrections as identified.  

In the limitations or discussion, the authors need to discuss (briefly) that AE fistula formation is not solely an energy exchange complication but that there are other factors involved (e.g., mis-match repair).

We have now included mention in the Limitations that other factors may be involved in fistula formation. 


Reviewer #3:

Manuscript Summary:
This is a description of a new predicted to reduce thermal injury during LA ablation. The article appears to have been prepared in part by the manufacturers with in-depth knowledge of the product. Only 2 cases are reported, thus any comments regarding clinical benefit are extremely premature.

Major Concerns:
As is the case in most techniques used to help prevent esophageal injury during LA ablation, the limitation is the lack of a very large cohort with a minimum follow-up of 60 days. None-the-less, the product is intriguing and worthy of further evaluation.

Thank you for your review and supportive comments.  To better address this concern, we have now included more data in the Representative Results, including a recently published meta-analysis of almost 500 patients, and data from a randomized-controlled clinical study recently presented, both of which include longer-term follow up.  

Minor Concerns:
None