Screenshot summary (60740_Screenshot_2). This is the Tissue Detection Step

60740_Screenshot_3-a repeat

- Starting the recording and minimizing the OBS Studio window 00:00

- 6.2.1. Open the Image Analysis module of the software by clicking the Image Analysis tab in the ribbon.00:004

- 6.2.2. Import the aligned composite image generated in the previous step (6.1.8.) by selecting in the database the appropriated image. The image will appear in the work space 00:005 to 00:12

- Perform tissue detection using the user-defined protocol APP 1. 6.2.3. Open APP 1 using the APP selection dialog 01:00 to 01:28

- 6.2.4. Preview APP 1 processing in a selected field of view 01:29 to 02:56 Here after pressing the button preview I zoomed in to show the accuracy of APP 1 at classifying the image pixels in either tissue-associated pixels (TAPs) or pixels not associated to the tissue. The TAPs are labelled in green. Next I activated the underneath layers showing how the labelled TAPs are highly concordant across layers which is a consequence of the precise alignment of the images. Next I press the button Run App only to show a macroscopic view of how the tissue is detected.

- Before running the protocol, I am activating the checkbox that converts the green label in the region of interest Tissue  02:59 to 03:02

- 6.2.5. Click to run APP 1 and process the image using the selected APP. 03:02 to 07:10 At this point the image is completely processed using APP 1

NOTE: APP 1 creates a region of interest (ROI) delineating the tissue (ROI Tissue) and calculates the area of the tissue.

- Next I zoomed in to show the precision of APP 1 at detecting the TAPs and showing how can be transferred to the other aligned images the newly delineated region of interest for the tissue and the accuracy of this protocol 07:10 to 08:13

- 6.2.7. Saving the modified composite image with the tissue segmented in Parenchyma versus Stroma 08:29