# Submission ID #: 60743

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18526663

Title: Visualization of Bacterial Resistance using Fluorescent Antibiotic Probes

Authors and Affiliations: M. Rhia L. Stone1, Wanida Phetsang1, Matthew A. Cooper1, and Mark A. T. Blaskovich1

1Institute for Molecular Biosciences, The University of Queensland

# Corresponding Author:

# Mark A. T. Blaskovich

# m.blaskovich@imb.uq.edu.au

Email addresses for Co-authors:

rhia.stone@uq.edu.au

wanidaphet@gmail.com

m.cooper@uq.edu.au

Author Questionnaire:

1. Microscopy: Does your protocol require JoVE to film through your microscope? N

2. Does your protocol demonstrate software usage? N

3. Which steps from the protocol section below are the most visually important?

2.2., 2.3., 3.4., 3.6., 4.8., 4.14.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

4.11., 4.12., to ensure success we use rigorous lysis conditions

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - M Rhia L. Stone: The preparation of fluorescent antibiotics allows the localization of these therapeutic reagents within bacteria through convenient analytical methods such as spectrophotometry and microscopy [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - M Rhia L. Stone: The main advantage of this technique is the ease with which the antibiotic localization can be assessed. This localization is relevant to a number of phenomena, including efflux [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Fluorescent Antibiotic Synthesis

  - To perform the click A reaction procedure, place the azide-antibiotic of interest in a round bottom flask [1-TXT] and add 25 milliliters of tert-butanol [2] and 25 milliliters of water per millimole of azide to the flask [3].

    - WIDE: Talent adding antibiotic to flask TEXT: Procedure specific to antibiotic and requires parent molecule SAR examination

    - Talent adding tert-butanol to flask, with tert-butanol container visible in frame

    - Talent adding water to flask

  - Add the prepared fluorophore-alkyne to the solution [1-TXT] and heat the reaction to 50 degrees Celsius [2].

    - Fluorophore-alkyne being added to flask, with fluorophore-alkyne container visible in frame Videographer: Important step TEXT: See text for fluorophore-alkyne preparation details

    - Talent placing flask at 50 °C Videographer: Important step

  - Next, add 0.6 equivalents of copper sulfate [1-TXT] and 2.4 equivalents of ascorbic acid to the flask [2-TXT].

    - Talent adding copper sulfate to flask, with copper sulfate container visible in frame Videographer: Important step TEXT: i.e., 100 millimolar in H20

    - Talent adding ascorbic acid to flask, with ascorbic acid container visible in frame Videographer: Important step TEXT: i.e., 500 millimolar in H20

  - Stir the reaction for 1 hour [1] or until analysis by LCMS (L-C-M-S) indicates reaction completion [2-TXT].

    - Reaction being stirred

    - Talent adding sample to LCMS instrument TEXT: LCMS: liquid chromatography mass spectrometry

  - Then cool and purify the reaction as appropriate for the antibiotic scaffold [1-TXT].

    - Talent placing flask to cool TEXT: See text for antibiotic purification details

- Antimicrobial Activity Evaluation

  - To assess the antimicrobial activity of the synthesized antibiotic, streak glycerol stocks of bacterial strains appropriate for the antibiotic scaffold onto LB (L-B) agar plates [1] and grow the cultures overnight at 37 degrees Celsius [2-TXT].

    - WIDE: Talent streaking plate(s), with bacterial stock container(s) visible in frame Videographer: Shot will be used again

    - Talent placing plate(s) at 37 °C TEXT: LB: lysogeny broth

  - The next morning, pick a single colony from each plate [1] and culture the colonies overnight in 5 milliliters of CAMHB (C-A-M-H-B) per culture at 37 degrees Celsius [2-TXT].

    - Shot of plate, then colony being picked Videographer: Shot will be used again (Videographer Comment: Videographer: I audibly slated 3.2.2 as well, but shot was just 3.2.1)

    - Talent placing colon(ies) at 37 °C TEXT: CAMHB: cation-adjusted Mueller-Hinton Broth

  - The next day, dilute the cultures approximately 40-fold in fresh CAMHB [1] and grow the bacteria to mid-log phase with an optical density at 600 nanometers of 0.4-0.8 [2].

    - Talent adding culture to broth, with broth container visible in frame

    - Talent adding sample to spectrophotometer

  - Next, prepare stock solutions of each fluorescent antibiotic at 1.28 milligrams/milliliter in 20% dimethyl sulfoxide in sterile water [1] and add 10 microliters of antibiotic to each well of the first column of a 96 well plate [2].

    - Water and DMSO being added to antibiotic Videographer: Important step

    - Antibiotic being added to well(s), with antibiotic container visible in frame Videographer: Important step

  - Add 90 microliters of CAMHB to each well of first column [1] and 50 microliters to all of the other wells [2] to all a serial 2-fold dilution to be performed across the plate [3].

    - CAMHB being added to well, with CAMHB container visible in frame

    - CAMHB being added to well, with CAMHB container visible in frame

    - Dilution(s) being performed

  - After thorough mixing, dilute the mid-log phase cultures to approximately 1 x 106 colony forming units/milliliter [1] and add 50 microliters of each culture to the dilution wells to obtain a final concentration of approximately 5 x 105 colony forming units/milliliter [2].

    - Talent diluting culture(s), with dilution solution visible in frame Videographer: Important step

    - Bacteria being added to well(s) Videographer: Important step

  - When all of the bacteria have been plated, place the lids onto the plates [1] and incubate the cultures for 18-24 hours at 37 degrees Celsius without shaking [2].

    - Lid being placed onto plate

    - Plate being placed at 37 degrees

  - The next day, visually inspect the plates [1]. The minimum inhibition concentration will be the lowest concentration well with no visible growth [2].

    - Talent inspecting plate

    - Shot of plate Video Editor: please outline/emphasize minimum inhibition concentration well

- Probe Accumulation Analysis

  - For probe accumulation analysis, streak glycerol stocks of the bacterial strains onto LB agar plates for an overnight incubation at 37 degrees Celsius [1].

    - Use 3.1.1. Talent streaking plate

  - The next morning pick a single colony from the plate [1] for overnight culture in lysogeny broth at 37 degrees Celsius [2].

    - Use 3.2.1. colony being picked

    - Colony being added to broth – Use 3.2.2

  - The next morning, dilute the overnight culture approximately 50-fold in fresh medium [1].

    - Talent adding medium to culture, with medium container visible in frame Use 3.3.1

    - Talent placing culture at 37 °C Use 3.3.2

  - When the culture reaches mid-log phase, pellet the bacteria by centrifugation [1-TXT] and decant the medium [2].

    - Talent placing tube(s) into centrifuge TEXT: 25 min, 1470 x g, RT

    - Medium being decanted

  - Resuspend the bacteria in 1 milliliter of PBS [1] and centrifuge the bacteria again [2-TXT].

    - Pellet being resuspended in PBS, with PBS container visible in frame

    - Talent placing tube(s) into centrifuge TEXT: 15 min, 1470 x g, RT

  - Decant the supernatant [1] and resuspend the washed pellet in PBS to an optical density at 600 nanometers of 2 [2].

    - PBS being decanted

    - Talent adding PBS to tube, with PBS container visible in frame

  - Add 10.1 microliters of 10 millimolar CCCP (C-C-C-P) in PBS to 1 milliliter of bacteria [1-TXT] and incubate the bacteria at 37 degrees Celsius for 10 minutes [2].

    - CCCP being added to bacteria TEXT: CCCP: carbonyl cyanide 3-chlorophenylhydrazone

    - Talent placing culture at 37 °C

  - At the end of the incubation, collect the bacteria by centrifugation [1-TXT] and resuspend the pellet in 1 milliliter of 10-100-micromolar fluorescent antibiotic solution in PBS [2].

    - Talent adding tube(s) to centrifuge Videographer: Important step TEXT: 4 min, 18,000 x g, 20 °C

    - Shot of pellet if visible, then fluorescent antibiotic solution being added to tube, with solution container visible in frame Videographer: Important step

  - After a 30-minute incubation at 37 degrees Celsius, wash the cells by centrifugation four times in 1 milliliter of cold PBS per wash [1-TXT].

    - Talent adding tube(s) to centrifuge TEXT: 7 min, 18,000 x g, 4 °C, x4

    - Shot of pellet if visible, then PBS being added to tube, with PBS container visible in frame (Author Comment: second half is 4.6.2) (Editor: I don’t believe this shot is needed at all, and the scriptwriter didn’t use in during the VO. This entire VO could play over just shot 4.9.1)

  - After the last wash, lyse the bacteria with 180 microliters of lysis buffer [1-TXT] and 70 microliters of lysozyme [2].

    - Talent adding lysis buffer to tube, with lysis buffer container visible in frame TEXT: See text for lysis buffer preparation details

    - Lysozyme being added to tube, with lysozyme container visible in frame

  - After 30 minutes at 37 degrees Celsius [1], freeze-thaw the bacteria three times at minus 78 degrees Celsius for 5 minutes [2] and 34 degrees Celsius for 15 minutes respectively [3].

    - Talent placing tube at 37 °C Videographer: Difficult step

    - Talent placing tube at -78 °C Videographer: Difficult step

    - Talent placing tube at 34 °C Videographer: Difficult step Use 4.11.1

  - After the last round of freeze-thawing, sonicate the sample for 20 minutes [1] followed a 30-minute incubation at 65 degrees Celsius [2].

    - Sample being sonicated Videographer: Difficult step

    - Talent placing tube at 65 °C Videographer: Difficult step

  - At the end of the incubation, collect the lysed sample by centrifugation [1-TXT] and strain the tube contents through a 10-kilodalton filter membrane [2].

    - Talent placing tube(s) into centrifuge TEXT: 8 min, 18,000 x g, RT

    - Solution being filtered

  - Wash the filter 4 times with 100 microliters of water per wash [1] and aliquot each wash into individual wells of a black flat bottom 96-well plate [2].

    - Filter being washed Videographer: Important step

    - Talent adding lysate to well(s) Videographer: Important step

  - Then measure the fluorescence intensity on a plate reader with excitation and emission wavelengths appropriate to the fluorophore [1].

    - Talent placing plate onto reader

# Section – Results

- Results: Representative Visualization of Bacterial Resistance using Fluorescent Antibiotic Probes

  - Here the key click chemistry reaction for the preparation of fluorescent antibiotics [1] with examples of the structures synthesized from the corresponding antibiotics via an azide intermediate [2] based on ciprofloxacin [3], linezolid [4], and trimethoprim are shown [5].

    - LAB MEDIA: Figure 1A

    - LAB MEDIA: Figure 1B

    - LAB MEDIA: Figure 1B Video Editor: please emphasize Cipro-NBD and Cipro-DMACA structures

    - LAB MEDIA: Figure 1B Video Editor: please emphasize TMP-NBD and TMP-DMACA structures

    - LAB MEDIA: Figure 1B Video Editor: please emphasize Linezolid-NBD and Linezolid-DMACA structures

  - In these liquid chromatography mass spectrometry traces from a ciprofloxacin-azide and an NBD (N-B-D)-alkyne click reaction [1-TXT], the azide was eluted at 3.2 minutes [2] and the product was eluted at 3.8 minutes [3].

    - LAB MEDIA: Figure 2 1B TEXT: NBD: nitrobenzoxadiazole

    - LAB MEDIA: Figure 2 1B Video Editor: please emphasize peak at 3.2 minutes in both graphs

    - LAB MEDIA: Figure 2 1B Video Editor: please emphasize peak at 3.8 minutes in both graphs

  - The progress of the click reaction can be followed by the disappearance of the azide peak [1].

    - LAB MEDIA: Figure 2 2B

  - In these spectra, the impact of the purification can be visualized, with erroneous peaks disappearing [1].

    - LAB MEDIA: Figure 2 3B

  - These typical results from the assessment of intracellular accumulation by fluorescence spectroscopy in the presence and absence of efflux [1] show that the intracellular fluorescence of the bacteria is significantly higher after pre-treatment with CCCP [2], indicating that efflux reduces the accumulation within the bacteria [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize grey data bars

    - LAB MEDIA: Figure 3

  - In these representative confocal microscopy images of gram-positive and gram-negative bacteria [1], the localization of the antibiotic within the bacteria can be visualized after CCCP treatment [2].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5 Video Editor: please emphasize green signal in Cipro-NBD row/middle images

  - This phenomenon is not observed when no CCCP is added [1].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize lack of green signal in bottom row of images Cipro-NBD

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - M. Rhia L. Stone: When using fluorescent antibiotics, be mindful of what information you are aiming to gather and be sure to consider which protocols will be most useful for obtaining this data [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - M. Rhia L. Stone: Following their synthesis, fluorescent antibiotics can be used to study a number of bacterial processes, including drug-target interactions and resistance modifications [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera