# Submission ID #: 60750

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18528798

# Title: Time-Lapse Imaging of Mouse Macrophage Chemotaxis

# Authors and Affiliations:

Esther van den Bos1, Stefan Walbaum1, Markus Horsthemke1, Anne C. Bachg1, Peter J. Hanley1

1Institut für Molekulare Zellbiologie, Münster, Germany

# Corresponding Author:

# Peter J. Hanley		(hanley@uni-muenster.de)

# Email addresses for Co-authors:

# Esther van den Bos		(e_vand08@uni-muenster.de)

# Stefan Walbaum		(stefan.walbaum@uni-muenster.de)

# Markus Horsthemke		(marhorst@uni-muenster.de)

# Anne C. Bachg		(a_bach08@uni-muenster.de)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? N

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot.

Step 2.1, Step 2.2, Step 4.1, Step 4.4, Step 4.5, Step 4.7

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document.

Step 2.1 and Step 4.1 are easy to demonstrate (on video), but they are difficult in practice since unwanted air bubbles can undermine the assay. Step 2.1 is performed to prefill the channel and control for bubbles before the cells are introduced.

5. Will the filming need to take place in multiple locations? Multiple rooms, same building

If yes, how far apart are the locations?

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Peter J. Hanley: Traditionally, macrophages have been difficult to study in real-time chemotaxis assays because the cells are slow moving. This protocol provides a means to image macrophages migrating in a chemotactic gradient for six hours or longer.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Esther van den Bos: Compared to end-point assays, such as transwell assays, this technique has the advantages that macrophage morphology can be observed, and parameters such as cell velocity and chemotactic efficiency can be measured.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Stefan Walbaum: Macrophages are implicated in many inflammatory diseases and this technique could be useful to test drugs designed to inhibit chemotaxis. It can also be applied to other cell types, such as human monocytes.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Anne C. Bachg: When attempting this technique for the first time, it is best to practice filling the chemotaxis chambers before working with cells. One of the most important aspects of the technique is the avoidance of air bubbles.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at Institut für Molekulare Zellbiologie, Münster, Germany.

# Section - Protocol

- Prefilling of Chemotaxis Slides

  - Start by prefilling the connecting channels of one or two chemotaxis slides with modified RPMI 1640 HEPES medium prepared according to manuscript directions [1]. Place a slide into a cell culture dish [2-TXT] and set the dish onto an aluminum block heated to 37 degrees Celsius [3], then insert plugs into ports 1 and 4 [4]. Videographer: This step is difficult and important!

    - WIDE: Establishing shot of talent preparing to prefill the channels.

    - Talent placing the slide into the culture dish (which is already on the heated aluminium block).

    - Talent adding plugs and caps (from their sterile packaging) to a second culture dish (beside the heated aluminium block).

    - Talent inserting plugs into ports.

  - Use a 200-microliter beveled pipette tip to deposit 15 microliters of the modified RPMI 1640 HEPES medium into filling port 3 [1]. Next, insert the pipette tip into port 2 and aspirate 15 microliters at a moderately fast rate [2], which will prefill the connecting channel as well as the 2 flanking supply channels [3]. Videographer: This step is important!

    - Talent depositing the medium.

    - Talent inserting the pipette tip into port 2 and aspirating.

    - ECU: Channels filling. Videographer: May not be possible to see this, take a shot of the chemotaxis slide if that is the case.

  - Cover the filling ports 2 and 3 with caps [1] and place the chemotaxis slide on a rack in a closed humidity chamber within an otherwise dry and carbon dioxide-free incubator at 37 degrees Celsius [2].

    - Talent capping the filling ports.

    - Talent placing the slide in the humidity chamber.

- Isolation of Mouse Resident Peritoneal Macrophages

  - To isolate the macrophages, insert a 24-gauge plastic catheter into the peritoneal cavity of a sacrificed, 3 to 4-week-old mouse [1] and use a 5-milliliter plastic syringe to lavage the cavity with ice-cold Hank’s buffered salt solution without calcium or magnesium [2].

    - Talent inserting the plastic catheter into the mouse.

    - Talent washing out the cavity with the syringe.

  - After collecting the lavaged medium in a tube, centrifuge it at 300 x g for 6.5 minutes [1], discard the supernatant [2], and resuspend the cells in 200 microliters of modified RPMI 1640 medium [3].

    - Talent putting the tube with medium in the centrifuge and closing the lid.

    - Talent discarding the supernatant.

    - Talent resuspending the cells.

  - Dilute an aliquot of the cell suspension 1 to 20 [1], then use a counting device to count the cells [2]. Dilute the cells to a final concentration of 10 times 106 cells per milliliter and maintain them at 37-degree Celsius in a heated aluminum block [3].

    - Talent diluting an aliquot of the cells.

    - Talent using a counting device.

    - Talent placing the tube with cells on the aluminum block.

- Seeding Peritoneal Cells and Adding Chemoattractant

  - Pipette the cell suspension up and down 5 times to reduce clumping [1] and gently deposit 10 microliters onto port 3 of a chemotaxis chamber [2]. Place the pipette tip in port 2 and slowly draw the cell suspension into the connecting channel [3]. Videographer: This step is difficult and important!

    - Talent pipetting the cell suspension up and down.

    - Talent depositing the cell suspension onto port 3.

    - Talent placing the pipette tip into port 2 and drawing the cell suspension into the connecting channel.

  - As soon as the cell suspension has been introduced, remove the plugs at ports 1 and 4 to arrest the flow [1] and place caps on all four filling ports [2], then place the chemotaxis slides in a 37-degree Celsius humidity chamber for 2 to 3 hours [3].

    - Talent removing the plugs.

    - Talent capping the ports.

    - Talent placing the slides in the humidity chamber.

  - Inspect the observation area with an inverted microscope [1], then place plugs into filling ports 1 and 2 [2], and check whether filling port 3 is filled to the top with medium and free of air bubbles [3]. If necessary, use a sterile 27-gauge syringe needle to dislodge air bubbles [4].

    - Talent using the microscope. Video Editor: Show Figure 2 C, just the image of cells, as an inset.

    - Talent placing plugs on ports.

    - Close up of port 3, filled up and without air bubbles.

    - Talent dislodging air bubbles.

  - Next, aspirate 60 microliters of medium with a 100-microliter mechanical pipette [1] and place the tip into filling port 3 [2]. Use the volume setting ring to slowly and steadily inject the medium into the reservoir [3] until it reaches the top of filling port 4 after 1 to 2 minutes [4]. Videographer: This step is important!

    - Talent aspirating medium.

    - Talent placing the pipette tip into filling port 3.

    - Talent injecting medium into the reservoir.

    - Medium reaching the top of port 4.

  - To fill the second reservoir, move the plug from port 1 and slowly insert it into port 3 [1]. Aspirate 50 microliters of medium and place the pipette tip into port 4 [2] and slowly inject the medium into the second reservoir so that it reaches the top of filling port 1 after 1 to 2 minutes [3]. Videographer: This step is important!

    - Talent moving the plug from port 1 to port 3.

    - Talent inserting the pipette tip into port 4.

    - Talent slowly injecting the medium.

  - Add 495 microliters of medium to a 2-milliliter microcentrifuge tube [1] and add 5 microliters of Patent Blue V (pronounce ‘patent-blue-five’) [2]. Briefly vortex the mixture [3], then add 5.4 microliters of recombinant mouse complement C5a (pronounce “C-five-a”) and vortex again to mix [4].

    - Talent adding medium to the microcentrifuge tube.

    - Talent adding the blue dye.

    - Talent vortexing the mixture.

    - Talent adding C5a to the mixture.

  - Make sure that the shallow depression at the top of port 1 is medium-free [1] and deposit 15 microliters of the blue, complement C5a-containing medium [2]. Then, insert a 200-microliter pipette tip into filling port 4 [3] and slowly rotate the volume setting ring to draw the medium into the opposite reservoir [4].  Videographer: This step is important!

    - Shallow depression of port 1, medium-free.

    - Talent depositing the medium onto port 1.

    - Talent inserting the pipette tip into port 4.

    - Talent rotating the volume ring to draw the medium into the opposite reservoir.

  - Draw air into the short vertical column of filling port 1 until the fluid-air interface is midway in the column [1], then plug port 1 before gently lifting the pipette from port 4, making sure that the slide remains in place [2], and slowly plug port 4 [3].

    - Talent drawing air until the fluid-air interface is midway in the vertical column.

    - Talent lifting the pipette while keeping the slide in place.

    - Talent slowly plugging port 4.

  - To perform time-lapse imaging, place the chemotaxis slide on the stage of an inverted microscope fitted with a stage incubator [1-TXT] and image the observation area with a 10 X phase-contrast objective lens, focusing on the macrophage lamellipodia [2-TXT].

    - Talent placing the slide on the stage. TEXT: Maintain at 37 °C

    - Talent setting up imaging parameters and starting imaging. TEXT: Image for 14 hours ; 1 frame per 2 minutes

# Section – Results

- Results: Chemotaxis of Mouse Macrophages

  - The chemotaxis slide used for time-lapse video microscopy of mouse peritoneal macrophages has three chemotaxis chambers, each of which has four filling ports [1]. Cells were seeded in the observation area of each chamber [2] and, after a 2 to 3-hour incubation, the chambers were slowly filled with medium [3].

    - LAB MEDIA: Figure 2 A.

    - LAB MEDIA: Figure 2 C. Video Editor: Show the schematic and image side by side.

    - LAB MEDIA: Figure 2 D.

  - When the cells in the observation area were inspected, up to two-thirds of the cells had been washed out [1]. Generally, weakly adherent B1 cells were washed out and the remaining cells were predominantly macrophages [2].

    - LAB MEDIA: Figure 2 E.

    - LAB MEDIA: Figure 2 C and E. Video Editor: Place the two images side by side, don’t use the schematics.

  - To distinguish the macrophages from the B cells, freshly isolated cells were labeled with specific antibodies [1]. The macrophages were labeled with green fluorescence [2], the B cells with red [3], and the cell nuclei with blue [4].

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4. Video Editor: Emphasize the green cells in A.

    - LAB MEDIA: Figure 4. Video Editor: Emphasize the red cells in A.

    - LAB MEDIA: Figure 4. Video Editor: Emphasize the blue nuclei in A.

  - Macrophage migration was investigated by introducing complement C5a (pronounce “C-five-a”), a chemoattractant, to one of the two reservoirs [1]. The migration tracks of macrophages migrating in a complement C5a gradient were recorded [2].

    - LAB MEDIA: Figure 3 A.

    - LAB MEDIA: Figure 3 C.

  - The start point of each migration track was normalized to X equals 0 and Y equals 0 to create a migration plot [1]. Then, cell velocity [2] and chemotactic efficiency [3] of individual macrophages were calculated [4].

    - LAB MEDIA: Figure 3 D, just the migration plot at the bottom.

    - LAB MEDIA: Figure 3 D, just the velocity, x-FMI and y-FMI plots. Video Editor: Emphasize the velocity plot.

    - LAB MEDIA: Figure 3 D, just the velocity, x-FMI and y-FMI plots. Video Editor: Emphasize the x-FMI and y-FMI plots.

    - LAB MEDIA: Figure 3 D, just the velocity, x-FMI and y-FMI plots.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Peter J. Hanley: This technique has been useful for studying the roles of G protein subunits and Rho GTPases in macrophage motility and chemotaxis.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.