## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
3D Printed Probe | In-house | N/A | 3D printed PLA probe (Craftbot, Craft unique)
785nm, 100mW, CW, FC coupled Laser | CrystaLaser | DL785-100-S | DCS component (light source)
Auto-correlator | Correlator.com | Flex05-8ch | DCS component (output g2 curve to PC)
Data Acquisition GUI | In-house | N/A | GUI coded in LabVIEW to run the DCS system
Data analysis software | In-house | N/A | Matlab code used for obtaining RSFC results
EEG Electrode Cap | OpenBCI | N/A | EEG mesh cap with standard 10/20 positions
Multi-mode fiber | OZ Optics | QMMJ-3,2.5-IRVIS-600/630-3PCBK-3 | DCS component (source fiber)
Oxiplex calibration phantom | ISS | 75019, 75020 | Set of 2 PDMS Calibration Phantom
Oxiplex muscle probe | ISS | 86010 | 4 channel muscle probe
Oxiplex Oximeter | ISS | 95205 | FD-fNIRS (690nm, 830nm)
Power meter | Thorlabs | PM100D | Laser light power adjuster
Sensor card | Thorlabs | F-IRC1-S | laser IR beam viewer
Single-mode fiber | OZ Optics | SMJ-3S2.5-780-5/125-3PCBK-3 | DCS component (detector fiber)
Single-Photon Counting Machine | Excelitas | SPMC-NIR-1x2-FC | DCS component (detector)