# Submission ID #: 60771

# Scriptwriter Name: Qingyun Ping

# Project Page Link: https://www.jove.com/account/file-uploader?src=18535203

# Title: Measuring Light-Switching Behavior Using an Occupancy and Light Data Logger

# Authors and Affiliations:  Krzysztof J. Leoniak1,*, Wojciech Cwalina1,*

1Department of Social Psychology, Maria Curie-Skłodowska University, Lublin, Poland

*These authors contributed equally.

# Corresponding Author:

# Krzysztof J. Leoniak

# krzysztof.leoniak@umcs.edu.pl

# Email addresses for Co-authors:

w.cwalina@umcs.edu.pl

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? N

2. Does your protocol include software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.1; 2.7.; 2.8.; 3.1.; 3.2;

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Step 3.2.. In order to success, it is crucial to pay extra attention during mounting of the logger. There are couple of things that should be checked: 1) the logger should be mounted firmly; 2) it should not be in proximity to any heating installations; 3) the occupancy sensor should not be covered; and 4) The light-pipe should be directed into the light source.

5. Will the filming need to take place in multiple locations? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Krzysztof J. Leoniak: The occupancy and light data logger can be used in the field settings to gather information about the occurence of a particular type of energy conservation behavior, which is light-switching [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Krzysztof J. Leoniak: As opposed to natural observation, using data logger allows for fast, reliable and uninterrupted measurement of participants’ behavior, as well as provides an explicit operationalization of a given field experiment [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

# Section - Protocol

- Logger Configuration before Deployment

  - To begin, connect the logger via USB cable to the computer by plugging the larger end of the USB interface cable into a USB port on the computer [1] and the smaller end of the USB interface cable into the port on the device [2].

    - CU: Talent connects a larger end of the USB to the computer.

    - CU; Talent connects a smaller end of the USB to the device. Important Step

  - Launch the software by clicking the Launch icon on the toolbar which opens loggers’ setup window. Enter a name for the launch [1].

    - SCREEN: Talent launches the software and enters a name.  60771_screenshot_1  00:05 – 00:20

  - Select the Light sensor. Set the measurement to log State from the drop-down list, and choose the state description off and on from the drop-down list [1]. Select the Occupancy sensor. Set the measurement to log State from the drop-down list, and choose the state description unoccupied/occupied from the drop-down list [2].

    - SCREEN: Talent selects the light sensor, and adjusts settings. 60771_screenshot_1  00:21 – 00:27

    - SCREEN: Talent selects the occupancy sensor, and adjusts settings. 60771_screenshot_1  00:27 – 00:33

  - Click the Filters button to enable automatic calculation of additional values. Select the sensor type of choice. Select the type of filter and the interval to use. Edit the Name and click Create New Series. Click Done [1].

    - SCREEN: Talent adjusts settings. 60771_screenshot_1  00:34 – 01:22

  - Click the Advanced button to access the sensor properties. Select the Light sensor. Select Set to maximum sensitivity for calibration and click the Save button [1].

    - SCREEN: Talent adjusts sensor properties. 60771_screenshot_1  01:23 – 01:33

  - Select the Occupancy sensor. Select a preset timeout value or select Custom and enter a value in minutes and seconds if needed. Click the Save button [1].

    - SCREEN: Talent selects a present timeout value, and then enters a value. And saves. 60771_screenshot_1  01:34 – 01:41

  - Select when to launch the logger, depending on the experimental plan: immediately; at intervals which is available when logging runtime; on a specified date and time; or, by manually using the start button [1].

    - SCREEN: Talent points to the available 3 choices. 60771_screenshot_1  01:44 – 01:54

  - Select when the logger should stop logging: when memory fills; stop at a specified date and time; stop manually; or, never stop which results in the newest data overwriting the oldest [1].

    - SCREEN: Talent points to the available 5 choices. Important Step 60771_screenshot_1  01:55 – 02:09

  - Click the Start button upon finishing the configuration [1]. Unplug the logger from the computer [2].

    - SCREEN: Talent clicks on start button. 60771_screenshot_1  02:10 – 02:17

    - Talent unplugs the logger.

- Deploying the Logger in the Field Settings

  - Equip the logger with an additional fiber optic light pipe by connecting it to the back of the logger, in order to filter out any ambient and ensure the most accurate readings [1]. Mount the logger with the light pipe next to the designated light source [2]. If previously configured in the software, press the start button at the logger to begin recording [3].

    - Talent connects a light pipe to the logger. Important Step

    - Talent places the logger and the light pipe next to the light source. Important Step

    - [Added shot]: CU: Talent presses the start button at the logger.

  - After finishing recording, revisit the experimental site and remove the logger for the purpose of data readout [1].

    - WIDE: Talent removes the logger.

  - Krzysztof J. Leoniak: The placement of logger mounting should not be in proximity to any kind of heating sources to ensure that only the body heat of the room users will be recorded [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

- Data Readout

  - Connect the logger via USB cable to the computer [1] and launch the analysis software package dedicated to the data logger. Click the Readout device button from the control panel or select Readout from the device menu, which will enable the logger to unload the gathered data [2].

    - Talent connects the logger to the computer.

    - SCREEN: Talent launches the software and unloads the data. 60771_screenshot_2  00:03 – 00:20

  - Choose a location and a filename to save the data. Click Save and select the sensors and events to display in a graph and click Plot [1]. Select the series to view on the table data and plot. Click the All or None button to select or deselect all series, or click the checkboxes to select or deselect individual series [2].

    - SCREEN: Talent saves, and plots a graph. 60771_screenshot_2  00:20 – 00:28

    - SCREEN: Talent selects the series, and shows the all or none button, and the checkboxes. 60771_screenshot_2  00:28 – 00:50

  - Select Export table data from the control panel. Choose destination folder for the export [1].

    - SCREEN: Talent exports the data. 60771_screenshot_2  00:50 – 01:12

# Section – Results

- Results: Field Measurement

  - Data loggers could serve as a useful tool for conducting field experiments in psychology [1].

    - Use 3.1.2.

  - This table shows frequencies of light-switching behavior as well as occupancy time of users across measurement days in each of the restrooms [1].

    - LAB MEDIA: Table 1

  - Logistic regression analysis was performed for light status and restroom type [1]. This table shows the coefficient of the built model [2].

    - LAB MEDIA: Table 2 – Video editor: emphasize the two cells “Restroom type” and “Light status” in the able.

    - LAB MEDIA: Table 2 – Video editor: emphasize the b column.

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Krzysztof J. Leoniak: It is advisable to run a pilot test of the loggers’ deployment on the experimental site to choose the most optional timeout value of occupancy sensor based on the actual occupancy frequencies of participants [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera. – Video editor: B-roll suggestion: Shot 2.6.1.

  - Krzysztof J. Leoniak: While following this procedure, researchers can additionally test the effectiveness of various behavioral interventions, such as prompts with persuasive appeals, aimed at fostering light-switching behavior [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Krzysztof J. Leoniak: In addition to nominal outcomes of light and occupancy status, data logger allows to collect and analyze quantitative information about time of room occupancy status as well as time between occupancy events. [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.