Dear Dr. Alisha DSouza,

We would like to thank you and the Reviewers for the constructive feedback on our manuscript titled “Using HOBO Occupancy/Light Data Logger UX90-005 in field experiments: an example in studying light-switching behavior” (JoVE60771). Also we would like to thank you for the possibility of resubmission. We have made modifications to take into account all of the received feedback. Below you’ll find pointed changes with reference to our resubmitted manuscript as well as to reviewers’ comments. For the purpose of clarity, we let ourselves to respond to each issue in sub-points.

Response to editorial comments

1. As requested, we have simplified the title of our manuscript which now is “Measuring light-switching behavior with the use of occupancy and light data logger”

2. We have re-written lines 121-130, 370-394. Changes are visible in lines 115-121 and 350-368

3. We have changed our discussion based on the existing requirements. We have added following sections: “Critical steps within the protocol” (lines 405-417); “Modifications and troubleshooting” (lines 419-430); “Limitations of the method” (lines 432-442) – this section appeared in originally submitted manuscript; “Significance with respect to existing methods” (lines 444-467) – this section appeared in originally submitted manuscript; “Future applications” (lines 469-481) – this section appeared in originally submitted manuscript

4. We have replaced all commercial sounding language in our manuscript with generic names (appearing in title, summary, title of Figure 1, as well as in lines: 33; 95; 99; 103; 111; 122; 125; 128; 163; 168; 254; 279; 306; 341; 346;  441; 445;  450; 472. Overall, there is no more commercial sounding language in the revised manuscript.

5. We have checked our manuscript for grammatical errors as well as we have defined all abbreviations at first use.

6. We would like to point out that all figures and tables are original. Moreover, we have submitted each figure as a vector image file and uploaded tables as .xlsx files.

Response to the commentary made by Reviewer 1

In the original manuscript we have already provided the information about approval of ethics committee (prior to the description of protocol). We agree with the reviewer that conducting research in the toilet area is associated with "ethical fragility". Therefore we have additionally addressed this issue in lines 415-417 (Discussion, subsection „Critical steps within the protocol).

Response to the commentary made by Reviewer 2

We aggree with the reviewer that the proposed procedure can can primarly help collecting data about occupant light switching behaviors and occupancy. Therefore we’ve edited our claims of contributions to collecting data about the energy conservation behavior (lines: 23; 96-97; 469-470).

--------------------------------------------------------------------

Overall, we would like to thank both Reviewers for the feedback, since we believe it helped us greatly in improving our manuscript. We have tried to revise our manuscript accordingly to points made by all reviewers.

Thank you again for the possibility of resubmission.

We are looking to hearing from you with further comments on our manuscript.

Sincerely,

Krzysztof Jan Leoniak and Wojciech Cwalina