## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Acetone | LabSynth | A1017 | ACS reagent grade
Aluminum (Al) Wire Evaporation | Kurt J. Lesker Company | EVMAL40060 | 1.5 mm (0.060") Dia.; 1lb; 99.99%
Ammonium hydroxide solution | Sigma Aldrich | 338818 | ACS reagent, 28.0-30.0% NH3 basis
Chemoface - Software to set a design of experiment (DOE) | Federal University of Lavras (UFLA), Brazil |  | Free software developed by Federal University of Lavras (UFLA), Brazil - http://www.ufla.br/chemoface/
Cleaning detergent | Sigma Aldrich | Alconox | Alkaline detergent for substrate cleaning
Ethylene glycol | Sigma Aldrich | 102466 | ReagentPlus, ≥99%
Isopropanol | LabSynth | A1078 | ACS reagent grade
Glass substrates | Sigma Aldrich | CLS294775X50 | Corning microscope slides, plain
L-(+)-Tartaric acid | Sigma Aldrich | T109 | ≥99.5%
Mechanical shadow mask for deposition of the sputtered ZnO active layer | Lasertools, Brazil | custom mask | 10 mm x 10 mm square.
Mechanical shadow mask for TFT gate electrode | Lasertools, Brazil | custom mask | 25 mm long stripe, 3 mm wide.
Mechanical shadow mask for TFT source/drain electrodes | Lasertools, Brazil | custom mask | 100 µm stripes, separated by 100 µm gap, overlapping of 5 mm
Plasma cleaner | MTI | PDC-32G | Campact plasma cleaner with vacuum pump
Sputter coating system | HHV | Auto 500 | RF sputtering system with thickness and deposition rate control
Stiring plate | Sun Valley | MS300 | Stiring plate with heating control
Thermal evaporator | HHV | Auto 306 | it has a high precision sensor for measure the thickness and rate of deposition of thin films
Two-channel source-measuring unit | Keithley | 2410 | Keithley model 2410 or similar/for anodization process
Two-channel source-measuring unit | Keithley | 2612B | Dual channel source-measure unit (SMU) for TFT measurements
Ultrasonic bath | Soni-tech | Soni-top 402A | Ultrasonic bath with heating control
Zinc Oxide (ZnO) Sputtering Targets | Kurt J. Lesker Company | EJTZNOX304A3 | 3.0" Dia. x 0.250" Thick; 99.9%