## Sheet1
| Crosstalk | Bright-field | Biological calibration (on a different slide) | Biological calibration (on the same slide)
Accuracya | +++ | + | ++b | +++
Simplicity | ++ | +++ | ++ | ++
Applicable microscopy | Wide-field | Wide-field | All | All
Availability of local alignment | + | + | -c | -c
a: Number of “+” indicates increasing rating. Single plus is about 50 nm and three plus is about 15 nm in 3D.
b: The accuracy depends on how much the variable imaging conditions are kept constant.
c: Local calibration measured by multicolor bead samples can be combined as described in protocol section 4.