# TITLE:

# Quantifying Spatiotemporal Parameters of Cellular Exocytosis in Micropatterned Cells

# AUTHORS AND AFFILIATIONS:

# Hugo Lachuer1,2, Pallavi Mathur1,2, Kevin Bleakley3, Kristine Schauer1,2

1Institut Curie, Unité Mixte de Recherche 144, Molecular Mechanisms of Intracellular Transport group, 75005 Paris, France

# 2Sorbonne Université, Collège Doctoral, F-75005 Paris, France

3INRIA, Université Paris-Sud, 91405 Orsay Cedex, France

Corresponding Author:

Kristine Schauer	(kristine.schauer@curie.fr)

Email Addresses of Co-authors:

Hugo Lachuer 		(hugo.lachuer@curie.fr)

Pallavi Mathur 	(pallavi.mathur@curie.fr)

Kevin Bleakley 	(kevbleakley@gmail.com)

# KEYWORDS:

# micropattern, lysosome, exocytosis, TIRFM, CSR, VAMP7

# SUMMARY:

Live imaging of lysosomal exocytosis on micropatterned cells allows a spatial quantification of this process. Morphology normalization using micropatterns is an outstanding tool to uncover general rules about the spatial distribution of cellular processes.

# ABSTRACT:

Live imaging of the pHluorin tagged Soluble N-ethylmaleimide-sensitive-factor Attachment protein REceptor (v-SNARE) Vesicle-associated membrane protein 7 (VAMP7) by total internal reflection fluorescence microscopy (TIRFM) is a straightforward way to explore secretion from the lysosomal compartment. Taking advantage of cell culture on micropatterned surfaces to normalize cell shape, a variety of statistical tools were employed to perform a spatial analysis of secretory patterns. Using Ripley’s K function and a statistical test based on the nearest neighbor distance (NND), we confirmed that secretion from lysosomes is not a random process but shows significant clustering. Of note, our analysis revealed that exocytosis events are also clustered in nonadhesion areas, indicating that adhesion molecules are not the only structures that can induce secretory hot spots at the plasma membrane. Still, we found that cell adhesion enhances clustering. In addition to precisely defined adhesive and nonadhesive areas, the circular geometry of these micropatterns allows the use of polar coordinates, simplifying analyses. We used Kernel Density Estimation (KDE) and the cumulative distribution function on polar coordinates of exocytosis events to identify enriched areas of exocytosis. In ring-shaped micropattern cells, clustering occurred at the border between the adhesive and nonadhesive areas. Our analysis illustrates how statistical tools can be employed to investigate spatial distributions of diverse biological processes.

# INTRODUCTION:

Exocytosis is a universal cellular process in which a vesicle fuses with the plasma membrane and releases its content. The vesicle can either fuse totally with the plasma membrane (full fusion) or create a fusion pore that stays open during a limited time (kiss-and-run)1. For instance, newly synthesized proteins are released into the extracellular medium from vesicles that come from the Golgi complex. This biosynthetic, anterograde pathway is primordial, especially in multicellular organisms, to secrete signaling peptides (e.g., hormones, neurotransmitters) and extracellular matrix components (e.g., collagen), as well as to traffic transmembrane proteins to the plasma membrane. Additionally, secretions can occur from different endosomes: 1) recycling endosomes in order to reuse transmembrane proteins; 2) multivesicular bodies (MVBs) to release exosomes; and 3) lysosomes for the release of proteolytic enzymes. Endosomal secretion has been shown to be important for neurite outgrowth, pseudopodia formation, plasma membrane repair, and ATP-dependent signaling2.

To study exocytosis at the single cell level, several techniques have been employed. Patch-clamp allows for the detection of single exocytosis events with a high temporal resolution in a wide variety of living cells3. However, this method does not provide information on the localization of exocytosis events, nor from which compartment it occurs. Electron microscopy allows direct visualization of exocytic events with high spatial resolution, and in combination with immunolabeling provides information about the specificity of the compartments and molecules involved. A disadvantage of this approach is the lack of information on the dynamics of the process, as well as its inability to perform high-throughput studies. Light microscopy approaches such as total internal reflection fluorescence microscopy (TIRFM), which exploits the evanescent field to illuminate fluorophores at the vicinity of the coverslip (100 nm), provides good temporal and spatial resolution to study exocytosis events. However, this method is only compatible with adherent cells and can only be applied to the ventral/inferior part of cells.

Of note, the plasma membrane reveals significant heterogeneity based on adhesive complexes that are present only in restricted areas. This heterogeneity restricts, for instance, the uptake of different ligands4. Similarly, it has recently been reported that secretion from the Golgi complex is concentrated at “hot spots” in the plasma membrane5. Moreover, it is known that certain cargos are secreted through focal-adhesion-associated exocytosis6. Thus, special attention should be paid to the question of whether exocytosis events are randomly distributed in space, or whether they are concentrated at specific areas of the plasma membrane. Several statistical tools based on Ripley’s K function have been proposed to explore these questions7,8,9. Our approach combines these tools with micropatterning to control cell shape and plasma membrane heterogeneity. In addition to providing a means to distinguish between adhesive and nonadhesive areas, this technique also allows comparison across different cells and conditions and increases the power of statistical analyses.

Here we employ a variety of statistical tools to study the spatial distribution of exocytosis events from the lysosomal compartment monitored by TIRFM live cell imaging of VAMP7-pHluorin in ring-shaped micropattern-normalized hTert-RPE1 cells. It was confirmed that secretion from lysosomes is not a random process8,9 and that exocytosis events exhibit clustering. Of note, we found that exocytosis events are also clustered in nonadhesive areas, indicating that adhesion molecules are not the only structures that can induce secretory hot spots at the plasma membrane. Nevertheless, cell adhesion did enhance clustering. Consistently, our analysis identified enriched areas of exocytosis that were located at the border between the adhesive and nonadhesive areas.

# PROTOCOL:

1. Preparation of micropatterned cells

  - Transfection of cells

    - One day before transfection, seed 2.5 x 106 hTERT-RPE1 cells into one well of a 12 well plate (2 x 2 cm) in 1 mL of medium.

    - On the day of transfection, prepare the transfection mixture with VAMP7-pHluorin plasmid (100 µL of buffer, 0.8 µg of DNA, 3 µL of transfection mixture). Incubate for 10 min.

NOTE: VAMP7 is a lysosomal v-SNARE, fused with a luminal pHluorin tag. The pHluorin probe is quenched by low pH, but during exocytosis protons are released and pHluorin starts emitting a signal10,11.

    - Add the transfection mix to the cells in their medium.

    - Change the medium 4 h after adding the transfection mix on the cells.

    - Use the cells for experiments during the next 24–48 h.

  - Micropattern preparation (photolithography method)

    - Wash the coverslips (22 x 22 mm) in ethanol and let them dry for 5 min.

    - Activate coverslips by illumination under deep UV for 5 min.

    - Create a humid chamber by thoroughly humidifying a paper towel on which a paraffin film is placed. Add drops (30 μL for 22 mm coverslip) of Poly-L-Lysine-graft-Polyethylene Glycol (PLL-g-PEG) solution (0.1 mg/mL, 10 mM HEPES, pH = 7.4) and place coverslips with the activated surface on them. Close the humid chamber with a top and incubate coverslips for 1 h.

    - Wash coverslips 2x in PBS and 1x in distilled water and let them dry.

    - Wash the quartz photomask with distilled water and then with ethanol or propanol. Dry the photomask with filtered airflow.

NOTE: The quartz photomask is coated on one side with antireflective chrome that contains holes in the form of micropatterns. A photomask containing ring-shaped micropatterns of 37 µm is used in this protocol. When deep UV is shined on the photomask, the light can only pass through these holes12.

    - Expose the photomask (chrome-coated side) to deep UV for 5 min to clean the surface.

    - Add small water drops (10 µL for a 20 mm coverslip) on the chrome-coated side of the photomask. Place the coverslip with their PLL-g-PEG-treated side on the drop and dry the extra water. Make sure that no air bubbles form between the mask and the coverslips.

# NOTE: The capillary force of the water will immobilize the coverslips.

    - Expose the photomask to deep UV for 5 min with the non-chrome-coated side up (the coverslips are attached on the lower surface).

NOTE: The light can only pass through the holes and modify the PLL-g-PEG-treated surface of coverslips below the photomask.

    - Remove the coverslips from the photomask by adding excess water.

# NOTE: Coverslips should quickly float off.

    - Incubate the coverslips in a solution of extracellular matrix proteins (50 μg/mL of fibronectin, 5 μg/mL of fluorescent fibrinogen diluted in water) on paraffin film in a humid chamber (as in step 1.2.3) for 1 h under a laminar flow hood to avoid contamination.

# NOTE: The experiment can be paused at this point by storing the coverslips in PBS at 4 °C.

  - Cell seeding on micropatterned surfaces

    - Use a magnetic coverslip holder that fits the size of the micropatterned coverslips to mount the coverslips. On the day of acquisition, heat the coverslip holder to 37 °C to avoid thermal shock for the cells during subsequent steps.

    - Prepare the pattern medium by supplementing DMEM/F12 medium with 20 mM HEPES and 2% of penicillin/streptomycin.

    - Place coverslips into the holder with the micropatterned side up and add pattern medium as soon as the coverslip is on the holder base. Add the seal and immobilize with the magnetic device. Fill the coverslip holder with the pattern medium and close it with the glass lid.

NOTE: Be quick, to not allow the coverslip to dry. Do not wash the coverslip holder with ethanol between experiments, because the seal might retain some ethanol, which can react with PLL-g-PEG and result in cell stress. Wash the coverslip holder only with soapy water. Moreover, the joint can be incubated in the pattern medium at 37 °C for 1 h to dilute residual product.

    - Collect transfected hTERT-RPE1 cells by trypsinization (0.5 mL for one 12 well plate) and add 1 mL of 10% FBS DMEM/F12 medium.

    - Add 0.5 x 106 transfected hTERT-RPE1 cells to the coverslip holder and reclose it. Incubate for 10 min in the incubator.

    - Wash the coverslip holder 5x with pattern medium to remove nonattached cells and residual FBS by adding the pattern medium with one pipette and aspirating the medium with another pipette to create a washing flow. Always keep a small volume of pattern medium in the coverslip holder to avoid drying of the cells on the micropatterned coverslip, which will lead to cell death.

    - Incubate in the incubator for 3 h to allow full cell spreading.

2. Acquisition of exocytosis data

# 2.1. Imaging of exocytosis events

    - Place coverslip holder under a TIRM. The signal has to be detected by a sensitive camera set up with the best imaging format available.

NOTE: In this experiment, a 100x lens objective and an EMCCD camera with 512 x 512 pixel detection region was used giving rise to a pixel size of 160 nm.

    - Search for a cell expressing VAMP7-pHluorin that is fully spread (Figure 1A).

# NOTE: Cells expressing VAMP7 are clearly identifiable, because they exhibit a green signal.

    - Change the angle of the laser until a TIRF angle that allows the visualization of VAMP7-pHluorin exocytosis events is reached. Perform a 5 min acquisition at a frequency compatible with the exocytosis rate and time scale (typically 3 Hz, Figure 1D) using the microscope software.

NOTE: hTERT-RPE1 cells have a lysosomal secretory rate of around 0.3 Hz on micropatterns. Lysosomal exocytosis has a typical duration of 1 s. It is characterized by a peak intensity followed by an exponential decay. The diffusion of the probe should be evident at this time (Figure 1B, C).

    - For each cell, also perform an acquisition of the micropattern using the microscope software (Figure 1A).

# 2.2. Acquisition of exocytosis coordinates

    - Open the acquired movie with ImageJ/FIJI. Use File | Import | Image Sequence. Find exocytosis events by eye. An exocytosis event is characterized by the appearance of a bright signal that spreads outwards (Figure 1).

    - Use the point tool to mark the center of the exocytic event. Use Analyze | Measure to measure X and Y coordinates, as well as the temporal coordinate (slice number). Perform these measurements for all exocytosis events of the movie.

    - Save the results (Results | File | Save As). Prepare a text file for each analyzed cell named “Results(cell_name).txt” that contains the slice, X coordinates, and Y coordinates for all exocytosis events in that order.

The text file is supposed to look like this:

ID	X	Y	Feret's diameter	Radius

RPE1_WT_Cell1		167	136	230	115

RPE1_WT_Cell2		164	160	230	115

NOTE: Be careful to replace all commas with points.

    - Measure the center and diameter of each cell using the “Oval Tool”. Fit a perfect circle (do not use an oval) and use “Measure” to obtain the X and Y coordinates and Feret's diameter. Save each cell’s identity (ID), X and Y coordinates, Feret’s diameter, and radius (diameter/2) in a text file named “Spherical parameter.txt”.

The text file is supposed to look like this:

ID	X	Y	Feret's diameter	Radius

RPE1_WT_Cell1		167	136	230	115

RPE1_WT_Cell2		164	160	230	115

NOTE: Be careful to replace all commas with points.

    - Measure the thickness of the micropattern ring (adhesion length) with the straight tool and save the cell ID, cell radius (from the file: “Spherical parameter.txt”), and adhesion length in a text file named “Pattern parameter.txt”. Calculate the normalized adhesion length by dividing the adhesion length by cell radius.

NOTE: Be careful to replace all commas by points.

The file should look like this:

ID	Cell radius	adhesion length	Normalized adhesion length

RPE1_WT_Cell1		115	34	0.295652174

RPE1_WT_Cell2		115	35	0.304347826

3. Single cell spatial analysis

3.1.	R package and installation

NOTE: The R package for this analysis takes advantage of the Spatstat package13 to compute the two-dimensional (2D) density and Ripley’s K function. The code is open-source and uses text files that have been previously described.

    - Download and install R from https://www.r-project.org/ (version 3.5.2 was used in this analysis).

    - Download the package (and the demo dataset) from: https://github.com/GoudTeam/JoVE-paper

    - Install the package on R Studio using “Tools” using “Install Packages”. Select “Package Archive File (.zip; .tar.gz)” for the category “Install from:” and choose the package file. Press “Install”.

    - Load the package with the function “library("ExocytosisSpatialAnalysis")” by writing this command in R studio and pressing “Enter”.

    - Run the package with the function “ESA()” by writing this command in R studio and pressing “Enter”.

# NOTE: A user interface will open.

    - Select the directory for the dataset (.txt files) and a directory for output plots.

NOTE: Parameters of the analysis (see text below) can be changed through a user interface.

    - This script will automatically start and perform the analysis. It provides .pdf files of corresponding plots and .txt files containing numerical results.

# REPRESENTATIVE RESULTS:

The spatiotemporal characteristics of exocytosis events were analyzed from lysosomes visualized by VAMP7-pHluorin10-11 in hTert-RPE1 cells. hTert-RPE1 cells are nontransformed cells that adopt well to micropatterning and have been extensively used in previous micropattern-based studies4,14. VAMP7 is a lysosomal v-SNARE15 that was tagged with the super ecliptic pHluorin at its N-terminus and is located in the lumen of the lysosome. Inside the cell, the pHluorin probe was quenched by the low pH of the lysosome, but during exocytosis pHluorin started to emit a signal because the pH increased due to proton release. VAMP7-pHluorin was monitored by TIRFM live cell imaging on ring-shaped micropatterns (Figure 1A–B). The pHluorin signal exhibited a peak during exocytosis that represented the fast release of lysosomal protons followed by exponential decay, representing the 2D diffusion of the probe at the plasma membrane (Figure 1C). hTERT-RPE1 cells presented an important lysosomal secretion activity with an averaged exocytosis rate of 0.28 Hz (Figure 1D). However, high heterogeneity was observed in the exocytosis rate across cells (standard deviation of 0.15 Hz), indicating that there was strong cell-to-cell variability in secretion from the lysosomes.

# Single cell spatial analysis to investigate whether exocytosis of lysosomes is random

It was possible to visualize the 2D distribution of exocytosis by KDE, as previously performed for endomembranous compartments14, which could reveal differences in local densities (Figure 2B). This approach is pertinent for visualization of the average distribution of a population of cells, but less informative in single cells due to the limited number of events detected (tens versus the several thousand obtained by population-based analysis) and high cell-to-cell variability. For instance, this approach did not allow us to evaluate whether the distribution of exocytosis events followed a complete spatial randomness (CSR) behavior (i.e., corresponded to a uniform point distribution in an observed region for a single cell). A points pattern follows a CSR behavior when the two following hypotheses are true: 1) each point's location is independent of that of the other points; and 2) the probability to find a point in a subregion is only dependent on the ratio between this subregion's area and the total area. There are three possible deviations from CSR: 1) clustering (i.e., aggregation); 2) dispersion (i.e., ordering with constant distance); or 3) a mixture of clustering and dispersion (Figure 2C). Ripley’s K function was used to answer this question as in previous analyses7,8,9 (Figure 2D). Ripley’s K function is close to πr² (with d being the normalized distance from an event) in the case of CSR, but superior (respiratory inferior) to πr² in the case of clustering (respiratory dispersion). By subtracting πr² from Ripley’s K function, the theoretical CSR curve should be at 0. Simulations of CSR cases were performed using the same number of points as the observed exocytosis events to assess the goodness-of-fit for the CSR case (gray envelope around the theoretical curve). The transformed Ripley’s K function applied to the experimental data exhibited positive values outside the envelope, indicating clustering (Figure 2D).

To investigate if clustering of exocytosis events was due to cell adhesion as previously reported6, we performed a similar analysis on data from exclusively the nonadhesive cell area in the center (Figure 2A, adhesive area in gray, nonadhesive cell center area in white). Of note, we found that exocytosis events in the nonadhesive area were also clustered (Figure 2E), indicating that adhesion molecules were not the only structures that induced secretory hot spots at plasma membranes.

Because Ripley’s K function is a descriptive statistic that does not provide a P value, a statistical test was set up comparing cellular exocytosis events with CSR simulations. The nearest neighbor distance NND(i) method was used. NDD is defined as the minimal Euclidian distance between a point i and all other points. The average NND(i) from all exocytic events of one cell was computed and compared to CSR obtained with a high number of Monte Carlo simulations (Figure 2F). We found that the average NND of the single cell analyzed in Figure 2F was lower than the average of the simulated distribution of the CSR case, indicating closer neighbors on average and thus clustering. In the case of dispersion, a higher value for the average NND was expected (Figure 2C). This comparison allowed the calculation of a P value for each cell. The P value represents the percentage of simulations that exhibited a more extreme NND (in a two-sided way). To be precise, the unbiased P value was computed as (k+1)/(N+1) with N being the total number of Monte-Carlo simulations (10,000), and k the number of these simulations that was more extreme than the observed measurent16. The histogram of all P values was plotted for the total cell area (Figure 2G) and the nonadhesive cell area (Figure 2I). If H0: “Exocytosis is a CSR process” was true, a uniform distribution of P values was expected. If H0 was false, a peak at a low P value was expected. Performing a Kolmogorov-Smirnov test on the P value histograms, a P value inferior to 0.001 was obtained, showing a significant deviation from CSR in both cases (Figures 2G and 2I). Moreover, a clustering coefficient of 0.955 for the total cell area and 1.000 for the nonadhesive cell area indicated that lysosomal exocytosis was a clustered process independent of cell adhesion. The clustering coefficient represents the percentage of cells that were closer to a clustering behavior than dispersion. This result was consistent with Ripley’s K function.

To evaluate the role of cell adhesion in clustering, we compared the average NND in the nonadhesive area with that in the overall area for each individual cell (Figure 2H). Because the average NND was inversely proportional to the surface density, we normalized the average NND of the nonadhesive area using homothety. The significantly larger average NND of exocytosis events in the nonadhesive area indicated less clustering (Figure 2H). Thus, although secretion from lysosomes clusters in nonadhesive areas, cell adhesion seemed to enhance clustering.

# Spatial analysis of exocytosis events using polar coordinates

The circular geometry of the ring-shaped micropattern allowed the use of the common polar coordinates, which simplified analyses, as previously found17. Each exocytosis event could thus be described by a modulus (distance from the origin, here the center of the lower plane of the cell) and an angle (according to a fixed arbitrary axis). Additionally, the modulus can be normalized by dividing it by the radius of the cell. The histogram of exocytosis events was plotted according to the modulus for a representative cell (Figure 3A). This revealed a peak around the border between the adhesive/nonadhesive areas. A large variability between cells was also observed. Therefore, we pooled n = 22 cells to obtain an average distribution of exocytosis events. However, in order to give the same statistical weight to each cell, the same number of events from each cell was randomly selected. This random selection did not change the overall patterns seen. To obtain a continuous average distribution of the individual distributions of single cells, a KDE was used (Figure 3B). However, because the normalized modulus is between 0 and 1, edge conditions had to be taken into consideration. A beta kernel that changes shape next to edges was used18. An error band was computed with a bootstrap strategy. The observed average distribution was compared to a hypothetical CSR distribution that showed more events at a higher modulus, because the area increased with a higher modulus. Because the integral of a probability density should be one, the CSR distribution was 2r (with r the normalized radius, without units). A confidence band was computed around the theoretical curve using a large number of CSR Monte Carlo simulations (5,000 each). The 1st and 99th percentiles of the modulus distribution from these simulations were plotted. We found that the average distribution of exocytosis events deviated from the hypothetical one at 0.7rmax, which corresponds to the beginning of the adhesive area of the cell.

We sought to test whether the observed distribution of the modulus was different from the theoretical one. Because average distributions, as in this case, cannot be accurately tested by a goodness-of-fit test (e.g., Kolmogorov-Smirnov) an alternative method proposed by Pecot et al. was employed. This method measures the difference between the variation across a population and the variation inside a population, and thus allows independent testing for each coordinate (i.e., modulus and angle)17. This test was used to compare our data to simulated data representing CSR exocytosis events (the same number of cells and exocytosis events as the observed data), and found a statistically significant difference in the variations (p < 0.001 with the Wilcoxon-Mann-Whitney test, n = 22 cells), indicating that the observed average exocytosis distribution was not CSR. However, when two CSR simulations (with 5,000 simulations each) were compared, we found that the P value histogram did not show a uniform distribution, but exhibited a peak near 1, indicating that this test probably lacked sensitivity.

Because the KDE estimation relies on a non-trivial choice of kernel bandwidth and is sensitive to edge effects, the cumulative distribution function was also computed, which overcomes the problems inherent in KDE estimation (Figure 3D). This function is defined between 0 and 1 and does not contain any arbitrary parameters or biases (e.g., edge biases). Error and confidence bands were computed in the same way as for the modulus distribution. The cumulative distribution function confirmed that exocytosis events did not follow a CSR distribution but were overconcentrated at moduli around 0.7rmax. This analysis thus allowed us to identify cellular areas where clustering occurred. An interesting question that this result raises is whether the overconcentration at 0.7rmax was because of the presence of adhesive/nonadhesive areas of the ring-shaped micropattern or an effect of peripheral/central secretion areas of cells.

As the average distribution of exocytosis events deviated from the CSR case in nonadhesive as well as adhesive areas, we also wondered where the exocytosis density was highest. The surface densities of exocytosis in adhesion and nonadhesion areas were computed and compared. We found that the surface density was lower in the adhesion area than in the nonadhesion area by a paired analysis (Figure 3C). This could be explained by the strong decrease of exocytosis at the cell periphery (0.85 – 1rmax, Figure 3B).

# FIGURE LEGENDS:

Figure 1. Exocytosis from lysosomes in hTert-RPE1 cells: (A) Ring-shaped micropattern (red) and adhesive hTert-RPE1 cell transfected with VAMP7-pHluorin (green) imaged by TIRFM. The arrow shows an exocytosis event. Scale bars = 10 µm. (B) Kymograph of exocytosis events. Arrows show exocytosis events. Scale bar = 2 µm, scale bar in time = 5 s. (C) Normalized intensity profile of lysosomal exocytosis from 22 cells. Each point is an average of at least 1,530 exocytosis events. Data are presented ± SEM. (D) Exocytosis rate of the 22 cells. The average +/- standard deviation is plotted in red.

Figure 2. Spatial analysis of lysosomal exocytosis events. (A) Scatter plot of exocytosis events during 5 min acquisition. Each dot represents one exocytosis event. The adhesive area is shown in gray. (B) 2D kernel density estimation (KDE) of scatter plot of A. The color represents the local density of exocytosis events. (C) Schematic representation of possible point patterns. The four cases, Complete Spatial Randomness (CSR), Clustering, Dispersion, and Mixed are shown, and several nearest neighbor distances (NND) are plotted (dashed lines) to show how the average NND decreased in clustering and increased with dispersion. (D) Analysis of one representative cell using Ripley’s K function. The red dashed line equals "Ripley’s K function - πr²" for CSR events, the gray envelope represents the estimated goodness-of-fit from Monte Carlo simulations with the same number of points as exocytosis events (Nevent = 81). The black solid line equals "Ripley’s K function – πr²" for observed exocytosis events (Nevent = 81). Its positive deviation from the red curve out from the gray envelope indicates clustering of exocytosis events. Ripley’s K function was normalized to have a maximum value of 1. (E) Analysis of the nonadhesive area of the same cell using Ripley’s K function as in D. The positive deviation from the red curve outside the gray envelope indicates a clustering of exocytosis events in the nonadhesive area. (F) Comparison of the average NND distribution from one representative cell (red line) with the KDE of the CSR obtained from Monte Carlo simulations (blue curve). The P value was calculated as the percentage of simulated values that were more extreme than the value observed. (G) P value histogram obtained from the NND test as in F for n = 26 cells. The peak at low P values means that the null hypothesis “exocytosis follows CSR” was rejected with a Kolmogorov-Smirnov test, indicating that lysosomal exocytosis was not CSR. (H) Box-plot of average NND from exocytosis events in nonadhesive areas (white) and total cell areas (gray). The two data points from the same cell are joined by a line. The average NND was bigger in the nonadhesive area, p < 0.001 with a paired Wilcoxon test (n = 25 cells), indicating significantly less clustering in the nonadhesive area. (I) Same as G for the nonadhesive area for n = 26 cells.

Figure 3. Spatial analysis of pooled lysosomal exocytosis events: (A) Histogram of the exocytosis events of one representative cell during a 5 min acquisition with n = 161 exocytosis events as a function of the normalized modulus; 0 represents the cell center and 1 the cell periphery. The adhesive area of the cell is shown in gray and corresponds to moduli from 0.65–1 for the cells shown. There is a peak at the beginning of the adhesive area around moduli between 0.6 and 0.7. (B) KDE of the exocytosis events as a function of the normalized modulus for n = 22 cells with 56 events in each cell; 0 represents the cell center and 1 the cell periphery. The average adhesive area is shown in gray and corresponds on average to moduli from 0.61–1. The dashed blue curve is the theoretical curve expected in the case of CSR. This theoretical curve is accompanied by an envelope that represents the 1st–99th percentiles of CSR obtained using the Monte Carlo simulation. The KDE curve from the observed data is in red and accompanied by an error band generated by bootstrapping. The adhesive area is in gray +/- SEM. (C) Paired analysis of the surface densities in adhesion and nonadhesion areas. The exocytosis surface density was computed as the number of events per normalized area and per second. Here, *p < 0.05 from a paired student t-test (n = 22 cells). Normality was previously tested by a Shapiro-Wilk test. (D) Cumulative distribution function of the data in B (red line) and from Monte Carlo CSR simulations (dotted blue line). Envelopes were generated as in B. Note that the red line deviates from the theoretical CSR at around 0.7rmax.

# DISCUSSION:

We monitored exocytosis events from the lysosomal compartment by TIRFM live cell imaging of VAMP7-pHluorin in ring-shaped micropattern-normalized cells and performed a rigorous statistical analysis of the spatial parameters of exocytosis events. Employing the transformed Ripley’s K function and a statistical test based on the nearest neighbor distance, we confirmed that secretion from lysosomes is not a random process8,9. Both statistical analyses convincingly showed that exocytosis events exhibit clustering (Figures 2D and 2G). Applying similar tools to the nonadhesive cell area, we found that exocytosis events are also clustered in nonadhesive areas (Figures 2E and 2I). Thus, adhesion molecules that have been previously reported to allow clustering6 are not the only structures that can induce secretory hot spots at the plasma membrane. However, cell adhesion enhanced clustering: the average nearest neighbor distance between exocytosis events was significantly larger in nonadhesive areas (Figure 2H). Consistently, our analysis based on kernel density estimation and the cumulative distribution function identified enriched areas of exocytosis that were located at the border between the adhesive and nonadhesive areas in ring-shaped micropattern cells. More work is necessary to determine the molecular mechanisms underlying clustering, such as adhesion or a specific targeting of lysosome to this region. Interestingly, we observed high heterogeneity in the exocytosis rate across hTERT-RPE1 cells (standard deviation of 0.15 Hz for average exocytosis rate of 0.28 Hz, Figure 1D), indicating that secretion from lysosomes has high intercellular variation. Therefore, subpopulation analyses should be considered in future work. It would be particularly interesting to investigate if this variation reflects the diversity of lysosomal compartments, differences in cargos, or dependence on exocytosis machinery.

These results illustrate how statistical tools can be employed to investigate spatial parameters of diverse biological processes. Moreover, micropatterns facilitate the study of the effect of cell adhesion in an unbiased manner with the help of different micropattern geometries (e.g., ring-shaped versus diskshaped). In particular, the use of round shapes facilitates analyses because polar coordinates can be employed. Because statistical tools require a certain amount of data to be meaningful, cells with more than 30 events were used for our analysis. However, there is a possibility that cells with 30 or fewer events are meaningful. Thus, sampling cells with 30 or fewer events could be performed in order to obtain sufficient events for analysis to determine if this is the case. Similarly, it is difficult to estimate how many cells should be analyzed, particularly if there is strong intercellular variation. One way to circumvent this is to randomly select the same number of events from each cell in order to give the same statistical weight to each cell when pooling them. However, we recommend that analyses on fewer than 15 cells be done with precaution. As average distributions of pooled cells cannot be accurately tested by goodness-of-fit tests (e.g., Kolmogorov-Smirnov) we employed a test statistic proposed by Pecot et al. that measures the difference in variations of populations17. Although this test allowed us to find a statistically significant difference in the variations in the average distributions, we suspect that this test has low sensitivity because the P value histogram was not flat (i.e., showed uniform distribution) when comparing different CSR simulations for p values close to 1. Therefore, this statistical procedure may need to be improved.

One drawback to our analyses is the manual detection of exocytosis events, which drastically reduces the speed of the analysis. Limitations in automatic detection are often due to strong heterogeneity in the unique and simple parameter being analyzed (e.g., intensity of exocytosis events). Neural networks could be potentially powerful for automatic detection, because they can be trained to recognize many features.

The analysis presented here can be applied to other dynamic processes observed by TIRFM, such as secretion from other compartments and the distribution of the membrane microdomain or antigen presentation. Similar analyses can also be applied to fixed cells in order to study the spatial distribution of proteins. We hope that our work will enhance the increasing interest in spatial distribution analysis in cell biology.

# ACKNOWLEDGMENTS:

We greatly acknowledge Thierry Galli (Center of Psychiatry and Neurosciences, INSERM) for providing the VAMP7-pHluorin plasmid. We thank Tarn Duong for advice on statistical analysis and members of the GOUD laboratory for fruitful discussions. The authors greatly acknowledge the Cell and Tissue Imaging Facility (PICT-IBiSA @Burg, PICT-EM @Burg and PICT-IBiSA @Pasteur) and Nikon Imaging Center, Institut Curie (Paris), member of the French National Research Infrastructure France-BioImaging (ANR10-INBS-04). H.L. was supported by the Association pour la Recherche sur le Cancer (ARC) and P.M. received funding from the European Union’s Horizon 2020 research and innovation programme under Marie Skłodowska-Curie grant agreement No 666003. This work was supported by grants from INFECT-ERA (ANR-14-IFEC-0002-04), the Labex CelTisPhyBio (ANR-10-LBX-0038) and Idex Paris Sciences et Lettres (ANR-10-IDEX-0001-02 PSL), as well as the Centre National de la Recherche Scientifique and Institut Curie.

# DISCLOSURES:

# The authors have nothing to disclose.

# REFERENCES:

- Wu, L.-G., Hamid, E., Shin, W., Chiang, H.-C. Exocytosis and endocytosis: modes, functions, and coupling mechanisms. Annual Review of Physiology. 76, 301–331 (2014).

- Samie, M. A., Xu, H. Lysosomal exocytosis and lipid storage disorders. Journal of Lipid Research. 55, 995–1009 (2014).

- Neher, E., Marty, A. Discrete changes of cell membrane capacitance observed under conditions of enhanced secretion in bovine adrenal chromaffin cells. Proceedings of the National Academy of Sciences of the United States of America. 79, 6712–6716 (1982).

- Grossier, J. P., Xouri, G., Goud, B., Schauer, K. Cell adhesion defines the topology of endocytosis and signalling. The EMBO Journal. 33, 35–45 (2014).

- Fourriere, L. et al. RAB6 and microtubules restrict protein secretion to focal adhesions. Journal of Cell Biology. 218, 2215–2231 (2019).

- Wang, Y., McNiven, M. A. Invasive matrix degradation at focal adhesions occurs via protease recruitment by a FAK-p130Cas complex. Journal of Cell Biology. 196, 375–385 (2012).

- Lagache, T., Lang, G., Sauvonnet, N., Olivo-Marin, J. C. Analysis of the spatial organization of molecules with robust statistics. PLoS One. 12, e80914 (2013).

- Yuan, T., Lu, J., Zhang, J., Zhang, Y., Chen, L. Spatiotemporal Detection and Analysis of Exocytosis Reveal Fusion “Hotspots” Organized by the Cytoskeleton in Endocrine Cells. Biophysical Journal. 108, 251–260 (2015).

- Urbina, F. L., Gomez, S. M., Gupton, S. L. Spatiotemporal organization of exocytosis emerges during neuronal shape change. Journal of Cell Biology. 217, 1113–1128 (2018).

- Martinez-Arca, S., Alberts, P., Zahraoui, A., Louvard, D., Galli, T. Role of Tetanus Neurotoxin Insensitive Vesicle-Associated Membrane Protein (Ti-Vamp) in Vesicular Transport Mediating Neurite Outgrowth. Journal of Cell Biology. 149, 889–900 (2000).

- Alberts, P. et al. Cdc42 and Actin Control Polarized Expression of TI-VAMP Vesicles to Neuronal Growth Cones and Their Fusion with the Plasma Membrane. Molecular Biology of Cell. 17, 1194–1203 (2006).

- Azioune, A., Storch, M., Bornens, M., Théry, M., Piel, M. Simple and rapid process for single cell micro-patterning. Lab on a Chip. 9, 1640–1642 (2009).

- Baddeley, A. Rubak, E., Turner, R. Spatial point Patterns: Methodology and Applications with R. CRC Press, Indianapolis, IN. (2015).

- Schauer, K. et al. Probabilistic density maps to study global endomembrane organization. Nature Methods. 7, 560–566 (2010).

- Advani, R.J. et al. Seven Novel Mammalian SNARE Proteins Localize to Distinct Membrane Compartments. Journal of Biological Chemistry. 273, 10317–10324 (1998).

- North, B. V., Curtis, D., Sham, P. C. A Note on the Calculation of Empirical P Values from Monte Carlo Procedures. American Journal of Human Genetics. 71, 439–441 (2002).

- Pecot, T., Zengzhen, L., Boulanger, J., Salamero, J., Kervrann, C. A quantitative approach for analyzing the spatio-temporal distribution of 3D intracellular events in fluorescence microscopy. eLife. 7, e32311 (2018).

- Chen, S. X. Beta kernel estimators for density functions. Computational Statistics & Data Analysis. 31, 131–145 (1999).