# Submission ID #: 60801

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18544353

# Title: Quantifying Spatiotemporal Parameters of Cellular Exocytosis in Micropatterned Cells

# Authors and Affiliations: Hugo Lachuer1,2, Pallavi Mathur1,2, Kevin Bleakley3, and Kristine Schauer1,2

1Institut Curie, Unité Mixte de Recherche 144, Molecular Mechanisms of Intracellular Transport Group

# 2Sorbonne Université, Collège Doctoral

3INRIA, Université Paris-Sud

# Corresponding Author:

# Kristine Schauer

# kristine.schauer@curie.fr

Email addresses for Co-authors:

hugo.lachuer@curie.fr

pallavi.mathur@curie.fr

kevbleakley@gmail.com

Author Questionnaire:

1. Microscopy: Does your protocol require JoVE to film through your microscope? Y

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most visually important?

2.7.-2.9., 3.5.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.5.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Kristine Schauer: This protocol demonstrates how to investigate cell secretion using live imaging by TIRF microscopy and provides tools for detecting clustering events or regions of high activity [1]. Videographer NOTE: last one

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Hugo Lachuer: Using this protocol, we can generate cell cultures on micropatterned surfaces that normalize cell adhesion and thus facilitate the spatial analysis of secretory events [1]. Videographer NOTE: one before last

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Pallavi Marthur: Cells secrete a variety of macromolecules that play important roles in immune regulation. In cancer, deregulated secretion affects the release of proteolytic enzymes that facilitate invasion [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer NOTE: take 2

  - Hugo Lachuer: The quantification of secretion will enable us to better understand deregulated secretion in cancer and other dynamic processes, such as antigen presentation [1]. Videographer NOTE: last one

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time

  - Kristine Schauer: Although our imaging and analysis protocol is straightforward, it requires the generation of single cell cultures that are well spread on adhesive micropatterns [1]. Videographer NOTE: last one

    - INTERVIEW: Named talent speaking the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time

  - Pallavi Mathur: In this video, we will demonstrate how to culture cells on micropatterned coverslips and how to visualize and analyze secretory events using spatial statistical tools [1]. Videographer NOTE: last one

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer: Can cut for time

# Section - Protocol

- Micropattern Preparation

  - To prepare coverslips for micropatterning, activate ethanol-sterilized 22- x 22-centimeter glass coverslips under deep ultraviolet light for 5 minutes [1].

    - WIDE: Talent closing the lid/turning on UV light over coverslips

  - While the coverslips are being activated, add one 30-microliter drop of poly-L-lysine-graft-polyethylene glycol per coverslip onto a piece of paraffin film within a humid chamber [1-TXT].

    - Talent adding drop(s) to film, with PLL-g-PEG container visible in frame TEXT: See text for all solution and medium preparation details

  - At the end of the activation, place the coverslips activated surface-side down onto the drops [1] and cover the humid chamber for a 1-hour incubation at room temperature [2].

    - Coverslip(s) being placed onto drop(s) Videographer NOTE:take 3

    - Talent covering chamber

  - At the end of the incubation, wash the coverslips two times in distilled water [1].

    - Talent washing coverslip(s) Videographer NOTE: MED and CU

  - While the coverslips are drying, wash a quartz photomask one time with distilled water [1] and one time with alcohol [2].

    - Photomask being washed with water

    - Photomask being washed with alcohol, with alcohol container visible in frame  Videographer NOTE: take 2

  - Dry the photomask with filtered airflow [1] and expose the photomask chrome-coated side up to deep ultraviolet light for 5 minutes [2].

    - Photomask being dried

    - Talent closing lid/turning on UV light over photomask

  - At the end of the illumination, add a 10-microliter drop of water onto the chrome-coated side of each photomask [1] and place the polyethylene glycol-side of each coverslip onto each drop of water [2].

    - Water being added to photomask(s) Videographer: Important step

    - Coverslip(s) being placed Videographer: Important step

  - After removing any excess water, place a film cover over the slides to avoid dehydration [1].

    - Add a cover on coverslip on seal with water Videographer: Important step

  - Expose the non-chrome-coated sides of the photomasks to deep ultraviolet light for an additional 5 minutes [1] before adding excess water to the photomasks to remove the coverslips [2].

    - Talent closing the lid and turning on UV light over photomask Videographer: Important step Videographer NOTE: last part

    - Water being added to coverslips Videographer: Important step

  - Then incubate the coverslips in an extracellular matrix protein solution on paraffin film in a humid chamber for 1 hour under a laminar flow hood [1].

    - Talent adding solution to coverslip(s) in humid chamber in flow hood (MED + CU) Videographer NOTE: MED and CU

- Cell Seeding

  - For cell seeding onto the prepared micropatterned surface, at the end of the incubation, place the coverslips into a magnetic coverslip holder micropatterned-side up [1] and immediately add pattern medium to the coverslips [2].

    - WIDE: Talent placing coverslip(s) into holder

    - Talent adding medium to holder, with medium container visible in frame Videographer NOTE: take 2

  - After adding the seal [1], immobilize the coverslips with the magnetic device [2] before filling the coverslip holder with additional pattern medium [3].

    - Seal being added Videographer NOTE: combined with 3.2.2.

    - Device being immobilized

    - Medium being added

  - Then quickly close the holder with a glass lid [1].

    - Lid being placed Videographer NOTE: end of it

  - When the cells are ready, add 5 x 105 of the transfected immortalized retinal pigment epithelial cells to the coverslips [1-TXT] and incubate the cells in the holder for 10 minutes in the cell culture incubator [2].

    - Cells being added to holder TEXT: i.e., hTERT-RPE1 cells

    - Talent placing holder into incubator

  - At the end of the incubation, use one pipette to aspirate the old medium [1] while using a second pipette to wash the cells five times with fresh medium per wash to remove the non-attached cells and any residual fetal bovine serum [2-TXT].

    - Medium being aspirated Videographer: Important/difficult step

    - SCOPE: Medium being added Videographer: Important/difficult step TEXT: Maintain small volume of medium within holder to avoid cell dehydration and death Videographer NOTE: filmed with 3.5.1. take 1: CU, take 2: ECU

  - After the last wash, return the holder to the incubator for 3 hours to allow full cell spreading [1].

    - SCOPE: Shot of spread cells Videographer NOTE: no slate, see file name

- Exocytosis Imaging

  - To image exocytosis events, place the coverslip holder under a total internal reflection fluorescence microscope [1] and search for a cell expressing VAMP7-pHluorin (vamp-seven-fluorin) that is fully spread [2-TXT].

    - WIDE: Talent placing coverslip under TIRF microscope

    - SCREEN: screenshot_1: 00:10-00:14 TEXT: VAMP7: vesicle-associated membrane protein 7

  - Change the angle of the laser until a total internal reflection fluorescence angle that allows the visualization of VAMP7-pHluorin exocytosis events is reached [1] and perform a 5-minute acquisition at a frequency compatible with the exocytosis rate and time scale [2-TXT].

    - SCREEN: screenshot_1: 00:14-00:23

    - SCREEN: screenshot_1: 00:24-00:29 TEXT: Also acquire micropattern for each cell

- Exocytosis Coordinate Acquisition

  - To obtain the exocytosis coordinates, open the acquired exocytosis event move in FIJI [1] and manually identify the exocytosis events by the appearance of a bright signal that spreads outward [2].

    - WIDE: Talent at computer, opening movie in FIJI, with monitor visible in frame Videographer NOTE:  CU at the end

    - SCREEN: screenshot_2: 00:04-00:07

  - Use the point tool to mark the center of the exocytic event and use Analyze and Measure to measure the X and Y coordinates as well as the temporal coordinate [1].

    - SCREEN: screenshot_2: 00:09-00:30 Video Editor: please speed up

  - Save the slice, X, and Y coordinates for all of the exocytosis events in one text file per cell [1].

    - SCREEN: screenshot_2: 00:31-00:55 Video Editor: please speed up

  - Open text file in a spreadsheet and remove all but the slice, x, and y coordinate columns [1].

    - SCREEN: screenshot_3: 00:01-00:24 Video Editor: please speed up

  - Next, use the Oval tool and Measure to measure the center and diameter and to obtain the X and Y coordinates and Feret's diameter of each cell [1].

    - SCREEN: screenshot_4: 00:25-00:30

  - Save each cell identity, X and Y coordinates, Feret’s diameter, and radius in a text file [1].

    - SCREEN: screenshot_4: 00:33-00:50 Video Editor: can speed up

  - Open the text file in a spreadsheet and remove all but the x and y coordinate, and Feret’s diameter columns [1]. Then add the Radius measurement for each cell [2].

    - SCREEN: screenshot_5: 00:00-00:47 Video Editor: please speed up

    - SCREEN: screenshot_5: 00:50-01:02

  - Use the straight line tool to measure the thickness of the micropattern ring of each cell [1] and save the cell ID, cell radius, and adhesion length in a text file [2].

    - SCREEN: screenshot_6: 00:24-00:32

    - SCREEN: screenshot_6: 00:33-00:44

  - Then divide the adhesion length by the cell radius to calculate the normalized adhesion length [1].

    - SCREEN: screenshot_7: 01:07-01:26 Video Editor: please speed up

- Single Cell Spatial Analysis

  - For single cell spatial analysis, first install the package of R studio [1-TXT] and load the package in R studio [2].

    - WIDE: Talent installing package TEXT: https://www.r-project.org/ and: https://github.com/GoudTeam/JoVE-paper

    - SCREEN: screenshot_8: 00:11-00:23

  - Run the package with the ESA (E-S-A) function. A user interface will open [1].

    - SCREEN: screenshot_8: 00:23-00:28

  - Then select the directory for the dataset .txt files and a directory for the output plots [1].

    - SCREEN: screenshot_8: 00:28-00:43 Video Editor: please speed up

  - The script will automatically start and perform the analysis [1-TXT], providing .pdf files of the corresponding plots and .txt files containing the numerical results [2].

    - SCREEN: screenshot_8: 00:43-00:48 TEXT: Analysis produces .pdf files of plots and .txt files of numerical results

# Section – Results

- Results: Representative Lysosomal Exocytosis and Spatial Analyses

  - Inside the cell, the pHluorin probe is quenched by the low pH of the lysosome [1], but during exocytosis, pHluorin begins to emit a signal as the pH increases due to proton release [2].

    - LAB MEDIA: Figure 1A 1B Video Editor: please emphasize VAMP7 pHluorin image

    - LAB MEDIA: Figure 1A 1B Video Editor: please add white arrows as in original Figures 1A and 1B

  - The pHluorin signal exhibits a peak during exocytosis that represents the fast release of lysosomal protons [1] followed by an exponential signal decay that represents the 2D diffusion of the probe at the plasma membrane [2].

    - LAB MEDIA: Figure 1C Video Editor: please emphasize peak

    - LAB MEDIA: Figure 1C Video Editor: please emphasize data line from peak to end of graph

  - Typically, transfect, immortalized, human retinal pigmented epithelial cells demonstrate an important lysosomal secretion activity [1] with an average exocytosis rate of 0.28 hertz [2].

    - LAB MEDIA: Figure 1D

    - LAB MEDIA: Figure 1D Video Editor: please emphasize red data point at about 0.28 hertz

  - It is possible to visualize the 2D distribution of exocytosis by kernel density estimation to reveal differences in local densities [1].

    - LAB MEDIA: Figures 2B

  - There are three possible deviations from complete spatial randomness [1] - clustering [2], dispersion [3], or a mixture of clustering and dispersion [4].

    - LAB MEDIA: Figure 2C Video Editor: please emphasize CSR box

    - LAB MEDIA: Figure 2C Video Editor: please emphasize Clustering box

    - LAB MEDIA: Figure 2C Video Editor: please emphasize Dispersing box

    - LAB MEDIA: Figure 2C Video Editor: please emphasize Mixed box

  - Ripley’s K function can be used to assess these deviations [1].

    - LAB MEDIA: Figure 2D Video Editor: please emphasize black data line

  - Of note, exocytosis events in the non-adhesive area are also clustered [1], indicating that adhesion molecules are not the only structures that induce secretory hot spots at plasma membranes [2].

    - LAB MEDIA: Figure 2E Video Editor: please emphasize black data line

  - Plotting the histogram of exocytosis events according to the modulus for a representative cell [1] reveals a peak around the border between the adhesive and non-adhesive areas [2].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3A Video Editor: please emphasize peak/top data bar

  - Paired analysis demonstrates that the surface density is lower in the adhesion area [1] than in the non-adhesion area [2], potentially due to the strong decrease of exocytosis at the cell periphery [3].

    - LAB MEDIA: Figures 3B and 3C Video Editor: please emphasize Adhesion area data points and/or box

    - LAB MEDIA: Figures 3B and 3C Video Editor: please emphasize Non Adhesion area data points and/or box

    - LAB MEDIA: Figures 3B and 3C Video Editor: please emphasize red data line from about 0.85-1

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Kristine Schauer: Combining cell adhesion on micropatterns with statistical analysis facilitates the ability to pinpoint how complex cellular processes such as secretion are regulated in space [1]. Videographer NOTE: last one

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 3.5., 6.3.)

  - Hugo Lachuer: More future work is needed to determine the molecular mechanisms that underly the clustering of secretory activity [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Videographer NOTE: last one