# Submission ID #: 60810

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18547098

Title: Measuring Erythrocyte Complement Receptor 1 Using Flow Cytometry

Authors and Affiliations: Aymric Kisserli1,2, Sandra Audonnet3, Valérie Duret2,4, Thierry Tabary2,4, Jacques Henri Max Cohen2, and Rachid Mahmoudi5,6

1Oncogeriatric Coordination Unit, Reims University Hospitals, Maison Blanche Hospital

2Faculty of Medicine, University of Reims Champagne-Ardenne

3URCACyt, Flow cytometry technical platform, University of Reims Champagne-Ardenne

4Department of Immunology, Reims University Hospitals, Robert Debre Hospital

5Department of Internal Medicine and Geriatrics, Reims University Hospitals, Maison Blanche Hospital

6Faculty of Medicine, University of Reims Champagne-Ardenne

# Corresponding Author:

# Jacques Henri Max Cohen

# jhmcohen@gmail.com

Email addresses for Co-authors:

akisserli@chu-reims.fr

sandra.audonnet@univ-reims.fr

vduret@chu-reims.fr

ttabary@chu-reims.fr

jhmcohen@gmail.com

rmahmoudi@chu-reims.fr

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most visually important?

2.1., 2.2., 2.5., 3.1., 3.2., 3.7.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.1., 3.2. Make sure that erythrocytes and antibodies are properly distributed in the tubes

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Aymric Kisserli: This protocol can be used to measure the number of antigenic sites on cellular receptor of interest [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Aymric Kisserli: The main advantage of this technique is that it produces robust results, even for receptors expressed at a low density [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jacques Henri Max Cohen: This method enables the evaluation of the reduction of CR1 erythrocyte expression in diseases such as Alzheimer's, systemic lupus erythematosus, AIDS, and Malaria [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Jacques Henri Max Cohen:This protocol is useful for any analysis of cell receptor density and can also be applied to the study of cell receptor expression by fluorescence microscopy [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Sandra Audonnet: We recommend spacing out the tubes during the cell and antibody distribution and to be accompanied by a cytometry specialist during the first analysis, if possible [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera NOTE: Use take 2

  - Sandra Audonnet: Visual demonstration of the immunostaining intensity quantification by flow cytometry is critical for understanding how to properly set the analysis parameters [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Erythrocyte Washing and Dilution

  - Before beginning the analysis, add 250 microliters of sodium EDTA (E-D-T-A) anticoagulated whole blood from blood storage tubes [1] into a 50-milliliter conical tube containing 20 milliliters of 4-degree Celsius PBS-BSA (P-B-S-B-S-A) [2-TXT].

    - WIDE: Talent aspirating blood from storage tube Videographer: Important step

    - Talent adding blood to PBS-BSA, with PBS-BSA container visible in frame Videographer: Important step TEXT: PBS-BSA: PBS + 0.15% bovine serum albumin

  - Mix the tube contents by gentle inversion [1] and spin the cells by centrifugation [2-TXT].

    - Talent inverting tube Videographer: Important step

    - Talent placing tube into centrifuge TEXT: 10 min, 430 x g, 4 °C NOTE: (take 3)

  - Use a 10-milliliter pipette to discard the supernatant [1] and carefully resuspend the pellet in the residual volume of solution [2].

    - Supernatant being aspirated

    - Shot of pellet if visible, then pellet being resuspended

  - Add 20 milliliters of cold PBS-BSA [1] and centrifuge the cells again [2].

    - Talent adding PBS-BSA to tube, with PBS-BSA container visible in frame

    - Talent placing tube into centrifuge NOTE: CU at the end

  - At the end of the centrifugation, place the tube in a rack placed on ice [1] and transfer 8 microliters of the washed erythrocytes into a 50-milliliter tube containing 3 milliliters of PBS-BSA [2].

    - Talent placing tube into rack on ice

    - Talent adding cells to tube Videographer: Important step

  - Then mix the erythrocytes gently by spinning to obtain a homogeneous cell suspension of cells [1].

    - Tube being spinned

- Erythrocyte Immunostaining and Fixation

  - For erythrocyte immunostaining, carefully transfer 100 microliters of the diluted erythrocytes into individual 1.4-milliliter tubes [1] and collect the red blood cells by centrifugation [2-TXT].

    - WIDE: Talent adding cells to tube(s) Videographer: Important/difficult step

    - Talent adding tube(s) to centrifuge TEXT: 5 min, 430 x g, 4 °C

  - After discarding the supernatants, add carefully 20 microliters of a 0.05 microgram/microliter concentration of biotinylated anti-CR1 J3D3 (C-R-one J-three-D-three) antibody in PBS-BSA directly to each pellet [1-TXT].

    - Talent adding antibody to tube(s), with antibody container visible in frame Videographer: Important/difficult step TEXT: CR1: CD35, Complement Receptor type 1 for C3b/C4b NOTE: take 2, use the end of it, avoid drop in the tube

  - Add 20 microliters of PBS-BSA buffer alone to the negative control cells with gentle mixing [1] and incubate the samples for 45 minutes at 4 degrees Celsius [2].

    - PBS-BSA being added to tube, with PBS-BSA container visible in frame NOTE: take 2

    - Talent placing tube(s) at 4 °C OR Talent setting timer NOTE: slated 3.3.1, check file name

  - At the end of the incubation, wash the samples two times with 750 microliters of fresh PBS-BSA per tube per wash [1].

    - Talent adding PBS-BSA to each tube, with PBS-BSA container visible in frame NOTE: take 2

  - After the second wash, add 20 microliters of a 1:10 dilution of streptavidin-phycoerythrin in PBS-BSA to each tube with gentle mixing [1] and incubate the samples for 45 minutes at 4 degrees Celsius [2].

    - Talent adding antibody to tube, with antibody container visible in frame

    - Talent placing tube(s) at 4 °C OR Talent setting timer

  - At the end of the incubation, wash the samples two times as demonstrated [1]

    - Talent adding tube(s) to centrifuge

  - After the second wash, fix each cell sample pellet with 450 microliters of fixation buffer during vortexing [1] before transferring each sample into individual 5-milliliter round bottom tubes for up to 48 hours of storage at 4 degrees Celsius [2].

    - Buffer being added/tube being vortexed Videographer: Important step NOTE: take 2 : slower

    - Talent adding sample to tube Videographer: Important step NOTE: cut before the last pipeting)

- Flow Cytometry Analysis

  - To analyze the immunostained erythrocytes by flow cytometry, click the New Experiment button in the flow cytometer [1] and rename the new experiment [2].

    - WIDE: Talent at cytometer computer, click New Experiment button, with monitor visible in frame NOTE: 2nd part

    - SCREEN: screenshot_01: 00:05-00:14

  - Select Forward Scatter, Side Scatter, and PE (P-E) in the Cytometer Settings window [1-TXT].

    - SCREEN: screenshot_02: 00:17-00:20 TEXT: PE: phycoerythrin

  - In the open experiment, select Cytometer Settings Application Settings and create a global worksheet, using the gray boxes and crosshairs to guide the optimization [1].

    - SCREEN: screenshot_03: 00:00-00:13

  - When all of the parameters have been set, load the unstained control tube onto the cytometer [1] and run the Acquisition, optimizing the forward and side scatter voltages to eliminate debris and to ensure that the population of interest is on scale [1].

    - Tube being loaded NOTE: take 2

    - SCREEN: screenshot_04: 00:26-00:44 Video Editor: please speed up

  - Next, draw a gate around the red blood cells on the forward vs. side scatter plot and display the red blood cell population in the dot plot of PE fluorescence [1-TXT].

    - SCREEN: screenshot_5: 00:00-00:13 TEXT: Increase PMT fluorescence voltage as necessary

  - If the positive populations are on scale [1], load the stained control tube onto the cytometer [2] and run the Acquisition [3-TXT].

    - SCREEN: screenshot_05: 00:57-01:05

    - Talent loading tube onto cytometer

    - SCREEN: screenshot_06: 00:17-00:25 TEXT: Lower + population PMT voltage if off scale

  - To record and analyze samples, unload the stained sample [1] and create a forward vs. side scatter plot and a PE fluorescence histogram on a new global worksheet [2].

    - Tube being unloaded

    - SCREEN: screenshot_7: 00:18-00:40 Video Editor: please speed up

  - Load the first sample onto the cytometer [1], run the Acquisition [2], and draw a red blood cell gate around the erythrocytes in the forward vs. side scatter plot [3].

    - Talent loading tube

    - SCREEN: screenshot_7: 00:41-00:48

    - SCREEN: screenshot_8: 00:03-00:08

  - Display the red blood cell population in the PE fluorescence histogram [1] and, under the Statistics tab, select the mean for the PE fluorescence parameters on red blood cell populations [1].

    - SCREEN: screenshot_8: 00:09-00:22

    - SCREEN: screenshot_8: 00:22-00:34

  - In the Acquisition dashboard, select all of the events in the stopping gate and 10,000 events to record and click Record Data [1].

    - SCREEN: screenshot_9: 00:00-00:20 Video Editor: please speed up

  - When the event recording has completed, remove the tube from the cytometer [1]. The global worksheet plots should look as illustrated [2].

    - Tube being removed

    - LAB MEDIA: Figure 2

# Section – Results

- Results: Representative Flow Cytometric anti-CR1 Immunostaining Analyses

  - Flow cytometric analysis of immunostained erythrocytes from three subjects of known CR1 densities [1] allows measurement of the mean fluorescence intensity of the labeling for each subject [2].

    - LAB MEDIA: Figures 3E and 3F, 4A and 4B, and 4E and 4F Video Editor: please emphasize the histograms in Figures 3F, 4B, and 4F

    - LAB MEDIA: Figures 3E and 3F, 4A and 4B, and 4E and 4F Video Editor: please Figures 3I, 4D, and 4I to the right of their respective corresponding Figure pairs

  - Plotting a curve using the values of the subjects with the known density of erythrocyte CR1 allows these data to be reported as a function of the mean fluorescence intensity [1].

    - LAB MEDIA: Figure 6 Video Editor: please emphasize blue data line

    - LAB MEDIA: Figure 6

  - Comparison of the regression line resulting from this curve to the values of the mean fluorescence intensity of the other subjects allows determination of their CR1-erythrocyte density [1].

    - LAB MEDIA: Figure 6 Video Editor: please emphasize red data line

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Aymric Kisserli: Take care that the erythrocytes and antibodies are properly distributed so the calibration curves of the experimental samples and the negative control are within the range of the cytometer settings [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 3.1.-3.3.)

  - Jacques Henri Max Cohen: It is possible to adapt this procedure to measure other low-density cellular receptors simply by changing the primary antibody and/or adapting the amplification layers [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera NOTE: last one

  - Jacques Henri Max Cohen: This method has allowed the study of a number of CR1 cell receptors and the role of CR1 in Alzheimer's disease, systemic lupus erythematosus, AIDS, and Malaria [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Jacques Henri Max Cohen: Whenever you are handling blood, there is a risk of pathogen contamination. Therefore, be sure to use good laboratory practices and to wear the appropriate personal protective equipment [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera