Submission ID #: 60826

Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18551978

Title: Hyperspectral Imaging as a Tool to Study Optical Anisotropy in Lanthanide-Based Molecular Single Crystals

Authors and Affiliations: Emille M. Rodrigues1, Nelson Rutajoga1, David Rioux2, Jacob Yvon-Leroux2, and Eva Hemmer1

1Department of Chemistry and Biomolecular Sciences, University of Ottawa

2Photon etc

Corresponding Author:

Eva Hemmer

ehemmer@uottawa.ca

Email addresses for Co-authors:

emartina@uottawa.ca

nruta040@uottawa.ca

drioux@photonetc.com

jyvon.leroux@photonetc.com

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? Y

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most visually important?

2.1.-2.3., 3.4., 3.5.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.3. Make sure to choose the proper exposure time at the detector to achieve good emission intensity, yet, avoiding saturation of the detector.

Also note that this procedure requires photostability of the sample: make sure that the sample being analyzed is stable under the chosen excitation wavelength (e.g. no UV-induced photobleaching). As the microscope stage is open, it is important that the sample is stable in air. These aspects have to be assessed in a case-to-case scenario.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Eva Hemmer: Hyperspectral imaging allows the acquisition of spectroscopic information at precise locations within a sample, for example, for the unveiling of optical anisotropy at the single-crystal level [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Eva Hemmer: The generation of both spatial and spectral data for a sample allows a more detailed spectroscopic investigation of the sample than is possible by either spectroscopy or fluorescence microscopy alone [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Nelson Rutajoga: The large number of adjustable parameters that affect the resolution may seem overwhelming when first undertaking this methodology. However, making a checklist can help with familiarizing yourself with the system [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

  - Nelson Rutajoga: This technique requires manual tuning of the imaging hardware as well as software manipulation. It is essential to illustrate both aspects visually to showcase how the methods complement each other [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

  - Eva Hemmer: Demonstrating the procedure with Nelson Rutajoga will be Emille Rodrigues, a postdoctoral fellow from my laboratory [1][2].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

# Section - Protocol

- Optical Cube Configuration Setup

  - To set up the imager configuration for hyperspectral imaging mapping, starting from the microscope stage and following the emission beam pathway toward the detectors [1], leave the position for an optical cube right next to the optical microscope vacant [2] and place the confocal microscope optical cube in that position that directs the emission from the sample through the visible light path [3].

    - WIDE: Talent starting a microscope stage and following emission beam pathway Videographer: Important step

    - Shot of vacant 1st position Videographer: Important step

    - Talent placing cube in appropriate position Videographer: Important step

  - Looking along the optical path toward the detector [1], place the visible optical cube containing the dichroic mirror and filters for directing the visible emission to the detection path in its position [2].

    - Talent looking along optical path toward detector Videographer: Important step

    - Talent placing cube in appropriate position Videographer: Important step

  - Continuing the path toward the detector, place the confocal pinhole optical cube in the right position to direct the light through the visible light detection path [1] and, following this path, place the confocal spectrometer optical cube in the appropriate position so that the emitted light reaches the detector [2].

    - Talent placing cube in appropriate position Videographer: Important step

    - Talent placing cube in appropriate position Videographer: Important step

  - When all of the cubes are in place, manually adjust the detector slit opening to match the size of the pinhole selected [1].

    - Talent adjusting detector slit opening

  - Then, in the PHySpec (phy-speck) software, select the aperture of the pinhole [1-TXT].

    - Talent at computer, selecting aperture, with monitor visible in frame TEXT: Smaller aperture = higher HSI resolution/lower signal intensity

- Hyperspectral Imaging (HSI) of a [TbEu(bpm)(tfaa)6] Single Crystal

  - For hyperspectral imaging mapping of a terbium europium bipyrimidine trifluoroacetylacetonate single crystal, manually position the 20X objective of the optical microscope under the sample [1] and press the white button on the left side of the microscope to turn on the white light [2].

    - WIDE: Talent positioning objective

    - Talent pressing button

  - Turn the knob under the button to adjust the brightness [1].

    - Talent turning knob

3.4. 	Set the forward knob on the right side of the microscope to R to send 20% of the signal to the camera and 80% of the signal to the detector [1].

    - Talent checking/adjusting knob Videographer: Important step (Editor: 3.4 has been moved to the middle of 3.2, and 3.2 has been split to accommodate this)

3.2A. Press Play in the Color Camera window at the PHySpec software to initiate a live scan [2].

    - Talent turning knob

    - Talent pressing Play, with monitor visible in frame

  - If the color camera window shows a too dark or black image, increase the Exposure Time and/or the Gain Value under the Color Camera tab [1]. If the image is too bright, decrease the exposure time and/or gain value [2-TXT].

    - SCREEN: screenshot_1: 00:02-00:16

    - SCREEN: screenshot_1: 00:17-00:27 TEXT: Good exposure time = good emission intensity w/o detector saturation

  - [1].

    - Talent checking/adjusting knob Videographer: Important step (Editor: 3.4 has been moved to the middle of 3.2, and 3.2 has been split to accommodate this)

  - To focus on the sample, turn the knobs on the right side of the microscope to adjust the distance between the objective and the stage [1] and open the broadband lamp shutter to allow UV excitation of the sample [2-TXT].

    - Knobs being turned Videographer: Important step

    - SCOPE: Shot of crystal turning brightly red as source is switched on Videographer: Important step TEXT: UV: ultraviolet

  - Then turn the intensity knob to the desired position to control the intensity of the broadband lamp excitation [1].

    - Talent turning knob, with image of crystal becoming brighter visible in frame

  - Click Show-hide scale bar to add a scale bar to the bright field optical microscopy image of the crystal [1] and record an image of the crystal under UV full [2] or confined illumination [3].

    - SCREEN: screenshot_3: 00:19-00:25

    - SCREEN: screenshot_3: 00:33-00:38

    - SCREEN: screenshot_3: 00:38-00:45

  - To select between the wide field illumination or a smaller spot illumination, use the stick and knobs to adjust the size of the UV lamp field aperture [1].

    - Talent using stick and knob(s), with effect on screen visible in frame

  - Under the SpectraPro SP-2300 (S-P-twenty-three hundred) tab, select a wavelength to observe the sample emission [1] and adjust the Exposure Time of the detector [2].

    - Talent selecting wavelength, with monitor visible in frame

    - SCREEN: screenshot_2: 00:03-00:19 Video Editor: can speed up

  - To obtain the hyperspectral cube, in the sequencer, click plus to add a new node and click Confocal Imager [1].

    - SCREEN: screenshot_4: 00:02-00:05

  - Click Multi-Spectrum Acquisition and input the desired X and Y Position counts as well as the desired Step Size [1].

    - SCREEN: screenshot_4: 00:06-00:27 Video Editor: please speed up

  - Select the Hardware option for the camera sync and for visible emission mapping and click OK [1].

    - SCREEN: screenshot_4: 00:28-00:32

  - In the sequencer, click the newly added Multi-Spectrum Acquisition line to highlight the node and click Play to run the selected node [1].

    - SCREEN: screenshot_4: 00:33-00:39

- Hyperspectral Data Analysis

  - For analysis of the captured hyperspectral imaging data, for example, for a spectral distribution of an image, in the Processing menu [1] select Data and Crop and Bin to increase the signal-to-noise ratio of the image [2].

    - WIDE: Talent at computer, opening Processing menu, with monitor visible in frame

    - SCREEN: screenshot_5: 00:02-00:15

  - For an emission intensity profile, right click on the cube image and select Create X profile for the analysis of one point [1].

    - SCREEN: screenshot_6: 00:02-00:07

  - Drag to select the area and right click on the region of interest to select Add to Graph to display the emission intensity as a function of the physical position of the target. The spectrum will appear on the new graph [1].

    - SCREEN: screenshot_6: 00:08-00:21

  - To obtain an emission spectrum of a specific area of the sample, hover the cursor over the cube image, right click, and click Rectangle Selection [1].

    - SCREEN: screenshot_6: 00:29-00:33

  - Drag and click to draw the selection shape over the desired region [1].

    - SCREEN: screenshot_6: 00:34-00:38

  - Then right click on the region of interest and select Add Selection to Graph [1].

    - SCREEN: screenshot_6: 00:39-00:44

  - In the Add to Graph window, select Create a New Graph to display the emission spectra of the target, and click OK [1].

    - SCREEN: screenshot_6: 00:45-00:50

  - Then save the acquired spectrum before selecting a new region [1].

    - SCREEN: screenshot_7: 00:04-00:18 Video Editor: can speed up

# Section – Results

- Results: Representative Hyperspectral Imaging

  - Here a bright field image of a crystal recorded after adjusting the sample in the proper focus is shown [1]. The needle-like morphology of the crystal can be clearly observed [2].

    - LAB MEDIA: Figure 6A

    - LAB MEDIA: Figure 6A Video Editor: please outline/emphasize crystal morphology

  - Here images of the same crystal under UV excitation with either full view [1] or locally confined illumination can be observed [2].

    - LAB MEDIA: Figures 6B and 6C Video Editor: please emphasize Figure 6B

    - LAB MEDIA: Figures 6B and 6C Video Editor: please emphasize Figure 6C

  - The confined illumination can be used to investigate the effects of energy or light transfer within the crystal that may trigger waveguide-like behavior [1].

    - LAB MEDIA: Figure 6C

  - For example, in this image, a strong emission is detected in a point not directly under excitation [1], suggesting that efficient energy migration takes place through the crystal [2].

    - LAB MEDIA: Figure 6C Video Editor: please emphasize area w/in dotted circle

    - LAB MEDIA: Figure 6C

  - From the acquired hyperspectral cube, it is also possible to obtain the spectral distribution in the form of an image representing a specific wavelength [1], the intensity profile of a specific emission wavelength [2], and the emission spectra at any pixel or area of the acquired hyperspectral cube [3].

    - LAB MEDIA: Figure 7 Video Editor: please emphasize middle image

    - LAB MEDIA: Figure 7 Video Editor: please emphasize right graph

    - LAB MEDIA: Figure 7 Video Editor: please emphasize left graph

  - For example, the emission spectra for this analysis shows the most characteristic emission bands of the Europium ion [1].

    - LAB MEDIA: Figure 7 Video Editor: please emphasize peaks at 590, 610, 620 and about 625

  - Moreover, the spectral profile along the different crystal faces indicates a brighter emission at the tip [1] and side faces [2] and can be correlated with the lanthanide-lanthanide ion distances in the three spatial directions [3].

    - LAB MEDIA: Figure 7 Video Editor: please emphasize dark blue data line in right graph

    - LAB MEDIA: Figure 7 Video Editor: please emphasize light blue data line in right graph

    - LAB MEDIA: Figure 1b Video Editor: please emphasize grey arrows on each side of yellow rectangle

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Emille Rodrigues: To obtain a good signal and a reasonable recording time of the hyperspectral cube, it is important to adjust the microscope configurations, focus, and detector exposure time [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Steps: 2.1.-2.3., 3.3.-3.5., 3.8.)

  - Nelson Rutajoga: In addition to UV excitation and visible emission, this technique can be performed using near infrared excitation and emission detection, making it applicable to many other types of luminescent materials [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Eva Hemmer: The correlation of optical signals with environment-dependent features makes this technique interesting for structure-property-relationship studies in various luminescent samples, including the in vitro assessment of nano-bio-interactions [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera