JoVE pre-script – 60826

Screenshot Summary

- 60826_screenshot_1

- 2.6.1.  If the color camera window shows a black image, increase the Exposure Time (2 in Figure 3) and/or the Gain Value (3 in Figure 3) found in the instrument control panel, under the Color Camera tab. (00:00:02 – 00:00:16) If the image viewed is too bright, decrease the exposure time and/or gain value (00:00:17 – 00:00:27).

- 60826_screenshot_2

- 2.11. Under the SpectraPro SP-2300 tab, select a wavelength to observe the sample emission (00:00:02 – 00:00:13).

- 60826_screenshot_3

- 2.13. Adjust the Exposure Time (e.g. 0.5 s – 2 in Figure 3) and Saturation (e.g. 100) of the Color Camera accordingly, to obtain a good quality image (00:00:03 – 00:00:19). If needed, add the scale bar to the image by clicking at the button Show/hide scale bar at the second row of the menu in the top of the PHySpec software window (00:00:19 – 00:00:25).

- 2.14. Recommendation: Prior to acquiring the hyperspectral cube, record a bright field optical microscopy image of the crystal under white light (Figure 6a) and/or UV full (Figure 6b) or confined (Figure 6c) illumination (UV illumination controlled by the shutter aperture, shown as 4 in Figure 5). To do so, with the sample in focus, click on the play button of the color camera (00:00:25 – 00:00:47).

- 60826_screenshot_4

- 2.17. To obtain the hyperspectral cube, write a new sequence. Therefore, in the sequencer, click on the + sign to add a new node (00:00:02 – 00:00:03).

  - 2.17.1. Click on Confocal Imager (00:00:04 – 00:00:05).

  - 2.17.1.1. Click on Multi-Spectrum Acquisition (00:00:06 – 00:00:08). Here, the desired field of view is defined by the number of points to acquire in the x and y directions and the step size. For example, use 100 points in x and 100 points in y with a 5 µm step size to obtain an image of 500 by 500 µm.

  - 2.17.1.1.1. Input the desired X Position (e.g. 100) and Y Position (e.g. 100) counts as well as the desired Step Size (e.g. 5 µm) (00:00:09 – 00:00:27).

  - 2.17.1.1.2. Select the Hardware option for the camera sync, for visible emission mapping (and Software option in case of NIR detection). Click OK (00:00:28 – 00:00:32).

- 2.18. In the sequencer, click on the newly added Multi-Spectrum Acquisition line to highlight the node (00:00:33 – 00:00:34).

- 2.19. Click the play button to run the selected node (00:00:35 – 00:00:39).

- 60826_screenshot_5

- 3.3.1. In case of the spectral distribution from an image, use the Crop and Bin function to increase the signal-to-noise ratio in the image. In order to do that, click in the top menu Processing then choose Data and then the option Crop and Bin (00:00:02 – 00:00:15).

- 60826_screenshot_6

- 3.3.2. For an emission intensity profile, on the cube image, right click and select the Create Target or Create X profile or Create Y profile depending if only one point (Target - 5 and 6, in Figure 7) or a line (Profile - 7 and 8, in Figure 7) needs to be analyzed. Select the area of analysis by dragging the target, the horizontal or the vertical line profile with the cursor and move it across the cube (00:00:02 – 00:00:10).

  - 3.3.2.1. Once the profile has been properly selected, right click on the region and select the Add Target to Graph. Chose the option to create a new graph to display the emission intensity (y axis) as a function of the physical position of the target (x axis). The spectrum will appear on the new graph which was inserted (6 and 7 in Figure 7) (00:00:11 – 00:00:25).

- 3.3.3. Alternatively, obtain an emission spectrum of a specific area of the sample (9, in Figure 7). To begin with, hover the cursor over the cube image and right click. Click on the Rectangle Selection or Ellipse Selection options on the tab that pops-up (00:00:26 – 00:00:33).

  - 3.3.3.1. Then draw the selection shape (e.g. a rectangle) over the desired region by clicking and dragging the cursor across the cube. Once the area has been properly selected, right click on the region and select the Add Selection to Graph (00:00:34 – 00:00:44).

  - 3.3.3.2 At the appearing window Add to Graph, select Create a New Graph to display the emission spectra of the target and click OK (00:00:45 – 00:00:52).

- 60826_screenshot_7

- 3.3.4. Once the spectrum is obtained, save it before selecting a new region because only one region can be selected at a time. To do so, select the window in which you have your graph. Then, in the File menu select Save as and you can choose to save the graph in the folder of choice, using the name of choice, either in .h5 format, which can be opened in the PHySpec software, or in .csv format, which can be imported in Excel (00:00:02 – 00:00:20).