## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Equipment
3.5x-90x stereo zoom microscope on boom stand with LED light | Amscope | SKU: SM-3BZ-80S
Carbon dioxide, USP | Airgas healthcare | 19087-5283
Confocal microscope | NIKON | ECLIPSE Ti2
Disposable Sterile Cautery Pen with High Temp | FIAB | F7244
Moist chamber bubble trap (part 6 in Figure 1) | Harvard Apparatus | 733692 | Customized as the perfisate container; also enabled constant pressure perfusion
Moist chamber cover with quartz window (part 3 in Figure 1) | Harvard Apparatus | 733524 | keep the chamber's temperature
Moist chamber with metal tube heat exchanger | Harvard Apparatus | 732901 | Water-jacketed moist chamber with lid to maintain perfusate and mouse temperature
Olsen-Hegar needle holders with suture cutters | Fine Science Tools (FST) | 125014
Oxygen compressed, USP | Airgas healthcare | C2649150AE06
Roller pump (part 4 in Figure 1) | Harvard Apparatus | 730113 | deliver perfusate to cannula in the moist chamber
SCP plugsys servo control F/Perfusion (part 1 in Figure 1) | Harvard Apparatus | 732806 | control the purfusion speed
Silicone pad | Harvard Apparatus
Silicone tubing set (arrows in Figure 1) | Harvard Apparatus (TYGON) | 733456
Student standard pattern forceps | Fine Science Tools (FST) | 91100-12
Surgical Scissors | Fine Science Tools (FST) | 14001-14
Table for moist chamber | Harvard Apparatus | 734198
Thermocirculator (part 2 in Figure 1) | Harvard Apparatus | 724927 | circulating water bath for all water-jacketed components
Three-way stopcock (part 5 in Figure 1) | Cole-Palmer | 30600-02
Veterinary anesthesia machine | Highland | HME109
Materials
19-G BD PrecisionGlide needle | BD | 305186 | For immobilizing the Insyte Autoguard Winged needle and scratching the cortical bone
4-0 silk sutures | Keebomed-Hopemedical | 427411
6-0 silk sutures | Keebomed-Hopemedical | 427401
Filter (0.2 µm) | ThermoFisher | 42225-CA | Filter for 5% BSA-RINGER’S
Permanent marker | Staedtler | 342-9
Syringe (10 mL) | Fisher Scientific | 14-823-2E
Syringe (60 mL) | BD | 309653 | Filter for 5% BSA-RINGER’S
Reagents
1% Evans blue ( w/v ) in phosphate-buffered saline (PBS, pH 7.5) | Sigma | 314-13-6
10% buffered formalin | velleyvet | 36692
BALB/c mice ( 8-10 weeks old ) | Charles River
Baxter Viaflex lactate Ringer's solution | EMRN Medical Supplies Inc. | JB2324
Bovine serum albumin | Thermo Fisher | 11021-037
Cyanoacrylate glue | Krazy Glue
DyLight-649-lectin | Vector Laboratories,Inc. | ZB1214
Ethanol (70% (vol/vol)) | Pharmco | 111000190
Hoechst33342 | Life Technologies | H3570
Isoflurane | Piramal Enterprises Limited | 66794-017-25
Phosphate buffered saline | Gibco | 10010023

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=