# Submission ID #: 60849

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18558993

Title: Biological Sample Preparation for Speciation at Cryogenic Temperatures Using High-Resolution X-Ray Absorption Spectroscopy

Authors and Affiliations: Caroline Bissardon1, Marie-Pierre Isaure2, Emmanuel Lesuisse3, Mauro Rovezzi4,5, Eric Lahéra4,5, Olivier Proux4,5, and Sylvain Bohic1,6

1INSERM, UA7, Synchrotron Radiation for Biomedicine (STROBE), Grenoble, France

2CNRS, Université Pau & Pays Adour, E2S UPPA, Institut des Sciences Analytiques et de Physicochimie pour l’Environnement et les Matériaux, Pau, France

3Institut Jacques Monod, UMR 7592 CNRS, Université Paris Diderot, Paris, France

4OSUG, UMS 832 CNRS, Université Grenoble Alpes, Grenoble, France

5ESRF, the European Synchrotron, FAME and FAME-UHD beamlines, Grenoble, France

6ESRF, the European Synchrotron

# Corresponding Author:

# Sylvain Bohic

# sylvain.bohic@inserm.fr

Email addresses for Co-authors:

caroline.bissardon@cea.fr

marie-pierre.isaure@univ-pau.fr

Emmanuel.LESUISSE@ijm.fr

rovezzi@esrf.fr

lahera@esrf.fr

proux@esrf.fr

sylvain.bohic@inserm.fr

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? N

3. Which steps from the protocol section below are the most visually important?

n/a

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

n/a

5. Will the filming need to take place in multiple locations (greater than walking distance)?

Y, three locations, 15 min walking/5 min by car apart

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Sylvain Bohic: This protocol has been standardized for cellular specimens, allowing the comparison of experiments running at different synchrotron locations [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Caroline Bissardon: The main advantage of this technique is its simple and straightforward workflow that allows a fast and reliable preservation of the chemical integrity of the sample [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Caroline Bissardon: Individuals new to this technique may struggle with the frozen hydrated cell pelleting and the fast loading of the cellular pellet into the cryo-sample holder [1].

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

  - Olivier Proux: A precise and quick handling of the samples at cryogenic temperatures is critical. As such, a visual demonstration is essential to understanding how to perform the technique [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Human PC-3 and OVCAR-3 Cancer Cell Pellet Preparation

  - To prepare human prostate and ovarian cancer cell line cell pellets for selenium speciation [1], seed the appropriate number of cells from each cell line into three T75 (T-seventy-five) flasks per condition in the appropriate cell culture medium in a laminar flow hood [2-TXT] and place the flasks in a 37-degree Celsius and 5% carbon dioxide cell culture incubator until the cells are 80% confluent [3].

    - WIDE: Talent counting cells, with cell container(s) visible in frame

    - Talent adding cells to flask, with medium container(s) visible in frame TEXT: 1.5-2 x 105 PC-3 cells/flask; 3 x 105 OVCAR-3 cells/flask

    - Talent placing flask(s) into incubator

  - To expose the cancer cells to selenium treatment, first sonicate freshly prepared nanoparticle stock solutions in an ultrasound water bath for 30 minutes at room temperature [1-TXT] before serially diluting the selenium nanoparticle solution in complete cell culture medium to the appropriate working concentrations [2-TXT].

    - Solution(s) being sonicated TEXT:  i.e., 2 mg/mL NP in BSA or chitosan coated Se-NPs

    - Talent diluting sample(s), with medium and stock containers visible in frame TEXT: Vortex 1 min between dilutions

  - In the laminar flow hood, gently wash the cells two times with 5 milliliters of 37-degree Celsius PBS per wash [1] and use a sterile 25-milliliter pipette to carefully add 15 milliliters of the selenium treatment of interest to the bottom of the flask [2-TXT].

    - Cells being washed with PBS

    - Treatment being added to flask, with treatment container visible in frame TEXT: Do not add directly onto cells

  - Close the lids without completely sealing the flask [1] and place the flasks horizontally in the cell culture incubator for 24 hours [2].

    - Talent closing lid, leaving lid loose

    - Talent placing flask(s) into incubator

  - To prepare the cell pellets, after washing and replenishing the culture medium [1], use one cell scraper per flask to gently detach the cells [2].

    - Talent adding medium to flask, with medium container visible in frame

    - Cells being scraped

  - Use medium to flush any cells stuck to the flask into the supernatant [1] and collect the dissociated cells by centrifugation [2-TXT].

    - Flask side being flushed, with medium container visible in frame

    - Talent placing tube(s) into centrifuge TEXT: 5 min, 250 x g, RT

  - Wash the pellets two times in 5 milliliters of PBS per tube per wash to remove all remaining traces of the treatment [1] and resuspend the cells in 1 milliliter of PBS [2].

    - Shot of pellet(s) if visible, then PBS being added to tube, with PBS container visible in frame

    - Talent adding PBS to tube, with PBS container visible in frame

  - Transfer the cells into a 1.5-milliliter polypropylene tube [1] and collect the cells with another centrifugation [2].

    - Talent adding cells to tube

    - Talent placing tube into centrifuge

  - Then use a 200-microliter pipette to gently remove all of the supernatant [1] and plunge the bottom part of each 1.5-milliliter tube into liquid nitrogen to the level of the cell pellet [2].

    - Supernatant being aspirated without disturbing pellet

    - Tube being plunged into LN2

  - Immediately after freezing, transfer the tubes into a liquid nitrogen dewar for long-term storage [1].

    - Talent placing tube(s) into dewar

- High Resolution X-Ray Absorption Spectroscopy (HERFD-XAS) Measuring Procedure

  - For high resolution x-ray absorption spectroscopy, optimize all of the crystals from the crystal analyzer spectrometer in Bragg conditions with respect to the fluorescence line energy of interest [1] and use a reference for which the energy position of the absorption edge is known to calibrate the incident monochromatic beam energy [2-TXT].

    - Talent optimizing crystals

    - Talent using reference to calibrate beam energy

  - Transfer the sample holder to a liquid helium cryostat for biological samples [1] and set the cryostat to 10 degrees Kelvin [2].

    - Talent placing holder into cryostat

    - Talent setting temperature

  - Then close the experimental hutch following the synchrotron safety rules [1] and begin the analysis [2].

    - Talent closing hutch

    - Talent initiating analysis

# Section – Results

- Results: Representative Selenium (Se) and Iron (Fe) K-Edge Typical HERFD-XANES Analyses

  - Here representative high-resolution x-ray absorption spectroscopy spectra of the selenium in the initial state and in cells incubated in nutritive medium [1] demonstrate that the selenium in the initial selenium nanoparticles was present as both selenium-zero [2] and selenite-like forms [3].

    - LAB MEDIA: Figure10

    - LAB MEDIA: Figure10 Video Editor: please emphasize green BSA SeNP data line

    - LAB MEDIA: Figure10 Video Editor: please emphasize blue BSA SeNP Incubation 24h data line

  - After interactions with the PC-3 (P-C-three) cells, however, the selenium was mainly present in the cells as selenium-zero, demonstrating a change of selenium species within the cells [1].

    - LAB MEDIA: Figure10 Video Editor: please emphasize red PC3 exposed to BSA SeNP data line

  - For iron, high resolution x-ray absorption spectroscopy reference spectra exhibit distinct edge positions depending on the iron oxidation state [1], with reduced species of iron shifted to low energy values [2].

    - LAB MEDIA: Figure 11 Video Editor: please emphasize six upper spectra

    - LAB MEDIA: Figure 11 Video Editor: please emphasize four Diatoms spectra

  - Two successive spectra collected on the same position of a diatom pellet were similar [1], indicating that beam damage was limited between two acquisitions when using a helium-cryostat at 10 Kelvin [2].

    - LAB MEDIA: Figure 11 Video Editor: please emphasize red and black Diatoms post #1, #2, and #3 data lines

    - LAB MEDIA: Figure 11

  - Furthermore, spectra from different positions of the diatom pellet were identical, demonstrating that the sample pellet was homogeneous, and that the spectra could be averaged to obtain a better signal-to-noise ratio spectrum [1].

    - LAB MEDIA: Figure 11 Video Editor: please emphasize Diatoms Average data line

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Caroline Bissardon: The most critical steps are the preparation of the nanoparticle dilutions, the pelleting at cryogenic temperature, and the preparation of the standard reference samples [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Steps: 2.2.2., 2.9.2., 2.10.1.)

  - Sylvain Bohic: This procedure can be applied to other bulk analytical techniques, such as ICP-MS or HPLC-ICP-MS, or other non-synchrotron spectroscopic techniques able to be performed at cryogenic temperature [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Olivier Proux: Other scientific questions can be explored using this procedure, particularly in the fields of bio-geology or biogeochemistry and environmental sciences or toxicology research [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Caroline Bissardon: Selenium compounds and selenium nanoparticles can be hazardous to your health and should be manipulated in a dedicated chemical-hood using gloves, glasses, and a face mask [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera