## Sheet1
Name of Material / Equipment | Company | Catalog Number | Comments/Description
Tweezers (high precision, ultra fine) | EMS | 78520-5 | Antennal ablation
MicroPoint Scissors (5-mm cutting edge) | EMS | 72933-04 | Wing injury
1.5 mL microcentrifuge tube | Eppendorf | 30120086
35mm tissue culture dish | Sarstedt | 83.39
Cover Slips, Thickness 1 | Thermo Scientific™ | BB02400600A113MNT0
Superfrost Microscope Slides | Thermo Scientific™ | AA00008032E00MNT10
High-Sensitivity USB 2.0 CMOS Camera, 1280 x 1024, Global Shutter | Thorlabs | DCC1240M | Camera setup
SM1 Retaining Ring for Ø1" Lens Tubes and Mounts | Thorlabs | SM1RR
25mm 1/1.2" C mount Lens | Tamron | M112FM25
Adapter with External M27 x 0.5 Threads and Internal SM1 Threads | Thorlabs | SM1A36
Aspheric Condenser Lens, Ø25 mm, f=20.1 mm, NA=0.60, ARC: 650-1050 nm | Thorlabs | ACL2520U-B
Ø25.0 mm Premium Longpass Filter, Cut-On Wavelength: 700 nm | Thorlabs | FELH0700
SM1 (1.035"-40) Coupler, External Threads, 0.5" Long | Thorlabs | SM1T2
SM1 Lens Tube Without External Threads, 1" Long, Two Retaining Rings Included | Thorlabs | SM1M10
850 nm, 900 mW (Min) Mounted LED, 1200 mA | Thorlabs | M850L3 | IR LED spotlight
SM1 (1.035"-40) Coupler, External Threads, 0.5" Long | Thorlabs | SM1T2
SM1 Lens Tube Without External Threads, 2" Long, Two Retaining Rings Included | Thorlabs | SM1M20
Aspheric Condenser Lens, Ø25 mm, f=20.1 mm, NA=0.60, ARC: 650-1050 nm | Thorlabs | ACL2520U-B
Ø25.0 mm Premium Longpass Filter, Cut-On Wavelength: 850 nm | Thorlabs | FELH0850
SM1 Retaining Ring for Ø1" Lens Tubes and Mounts | Thorlabs | SM1RR
660 nm, 940 mW (Min) Mounted LED, 1200 mA | Thorlabs | M660L4 | Red LED spotlight
Aspheric Condenser Lens, Ø25 mm, f=20.1 mm, NA=0.60, ARC: 650-1050 nm | Thorlabs | ACL2520U-B
SM1 (1.035"-40) Coupler, External Threads, 0.5" Long | Thorlabs | SM1T2
SM1 Lens Tube Without External Threads, 2" Long, Two Retaining Rings Included | Thorlabs | SM1M20
15 V, 2.4 A Power Supply Unit with 3.5 mm Jack Connector for One K- or T-Cube | Thorlabs | KPS101 | LED control
T-Cube LED Driver, 1200 mA Max Drive Current | Thorlabs | LEDD1B
150 mm x 300 mm x 12.7 mm Aluminum Breadboard, M6 Double-Density Taps | Thorlabs | MB1530/M | Mount base
Ø12.7 mm Universal Post Holder, Spring-Loaded Locking Thumbscrew, L = 75 mm | Thorlabs | UPH75/M | Mount, 3x (IR LED, red LED, cam)
Ø1.20" Slip Ring for SM1 Lens Tubes and C-Mount Extension Tubes, M4 Tap | Thorlabs | SM1RC/M
Ø12.7 mm Optical Post, SS, M4 Setscrew, M6 Tap, L = 150 mm | Thorlabs | TR150/M
Ø12.7 mm Optical Post, SS, M4 Setscrew, M6 Tap, L = 40 mm | Thorlabs | TR40/M
Right-Angle Clamp for Ø1/2" Posts, 5 mm Hex | Thorlabs | RA90/M
M6 x 1.0 Stainless Steel Cap Screw, 16 mm Long, Pack of 25 | Thorlabs | SH6MS16 | screws for mount onto base
USB­6001 14­Bit 20 kS/s Multifunction I/O and NI­DAQmx | National Instruments | 782604­01 | Red LED spotlight controller
20k Ohm 1 Gang Linear Panel Mount Potentiometer | TT Electronics/BI | P230-2EC22BR20K | fintuner for indicator
IR (860nm) emitter, 100 mA radial | Osram | 475-1365-ND | Red light indicator
cable | - | - | Misc
Name of Chemical | Company | Catalog Number | Comments/Description
All-trans retinal | Sigma | R2625
Ethanol absolute | Vwr | 20821.296
Halocarbon Oil 27 | Sigma | H8773
Mowiol | Merk | 81381
Paraformaldehyde | Sigma | F8775
Phosphate buffered saline (PBS) | Sigma | P5493
Sylgard 184 silicone elastomer base | Dow Corning Corp | 4019862
Sylgard 184 silicone elastomer curing agent | Dow Corning Corp | 4019862
Triton X-100 | Sigma | T8787
Name of Reagent/Resource | Company | Catalog Number | Comments/Description
Chicken anti-GFP antibodies | Rockland | 600-901-215 | Antibodies
Goat Dylight anti-Chicken | Abcam | ab96947
Namne of transgenic fly | Company | Catalog Number | Comments/Description
FM7a, B | BDSC | RRID:BDSC_785 | X chromosome
FRT19A[hs-neo] | BDSC | RRID:BDSC_1709
hiw[∆N] | BDSC | RRID:BDSC_51637
hs-FLP[12] | BDSC | RRID:BDSC_1929
tub-Gal80[LL1] | BDSC | RRID:BDSC_5132
w[1118] | BDSC | RRID:BDSC_3605
20xUAS-IVS-CsChrimson::mVenus | BDSC | RRID:BDSC_55135 | 2nd chromosome
5xUAS-Gal4[12B] | Kyoto | RRID:Kyoto_108492
5xUAS-HA::dnmnat | BDSC | RRID:BDSC_39702
5xUAS-mCD8::GFP[LL5] | BDSC | RRID:BDSC_5134
ase-FLP[2d] | Freeman laboratory | Neukomm et al., 2014 (PNAS)
CyO | BDSC | RRID:BDSC_2555
dpr1-Gal4 | BDSC | RRID:BDSC_25083
OR22a-Gal4 | BDSC | RRID:BDSC_9952
ey-FLP[6] | BDSC | RRID:BDSC_5577 | 3rd chromosome
GMR60E02-Gal4 | BDSC | RRID:BDSC_39250
TM3,Sb,e | BDSC | RRID:BDSC_3644

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=