Revisions to editorial comments

December 16, 2019

Protocol, Step 1. VNA Setup

Reviewer: I added this as a subheading for better organization. I've also extended the highlighting for continuity and completeness. (my additions are in green).

Hammerschmidt: This is okay with me. I didn’t know how much detail you needed as this is my first publication/presentation with JoVE.

Protocol, Step 1.4

Reviewer: Can you specify which ports exactly?

Hammerschmidt: I have specified ports 1 and 2.

Protocol, Step 1.9

Reviewer: Please specify which ports are connected.

Hammerschmidt: Specified ports 1 and 2.

Protocol, step 2.4 to step 2.11

Reviewer: How is the measurement taken? Unclear what exactly is done here.

Hammerschmidt: Had to rearrange some of the steps to make sure the steps are done correctly and in the right order. I think I have clarified comments in steps 2.4 to 2.11, with sub-bullets.

Protocol, Step 3.1 to step 3.4

Reviewer: How?

Hammerschmidt: I have tried rewording and adding steps to make this clearer.

Protocol, Step 4.1 to step 4.4

Reviewer: Unclear what is done here, please add the necessary details.

Hammerschmidt: Have added additional working to clarify.

Reviewer: What specifications?

Hammerschmidt: Added wording to state the manufacturer’s specifications.

FIGURE LEGENDS, Line 559

Reviewer: Use superscripted reference and add this to the reference list.

Hammerschmidt: Added to References and superscripted the reference.

REFERENCES, Reference 3

Reviewer:  Please complete the reference.

Hammerschmidt: Deleted because this is not forthcoming and no timeline has been determined.