RE: JoVE60884 R2: Manuscript Revision Required

Dear Editor,

Thanks for the editor board interested in this manuscript (ID: JoVE60884), hard work of formatting and gave us the third opportunity to address editor’s comments. All points in the comments have been addressed in the manuscript R2. The manuscript was kept with marks in Microsoft Word. Please also see the attachment of response to editor’s comments.

We would like to submit the 2nd revised version for your consideration to be published soon.

Yours sincerely,

Junjie Liang

Editorial comments:
1. The editor has formatted the manuscript to match the journal's style. Please retain and use the attached file for revision.

Response to the comments: Thank you for your great and hard work.

2. Please address all the specific comments marked in the manuscript.

Response to the comments: Thank you for the commons and advises. We revised our manuscript based on your each common. Please find all the details in our R2 version.
3. Please ensure that the highlight is no more than 2.75 pages including headings and spacings.

Response to the comments: Thank you for editor’s reminding. The heighted of this manuscript-R2 is no more than 2.75 pages. 
4. Please proofread the manuscript well before submitting the revision.

Response to the comments: Thank you for editor’s reminding. We checked the grammar before submission.  

Reviewer #1:
Manuscript Summary:
This revised manuscript describes a protocol used to assess various aspects of balance in a small number of fairly high functioning individuals who have experienced a stroke. As in my original review, I find it unclear what the described work adds to previous more detailed descriptions of post-stroke balance.

Major Concerns:
1. Overall, this manuscript appears to include 3 well established clinical measures of balance, and 3 tests of postural balance that directly follow the manual of a commercially available device. It is unclear whether the protocol described in the text is anything more than a description of methods previously developed by others.

Response to the comments: Thank you for reviewer’s comments. JOVE is a methods journal and our paper is supposed to be methodology present. So we focus more on the features of the instrumental balance assessment we used in our protocol. Moreover, we also presented the advantage of instrumental balance assessments on mild balance injured stroke patients than BBS (please see our Discussion part). 
2. Likely as a result of the point above, the metrics derived from the commercially available device are not clearly described or justified. Instead, statements such as "…software will supply different calculations…" are made. The validity or usefulness of such metrics cannot be judged. Similarly, the choice of many testing parameters is not justified (e.g. "set the force absorbers parameter to 1" (line 270)).

Response to the comments: Thank you for reviewer’s comments. The equipment （Prokin balance system）has been used in many previous studies (please see the reference part). We think the validity and usefulness of this equipment are confirmed. 
3. In the Introduction the authors state that they "present the results of a comparison between our instrumented balance assessment, BBS, and two other clinical balance scales…" (lines 99-100). It does not appear to me that any formal type of such comparison is presented.
Response to the comments: Thank you for reviewer’s comments. We explained the differences in five main points in the Discussion Part. Please find the details from line 413 to 479.  
Minor Concerns:
1. I previously requested that the authors explicitly link postural stability to post-stroke fall risk in the Introduction. The authors have added a sentence that makes this link (lines 64-65), but justify this sentence by citing a reference that did not actually measure fall risk. A more appropriate reference should be used.

Response to the comments: Thank you for reviewer’s comments. We added more details to explain the increased fall risk after stroke.
2. Is the mentioned "trunk sensor" part of the Prokin Balance System?

Response to the comments: Thank you for the commons. Yes, the “trunk sensor “is the one of the components belonging to the Prokin balance system.
3. The description of the axes on lines 212-213 is confusing.

Response to the comments: Thank you for reviewer’s comments. We changed one of the figures of Figure 1 to show more clearly about axes. 
4. It is not clear whether the "proprioceptive assessment" will truly assess proprioception, as it seems that motor function would dramatically affect task performance irrespective of proprioceptive function.

Response to the comments: Thank you for reviewer’s comments. We rewrote this part and added more details of “ Proprioceptive assessment is used to evaluate postural stability and fine coordination function of lower limbs of stroke subjects.” 

5. In the Data Analysis section, it would helpful to state which metric comes from which test(s).

Response to the comments: Thank you for reviewer’s comments. We made a new table to show the parameters and the figures already showed the parameters from different module.

6. The statemeASnt on lines 350-351 that the "references 110-250 show the range of ratio…" is still unclear.

Response to the comments: Thank you for the commons. We have rewritten the sentence as “The range of the ratio (110–250) in healthy participants as reference based on the manual of manufacture.”

7. Some figures or figure legends appear to be mislabeled.

Response to the comments: Thank you for reviewer’s comments. We checked the legends. 
8. As mentioned in my previous review, Line 485 states that a BBS score of 41-56 indicates high fall risk. I think this should be low fall risk.

Response to the comments: Thank you for reviewer’s comments. We corrected this part.
9. A very unusual definition of "reaction time" is used, and probably cannot be fairly compared with prior results.
Response to the comments: Thank you for reviewer’s comments. Reaction time is used as the main parameter of the LOS assessment. We are not sure what you mean? Please give us more hits.

Reviewer #2: 
To the Authors,
The Authors have addressed my concerns from the original submission, and in doing so have much improved the paper. I have several remaining minor concerns regarding the Introduction and Methods, which are detailed in my comments below.

1. I am still unclear as to the axis labelling system. Would it be possible to label the axes on Figure 1 for clarity?
Response to the comments: Thank you for the commons. We already labeled the axes on the Figure1 ② to state more clearly. 
2. When describing the variables, there are still many abbreviations used, as well as 'x' and 'y' to refer to mediolateral and antero-posterior. This section, as well as the results, would be much easier to follow if the full terms were written out, and mediolateral and antero-posterior used instead of 'x' and 'y'.
Response to the comments: Thank you for the commons. We have changed “X” and “Y” into “mediolateral axis” and “antero-posterior axis”.
3. Lines 350, 355: I am unclear as to the meaning of 'the references 110-250' and 'the range of the ratio (110-250)'.
Response to the comments: Thank you for the commons. We have rewritten the sentence as “The range of the ratio (110–250) in healthy participants as reference based on the manual of manufacture.”
4. Lines 366-367: The description of this variable does not imply variance. Please clarify.
Response to the comments: Thank you for the commons. This parameter is the prokin built-in parameters. 
5 Lines 369-370: The description of this variable is unclear - terms like 'the expected value' and 'reference' are somewhat ambiguous.
Response to the comments: Thank you for the commons. We rewrote the definition of stability index as follow: “the index is a dispersion index in relation with the waited result (the references axis vertical or horizontal) during the Proprioceptive Assessment test.”

6. The contributions of the study have become clearer in the Discussion. To further support the Discussion, a brief sentence or two could be added to the existing final paragraph of the Introduction, to explicitly state that the results of the protocol could be used to guide clinical strategy, through the integration of multiple assessments targeting different aspects/outcomes related to balance. Something along these lines would clearly identify the benefit of this protocol, and connect to the Discussion.

Response to the comments: Thank you for the commons and advices. We added some details at the end of the final paragraph of the introduction as follow: “With the increasing application of posturography techniques and the popularization of computers, it is necessary to promote objective/quantitative balance assessment into clinical practice. Here, we propose a clinical balance assessment methodology, which includes standard clinical balance scales and three-module instrument objective balance assessment for stroke patients with balance disorders. Moreover, by comparing the results of clinical assessment scales and instrumental balance assessment, the advantages of instrumental balance assessment are present, especially for stroke patients with mild balance disorders. Our protocol could help health professionals to achieve accurate evaluation, which would guide the clinical strategy.”