## Sheet1
Table 1 The major parameters and their meanings of static and dynamic balance instrument evaluation.
Paranmeter | Meaning
Average COP.X | the average COP on the X-axis/medio-lateral axis (UOM[mm])
Average COP.Y | the average of COP on the Y-axis/ anterior-posterior axis (UOM [mm])
Average F-B Speed | the average speed of forward-backward movements (UOM [mm/sec])
Average M-L Speed | the average speed of medium-lateral movements (UOM ([mm/sec])
Romberg Test-Perimeter Ratio C.E./O.E. | the ratio of perimeter between closed eyes test and opened eyes test. Perimeter represents the math sum of all segments point to point created during the test. The range of the ratio (110–250) in healthy participants as reference based on the manual of manufacture.
Romberg Test–Area Ratio C.E./O.E. | the ratio of the perimeter between closed eyes and opened eyes tests. The area represents 95% of the area developed by COP movement. The range of the ratio (110–250) in healthy participants as reference based on the manual of manufacture.
Average Track Error, ATE | during the proprioceptive assessment module, the average value of differences between the red line being plotted by the foot and the blue line, which is perfectly round, provides a proprioceptive sensitivity index of the foot being tested. All the ATE index values ranging between zero and 35% are considered as very good regarding subtle proprioceptive control; ATE index values of 35–100% are considered sufficient; and scores above 100% indicate some problem with proprioceptive control, which may need further evaluation and investigation.
Average Force Variance | the average of applied loaded in eight fundamental sectors on the tilting board during test.
Stability Index | the index is a dispersion index in relation with the waited result (the references axis vertical or horizontal) during the Proprioceptive Assessment test.
Reaction time of LOS | the time the patient took to reach their maximal lean-out toward each of the 8 targets in the LOS test.
Results of LOS | the values on eight objectives were derived from the amount of on-axis movement of the COG relative to off-axis COG movement and is expressed as a percentage of the total on-axis movement.
Average of LOS | the average value of the results on the eight objectives.
Notes: COP, Center of Pressure; UOM, unit of measurment; F-B, forward-backward; M-L, mm, millimetre; sec, second; C.E, closed eyes; O.E, opened eyes; ATE, Average Track Error; LOS, limits of stability;