# Submission ID #:  60886

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18570278

Title: Combined Infusion and Stimulation with Fast-Scan Cyclic Voltammetry (CIS-FSCV) to Assess Ventral Tegmental Area Receptor Regulation of Phasic Dopamine

Authors and Affiliations: Robert J. Wickham1, Makenzie Lehr1,*, Lauryn Mitchell1,*, and Nii A. Addy2,3

*These authors provided equal supervision to the work

1Department of Psychology, Elizabethtown College, Elizabethtown, PA, USA

2Department of Psychiatry, Yale University, New Haven, CT, USA

3Department of Cellular and Molecular Physiology, Yale University

# Corresponding Author:

# Robert J. Wickham

# wickhamr@etown.edu

# Co-authors:

lehrm@etown.edu

mitchelll1@etown.edu

nii.addy@yale.edu

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Robert Wickham:  This approach can help elucidate the role of specific ventral tegmental area somatodendritic receptors in phasic dopamine release in the nucleus accumbens [1].

REQUIRED:

  - Robert Wickham: The main advantage of this approach is that questions about receptor function and control over phasic dopamine release can be addressed in the intact brain [1].

OPTIONAL:

  - Lauryn Mitchell: As optimizing the carbon fiber microelectrode and bipolar stimulator locations can be challenging, starting the recordings in the dorsal striatum can be helpful [1].

OPTIONAL:

  - Makenzie Lehr: Due to the use and manipulation of multiple types of electrodes, visual demonstration of when and where these electrodes should be implanted will be useful to beginners [1].

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committees (IACUC) at Elizabethtown College and Yale University.

# Protocol

- Electrode Implantation

  - After confirming a lack of response to pedal reflex [1-TXT], clean the scalp of an anesthetized rat with three sequential iodopovidone and 70% ethanol scrubs [2].

    - WIDE: Talent pinching toe Videographer: Important step TEXT: Anesthesia: urethane 1.5 g/kg i.p.

    - Scalp being wiped, with iodopovidone and ethanol containers visible in frame

  - After the last scrub, use sterilized needle nose tweezers and surgical scissors to cut away enough scalp tissue to make room for the implanted electrodes [1].

    - Skin being removed

  - Gently clean the exposed skull surface with sterilized cotton tip applicators [1] before applying 2-3 drops of 3% hydrogen peroxide to help identify lambda and bregma [2].

    - Skull being wiped

    - Skull being cleansed

  - Next, use a 1-millimeter drill bit set to approximately 20,000 revolutions per minute [1] to make a 1.5-millimeter-diameter hole 2.5 millimeters anterior and 3.5 millimeters lateral to the bregma [2].

    - Talent equipping drill with bit

    - Hole being drilled

  - Implant a 1.59-millimeter-outer diameter, 3.2-millimeter-long screw about halfway into the hole until the screw is firmly in place [1].

    - Screw being implanted

  - Next, drill a 1-millimeter-diameter reference electrode hole in the left hemisphere 1.5 millimeters anterior and 3.5 millimeters lateral to the bregma [1].

    - Hole being drilled

  - Insert approximately 2 millimeters off reference wire into the hole while wrapping the wire around and under the head of the implanted screw [1].

    - Wire being inserted/wrapped Videographer: Important step

  - Then fully implant the screw, pinning the reference electrode into place [1].

    - Screw being implanted/electrode being secured Videographer: Important step

  - In the right hemisphere, drill a 1.5-millimeter-diameter hole 1.2 millimeters anterior and 1.4 millimeters lateral to the bregma [1] and use tweezers to carefully remove the dura [2].

    - Hole being drilled

    - Dura being removed

  - For the stimulating electrode, drill a square hole 2 millimeters anterior-posterior and 5 millimeters medial-lateral centered at 5.2 millimeters posterior and 1 millimeter lateral to the bregma [1].

    - Hole being drilled

  - Using stereotactic arm bars, lower the bipolar stimulating electrode-guide cannula 5 millimeters below the dura [1-TXT].

    - Cannula being lowered TEXT: Use sterile cotton swab and gauze to minimize bleeding as necessary

  - Using the stereotactic arm bars, lower the carbon fiber microelectrode 4 millimeters below the dura at the most dorsal portion of the striatum [1] and connect the reference wire and carbon fiber to a potentiostat [2].

    - Fiber being lowered Videographer: Important/difficult step

    - Wire and/or fiber being connected to potentiostat

  - Then apply a minus 0.4 to 1.4-volt, 400 volt/second triangular wave form for 15 minutes at 60 Hertz [1] followed by a 10-minute stimulus at 10 hertz [2].

    - Talent applying stimulus

    - Shot of frequency being set to 10 Hz

- Carbon Fiber and Stimulating Electrode/Guide Cannula Location Optimization

  - To optimize the stimulating electrode location, set the stimulator to produce a bipolar electrical waveform with a 60-hertz frequency, 24 pulses, 300 microamp current, and 2 millisecond/phase pulse width [1].

    - WIDE: Talent setting stimulator parameters, with setting readout visible in frame

  - Gently lower the stimulator in 0.2-millimeter increments from 5 to 7.8 millimeters below the dura [1], stimulating the VTA (V-T-A) at each increment [2-TXT].

    - Stimulator being lowered

    - VTA being stimulated TEXT: VTA: ventral tegmental area

  - Continue to lower the bipolar stimulating electrode-guide cannula until a stimulation produces phasic dopamine release at the carbon fiber microelectrode within the dorsal striatum [1].

    - SCREEN: ScreenCapture_1: 00:02-00:15

  - Once a dopamine release has been observed, lower the carbon fiber microelectrode until it is at least 6 millimeters below the dura into the most dorsal part of the nicotinic acetylcholine core [1].

    - Electrode being lowered

  - When the electrode is in position, stimulate the VTA [1] and record the peak amplitude of the dopamine peak [2].

    - Stimulus being delivered

    - SCREEN: ScreenCapture_2: 00:02-00:11

  - Then lower or raise the carbon fiber microelectrode to the site that produces the greatest dopamine release [1], making sure that the peak of the dopamine response is represented as a clear oxidation peak at 0.6 volts and a reduction peak at minus 0.2 volts [2].

    - Electrode height being adjusted

    - SCREEN: ScreenCapture_3: 00:02-00:11 Video Editor: please emphasize tall peak in right graph with “clear oxidation peak at 6 volts” and small inverted peak in right graph with “reduction peak at -0.2 volts”

- Combination Infusion and Stimulation Fast-Scan Cyclic Voltammetry (FSCV) Recording

  - Once the carbon fiber and stimulating electrode-guide cannula location has been optimized, stimulate the animal for 20-30 minutes [1].

    - WIDE: Talent starting stimulus OR Talent setting timer, both with setup visible in frame Videographer: More Talent than mouse in shot

  - After achieving a stable baseline, gently lower the internal cannula by hand into the guide cannula pre-fitted into the bipolar stimulator [1-TXT] and obtain an additional 2-3 baseline recordings to confirm that the cannula insertion did not cause a change in the evoked signal [2].

    - Cannula being lowered Videographer: Important/difficult step TEXT: Baseline = <20% variation >5 stimulations

    - SCREEN: ScreenCapture_4: 00:02-00:07

  - Once a baseline response has been established, use a syringe pump and a microsyringe to infuse 0.5 microliters of the drug solution of interest into the VTA over a 2-minute period [1].

    - Solution being infused Videographer: Important step

  - After the infusion, leave the internal cannula in place for at least 1 minute prior to removal [1], continuing to record the response every 3 minutes to measure the post-infusion effects [2].

    - Shot of cannula, then cannula being removed

    - SCREEN: ScreenCapture_5: 00:02-00:07

## Protocol Script Questions

- Which steps from the protocol are the most important for viewers to see?

2.7., 2.8., 2.12., 4.2., 4.3.

- What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.12., 4.2.

# Results

- Results: Representative Analyses of Stimulation-Evoked Phasic Dopamine Release

  - As demonstrated in these representative color plots, saline infusion does not alter the stimulated phasic dopamine release [1].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Saline voltammogram and color plot

  - The infusion of NMDA (N-M-D-A) produces a robust increase in stimulated phasic dopamine release [1-TXT], while the NMDA receptor (N-M-D-A) competitive antagonist, AP5 (A-P-five), produces a robust decrease [2-TXT].

    - LAB MEDIA: Figure 3A Video Editor: please emphasize VTA NMDA graph and color plot TEXT: NMDA: N-methyl-D-aspartate

    - LAB MEDIA: Figure 3B TEXT: AP5: (2R)-amino-5-phosphonovaleric acid Video Editor: please emphasize VTA AP5 graph and color plot

  - Both the noncompetitive nicotinic acetylcholine receptor antagonist mecamylamine [1] and the nonselective, competitive muscarinic acetylcholine receptor antagonist scopolamine [2] produce a robust decrease in the stimulated phasic dopamine release [3].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize VTA MEC graph and color plot

    - LAB MEDIA: Figure 4 Video Editor: please emphasize VTA SCOP graph and color plot

    - LAB MEDIA: Figure 4

  - In this graph, a summary of the effects of the tested drugs over time can be observed [1].

    - LAB MEDIA: Figure 5 Video Editor: please sequentially emphasize data lines from MNDA -> AP5 > MEC -> SCOP OR no animation

# Conclusion

- Conclusion Interview Statements

  - Makenzie Lehr: The infusion cannula must be carefully inserted into the bipolar stimulating electrode. Otherwise excessive damage can occur, leading to artifactual changes in phasic dopamine release [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 4.2.)

  - Lauryn Mitchell: This approach has allowed investigators to more finely address the specific receptor mechanisms by which phasic dopamine release is regulated in vivo [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera