# Submission ID #:  60888

# Scriptwriter Name: Susan Timberlake

# Project Page Link: http://www.jove.com/files_upload.php?src=18570888

Title: Simple Lithography-Free Single Cell Micropatterning Using Laser-Cut Stencils

# Authors and Affiliations:

Soah Lee1,2,3,*, Huaxiao Yang1,2,3,*, Caressa Chen1,2,3,*, Sneha Venkatraman1,2,3, Adrija Darsha1,2,3, Sean M. Wu1,2,3, Joseph C. Wu1,2,3, Timon Seeger1,2,3,4

1Stanford Cardiovascular Institute, Stanford University School of Medicine, Stanford, CA, USA

2Department of Medicine, Division of Cardiovascular Medicine, Stanford University, Stanford, CA, USA

Institute of Stem Cell Biology and Regenerative Medicine, Stanford, CA

3Institute for Stem Cell Biology and Regenerative Medicine, Stanford University, Stanford, CA, USA

4Department of Medicine III, University Hospital Heidelberg, Heidelberg, Germany

# Corresponding Authors:

Timon Seeger		(timon.seeger@med.uni-heidelberg.de)

# Email Addresses for Co-authors:

Soah Lee		(soahlee@stanford.edu)

Huaxiao Yang		(huaxiao@stanford.edu)

Caressa Chen		(caressa.chen@gmail.com)

Sneha Venkatraman	(sneha.v987@gmail.com)

Adrija Darsha		(adrija.k.darsha@gmail.com)

Sean M. Wu		(smwu@stanford.edu)

Joseph C. Wu		(joewu@stanford.edu)

Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Yes

If Yes, can you record movies/images using your own microscope camera? No

If No, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Zeiss Primo Vert

2. Software: Does the part of your protocol being filmed include software usage?  No

3. Filming location: Will the filming need to take place in multiple locations? No

# Script – Introduction

- Introductory Interview Statements

Huaxiao Yang: We describe a stencil-based, lithography-free single-cell micropatterning method that overcomes many of the obstacles associated with photolithography and soft lithography. The stencils are reusable and the process is inexpensive and customizable. [1].

INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

Soah Lee: This method can open a new avenue for non-engineer researchers to study cell shape- and area-induced mechanotransduction in various physiological and pathological contexts. Furthermore, this protocol allows for micropatterning of thousands of cells, which can be utilized for high-throughput disease modeling and drug screening in a dish [1].

INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

Huaxiao Yang: Visual demonstration will facilitate implementation of two crucial steps: detaching one coverslip from the hydrogel, and drying the hydrogels sufficiently before placing the stencil. [1].

INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

# Script - Protocol

Solution Preparation

Prepare the polyacrylamide hydrogel solution in a new 50-milliliter polypropylene centrifuge tube, as described in the manuscript [1-TXT].

Establishing shot of talent at laboratory bench. TEXT: See manuscript for details on altering the stiffness of the hydrogel by changing the ratio of acrylamide to bis-acrylamide.

Next, to prepare the 5-percent photoinitiator solution, dissolve the ingredients in 700 microliters of 100-percent ethanol [1-TXT]. The ingredients are not water-soluble, so be sure to fully dissolve by vortexing [2]. Add 300 microliters of PBS, for a final volume of 1 milliliter [3].

Talent prepares photoinitiator solution. TEXT: The photoinitiator solution is good for 4 weeks, if stored in foil at 4 °C. Videographer: It is not necessary to show the entire process of making the solution.

Talent vortexes centrifuge tube.

Talent adds PBS.

[1-TXT].

Talent prepares basement membrane matrix protein solution. TEXT: When working with basement membrane matrix, work on ice and use ice-cold solutions and chilled pipette tips and tubes.

Working on ice, dilute basement membrane matrix protein stock solution with ice-cold DMEM/F12 media or 1x PBS to the optimized dilution ratio [1]. Keep on ice for later use. When working with basement membrane matrix, make sure to always work on ice and use ice-cold solutions and chilled pipette tips and tubes [2].

Talent dilutes basement membrane matrix protein stock solution. (Author Comment: During filming, 2.4.1 was labeled and filmed as 2.3.1)

Talent places solution on ice.

Hydrogel Fabrication

Place a UV bench lamp in a biological safety hood [1-TXT].

Talent places bench lamp in hood. TEXT: Lamp: 365 nm, 4 mW/cm2

Next, examine the sterilized and dried paraffin films prepared previously [1]. If the paraffin films are not completely dry, use a vacuum aspiration system to remove any residual liquid [2].

Talent sets Petri dishes containing paraffin films in safety hood places the paraffin films in a Petri dish, and then uses a roller to flatten them out.

Talent uses aspiration system.

Using autoclaved forceps, place six autoclaved coverslips on the paraffin film, six in each Petri dish [1].

Talent places coverslips on films.

To prepare the UV-crosslinkable polyacrylamide final solution, dilute the photoinitiator solution with the polyacrylamide hydrogel precursor solution [1-TXT]. Sterilize the solution using a 50-milliliter filter unit with a 0.22-micrometer pore size [2].

Talent prepares UV-crosslinkable solution. TEXT: NOTE: Always prepare fresh solution.

Talent sterilizes solution.

Then, dispense 200 microliters of UV-crosslinkable polyacrylamide final solution onto each of the 6 glass coverslips in the Petri dishes [1-TXT]. Using autoclaved forceps, carefully cover each coverslip with a second coverslip, trapping a layer of the solution between the two coverslips [2].

Talent dispenses solution onto each glass coverslip. TEXT: Note: Paraffin film is used to avoid spilling and to confine the precursor solution between the coverslips.

Talent covers each coverslip with a second coverslip.

Place the Petri dishes containing the coverslips under the UV bench lamp with the lid unclosed [1]. For protection from UV radiation, cover the lamp with aluminum foil [2]. Photopolymerize the polyacrylamide hydrogels for 5 minutes [3-TXT].

Talent places Petri dishes under UV bench lamp.

Talent covers lamp with aluminum foil.

Talent turns on bench lamp. TEXT: Wear UV-protection goggles.

Use a razor blade to carefully separate each pair of coverslips [1-TXT]. Videographer: Author has indicated this is one of the most important steps for viewers to see.

Talent uses razor blade to separate coverslips and place the coverslip with hydrogel in a disposable polypropylene reservoir. TEXT: NOTE: The hydrogel will usually stick to the top coverslip. Be careful when detaching the coverslip from the hydrogel, because it is likely to break.

Fill the reservoir containing the six coverslips with PBS [1]. [2]. After rinsing for 5 minutes, return the hydrogel-coverslip composites to the paraffin film in the Petri dish [3].

Talent fills reservoir with PBS.

Talent transfers coverslips to reservoir. (Author we included this action in step 3.81)

Talent places hydrogel constructs back on the paraffin films in the Petri dishes.

Protein Conjugation

Obtain a tube of sulfo-SANPAH from storage at minus 80 degrees Celsius [1-TXT]. Add 1,200 microliters of pre-chilled PBS to the tube, and mix by pipetting up and down [2].

Talent removes a vial from freezer. TEXT: Thaw sulfo-SANPAH immediately before use. Do not reuse or refreeze leftovers.

Talent adds PBS to the tube and mixes by pipetting.

Dispense 200 microliters of the diluted sulfo-SANPAH onto the paraffin film in the Petri dish [1]. Place a hydrogel-coverslip composite over the sulfo-SANPAH, with the hydrogel contacting the sulfo-SANPAH [2-TXT].

Talent dispenses sulfo-SANPAH.

Talent places hydrogel construct over sulfo-SANPAH. TEXT: Repeat for each hydrogel-coverslip composite.

Next, place the hydrogel-coverslip composites under the UV lamp and expose them for 5 min, to activate the sulfo-SANPAH [1-TXT].

Talent places composites under lamp. TEXT: UV lamp: 365 nm, 4 mW/cm2

If the sulfo-SANPAH turns from orange to brown, indicating successful activation and incorporation, proceed to the next steps within 10 minutes [1].

CU: Hydrogel-coverslip composite, showing brown color.

Replenish the disposable polypropylene reservoir with fresh PBS [1]. Transfer the activated hydrogel-coverslip composites to the reservoir and rinse them briefly to remove unbound sulfo-SANPAH [2-TXT].

Talent replenishes the reservoir.

Talent rinses composites in reservoir. TEXT: Note: Washing > 5 minutes can result in low protein-conjugation efficiency.

Place the hydrogel-coverslip composites on the paraffin film in the Petri dishes [1] and carefully dab them with sterile lint-free wipes [2-TXT].

Talent places the hydrogel composites on the paraffin film.

Talent dabs the composites with sterile wipes. TEXT: Important: Do not overdry or leave excess moisture.

Place a stencil on top of each hydrogel-coverslip composite [1-TXT]. To ensure a tight seal between the stencil and the composite, remove excess moisture by dabbing with autoclaved lint-free wipes [2]. Videographer: Author has indicated this is one of the most important steps for viewers to see.

Talent confirms the front side of a stencil and places the front side of a stencil facing up on top of each composite. TEXT: The front side of a stencil is determined by a chiral letter when it’s readable.

Talent dabs with lint-free wipes. Videographer: Author has indicated this is the most difficult step of the procedure.

Carefully dispense the diluted basement membrane matrix protein solution, placing 200 microliters on top of each hydrogel-coverslip composite [1]. Incubate the constructs overnight at 37 degrees Celsius [2]. Videographer: Author has indicated this is one of the most important steps for viewers to see.

Talent dispenses basement membrane matrix protein solution.

Talent places hydrogel composite in incubator.

The next day, transfer the composites to a 6-well plate [1]. Videographer: Author has indicated this is one of the most important steps for viewers to see.

Talent transfers constructs to 6-well plate.

Soah Lee: A tight seal between hydrogel and stencil can be easily validated by observing whether the matrix protein solution has been retained on top of the stencil. Failure to form a tight seal leads to quick leakage of the protein solution through the holes [1].

INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

Fully immerse the composites in PBS [1-TXT]. Using autoclaved tweezers, carefully detach the stencils from the hydrogels, without tearing the hydrogels [2]. Remove the PBS from the wells, and refill the wells with DMEM [3]. Incubate the plate overnight at 37 degrees Celsius [4].

Talent adds PBS to wells. TEXT: Immersion helps prevent sticking and tearing during stencil removal. Video editor: Keep text on screen for 4.12.1 and 4.12.2.

Talent detatches stencils.

Talent removes PBS and refills wells with DMEM.

Talent places 6-well plate in incubator.

After removing the plate from the incubator, examine the DMEM [1]. If the DMEM is not cloudy, the hydrogel-coverslip composites are ready to be used for cell plating [2].

Talent removes 6-well plate from incubator.

6-well plate on laboratory bench, with color of fluid in wells visible.

# Script – Results

Results: Micropatterning of Cells

Stencils were fabricated containing arrays of squares and rectangles [1]. Micropatterned hydrogel substrates were created from the stencils, and islands of matrix protein were obtained [2]. Cell islands were also obtained, for example, islands of human induced pluripotent stem cell-derived cardiomyocytes [3].

LAB MEDIA: Figure 4. Video editor, please focus on Figure 4A.

LAB MEDIA: Figure 4. Video editor, please focus on Figure 4B.

LAB MEDIA: Figure 4: Video editor, please focus on Figure 4C.

Matrix protein concentration played an essential role in generating proper patterns [1]. An optimal concentration led to a homogenous distribution of proteins [2]. Suboptimal matrix protein solution concentrations led to suboptimal patterning [3]

LAB MEDIA: Figure 5.

LAB MEDIA: Figure 5. Video editor, please focus on Figure 5A.

LAB MEDIA: Figure 5: Video editor, please focus on Figure 5B.

It is critical to use the front side of the stencil [1]. If the back side of the stencil is used, the size of the matrix protein islands increases due to the direction of the laser cutting [2]. While using the back side of the stencil did not significantly affect the width of the rectangular patterns [3], the height significantly increased, leading to a reduction in the intended aspect ratio [4].

LAB MEDIA: Figure 6. Video editor, please focus on Figure 6A and Figure 6B.

LAB MEDIA: Figure 6: Video editor, please focus on 6B.

LAB MEDIA: Figure 6. Video editor, please focus on 6C.

LAB MEDIA: Figure 6. Video editor, please focus on 6D and 6E.

Stencil-based patterning was applied to silicon elastomer substrates [1]. The patterned cardiomyocytes on silicon elastomer substrates were visualized by immunocytochemistry of cardiac troponin T at low magnification [2] and by sarcomeric protein ⍺-actinin at high magnification [3].

LAB MEDIA: Figure 7.

LAB MEDIA: Figure 7. Video editor, please focus on 7A.

LAB MEDIA: Figure 7. Video editor, please focus on 7B.

The stencil-based patterning was also applied to pattern two cardiomyocytes side-by-side on hydrogels with different stiffnesses [1].

LAB MEDIA: Figure 8.

# Script - Conclusion

Conclusion Interview Statements

Huaxiao Yang: The discovery of human induced pluripotent stem cells (hiPSCs) and corresponding differentiation protocols has made it an ideal in vitro human model for studying organogenesis and pathogenesis. However, a major limitation using the iPSC system is the absence of a structured microenvironment, which has the particular biochemical composition and stiffness to interact with cells [1].

INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

Huaxiao Yang: Analysis of iPSC-derived cell types, in our case cardiomyocytes, in a more physiological morphology opens opportunities to study challenging cardiomyopathies in a culture dish [1].

INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

Soah Lee: The patterning can be combined with traction force microscopy and immunocytochemistry assays to characterize structure and function of the cardiomyocytes [1].

INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

Huaxiao Yang: This technique can be applied to many other systems, such as microfluidic chips and high-content screening plates. The shape and the substrate can also be readily adjusted according to the application [1].

INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.