# Submission ID #: 60911

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18577903

Title: Characterizing Cellular Proteins with In-cell Fast Photochemical Oxidation of Proteins

Authors and Affiliations: Emily E. Chea1, Aimee Rinas2, Jessica A. Espino1, and Lisa M. Jones1

1Department of Pharmaceutical Sciences, University of Maryland Baltimore

2AIT Bioscience

# Corresponding Author:

Lisa M. Jones

ljones@rx.umaryland.edu

Email addresses for Co-authors:

emily.hart@umaryland.edu

arinas@umail.iu.edu

jespino@umaryland.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most visually important?

2.3.2., 2.4.1., 2.5.2., 2.7.2., 2.9.1., 2.10.1.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.4: It is very important to set up the silica tubing properly to ensure there are no leaks in the system.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Lisa Jones: IC-FPOP coupled with mass spectrometry is a powerful technique used to study protein-protein interactions and protein structural changes amongst the full proteome in living cells [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Emily Chea: With IC-FPOP, one does not need to isolate proteins of interest but can rather study them in their native environments. This is particularly helpful for membrane proteins [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Emily Chea: With this method, one can study structural changes and protein-protein interaction changes in a wide variety of diseases, including cancer or genetic diseases, to better understand and characterize each disease [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- In-Cell Fast Photochemical Oxidation of Proteins (IC-FPOP) System Assembly

  - To begin the assembly of the flow system, use a cleavage stone to cut the fused silica tubing to the appropriate sizes [1-TXT].

    - WIDE: Talent cutting silica with cleavage stone TEXT: See text for fused silica dimension details

  - Next, place 6 small cylindrical magnets in one 500-microliter syringe [1] and fill the syringe, a second 500-microliter syringe, and two 5-milliliter syringes with sheath buffer [2].

    - Talent placing magnets into syringe

    - Talent filling magnet syringe with buffer, with 2nd 500-mL syringe and two 5-mL syringes and buffer container visible in frame

  - After removing the air, place the syringes on the syringe pump [1] and tighten the syringe pump stopper so that the cell syringe has roughly 50 microliters left when the motor stalls [2].

    - Syringe(s) being placed

    - Talent tightening stopper Videographer: Important step

  - Using a Luer adapter, connect a manual valve to each syringe [1] and assemble the silica tubing as illustrated [2].

    - Valve being attached to syringe Videographer: Important step

# Added film to show a close up of the cell+H2O2 silica line threaded through the cross to come out the other side to be apart of the assemble the silica tubing as illustrated.

    - LAB MEDIA: Figure 3

  - When all of the tubing has been connected, position the flow system next to a laser [1] and use a lighter to burn away the silica coating on the 450-micrometer inner diameter tubing to make a window for laser irradiation [2].

    - Talent position system next to laser

    - Coating being burned Videographer: Important step

  - Place a magnetic stirrer above the cell syringe containing the six magnets [1] and set the syringe pump to 492.4 microliters/minute for a final flow rate of 1083.3 microliters/minute [2].

    - Talent placing stirrer above syringe

    - Talent setting flow rate

  - Flow buffer through the system three times to flush the system [1], checking each connection for any leaks [2].

    - Buffer being flushed through system

    - Talent checking connections Videographer: Important step

  - Use a convex lens to focus the excimer laser onto the silica tubing [1].

    - Talent positioning convex lens to focus the laser

  - To test the irradiation window, place a small piece of paper behind the silica tubing [1] and turn the laser on [2].

    - Talent placing paper being tubing Videographer: Important step

    - Talent turning on laser

  - Then measure the region burnt from the irradiation [1] and use the irradiation window and flow rate to calculate the needed laser frequency to obtain an exclusion fraction of zero [2].

    - Burnt region being measured Videographer: Important step

    - Talent calculating flow rate, with monitor or calculator visible in frame

- Cell Preparation

  - To collect the cells for the procedure, wash the cells from a 70-90%-confluent T175 (T-one-seventy-five) flask culture with an appropriate cell culture grade salt solution [1] and detach the cells from the culture flask [2].

    - WIDE: Talent washing culture, with saline container visible in frame

    - Talent adding trypsin or scraping cells

  - Resuspend the cells in 10 milliliters of buffer for counting [1] and collect the cells by centrifugation [2-TXT].

    - Talent adding buffer to cells, with buffer container and counter visible in frame

    - Talent placing tube(s) into centrifuge TEXT: Use appropriate centrifuge conditions for cell population of interest

  - Emily Chea: It is critical to count the cells to ensure that there are enough for down-stream analysis but not too many to cause them to aggregate and clog the flow system [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Then resuspend the cells at a 2 x 106 cells/milliliter of sheath buffer concentration [1] and aliquot the cells into one 500-microliter volume per sample [2].

    - Shot of pellet if visible, then buffer being added to tube, with buffer container visible in frame

    - Talent adding cells to sample containers

- IC-FPOP

  - For in cell-FPOP (F-pop), fill the two 5-milliliter syringes with fresh sheath buffer [1], the 500-microliter syringe containing the magnets with one aliquot of cells [2], and the final 500-microliter syringe with freshly prepared 200-millimolar hydrogen peroxide [3-TXT].

    - WIDE: Talent filling 5-mL syringe, with buffer container visible in frame Video Editor: please emphasize 5-mL syringe

    - Syringes being filled Video Editor: please emphasize 500-microliter syringe being filled with cells

    - Use 4.1.2. Syringes being filled Video Editor: please emphasize500-microliter syringe being filled with hydrogen peroxide

  - Turn on the magnetic stirrer [1] and spike in 220 microliters of dimethyl sulfoxide to one aliquot of quench [2-TXT].

    - Talent turning on stirrer

    - Talent spiking DMSO into quench, with DMSO and quench containers visible in frame TEXT: See text for quench preparation details

  - After gentle mixing, place the quench behind the flow system to collect the irradiated samples [1] and turn on the laser [2].

    - Talent placing quench

    - Talent turning on laser

  - After 7 seconds, turn on the flow system [1].

    - Talent turning on flow system

  - Once the sample finishes flowing, turn off the laser [1] and gently mix the quench with the collected sample [2].

    - Talent turning off laser

    - Talent mixing quench with sample

  - Next, fill all four of the syringes with fresh buffer [1] and flush the buffer through the flow system [2].

    - Talent filling syringe(s)

    - Talent flushing buffer

  - After the system finishes flushing, repeat the procedure with a new aliquot of cells and solutions without irradiation as the “no laser control” to account for background oxidation within the cells [1].

    - Talent adding cells and/or solution(s) to syringes, with cell and solution containers visible in frame

  - While the next sample is running, centrifuge the first sample [1-TXT] and resuspend the pellet in 100 microliters of an appropriate cell lysis buffer [2].

    - Talent adding tube(s) to centrifuge TEXT: 5 min, 450-800 x g, RT

    - Buffer being added to tube, with buffer container visible in frame Videographer/Video Editor: shot will be used again

  - Then transfer the sample to a microcentrifuge tube for flash freezing in liquid nitrogen [1].

    - Talent adding sample to microcentrifuge tube, with LN2 container visible in frame if possible

  - When all of the samples have finished running, disassemble the flow system [1] and discard the used silica tubing [2].

    - Talent disassembling system

    - Talent discarding tubing

  - Then clean all the other connections by sonication for 1 hour in a 50% water: 50% methanol solution [1-TXT].

    - Talent adding connections to solution TEXT: Clean syringes according to manufacturer’s instructions

- Liquid Chromatography-Tandem Mass Spectrometry (LC-MS/MS) and Analysis

  - After isolating and digesting the proteins from the cell lysate according to standard protocols [1], analyze the digested cell lysate according to standard tandem LC-MS (L-C-M-S) protocols to localize the FPOP modifications proteome wide [2].

    - WIDE: Use 4.8.2. Talent adding buffer to lysate

    - Talent loading sample onto spectrometer

  - Then load the data into an appropriate protein analysis software program [1] and analyze the data against a relevant protein database and the relevant digest enzyme [2].

    - Talent at computer, loading data into software, with monitor visible in frame

    - SCREEN: 5.2.2. Take 2: 00:16-00:22

  - Once the files are finished searching, calculate the extent of FPOP oxidation on the protein of interest [1].

    - LAB MEDIA: Figure 8A

# Section – Results

- Results: Representative IC-FPOP Characterization

  - Fluorescence imaging of orthogonal YZ (Y-Z) stacked images [1] shows a clear separation of the sheath buffer [2] from the cell solution as it flows past the laser irradiation window [3].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5A Video Editor: please emphasize green signal

    - LAB MEDIA: Figure 5A Video Editor: please emphasize red signal

  - Three-dimensional average heat maps [1] of the sheath buffer [2] or cell solution can be generated to illustrate the minimal mixing of the two solutions [3].

    - LAB MEDIA: Figures 5B and 5C

    - LAB MEDIA: Figures 5B and 5C Video Editor: please emphasize Figure 5B heat map

    - LAB MEDIA: Figures 5B and 5C Video Editor: please emphasize Figure 5C heat map

  - The use of the single cell flow system increases the number of oxidatively modified proteins by 13-fold [1].

    - LAB MEDIA: Figure 6A

  - To confirm modification of the proteins of interest within the intact cells, fluorescence imaging can be performed following hydrogen peroxide treatment and irradiation [1].

    - LAB MEDIA: Figure 5B

  - Using tandem-mass spectrometry, these modifications can further be localized to specific amino acids on a protein [1].

    - LAB MEDIA: Figure 7 Video Editor: please emphasize red peak in Figure 7C

  - The shift observed in this extracted ion chromatogram translates to the change in hydrophobicity caused by the oxidized methionine in the modified peptide [1].

    - LAB MEDIA: Figure 7 Video Editor: please emphasize peak in Figure 7D

  - Comparing in-cell labeled actin by in vitro footprinting reveals similar levels of oxidation [1], indicating that actin has a similar solvent accessibility for both in-cell and in vitro studies [2].

    - LAB MEDIA: Figures 8A and 8B Video Editor: please emphasize Figure 8A

    - LAB MEDIA: Figures 8A and 8B Video Editor: please emphasize Figure 8B

  - Further, comparison of the extent of the fast photochemical oxidation of the protein of interest modifications to the solvent accessibility of the labeled residues calculated from two actin crystal structures [1] demonstrates that in cell fast photochemical oxidation of the protein of interest efficiently probes the solvent accessibility of the monomeric protein [2].

    - LAB MEDIA: Figure 8C Video Editor: please emphasize dotted data line

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Emily Chea: There are several additional steps one can take to increase the detection of the lower abundant FPOP modifications, including 2D chromatography, subcellular fractionation, and proteomics multiplexing techniques [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Lisa Jones: With the use of IC-FPOP, we can now perform proteome-wide structural biology to better connect protein structures with their cellular function [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Emily Chea: Due to the 248-nanometer wavelength required for FPOP, be sure to always wear UV protective goggles and proper clothing to avoid unintended exposure to reflected or scattered radiation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera