# Submission ID #: 60914

# Scriptwriter Name: Susan Timberlake

# Project Page Link: http://www.jove.com/files_upload.php?src=18578818

Title: Isolation of Tonsillar Mononuclear Cells to Study ex vivo Innate Immune Responses in a Human Mucosal Lymphoid Tissue

# Authors and Affiliations:

Nikaïa Smith1,2,3,4, Nassima Bekaddour2,3,4, Nicolas Leboulanger4,5, Yolande Richard6*, Jean-Philippe Herbeuval2,3,4*

1Institute of Molecular Virology, Ulm University Medical Center, Ulm, Germany.

2CNRS UMR‑8601, CICB, Paris, France.

3Team Chemistry & Biology, Modeling & Immunology for Therapy, CBMIT, Paris, France

4Université Paris Descartes, Sorbonne Paris Cité, Paris, France.

5Pediatric Otolaryngology Department, Hôpital Necker‑Enfants Malades, Assistance Publique Hôpitaux de Paris, Paris, France.

6Université de Paris, Institut Cochin, Paris, France

# Corresponding Authors:

Jean-Philippe Herbeuval (jean-philippe.herbeuval@parisdescartes.fr)

Nikaïa Smith (nikaia.smith@pasteur.fr)

# Email addresses for Co-authors:

Nassima Bekaddour (nassima.bekaddour-benatia@parisdescartes.fr)

Nicolas Leboulanger (nicolas.leboulanger@aphp.fr)

Yolande Richard (yolande.richard@inserm.fr)

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? No

2. Does your protocol include software usage? No

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.7; 3.1; 3.3; 3.4; 4.1; 4.4

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

3.1 ; 4.4

5. Will the filming need to take place in multiple locations? No

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements. Interview statements may be edited for length and clarity.

  - Jean-Philippe Herbeuval: Tonsillar mononuclear cells are more relevant and complex than blood cells, and their isolation allows the study of immune cell response in pathologies involving mucosal immunity [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera. (Videographer Comment: last take)

  - Nikaïa Smith: The technique we have established allows the recovery of a large number of immune cells from a mucosal tissue while keeping their integrity for ex vivo studies [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

OPTIONAL Interview Statements. Interview statements may be edited for length and clarity.

  - Nassima Bekaddour: The method is quite straightforward, but the tonsils need to be handled rapidly and with care, in order to maximize the yield [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera. (Videographer Comment: last take)

Ethics title card:

  - Procedures involving human tissue were approved by the Comité de Protection des Personnes (ID-RCB/EUDRACT: 2018-A01358-47).

# Section - Protocol

- Dissection of Human Tonsillar Tissue

  - Transport the human tonsillar tissue to the laboratory as described in the manuscript text [1].

    - Establishing shot of talent unpacking vials from safety box and bag

  - Next, place a cell strainer onto a 150 by 25 millimeter culture dish [1]. Place all the dissection instruments in another dish to keep them sterile [2].

    - Talent places cell strainer onto culture dish

    - Talent places instruments onto second dish (Videographer Comment: Take 2)

  - Nassima Bekaddour: All human specimens should be handled with care, as they have not been previously qualified and may contain infectious agents [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera. Videographer: Since this is a warning statement, have the talent look more directly at the camera compared to other interview statements.

  - Then, pour the PBS from the vial into a strainer, because it will contain some cells that have egressed the tonsils [1]. Using sterile forceps, transfer the tonsils from the vial into the culture dish using sterile forceps [2]. If necessary, add more PBS to immerse the grid [3-TXT].

    - Talent pours the content into the strainer (Videographer Comment: Take 2) transfers tonsils to cell strainer

    - Talent transfers tonsils into the culture dish pours the rest of the PBS into the strainer

    - CU: Shows that grid is completely immersed. TEXT: The tissue should be immersed at all times to avoid desiccation.

  - Nikaïa Smith: The dissection of the tonsils will take about 45 minutes per tonsil. It is crucial that during this time, the tonsils are submerged, to insure good viability and cellular yield [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Remove cauterized, bloody, and fibroid tissue using forceps and a scalpel [1-TXT].

    - Talent uses forceps and scalpel to remove cauterized, bloody, and fibroid tissue TEXT: NOTE: Tonsils removed from children rarely need this step.

  - Using the scalpel and the curved tweezers, cut the tissue into small pieces of less than half a centimeter in diameter [1]. Cut all the tissue so that the small pieces can be immersed at all times [2]. Videographer: Author has indicated this is one of the most important steps for viewers to see.

    - Talent cuts tissue into small pieces. (Videographer Comment: Take 1 is better, Take 2 at end of the step)

    - CU: Shows that all the pieces of tissue are completely immersed.

- Isolation of Tonsillar Mononuclear Cells (TMCs)

  - Place a few pieces of tissue in the cell strainer [1]. Scrape them onto the grid with a glass pestle until only a very thin layer of white stroma remains [2]. Remove and discard the stroma to avoid clogging the grid [3]. Videographer: Author has indicated this is one of the most difficult and important steps for viewers to see.

    - Talent places pieces of tissue in the cell strainer. (Videographer Comment: Take 1 one-by-one, Take 2 batch)

    - Talent scrapes the tissue on the grid with a glass pestle. (Videographer Comment: Take 1 ECU, Take 2 CU)

    - Talent removes and discards the stroma. (Videographer Comment: Take 1 ECU, Take 2 CU)

  - Then, use a 10-milliliter pipette to transfer the cell suspension onto the grid [1] and scrape it one last time [2].

    - Talent transfers cell suspension onto the grid.

    - Talent scrapes cells through grid.

  - Next, use a 10-milliliter pipette to transfer the cell suspension into a sterile vial [1]. Wash the grid and the cell strainer with PBS once, and transfer the PBS to the vial also [2]. Before proceeding, let the cell suspension rest on the bench for 5 minutes at room temperature [3-TXT]. Videographer: Author has indicated this is one of the most important steps for viewers to see.

    - Talent transfers cell suspension into sterile vial. (Videographer Comment: CU and MED)

    - Talent washes grid and cell strainer with PBS, and transfer wash to vial.

    - Vial resting on bench. TEXT: Resting allows the precipitation of leftover stroma, dead cells, and released DNA. (Videographer Comment: take 2 CU pellet)

  - Place a sterile 70-micrometer sieve on top of a new 50-milliliter vial [1]. Gently transfer the cell suspension onto the sieve with a 10-milliliter pipette [2-TXT]. If the sieve is clogged, use the back of a sterile 1-milliliter pipette tip to scrape the cells trough the sieve. Change the sieve as often as necessary [3]. Videographer: Author has indicated this is one of the most important steps for viewers to see.

    - Talent places sieve on top of vial.

    - Talent transfers the cell suspension onto the sieve. TEXT: Do not mix the suspension, because a pellet may be present. (Videographer Comment: take 1 pouring, take 2 pipeting)

    - Talent uses the back of a 1-milliliter pipette tip to scrape the cells through the sieve.

  - Centrifuge the cells at 250 times g for 10 minutes at 4 degrees Celsius [1]. After centrifugation, discard the supernatant [2]. Resuspend the pellet by gently tapping the vial, and then resuspend the cells in 35 milliliters of PBS [3].

    - Talent places vial of cells into centrifuge. (Videographer Comment: 2nd part)

    - Talent discards supernatant. (Videographer Comment: take 1 pouring , take 2 pipeting)

    - Talent resuspends pellet. (Videographer Comment: take 1 shaking , take 2 adding PBS) (Author Comment: Both of these steps are needed to properly resuspend the cells) (Editor: it looks like there’s a clear division in the VO, so please play take 1 over “resuspend the pellet by gently tapping the vial…” and take 2 over the remaining VO)

  - To complete the first phase of cell isolation, place a new 70-micrometer sieve on top of a new vial [1], and transfer the cell suspension onto it with a 10-milliliter pipette [2-TXT].

    - Talent places a new sieve on top of a new vial

    - Talent transfers suspension onto sieve TEXT: If the sieve becomes clogged, use the technique detailed in step 2.8 of the manuscript.

- Isolation of the TMCs by Cell Density Gradient

  - To obtain a clearer cell solution, begin by adding 15 milliliters of a density gradient medium to a new 50-milliliter vial [1-TXT]. Pour the TMC solution on top of the density gradient medium, being careful to minimize mixing [2]. Videographer: Author has indicated this is one of the most important steps for viewers to see.

    - Talent adds density gradient medium to new vial. TEXT: Density gradient medium: d = 1.076 g/mL

    - Talent carefully pours TMC solution of top of the density gradient medium. (Videographer Comment: take 1 pouring, take 2 pipetting)

  - Next, centrifuge the solution at 1,000 times g for 30 minutes at room temperature, with acceleration and brake off [1].

    - Talent places vial in centrifuge and turns it on.

  - After removing the vial from the centrifuge, use a 10-milliliter pipette to remove and discard the upper layer [1]. Do not disturb the interface between the TMCs and the density gradient medium [2-TXT].

    - Talent inserts pipette tip in vial

    - ECU: Pipette tip in upper layer of vial. TEXT: NOTE: Interface between PBS and density gradient medium can be difficult to visualize; see written manuscript for alternative procedure.

  - Then, remove the TMCs with a sterile 1-milliliter pipette tip and transfer them to a new 50-milliliter vial [1]. Videographer: Author has indicated this is one of the most difficult and important steps for viewers to see.

    - Talent removes TMCs and transfers them to a new vial. (Videographer Comment: see 4.3.2) (Editor: I’m not sure what this means. Perhaps this action is in shot 4.3.2?)

  - To wash the cells, first add 50 milliliters of PBS containing 2 percent fetal bovine serum and 2 millimolar EDTA [1]. Then centrifuge the tube at 250 times g for 10 minutes at 4 degrees C [2].

    - Talent adds PBS to vial. Videographer: Please obtain multiple reusable takes; this shot can be reused for 4.6.2.

    - Talent centrifuges vial.  (Videographer Comment: 2nd part)

  - Wash the cells again [1], but this time centrifuge the tube at 400 times g for 10 minutes at 4 degrees Celsius [2].

    - Talent adds PBS to vial. Videographer: Can reuse footage from 4.5.1.

    - Talent centrifuges vial.

- Preparing Cells for Use or Freezing

  - Prepare R-10 culture medium by supplementing R-P-M-I 1640 with 10 percent heat-inactivated FBS, 2 millimolar L-glutamine, and the antibiotic solution [1-TXT].

    - Talent prepares culture medium. TEXT: Antibiotic solution: 100 U/mL penicillium and 100 μg/mL streptomycin

  - Resuspend the TMCs in 10 milliliters of R-10 [1]. Then count the cells [2]. The cells can either be used immediately, or frozen for future use as described in the manuscript [3].

    - Talent resuspends TMCs.

    - Talent begins cell counting procedure. Videographer: It is not necessary to show the entire counting procedure.

    - Talent placing cryotubes in freezer. Videographer: Cryotubes do not actually need to be full of prepared cells.

# Section – Results

- Results: Phenotype, Immunological Response, and Viability

  - TMCs were stained, incubated with antibodies, and characterized using flow cytometry [1]. TMCs contained all the major immune cell types present in peripheral mononuclear cells from blood, abbreviated PMBC. However, the frequencies of all cell types, except B cells, were lower in TMCs than in PBMCs [2].

    - LAB MEDIA: Figure 1. Video Editor: Please show only Figure 1A if possible.

    - LAB MEDIA: Figure 1. Video Editor: Please show only Figure 1B if possible.

  - To study cell activation and cytokine production, TMCs were stimulated overnight with resiquimod, R-8-48. TMCs, plotted in blue, produced all the cytokines tested [1], except for I-F-N lamba 2-3 and I-L-8 [2], although production was lower than in PBMCs, plotted in green. The fold increases, comparing R-8-48 stimulation to no stimulation, are noted in red [3].

    - LAB MEDIA: Figure 2. Video Editor: Please show only Figure 2A if possible.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize graphs for IFN2/3 (second row, first two graphs) and graphs for IL-8 (third row, third and fourth graphs).

    - LAB MEDIA: Figure 2. Video Editor: Please show Figure 2A, nothing emphasized.

  - Purified and isolated TMCs (blue) and tonsillar tissue blocs (orange) were stimulated for 24 hours with Influenza A virus, I-A-V. I-F-N production was detected in the TMCs, but not in the supernatant of the tissue blocs, indicating that tissue explants are not the best model for the study of cytokine secretion and cell activation [1].

    - LAB MEDIA: Figure 2. Video Editor: Please show only Figure 2B if possible. If not, emphasize Figure 2B.

  - After pre-incubation with the toxic drug C1 and stimulation with R-8-48, TMCs and PBMCs were assayed for viability. TMCs were more sensitive to C1. This suggests that new drugs and future treatments should be tested in cells from tissues, not only on cell lines, PBMCs, or tissue explants [1].

    - LAB MEDIA: Figure 3.

# Section - Conclusion

- Conclusion Interview Statements: Interview statements may be edited for length and clarity.

  - Nikaïa Smith: This procedure allows us to use the TMCs like PBMCs from whole blood, and to perform the same cellular methods, such as purification of a specific cell type, cell culture, flow cytometry, or freezing [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Jean-Philippe Herbeuval: Isolation of TMCs makes it possible to better characterize, in a relevant model, the immune responses in secondary lymphoid organs, in pathologies involving mucosal immunity [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera. (Videographer Comment: last one)