# Submission ID #: 60915

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18579123

Title: Time-Lapse Imaging of Bacterial Swarms and the Collective Stress Response

Authors and Affiliations: Jean-Louis Bru1, Albert Siryaporn1,2, and Nina Molin Høyland-Kroghsbo3

1Department of Molecular Biology & Biochemistry, University of California

2Department of Physics & Astronomy, University of California

3Department of Veterinary and Animal Sciences, University of Copenhagen

# Corresponding Authors:

Nina Molin Høyland-Kroghsbo

nmhk@sund.ku.dk

Albert Siryaporn

asirya@uci.edu

Email addresses for Co-author:

# jbru@uci.edu

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

3. Which steps from the protocol section below are the most visually important?

2.1., 2.3., 3.1., 3.3., 3.5.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.1. We make sure that the pipet tip does not touch the swarming agar plate while ensuring that the drop is spotted at the appropriate location.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

  - Jean-Louis Bru: This protocol can be used to produce time lapse movies of Pseudomonas aeruginosa swarming and to capture the repulsion of swarms by bacteriophage or antibiotics [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Jean-Louis Bru: The time lapse movies capture the detailed dynamics of the swarming response to antibiotics and bacteriophage and the technique only requires a dehumidifier, computer, incubator, and document scanner [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Section - Protocol

- Swarming Agar Plate Preparation

  - To prepare swarming agar plates for P. aeruginosa swarming time-lapse imaging [1], use a 25-milliliter pipette to add 20 milliliters of swarming agar solution to each experimental 10-centimeter-diameter Petri dish [2-TXT].

    - WIDE: Talent loading agar into pipette, with agar container visible in frame Videographer: Important step

    - Talent adding solution to dish Videographer: Important step TEXT: See text for all solution preparation details

  - Place the plates in a single stack with lids for 1 hour at room temperature [1] and turn on a dehumidifier to decrease relative humidity of the room to 40-50% [2].

    - Talent stacking plates on bench

    - Talent turning on dehumidifier

  - When the agar has solidified, dry the swarming agar plates for an additional 30 minutes in a laminar flow hood [1] with the lids off and face up at 300 cubic feet/minute with a 40-50% relative humidity at room temperature [2].

    - Talent placing plates into hood Videographer: Important step

    - Talent removing lid(s)/placing lids face up Videographer: Important step

  - Then store the dried swarming agar plates at 4 degrees Celsius for up to 24 hours [1].

    - Talent placing plate(s) at 4 °C

- P. aeruginosa Growth and Plating

  - For swarming agar plating, hold a P20 pipette tip loaded with 5 microliters from an overnight P. aeruginosa culture at a 10-45-degree angle 2.5 centimeters above the center of one swarming plate [1] and depress the plunger to the first stop [2], touching the agar with only the liquid drop [3-TXT].

    - WIDE: Talent holding pipette at angle over plate Videographer: Important/difficult step

    - Plunger being depressed Videographer: Important/difficult step (Videographer Comment: Can also use 3.1.1 take 2. For 3.1.2 and 3.1.3, the best take is take 5)

    - Shot of drop, then drop being touched to plate Videographer: Important/difficult step TEXT: Caution: Do not touch agar with pipette tip

  - Use a template to position the spot consistently across the different swarming agar plates [1].

    - LAB MEDIA: Supplemental Figure S1 Video Editor: please emphasize black dot in center of graphic

  - To plate a phage infection, first mix 30 microliters of overnight cultured P. aeruginosa with 6 microliters of 1 x 1012 plaque forming units/milliliter of phage DMS3vir (D-M-S-three-vir) [1] and immediately add 6 microliters of the P. aeruginosa-phage mixture at 6 equidistant satellite positions on a 5.8-centimeter radius concentric circle as demonstrated [2].

    - Talent adding bacteria to phage, with bacteria and phage containers visible in Videographer: Important step frame

    - Mixture being added to at least one satellite position Videographer: Important step

  - Use a template to position the spot consistently across different swarming agar plates [1].

    - LAB MEDIA: Supplemental Figure S1 Video Editor: please emphasize intersection points of middle circle and spokes 5.8 cm from center

  - To plate antibiotic treatments, mix 30 microliters of overnight cultured P. aeruginosa with the appropriate concentration and volume of the antibiotic of interest [1-TXT] and immediately add 6 microliters of the antibiotic-treated bacteria at 6 equidistant satellite positions on a 5.8-centimeter radius concentric circle about the center of the dish [2].

    - Talent adding bacteria to antibiotic, with bacteria and antibiotic containers visible in frame Videographer: Important step TEXT: e.g., 6 microliters of 3 mg/mL gentamycin, 10 microliters of 100 mg/mL kanamycin, or 7.5 microliters of 100 mg/mL fosfomycin

    - Mixture being added to at least one satellite position Use 3.3.2 Videographer: Important step

  - Use a template to position the spot consistently across the different swarming agar plates [1].

    - LAB MEDIA: Supplemental Figure S1 Video Editor: please emphasize intersection points of middle circle and spokes 5.8 cm from center

  - When all of the cultures have been plated, replace the clear Petri dish lids with custom-made black lids [1-TXT] and carefully place the swarming agar plates on a scanner in an incubator set at 37 degrees Celsius with a 10-liter water bath to maintain the humidity at 75% [2].

    - Talent placing black lid(s) onto plate(s) TEXT: See text for black lid preparation details

    - Talent placing plate(s) onto scanner

- Time-Lapse Image Acquisition and Swarm Repulsion Measurement

  - After placing the plates into the scanner, open File and Save Settings to set the saving path for the images [1] and click Scan and Ok at 30-minutes interval [2].

    - WIDE: Talent setting save path, with monitor visible in frame

    - SCREEN: screenshot_1 00:30-00:44

  - At the end of the incubation, import all of the scanned images into ImageJ [1].

    - SCREEN: screenshot_2 00:19-01:45 Video Editor: please speed up

  - In the Sequence Options window, Number of images will indicate the number of images selected [1].

    - SCREEN: screenshot_2 00:50-00:54

  - Keep Starting image at 1 to start from the first picture in the folder and the Scale images at 100% to conserve original size of the images [1].

    - SCREEN: screenshot_2 00:58-01:08

  - Click Convert to RGB to keep the images in color [1].

    - SCREEN: screenshot_2 01:09-01:15

  - Leave Use virtual stack unchecked and click OK to load the images [1].

    - SCREEN: screenshot_2 01:16-01:21

  - Click File, Save As, and AVI to merge the images into an .avi file [1] and adjust the Compression to JPEG and then Frame Rate to 5 frames per second [2].

    - SCREEN: screenshot_2 02:23-02:32

    - SCREEN: screenshot_2 02:35-02:45

  - Then save the .avi time-lapse in the appropriate storage folder [1].

    - SCREEN: screenshot_2 02:55-03:00

# Section – Results

- Results: Representative Time-Lapse Swarming and Collective Stress Responses

  - Time-lapse imaging of a single colony of wild-type P. aeruginosa from an LB (L-B) -agar plate in LB broth overnight at 37 degrees Celsius and spotted into the center of a swarming agar plate [1-TXT] reveals an initial growth in the form of a colony at the center of the plate [2] that spreads radially in tendrils radially from the colony [3].

    - LAB MEDIA: Video 1: 00:00 TEXT: LB: lysogeny broth

    - LAB MEDIA: Video 1: 00:01-00:03

    - LAB MEDIA: Video 1: 00:04-00:09

  - Swarms move from the center of the swarming agar plates to the periphery [1] and are repelled by a stress signal emitted by the bacteria that were infected with phages or treated with gentamycin [2].

    - LAB MEDIA: Video 2: 00:00

    - LAB MEDIA: Video 2: 00:01-00:07 Video Editor: please emphasize top left plate with “repelled … phages” and top right plate with “treated with gentamycin”

  - Phages [1] or gentamycin spotted alone at the satellite positions [2] do not cause swarming populations to avoid these areas [3].

    - LAB MEDIA: Video 2: 00:00 Video Editor: please emphasize white dots in bottom left plate

    - LAB MEDIA: Video 2: 00:00 Video Editor: please emphasize white dots in bottom right plate

    - LAB MEDIA: Video 2: 00:01-00:07

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Jean-Louis: Use a 25-milliliter pipette to ensure that the swarming agar plates contain exactly 20 milliliters. It is also important to adjust the plate drying time according to the laboratory environment [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Step: 2.1.)

  - Jean-Louis Bru: Our technique enables us to visualize the overall swarming patterns of P. aeruginosa populations. The next objective is to monitor individual cell motility using bright-field microscopy [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera