Dolphin software – repositioning of the jaws

60930_screenshot_1(1)

- 1.1 Load the facial bones CT image DICOM files of the patient (Figure 1A) into the software by selecting the 3D button on the left and clicking Import New DICOM. 
Enter the 3D editing mode by clicking 3D | Edit.

60930_screenshot_2(1)

- 1.2 Orient the 3D image using the orientation button on the left. Create a panoramic image using the build X-rays button on the left

60930_screenshot_3

- 1.3 Go to Tools | Orthognathic Surgical Planning | Start New Workup

60930_screenshot_4(1)

- 1.4 Position the segments in the panoramic image. Crop each segment to contain the area of the corresponding bone.

60930_screenshot_5(1)

- 1.5 Choose the appropriate osteotomy for the patient on the left pan under osteotomies (such as LeFort I, sagittal split, etc.). Mark the exact location of the osteotomy lines by moving the yellow circles

60930_screenshot_6(1)

- 1.6 Mark different landmarks by left clicking on the right location for each suggested landmark.

60930_screenshot_7(1)

- 1.7 Perform movements of bone segments. Drag the bone to the right location, or for accuracy, right click and choose Input Movements Using Keyboard.

60930_screenshot_8(1)

- 1.8 In order to track the movement of key landmarks, press Treat Options Button on the left and choose Show Landmark Offset and Measurement Tables.

60930_screenshot_9(1)

- 1.9 Export the stl files of the two different positions of bone segments, one in the pre-operative stage and one in the post-operative stage, using the slide bar on the left and the Export Segments in stl button on the left.

Geomagic Freeform – Preparation of patient specific fixation plates and surgical guides

60930_screenshot_10

- 2.2 Start with planning the patient-specific fixation plates in the final position of the upper jaw. In the tool palette on the left under the Planes category, select Create Plane. Here the initial design of the plates will be performed. Manually move the plane parallel to the bone where the plate will be placed.

60930_screenshot_11

- 2.3 Under the Sketch category, choose a circle shape and create circles with a size appropriate for the screws to be used later. Create a second circle around the previous one 3 mm larger in diameter to outline the fixation plate

60930_screenshot_12

- 2.4 Project the design from the plane to the bone. Under the Curves category (Supplemental Figure 7), use the project sketch tool and choose the circles that will be transferred from the plane to the bone.

60930_screenshot_13

- 2.5 To connect the outer circles for the outer border plate design, choose under the Curves category the split tool and define the part of the circle that will be removed to allow for a connection to the adjacent circles. Using the select option, choose the defined part of the circle and delete it. Under the Curves category, use the draw curve tool and connect the outer circles to create a continuous outer shape of the patient-specific plate.

60930_screenshot_14

- 2.6 Before creating the fixation plate, duplicate the upper jaw by right clicking and selecting Duplicate from the object list. This will allow the use of the Boolean tool in the next stages to create the fixation plate.

60930_screenshot_15

- 2.7 Under the Detail Clay category, use the emboss with curve tool. This creates the volume of the fixation plate based on the curves previously projected. Choose the outer shape curve and then place the circle-shaped cursor inside and on the surface of the shaped plate (note that the cursor should be placed on the side to be embossed). At the bottom, choose the parameters of the function, mainly the Distance option that controls the thickness of the future fixation plate.

60930_screenshot_16

- 2.8 Separate the plate from the upper jaw. At this stage the Boolean option is performed. Choose the original upper jaw, right click from the object list and click Boolean | Remove from | Upper Jaw with Plate.

60930_screenshot_17

- 2.9 To create the holes for the screws, either draw the screws/scan them and then use the Boolean option or use the SubD tool. Under the SubD Surfaces category, use the wire cut SubD tool to create rods perpendicular to the plate in the size of desired holes, which is performed based on the circles created in step 2.3 originating from the perpendicular plane.

60930_screenshot_18

- 2.10 Next, subtract the rods from the plate using the Boolean | Remove from technique.

60930_screenshot_19

- 2.11-2.12 To create the guides, reposition the upper jaw to its original location but with the screw holes marked in the bone according to the fixation plate created in the final position of the jaw (note the holes in the midface do not change position as the midface stays in the same position). To perform this, reposition the jaw with the curves for the holes used for the final fixation plate to the original location of the jaw prior to the movement. Under the Select/Move Clay category, use the Register Pieces option. choose the Source (upper jaw post movement) and the Target (upper jaw and midface prior to the movement). Use a large number of fixed points on both objects for accuracy in the repositioning. Based on newly positioned holes create the surgical guides in a similar way as described for the fixation plates (steps 2.3−2.10).