Dolphin software – repositioning of the jaws

60930_screenshot_1

- 1.1 Load the CT image DICOM files into Dolphin software using the 3D button on the left and “import new DICOM”

60930_screenshot_2

- 1.2 Enter 3D editing mode by pressing the 3D button on the left and “edit”

60930_screenshot_3

- 1.3 Orient your 3D image using the orientation button on the left

60930_screenshot_4

- 1.4 Create a panoramic image using the build X-rays button on the left

60930_screenshot_5

- 1.5 Go into “tools”  “orthognathic surgical planning”  “start new workup”

60930_screenshot_6

- 1.6 Position the segments in the panoramic image

60930_screenshot_7

- 1.7 Crop each segment to contain the area of the corresponding bone

60930_screenshot_8

- 1.8 Clean CT imperfections if exist

60930_screenshot_9

- 1.9 Osteotomy of the maxilla in the appropriate location

Geomagic Freeform – Preparation of patient specific fixation plates and surgical guides

60930_screenshot_10

- 2.2 In the Tool paletted on the left under the “Planes” category choose “create plane”.  Here the initial design of the plates will be performed. Manually move the plane parallel to the bone where the plate will be placed

60930_screenshot_11

- 2.3 Under “Sketch” category choose a circle shape and create circles in a size appropriate for the future screws intended to be used (according to the fixation sets used in your department). Create a second circle around the previous one 3mm larger in diameter for the outline of the fixation plate. The circles are placed above and below the planned surgical osteotomy (decided already in the dolphin software

60930_screenshot_12

- 2.4 Next project the design from the plane to the bone. Under “Curves” category use the project sketch tool and choose the circles which will be transferred from the plane to the bone

60930_screenshot_13

- 2.5 To connect the outer circles for the outer border plate design, choose under the “Curves” category the split tool and define the part of the circle which will be removed to allow for a connection to the adjacent circles. Using the select option choose the defined part of the circle and delete it. Under “Curves” category use the draw curve tool and connect the outer circles to create a continuous outer shape of the patient specific plate

60930_screenshot_14

- 2.6 Before creating the fixation plate, duplicate the upper jaw (right click and “duplicate” from the object list). This will allow the use of the Boolean tool in the next stages to create the fixation plate

60930_screenshot_15

- 2.7 Under “Detail Clay” category use the Emboss with curve tool. This creates the volume of the fixation plate based on the curves previously projected. Choose the outer shape curve and then place the circle-shaped cursor inside and on the surface of the shaped plate (notice that the cursor should be placed on the side which will be embossed). At the bottom choose the parameters of the function – mainly the “distance” option which controls the thickness of the future fixation plate

60930_screenshot_16

- 2.8 Separating the plate from the upper jaw. At this stage the Boolean option is performed. Choose the original upper jaw, right click from the object list and “Boolean  remove from  upper jaw with plate“

60930_screenshot_17

- 2.9 To create the holes for the screws one can either create the screws/scan them and then use the Boolean option or use the SubD tool. Under “SubD Surfaces” category use the wire cut SubD tool to create rods perpendicular to the plate in the size of desired holes, this is performed based on the circles created in stage 3 originating from the perpendicular plane

60930_screenshot_18

- 2.10 Next, we subtract the rods from the plate using the “Boolean  Remove from” technique

60930_screenshot_19

- 2.11-2.12 To create the guides, the upper jaw must be repositioned to its original location but with the holes positioned in their final location on the jaw (based on the final position, note the holes in the midface do not change position as the midface stays in the same position). To perform this, the jaw with the curves for the holes used for the final fixation plate needs to be repositioned to the original location of the jaw prior to the movement. Under “Select/ Move clay” category use the Register Pieces option. choose the “Source” (upper jaw post movement) and the “Target” (upper jaw and midface prior to the movement). Use a large number of fixed points on both objects for accuracy in the repositioning