# Submission ID #: 60932

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18584308

Title: Multiphoton Microscopic Observation of Vessels in Mouse Liver Tissue

Authors and Affiliations: Wen Rongrong1*, Li Ru1*, He Sixiao1, Wang Ziqing1, Huang Junhao1, Zhao Liying2, Tian Zhihui3,4, and Ma Qiang1

*These authors contributed equally

1Department of Biopharmaceutics, School of Laboratory Medicine and Biotechnology, Southern Medical University

2Department of General Surgery, Nanfang Hospital, Southern Medical University

3Department of Stomatology, Nanfang Hospital, Southern Medical University

4College of Stomatology, Southern Medical University

☒   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

Tian Zhihui

tianzh@i.smu.edu.cn

Ma Qiang

mq@smu.edu.cn

# Co-authors:

wenrongronglook@outlook.com

1304096913@qq.com

sixiaohe9217@126.com

wang1ziqing@163.com

huang3225705@163.com

zlyblue11@163.com

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   No

If Yes, how far apart are the locations? Click to enter distance between locations.

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

Ru Li : This method can help us to watch inside the blood vessels of the liver in mice, we can visualize the findings of livers by looking at the dynamics of multiple dimensions.

  - [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Ru Li: We can see 3D images and dynamics of the blood vessels inside the liver .[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Ziqing Wang: Here we use the vascular dyes as an example, in addition you can stain the substance of interest and then look at it under the microscope to help with the study.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do y	ou have any advice to offer to somebody who is trying this technique for the first time?

  - Ziqing Wang:The first time you do it, make sure to observe the stability of the plane and avoid the effects of the rat's breathing and heartbeat. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Huang Junhao: Visual observation is the most intuitive and helps us to see and understand what is going on inside the organisation and how it is reacting.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Huang Junhao: Demonstrating the procedure will be observing vessels in mouse liver tissue under Multiphoton microscopic, a useful method to help observe the distribution and status of blood vessels in the liver without damaging the vital signs of mice. Here we use Organ imaging fixture to help get stable images. At the same time, you can also add other dyes to observe other materials for three-dimensional and dynamic observation.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at ( China Nanfang Hospital).

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots. Current script of protocol: 20 steps, 46 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Mouse Preparation

  - After confirming a lack of righting reflex in an anesthetized, 8-week old, male C57BL/6 (C-fifty-seven-black-six) mouse [1-TXT], wipe the mouse’s tail with 75% alcohol [2] and use a 1-microliter syringe equipped with a Authors: what gauge?30G needle to inject 10 milligrams/milliliter of freshly prepared Rhodamine B isothiocyanate-dextran in 100 microliters of Authors: what solution?Rhodamine B isothiocyanate-dextran into the caudal tail vein [3].

    - WIDE: Talent checking righting reflex Videographer: More Talent than mouse in shot TEXT: Anesthesia: sodium pentobarbital 50 mg/kg i.p.

    - Mouse being held belly side up

    - Skin being wiped/sprayed

  - When all of the solution has been delivered, use a cotton swab to apply pressure to the puncture site [1] and use a gauzed wet with sterile water to soak the abdominal fur [2].

    - Pressure being applied

    - Fur being wiped

  - Use a razor to shave the abdomen, making strokes in the direction of the fur [1] and place the mouse onto a 37-degree Celsius, alcohol-disinfected heating pad [2].

    - Fur being wiped

    - Talent placing mouse onto heating pad Videographer: More Talent than mouse in shot

- Liver Imaging Framing

  - To fix the mouse liver with a body organ imaging frame, first place a clean, 5-millimeter-diameter suction cup in a fixed position [1-TXT] and wipe the heating pad and suction cup with 75% alcohol [2].

    - WIDE: Talent placing cup into position TEXT: As of Spring2020, commercial organ imaging frame has not been released

    - Talent wiping pad and/or cup, with alcohol container visible in frame

  - Connect the suction cup to the vacuum pump hose [1] and turn on the pump [2].

    - Talent connecting cup to hose

    - Talent turning on pump

  - On a 75% alcohol-sterilized table, use surgical scissors to cut 2 centimeters of skin from the lower sternal border of the mouse [1] and expose the liver [2].

    - Skin being cut

    - Liver being exposed

  - Place the mouse and the heating pad onto the holder base of the body frame [1] and adjust the organ imaging fixture so that the suction cup can hold the liver [2].

    - Mouse being placed into frame

    - Fixture being adjusted

  - Then use a negative pressure of 30-35 kilopascals for suction so that the liver attaches to the cup [1].

    - Liver being suctioned to cup

- Multiphoton Laser Scanning Microscope Setup

  - To set up the multiphoton laser scanning microscope, turn on the microscope [1] and select the 60X objective [2].

    - WIDE: Talent turning on microscope

    - Talent selecting objective

  - Fix the frame and mouse under the objective [1] and add a drop of normal saline to the cup large enough to cover the lens [2].

    - Talent fixing frame/mouse Videographer: More Talent than mouse in shot

    - Drop being added to lens

  - Adjust the objective so the lens just touches the normal saline [1] and turn on the laser software [2].

    - Lens being moved to touch saline

    - Talent turning on software, with monitor visible in frame

  - Turn on the laser [1] and press and hold the power button and shutter for 3 seconds [2].

    - Talent turning on laser

    - Talent pressing/holding power button and/or shutter

  - The start the microscope operating software [1] and set the laser to 800 nanometers [2].

    - Talent starting microscope software, with monitor visible in frame

    - SCREEN: To be provided by Authors: Laser being set to 800 nm

  - To set the Image Acquisition Control, click the Fluorescent switch [1] and turn off the room and equipment lights [2].

    - Talent clicking switch

    - Talent turning on lights

  - Open the light path shutter on the microscope [1] and rotate the fluorescence filter to the fourth gear [2].

    - Talent opening shutter

    - Talent rotating filter

  - Pull the two levers of the optical switch [1] and, looking through the eyepiece, use the coarse and fine focusing quasispirals to adjust the focal length [2].

    - Talent pulling lever(s)

    - SCREEN: To be provided by Authors: Focal length being adjusted

  - Then use the XY axes to adjust the field of view to locate the target area [1].

    - SCREEN: To be provided by Authors: Field of view being located

- Multiphoton Laser Scanning Micrography

  - For imaging, turn off the fluorescent switch in the software [1] and switch the fluorescent filter to the second gear [2].

    - WIDE: Talent turning off switch, with monitor visible in frame

    - Talent switching to second gear

  - Push the two levers of the optical switch [1] and click Focus ×2 to preview the target area [2].

    - Talent pushing levers

    - SCREEN: To be provided by Authors: Focus x 2 being clicked/target being previewed

  - Adjust the acquisition settings and the image acquisition control parameters [1] and press Control + C to adjust the high voltage, gain, and offset [2].

    - SCREEN: To be provided by Authors: Settings being adjusted

    - SCREEN: To be provided by Authors: Control + C being pressed/voltage, gain, and offset being adjusted

  - Click Stop to stop the preview, click the XY button to scan in two dimensions, and click Save [1].

    - SCREEN: To be provided by Authors: Stop and CY being clicked, then image being saved

  - Select a region and click Depth and Preview to select the end and start sets in the Microscope settings [1].

    - SCREEN: To be provided by Authors: Region being selected, then Depth and Preview being clicked

  - Scan 3D images [1] and save [2].

    - SCREEN: To be provided by Authors: Image(s) being scanned

    - SCREEN: To be provided by Authors: Image(s) being saved

  - After scanning, select a region, click Time, and adjust the other acquisition settings and image acquisition control parameters [1].

    - SCREEN: To be provided by Authors: Region being selected, Time being clicked, parameters being set

  - Then scan through the different slices [1] and save to obtain the resulting image movie [2].

    - SCREEN: To be provided by Authors: Slice(s) being scanned

    - SCREEN: To be provided by Authors: Movie being saved

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

2.2, 3.3, 3.4, 3.5

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

2.2  The tail vein is very small, so watch carefully as you inject.

3.4  Do not damage organs or cause excessive bleeding when cutting the skin.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 84. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Body Organ Frame Imaging

  - Here the distribution of blood vessels in the liver observed using multiphoton microscopy as demonstrated can be observed [1].

    - LAB MEDIA: Figure 1

  - The blood vessel is divided into a plurality of branches [1] emanating from a trunk [2] and distributed to the surrounding space [3].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize branches

    - LAB MEDIA: Figure 1 Video Editor: please emphasize trunk

    - LAB MEDIA: Figure 1

  - The outer circumference of the blood vessel is red [1] and the inner cavity is dark [2].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize outer circumference in at least one part of vessel

    - LAB MEDIA: Figure 1 Video Editor: please emphasize inner cavity in at least one part of vessel

  - As observed in the video, non-red objects moving within the vessels could be cells [1].

    - LAB MEDIA: Video 1

  - The darkened area observed is likely due to the liver not having been fixed well over time [1].

    - LAB MEDIA: Video 1 00:02 Video Editor: please emphasize darkened areas in right of image

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements below.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Ru Li : 3.5, this step is important because how well the liver is fixed determines the stability of the image.

  - [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (3.5)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Ru Li: Through this program, it can also be applied to the positioning of other substances in the liver, and directly observe the distribution or changes of substances in the liver [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.