# Submission ID #:  60934

# Scriptwriter Name: Susan Timberlake

# Project Page Link: http://www.jove.com/files_upload.php?src=18584918

# Title: Covalent Attachment of Single Molecules for AFM-Based Force Spectroscopy

# Authors and Affiliations:

Adrianna Kolberg1, Christiane Wenzel1, Thorsten Hugel1,3, Markus Gallei2 and Bizan N. Balzer1,3

1Institute of Physical Chemistry, Albert-Ludwigs-Universität Freiburg, Freiburg, Germany

2Chair in Polymer Chemistry, Saarland University, Campus Saarbrücken, Saarbrücken, Germany

3Cluster of Excellence livMatS @ FIT – Freiburg Center for Interactive Materials and Bioinspired Technologies, University of Freiburg, Freiburg, Germany

# Corresponding Authors:

Bizan N. Balzer 				(bizan.balzer@physchem.uni-freiburg.de)

# Email Addresses for Co-authors:

Adrianna Kolberg 		(adrianna.kolberg@physchem.uni-freiburg.de)

Christiane Wenzel 	(christiane_wenzel@web.de)

Thorsten Hugel 	(thorsten.hugel@physchem.uni-freiburg.de)

Markus Gallei 		(markus.gallei@uni-saarland.de)

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  No

2. Software: Does the part of your protocol being filmed include software usage?  Yes

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Filming location: Will the filming need to take place in multiple locations?   No

# Introduction

Videographer: Interviewee headshots are required. Take a headshot for each interviewee.

Authors: While filming the interview portion, our videographer will also photograph you for the JoVE Dedicated Author Webpage. Please look at this example. For questions about the author profile pages and pictures, please contact author.liaison@jove.com.

- Introductory Interview Statements

  - Adrianna Kolberg: Single molecule force spectroscopy enables us to measure physical parameters that describe the mechanical and adhesive properties of polymers [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Bizan N. Balzer: When using AFM-based force spectroscopy to study single molecules, it is essential to have a reliable and efficient protocol for binding these molecules covalently to an AFM cantilever tip. This protocol can be adapted to many different polymers, irrespective of their contour length or hydrophobicity [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Adrianna Kolberg: All steps should be carried out in a fume hood to avoid inhalation of organic vapors. Additionally, solvent-resistant gloves, lab coat, and eye protection are required [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Bizan N. Balzer: Demonstrating the procedure along with Adrianna Kolberg will be Christiane Wenzel [1], a student from my lab [2].

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

- Surface Activation, Silanization, and PEGylation

  - First, use freshly cleaned tweezers to place AFM cantilever chips in the plasma chamber [1]. Start the plasma chamber surface activation program by selecting Start and then Yes [2]. Verify that the plasma process is working properly. A plasma process with a high oxygen content shows a light blue color [3].

    - Talent uses tweezers to place chips in plasma chamber.

    - SCREEN: plasma.avi. 0:00 – 0:10

    - Through a circular window into the plasma chamber, chips are shown surrounded by a glowing plasma.

  - While the surface activation program is executing, dissolve silane-PEG-mal in toluene to obtain a concentration of 1.25 milligrams per milliliter [1-TXT]. Place 3 milliliters of the solution in a flat Petri dish [2].

    - Talent prepares solution. TEXT: Use solvent-resistant plastic or glass tubes. Videographer: This is one of the most important steps for viewers to see.

    - Talent distributes solution into Petri dish.

  - After the plasma process is complete, ventilate the plasma chamber by selecting Confirm and then Venting. Proceed immediately to the next step, in order to prevent adsorption of contaminants [1].

    - SCREEN: plasma.avi. 7:26 - 7:44

  - Place the chips in the Petri dish [1-TXT], and incubate the chips for 3 hours at 60 degrees Celsius [2]. Remove the Petri dish from the oven and allow it to cool for at least ten minutes [3].

    - Talent opens plasma chamber, removes chips, and places chips in Petri dish. TEXT: Note: Perform immediately after ventilation to prevent contamination.

    - Talent checks temperature and places Petri dish in oven.

    - Talent removes Petri dish from oven and places it in the fume hood.

  - Next, rinse the chips. For PEG or polystyrene binding, rinse the chips with toluene three times. For poly-NiPAM binding, chips should be rinsed once with toluene and twice with ethanol [1-TXT]. To reduce the impact of capillary forces on the AFM cantilever, tilt the chips slightly when rinsing [2].

    - Talent rinses chips. TEXT: Caution: AFM cantilevers break easily. Videographer: It is not necessary to capture/show all the rinses, but rinsing is one of the most important steps and should be shown clearly at least once.

    - ECU: Chip being tilted during rinsing.

  - Adrianna Kolberg: The AFM cantilever chips need to be rinsed properly to remove any excess of physisorbed polymers which may influence the experiments. Rinsing should be performed carefully to prevent any damage to the AFM cantilevers [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Finally, prepare at least two chips to serve as controls, which will not undergo covalent polymer attachment. For controls versus PEG and polystyrene chips, rinse twice with ethanol and once with water [1]. For controls versus poly-NiPAM chips, rinse twice with water [2].

    - Talent rinses chips with ethanol and with water.

    - Talent rinses chips with water.

- Covalent Polymer Attachment

  - To perform covalent attachment of PEG or polystyrene, prepare 3 milliliters of polymer solution in toluene, at a concentration of 1.25 milligrams per milliliter [1]. Add the solution and the chips to a Petri dish [2], and incubate the chips at 60 degrees Celsius for 1 hour [3-TXT].

    - Talent prepares solution.

    - Talent places solution and chips in Petri dish.

    - Talent places Petri dish in oven. TEXT: NOTE: If binding of multiple polymers is observed in the experiments, reduce the polymer solution concentration.

  - After incubation with PEG or polystyrene, allow the chips to cool for 10 minutes [1]. Rinse the chips twice with toluene, twice with ethanol, and once with water [2].

    - Talent removes chips from incubator and places them in fume hood.

    - Talent begins rinsing chips.

  - To perform covalent attachment of poly-NiPAM, prepare 3 milliliters of polymer solution in ethanol, at a concentration of 1.25 milligrams per milliliter [1]. Add the solution and the chips to a Petri dish, and incubate the chips at room temperature for 3 hours [2].

    - Talent prepares solution.

    - Talent places solution and chips in Petri dish.

  - After incubation with poly-NiPAM, rinse the chips twice with ethanol and twice with water [1].

    - Talent begins rinsing chips.

  - To store the chips until use in an experiment, place each chip separately in a 1-milliliter Petri dish filled with water [1]. Keep the petri dishes at 4 degrees Celsius [2].

    - Talent adds water to 1-mL petri dish and places chips in dish.

    - Talent places Petri dishes in refrigerator.

- Determining the Inverse Optical Lever Sensitivity (InVOLS)

  - First, insert the functionalized AFM cantilever chip into a chip holder [1]. Glue the prepared surface into a sample holder that is suitable for measurements in liquid [2].

    - Talent uses tweezers to place a chip in a chip holder.

    - Talent glues a surface into a sample holder.

  - Use a pipette to immerse the chip in water [1]. Mount the sample surface into the AFM [2]. Immerse the sample surface in water [3]. Connect the chip holder to the AFM [4]. Then, approach the chip to the sample surface [5].

    - Talent pipettes a droplet of water on the chip.

    - Talent mounts sample holder carrying the surface into the AFM.

    - Talent pipettes water on the surface glued on the sample holder.

    - Talent connects the chip holder to the AFM.

    - Talent approaches the chip to the sample surface.

  - Use the environmental panel to set the target temperature and switch the mode and the feedback radio buttons to On [1]. Then, let the system equilibrate for about 15 minutes [2-TXT].

    - SCREEN: temperature.avi. 00:00-00:10.

    - SCREEN: temperature.avi. 00:11-00:14. TEXT: Repeat equilibration each time target temperature is changed.

  - To take a force-extension curve, approach the AFM cantilever tip to the surface and select Single Force. The resulting curve displays the deflection against the piezo distance, with the approach to the surface shown in red, and the retraction shown in blue [1].

    - SCREEN: 	Invols.avi. 00:00-00:06.

  - Expand the portion of the curve that represents the indentation of the AFM cantilever tip into the underlying surface [1].

    - SCREEEN: Invols.avi. 00:07-00:12.

  - To perform a linear fit, set cursors on either the approach or the retract curve, and select Update InvOLS from the context menu [1]. The resulting value for the inverse optical lever sensitivity value appears in the panel on the upper left [2].

    - SCREEN: Invols.avi. 00:13-00:25.

    - SCREEN: Invols.avi. 00:25. Video editor: Emphasize box above cursor.

  - After repeating this procedure at least five times, calculate an average for the inverse optical lever sensitivity, and enter the average in the panel [1].

    - SCREEN: Invols.avi. 00:26-00:32.

- Determining the AFM Cantilever Force Constant

  - Position the AFM cantilever at a height of approximately 100 micrometers above the surface by selecting Move To Pre-Engage [1].

    - SCREEN: Thermal.avi. 00:00-00:03.

  - To get a satisfactory signal-to-noise ratio for the thermal noise spectrum, set the Averaging Count to at least 10 and choose the highest possible frequency resolution. Next, record the thermal noise spectrum by selecting Capture Thermal Data [1].

    - SCREEN: Thermal.avi. 00:03-00:18.

  - To fit the thermal noise spectrum with a simple harmonic oscillator function, expand the portion of the curve representing the first resonance peak [1]. Then, select Initialize Fit [2].

    - SCREEN: Thermal.avi. 00:40-00:46

    - SCREEN: Thermal.avi. 00:47-00:56.

  - Finally, refine the fit by using the Fit Thermal Data button. The respective force constant will appear in the panel [1].

    - SCREEN: Thermal.avi. 00:57-00:60.

- Data Collection

(Author Comment: The shot 6.1.1. was filmed, but we would suggest the following changes to obtain a more instructive version by omitting step 6.1. and changing step 6.2. as follows)

  - [1].

    - Talent approaches AFM cantilever tip to the surface.

  - To begin collecting the data, set the parameters for the experiment. Set pulling velocity to 1 micrometer per second and force trigger to 1 nanonewton [1-TXT]. Approach the AFM cantilever tip to the surface and select Single Force to record a single curve and determine whether the parameters need to be adjusted, as described in the manuscript [2].

    - SCREEN: FMap.avi 00:00-00:12. TEXT: pulling velocity: 		1 µm/s; sampling rate: 	5 kHz; retract distance: 	1 µm; dwell time: 	1 s

    - SCREEN: FMap.avi. 00:12-00:18.

  - Select Fmap from the Master Panel. To obtain a force map with 100 curves, set the number of Force Points and Force Lines to 10. Start recording the force map by selecting Do FMap. Take force-extension curves in a grid-like fashion, to avoid any local surface effects and to average different surface areas [1].

    - SCREEN: FMap.avi. 00:19-00:35

  - After the experiment, repeat the determination of the inverse optical lever sensitivity and the spring constant, to check the consistency and the stability of the system [1].

    - Talent at the equipment repeating previous procedures.

# Results

- Results: Single-Molecule Stretching and Desorption

  - Single poly-NiPAM and PEG polymers were covalently bound to an AFM cantilever tip at one end and physisorbed on a silicon oxide surface at the other end [1].

    - LAB MEDIA: Figure 1. Video editor, please show only bottom half of figure, or highlight bottom half if showing only the bottom half is not possible.

  - To measure temperature-dependent stretching behavior, a clear, single-molecule stretching event, followed by a final maximum at the end of the respective force-extension curve, was identified. Then, a single master curve was generated for every temperature [1].

    - LAB MEDIA: Figure 3.

  - For PEG, a decrease of the stretching force was observed with increasing temperature [1]. For poly-NiPAM, the opposite trend was observed [2].

    - LAB MEDIA: Figure 4. Video editor: Please emphasize Figure 4A.

    - LAB MEDIA: Figure 4. Video editor: Please emphasize Figure 4B.

  - The desorption of polystyrene from a SAM surface in water can be used to determine the desorption force and length [1].

    - LAB MEDIA: Figure 5.

  - When the polymer attachment was successful, the force-extension curves showed plateaus of constant force [1]. Each plateau was fitted with a sigmoidal curve to determine the desorption force and desorption length. The observed desorption forces corresponded to previously obtained values [2].

    - LAB MEDIA: Figure 5. Video editor: Please emphasize Figure 5A and Figure 5C.

    - LAB MEDIA: Figure 5. Video editor: Please emphasize Figure 5B and Figure 5D.

  - When more than one polymer attached to the AFM cantilever tip, cascades of plateaus were observed in the force-extension curves [1]. With two polymers attached, a bimodal distribution was found for the desorption length, while the desorption force showed a narrow distribution [2].

    - LAB MEDIA: Figure 5. Video editor: Please emphasize Figure 5C.

    - LAB MEDIA: Figure 5. Video editor: Please emphasize Figure 5D.

# Conclusion

- Conclusion Interview Statements

  - Bizan N. Balzer: A functionalized AFM cantilever tip can be used to quantify the force response of single molecules in a liquid environment and with external stimuli [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Christiane Wenzel: The use of clean equipment, solvents, AFM cantilever chips and repeated rinsing is important to reach a high level of cleanliness, which should be confirmed via the described control experiments [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.

  - Bizan N. Balzer: The presented protocols and procedures pave the way for a better understanding of stimuli-responsive polymer systems. The results can be directly compared to molecular dynamics simulations [1].

    - INTERVIEW: Named author says the statement above in an interview-style statement while looking slightly off-camera.