## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
(3-aminopropyl)triethoxysilane | Sigma-Aldrich | 440140
1 mL syringe | Terumo | SS-01T
2-propanol | Kanto Chemical | EL grade | EL: for electronic use.
3D laser scanning confocal microscope | Lasertec | OPTELICS HYBRID | Other similar microscopes (e.g., Keyence VK-X1000, Olympus LEXT OLS5000) are also applicable.
50 mL syringe | Terumo | SS-50LZ
6,8-difluoro-4-methylumbelliferyl phosphate | Thermo Fisher Scientific | D6567 | Prepare a 5 mM stock solution in dimethyl sulfoxide
Acetone | Kanto Chemical | EL grade | EL: for electronic use. Purity 99.8%.
Air blower | Hozan | Z-263
Aluminum block | BIO-BIK | AB-24M-02
Aluminum microtube stand | BIO-BIK | AB-136C
ASAHIKLIN AE-3000 | AGC | (Test sample) | Free test sample may be available upon inquiry to AGC.
BEMCOT PS-2 wiper | Ozu | 028208
Biopsy punch with plunger | Kai | BPP-10F
Cover glass | Matsunami Glass | No. 1 (24 mm × 32 mm, 0.13~0.17 mm thickness) | Size-customized.
Cover glass staining rack | Nakayama | 803-131-11
CRECIA TechnoWipe clean wiper | Nippon Paper Crecia | C100-M
Cutting mat | GE Healthcare | WB100020
CYTOP | AGC | CTL-816AP
Deaeration mixer | Thinky | AR-100
Desktop cutter | Roland | STIKA SV-8
Developer | AZ Electronic Materials | AZ 300 MIF | AZ Electronic Materials was now acquired by Merck. Other alkaline developers may be also applicable but should require optimization of development conditions (time, temperature, etc.)
Double-coated adhesive Kapton film tape | Teraoka Seisakusho | 7602 #25
Ethanol | Kanto Chemical | EL grade | EL: for electronic use. Purity 99.5%.
Fiji |  |  | Version: ImageJ 1.51n
Flat-cable cutter | Tokyo-IDEAL | MT-0100
Fomblin oil | Solvay | Y25, or Y25/6 | Free test sample may be available upon inquiry to Solvay. Fomblin Y25/6 is an alternative if Y25 is not readily available.
Hot plate | AS ONE | TH-900
Injection needle | Terumo | NN-2270C | 22G × 70 mm
Inverted fluorescence microscope | Nikon | Eclipse Ti-E | Epifluorescence specification, CCD or sCMOS camera, motorized stage, autofocus system, and high NA objective lens are required.
KaleidaGraph | Synergy |  | Version: 4.5
Mask aligner | SUSS | MA-6 | Other mask aligners are also applicable as long as the vacuum contact mode is avaliable.
MICROMAN pipette | GILSON | E M250E | Capillary piston tip: CP250
Microsoft Excel | Microsoft |  | Version: 16.16.15
Mini vacuum chamber | AS ONE | MVP-100MV
Nuclease-free water | NIPPON GENE | 316-90101
Parafilm | Amcor | PM-996
PCR tube | NIPPON Genetics | FG-021D/SP
Petri dish | AS ONE | GD90-15 | Diameter 90 mm, height 15 mm.
Photoresist | AZ Electronic Materials | AZ P4903 | AZ Electronic Materials was now acquired by Merck. AZ P4620 is an alternative.
Plate reader | BioTek | POWERSCAN HT
Polyethelene gloves | AS ONE | 6-896-02 | Trade name: Saniment.
PURExpress in vitro protein synthesis kit | New England Biolabs | E6800S or E6800L | For cell-free protein synthesis reaction.
Reactive-ion etching system | Samco | RIE-10NR | Other RIE systems are also applicable but should require optimization of RIE conditions (gas flow rate, chamber pressure, RF power, etching time, etc.)
RNase inhibitor | New England Biolabs | M0314S
Scotch tape | 3M | 810-1-18D
Sodium hydroxide solution | FUJIFILM Wako Pure Chemical | 194-09575 | 8 M concentration; danger.
Spin coater | Oshigane | SC-308
SURFLON S-386 surfactant | AGC | (Test sample) | Free test sample may be available upon inquiry to AGC.
SYLGARD 184 silicone elastomer | Dow | Sylgard184 | Chemical composition: polydimethylsiloxane. The default mixing ratio is base : curing agent = 10 : 1 (m/m).
Tweezers | Ideal-tek | 2WF.SA.1 2A
Ultrasonic cleaner | AS ONE | ASU-2M
Vacuum chuck | Oshigane | (Customized) | Material: delrin; rectangular sample stage with multiple holes (48 holes, each with 1 mm diameter); the size is customzied to fit the size of the cover glass (24 mm × 32 mm).

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=