- Submission ID #:  60947

- Scriptwriter Name: Anastasia Gomez

- Project Page Link: https://www.jove.com/account/file-uploader?src=18588883

- Title:   Traction Force Microscopy to Study B Lymphocyte Activation

- Authors and Affiliations:

- Anita Kumari1, Judith Pineau1, Ana-Maria Lennon-Duménil1, Martial Balland2, Paolo Pierobon1

- 1Institut Curie, PSL Research University, INSERM U932, 26 rue d’Ulm, 75248 Paris, Cedex 05, France

- 2Laboratoire Interdisciplinaire de Physique, Université Joseph Fourier (Grenoble 1), 38402 Saint, Martin d’Hères Cedex 9, France

☐   All author names are spelled correctly and the affiliations are correct.

- Corresponding Authors:

- Paolo Pierobon (Paolo.Pierobon@curie.fr)

- Email Addresses for All Authors:

Anita.KUMARI@i2bc.paris-saclay.fr

judith.pineau@curie.fr

ana-maria.lennon@curie.fr

- martial.balland@univ-grenoble-alpes.fr

- Paolo.Pierobon@curie.fr

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  YES

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

We can record the image through the microscope (confocal spinning disk) on the computer. We need however to film two or three gestures at the microscope (talent pipetting medium out of and cells on the dish)

If No, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

We upload two movies describing the use of ImageJ macro and matlab software for the analysis.

3. Filming location: Will the filming need to take place in multiple locations?   No, however it will be on different floors of the same building

If Yes, how far apart are the locations? Click to enter distance between locations.

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- If possible, each author should deliver no more than two statements.

- Please answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Paolo Pierobon: This method allows to measure the spatiotemporal distribution of the forces applied by B cells at the immune synapse and correlate them with the recruitment of specific proteins.

REQUIRED: What is the main advantage of this technique?

  - Anita Kumari: Traction Force Microscopy using polyacrylamide gels is easy to implement, and this protocol allows to set up quickly the measurement of the mechanical capabilities of many B cells.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Anita Kumari: This method is flexible and can be adapted to graft other ligands like integrins, or to study other kinds of immune synapse like T cells or frustrated phagocytosis for example.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Judith Pineau: Due to the physical and chemical properties of the gel required by this experiment, the adaptation of classical traction force microscopy methods to B cell may be tricky.

OPTIONAL: Why is visual demonstration of this method critical?

  - Judith Pineau: That is why we will show in detail the how to make the gels and how to obtain clean and analyzable data.

- Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 30 steps and/or 60 shots. Current script of protocol: XXX steps, XXX shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Gel Preparation

  - Begin by silanizing the gel support [1]. Activate the coverslip or glass-bottom Petri dish with a UV lamp for 2 minutes [2], then silanize it with 200 microliters of APTMS for 5 minutes. This will prepare the support for the covalent binding of the gel [3].

    - WIDE: Establishing shot of talent at the lab bench in front of the gel support.

    - Talent exposing the coverslip or Petri dish to UV.

    - Talent silanizing the coverslip and glass-bottom dish. TEXT: APTMS: aminopropyltrimethoxysilane

  - Thoroughly wash the coverslip or glass-bottom dish with ultra-pure water [1] and dry it using vacuum aspiration [2].

    - Talent washing the coverslip or dish.

    - Talent drying the coverslip or dish.

  - To prepare the coverslips for flattening the gel, put them into a ceramic coverslip holder [1], put the holder in a small beaker [2], and pour siliconizing reagent over the coverslips, making sure to cover them completely [3].

    - Talent putting the coverslips in the holder.

    - Talent putting the holder in the beaker.

    - Talent pouring the siliconizing reagent over the coverslips.

  - Cover the beaker with aluminum foil and leave it at room temperature for 3 minutes [1]. Meanwhile, fill a large beaker with ultra-pure water [2]. After 3 minutes of incubation in siliconizing reagent, transfer the coverslip holder with the coverslips to the beaker with water [3].

    - Talent covering the beaker with aluminum foil.

    - Talent filling a large beaker with water.

    - Talent transferring the coverslips to the water.

  - Thoroughly rinse the coverslips with ultra-pure water [1], dry them well, and place them on paper wipes. For best results, immediately proceed with gel polymerization [2].

    - Talent rinsing the coverslips with water.

    - Talent drying a coverslip and placing it on a paper wipe.

  - Prepare a 500 pascal gel premix according to manuscript directions, then combine 167 microliters of the premix with 1.67 microliters of beads [1]. Vortex and sonicate the mixture in a bath sonicator for 5 minutes [2]. Protect the mix from light with aluminum foil [3].

    - Talent combining the gel premix with the beads.

    - Talent putting the gel mix in the sonicator bath.

    - Talent wrapping the mix in aluminum foil.

  - To catalyze polymerization, add 1.67 microliters of 10% ammonium persulfate to the gel mix [1]. Then, initiate polymerization by adding 0.2 microliters of TEMED (pronounce ‘tea-med’) and mixing the gel with a pipette [2].

    - Talent adding APS to the gel mix, with the APS container in the shot.

    - Talent adding TEMED to the gel mix and mixing it, with the TEMED container in the shot.

  - To cast the gel, pipet 9 microliters of gel mix onto each silanized coverslip or glass-bottom dish [1]. Flatten the gel with the siliconized coverslip, pressing down on it with forceps to ensure that the gel spreads across the entire area of the coverslip [2].

    - Talent pipetting the gel mix onto the coverslip or glass dish.

    - Talent covering the gel with the coverslip and pressing down on it with forceps.

  - Invert the coverslip or glass-bottom dish into a large Petri dish and tap it on the bench to force the beads towards the gel surface [1]. Place a humidified tissue on the dish to create a wet chamber, [2]  cover it with aluminium foil and incubate for 1 hour [3].

    - Talent inverting the coverslip or dish onto a large Petri dish and tapping it on the bench.

    - Talent covering the dish a tissue and wetting it.

    - Talent covering the dish with aluminium foil.

  - After the incubation, facilitate coverslip release by adding PBS to the sample [1]. Carefully remove the coverslip with a needle, leaving the gel in PBS [2].

    - Talent adding PBS to the dish, with the PBS container in the shot.

    - Talent removing the coverslip.

- Gel Functionalization

  - Aspirate the PBS from the gels [1] and add 150 microliters of Sulfo SANPAH (pronounce as ‘SUN-PA’)  at room temperature [2]. Expose the gel to UV treatment for 2 minutes [3], then wash the gel 3 times with PBS [4].

    - Talent aspirating PBS from the gel.

    - Talent adding Sulfo SANPAH to the gel, with the Sulfo SAMPAH container in the shot. Videographer: Obtain multiple usable takes of this shot because it will be reused in 3.2.1.

    - Talent exposing the gel to UV.

    - Talent washing the gel with PBS.

  - Repeat the treatment with Sulfo SANPAH and the PBS washes [1], then add 250 microliters of hen egg lysozyme or HEL (pronounce spelling each letter, H – E - L) to the gel [2] and incubate it overnight in a humidity chamber at 4 degrees Celsius, covered with aluminum foil [3]. After the incubation, remove the HEL antigen and wash the gel with PBS 3 times [4]. Finally, cover the gel with 500 microliters of B cell culture media, and let go to room temperature [5].

    - Use 3.1.2.

    - Talent adding HEL to a gel. TEXT: 100 µg/mL HEL

    - Talent putting the gel in the humidity chamber.

    - Talent removing HEL from the gel and adding PBS.

    - Add step for media ?

- Cell Loading and Imaging

  - Use a confocal microscope with thermal and carbon dioxide control for imaging [1]. Two main layers of beads will appear on the bottom and the top of the gel. Focus on the gel plane [2]. Authors: Can you obtain screen capture footage for the SCREEN shots for this section? Or should the videographer film the screen? We can provide a screen shot for this section

    - Confocal microscope setup.

    - SCREEN: Appropriate layer of beads coming into focus.

  - Aspirate the media from the gel, leaving approximately 200 microliters [1]. Position the gel on the microscope and find the surface layer of beads and an even area on the gel [2].

    - Talent aspirating the media from the gel. Authors: Do you aspirate the media after focusing on the beads? The text manuscript says to position the gel on the microscope after removing the media (3.3.4), but the previous step says to focus on the gel plane (3.3.2).  We aspirate before, step 3.3.2 was descriptive. You can move the step of identifying the appropriate layer of beads  after aspirating and positioning the gel (in this script, move 4.1.2 and associated description to  here/ 4.2.2)

    - SCREEN: Talent looking for and finding the appropriate area for imaging.

  - Add 80 microliters of primary B lymphocytes from MD4 mice at 3.10^6cells/mL to the gel, avoiding touching the gel to maintain focus [1]. Ensure that the focus is still correct and that cells can be seen descending in the area. Launch the acquisition before the cells reach the gel [2].

    - Talent adding cells to the gel.

    - SCREEN: Cells descending in the gel and acquisition launched.

- Analysis

  - Open the movie as a stack of images in ImageJ, then run the macro “Crop_and_save.ijm”. Select the regions of interest with the Rectangle tool and add them to the ROI list using the t key. When finished, click Ok [1]. Authors: Please record screen capture footage for the SCREEN shots in this section and upload them to your project page.

    - SCREEN: Stack of images being opened, “Crop_and_save.ijm” running, ROI selected and added to the list, Ok clicked. 60947_screenshot_1

  - When the macro proposes a mask of the cell, click Ok if it is satisfactory. If not satisfactory, click Not Ok and then manually select a closed region with any selection tool, then click Continue [1].

    - SCREEN: Proposed mask comes up, Not Ok clicked, region manually selected, Continue clicked. 60947_screenshot_1

  - Open MATLAB and run “TFM_v1.m”. Input the required parameters. Specifically, check image properties such as pixel size and time interval of acquisition and the gel properties such as Young modulus E and Poisson ratio. When finished, locate the outputs of the software in the same directory as the original file [1].

    - SCREEN: “TFM_v1.m” opened in MATLAB, parameters set (pixel size, time interval of acquisition, Young modulus E, and Poisson ratio), then the output located.60947_screenshot_2

## Protocol Script Questions

- Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

2.7.2 → 2.8.1: pipetting the gel on the dish must be done quickly after addition of TEMED to avoid inhomogneous polymerization

2.8.2. : proper spreading of the gel to have the right gel thickness.

2.10.2: detach the coverslip without damaging the gel

4.2.2. : identifying the right layer of beads and area. Keeping good focus.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

2.8.2.

4.2.2.

If answered, your answers to C and D will become interview-style shots, which may be incorporated into the script after the relevant step in the protocol. Authors will memorize the statements and then deliver them on camera.

- C. OPTIONAL: If there is no single most critical step in the filmed portion of the protocol, do not answer this question. What is the best way to perform the required technique for the most critical step in the protocol?

- Kumari: (2.8.1 – 2.8.1) the droplet must be squeezed as quick as possible after deposition (to avoid the starting of polymerization). Make sure to press on the coverslip uniformly and see a part of the droplet leaking out of the coverslip.

- Kumari: (2.10.2) make sure to keep the gel in PBS. With a needle give several gentle but quick upward hits to  remove the coverslip from different angles until it easily detach. The gel is visible by slightly tilting the dish.

- Pineau: (4.2.2.) Pick carefully the imaging area and make sure to stay in focus, as an appropriate bead density and an even surface are key to obtain robust and reliable force measurements.

- D. OPTIONAL: If there are no hazardous reagents or instruments in the filmed portion of the protocol, do not answer this question. Which of the reagents or instruments are hazardous? What precautions should viewers take?

- Kumari: (2.3, 2.6, 2.7) The siliconizing agent, as well as acrylamide and bis-acrylamide to prepare the gel premix and TEMED can be toxic by inhalation. In addition to classical personal lab protections, it is advised to manipulate these products under a chemical hood.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: XXX. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Information Extracted from Force and Displacement Fields

  - Correct bead images look like a uniform and random distribution of bright spots, similar to a starry sky [1]. Data and analysis are not reliable when the number of beads is too low [2] or the image is out of focus [3].

    - LAB MEDIA: Figure 2 A.

    - LAB MEDIA: Figure 2 B and C. Video Editor: Emphasize B.

    - LAB MEDIA: Figure 2 B and C. Video Editor: Emphasize C.

  - It is possible to observe the movement of beads by eye using a reference frame that preceded the first contact of the cell with the substrate. Approximate results can be obtained from single particle tracking. The analysis provides a segmentation of the beads in the reference image as a control [1].

    - LAB MEDIA: Figure 3 A.

  - Using software, it is also possible to obtain the displacement [1] and stress field, which is the vector of the local stress at each pixel and each time point [2]. Scalar product of the displacement and force fields integrated on the area of the cell provides total work exerted by the cell on the substrate [3].

    - LAB MEDIA: Figure 3. Video Editor: Emphasize B.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize C.

    - LAB MEDIA: Figure 4 A.

  - When comparing two biological conditions, an average curve [1] or an average value over the last time points where the energy reaches a plateau can be calculated [2]. When spatial information of the forces is relevant, it is also possible to compare single time points of each condition [3].

    - LAB MEDIA: Figure 4 B.

    - LAB MEDIA: Figure 4 C.

    - LAB MEDIA: Figure 4 D.

  - An example of fluorescence antigen extraction time lapse is shown here. The progressive appearance of fluorescence signals at the synapse indicates antigen detachment from the gel [1]. The fluorescence data can be used to construct an average extraction curve [2].

    - LAB MEDIA: Figure 5 A.

    - LAB MEDIA: Figure 5 B.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each statement.

- What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Anita Kumari: (2.8.1-2.8.2.) The most delicate step is the polymerization of the gel under the coverslip, that must be done relatively quickly, taking care of squeezing uniformly the gel under the coverslip.

- Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Judith Pineau: Following this procedure, fluorescent-protein expressing B lymphocytes can be used to simultaneously assess the localization of intracellular structure and force patterning.

- After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Paolo Pierobon: by combining it with genetic or chemical perturbations, this technique can be used to assess the role of specific proteins  on cell contratility and antigen uptake.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.