# Submission ID #: 60948

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18589188

Title: Retinal Vascular Reactivity as Assessed by Optical Coherence Tomography Angiography

Authors and Affiliations: Sam Kushner-Lenhoff1, Bright S. Ashimatey1, and Amir H. Kashani1,2

1Department of Ophthalmology, USC Roski Eye Institute

2 USC Ginsberg Institute for Biomedical Therapeutics, Keck School of Medicine of the University of Southern California

# Corresponding Author:

# Amir H. Kashani

# ahkashan@usc.edu

Email addresses for Co-authors:

kushnerl@usc.edu

ashimate@usc.edu

# PLEASE READ THE INSTRUCTIONS IN THE GRAY BOXES CAREFULLY AND USE TRACK CHANGES WHILE MAKING ANY EDITS TO THE DOCUMENT.

# This document has several sections on separate pages, so take care to view each page.

Author Questionnaire:

Authors, please fill out the unanswered questions below.

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? Y

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page by your script return deadline.

3. Which steps from the protocol section below are the most visually important? Please list 4-6 individual steps using the step numbers listed in this document. This information is important for informing the Videographer how to film these steps. (Do not include steps that will be screen captured or represented by lab media. Do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

2.1.1    Shot of Air Control Unit

2.4.2    Shot of Non-Rebreathing Unit

    - Shot of 3-way valve

    - Talent adjusting OCTA setup

    - Talent looping tubing/mouthpiece

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

Step 3.8 The capture of an OCTA image is the most challenging aspect of this procedure. Familiarity with the imaging procedure is critical as quick acquisition of images ensures the Douglas bag does not run out of air before a sufficient number of images are acquired.

5. Will the filming need to take place in multiple locations (greater than walking distance)? (Y/N)

If yes, how far apart are the locations? Y, fourth and sixth floor of the same building. These locations are easily traversed from one to another.

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

- The total introduction length (i.e., Required and Optional Interview Statements) cannot exceed 150 words.

- Restrict the length of each statement to no more than 30 words.

- Please answer the questions below in full sentences to highlight the significance of your protocol. You will be expected to memorize and deliver these sentences as spoken interview statements during filming.

- Indicate the full name of each author who will give each statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Why is your protocol significant? OR What key questions can this method help answer?

  - Dr. Amir H Kashani: OCTA assessed retinal vascular reactivity will allow researchers and clinicians to investigate retinal vascular function in vivo at the capillary level in a noninvasive and minimal risk manner.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# What is the main advantage of this technique?

  - Dr. Amir H Kashani: OCTA is a FDA approved imaging modality so this technique may be applicable in clinical trials as an endpoint measure of retinal capillary function in the future.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- The following OPTIONAL questions may be answered to provide additional introductory information about your protocol.

- The length of each OPTIONAL statement is restricted to no more than 30 words and contributes to the total introduction length, which cannot exceed 150 words.

- Indicate the full name of each author who will give each OPTIONAL statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Dr. Amir H Kashani: A subject’s retinal vascular reactivity likely reflects their retinal vascular integrity before clinically visible signs of damage are apparent and thus, provides an early assessment of retinal vascular pathology.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are there any specific areas of research that this method could provide insight into?

# Can this method be applied to any other systems?

  - Dr. Bright S Ashimatey: The gas delivery apparatus can be easily adapted to most types of ophthalmic imaging devices and used in a wide array of consenting adult subject populations and retinal vascular diseases.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Dr. Bright S Ashimatey: By delegating the responsibility of the operation of the OCTA machine to one researcher and the responsibility of the non-rebreathing apparatus to another, you ensure an efficient experiment.

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

# Why is visual demonstration of this method critical?

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

- Please use this statement ONLY if any of the individuals who will be demonstrating the procedure on camera have not given a required or optional Introduction interview statement already.

- Include the full name(s) of the person(s) demonstrating the experiment followed by their title (e.g., technician, post doc, grad student, clinician, etc.)

- Also indicate the full name of the author who will introduce the demonstrator(s).

  - Amir H Kashani: Demonstrating the procedure will be Dr. Ashimatey a postdoctoral fellow, Dr. Kyle Green, a former medical student, and Sam Kushner-Lenhoff a medical student from my laboratory. (Add additional mention of demonstrators as necessary).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

Ethics title card: (for human subjects or animal work, does not count toward word length total)

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) at the University of Southern California and adhered to the tenets of the Declaration of Helsinki.

# Section - Protocol

- Read through the entire protocol carefully to understand what you will need on the filming day and prepare accordingly.

- The two-digit numbers (e.g. 2.1., 2.2.) represent the “steps” of your protocol and will be read by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the “shots” that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in a single workday, the protocol is restricted to 30 steps and/or 60 shots.

- It is critical for a smooth and organized shoot that all materials and workspaces are prepared and labeled (if applicable) in advance.

- Any specimens/samples that require long or overnight incubation steps should be prepared in advance. (i.e. day 0 sample preparation will be filmed on the day of the shoot; day 1 samples should be prepared the day before the shoot so their processing can be filmed on the day of the shoot/after their overnight culture/treatment/etc.)

- Each section must contain a minimum of 3 steps (~6 shots), so short sections may be combined.

- Gas Non-Rebreathing Apparatus Setup

  - To assemble the apparatus, first connect the Douglas bag [1] to the three-way valve at a three-way valve selective inlet port via the clean-bor tube with adapter [2].

    - WIDE: Talent picking up bag

    - Bag being connected to valve, tube, and adapter

  - This combination will be called the “Air Control Unit” [1].

    - Shot of Air Control Unit

  - Next, using a rubber tube fitted with an appropriate adapter, connect the two-way non-rebreathing valve to the elbow joint connector at the mouth port of the non-rebreathing valve [1].

    - Valve being connected

  - Then connect the elbow joint to the gas delivery tubing [1]. This setup will be called the “Non-Rebreathing Unit” [2].

    - Joint being connected

    - Shot of Non-Rebreathing Unit

  - Wrap sealing tape around all of the connections in the Non-Rebreathing Unit to ensure a hermetic fit [1]. Then, use rubber tubing and the appropriate adapters to connect the Air Control Unit at the outlet port of the three-way valve [2] to the Non-Rebreathing Unit at the inlet port of the two-way non-rebreathing valve [3].

    - Joint being wrapped

    - Tubing being connected to three-way valve

    - Tubing being connected to two-way valve

  - Complete the setup by connecting the open end of the gas delivery tubing to a sterile mouthpiece [1].

    - Tubing being connected to mouthpiece

- Gas Provocation Experiment

  - Before beginning the experiment, put on a pair of laboratory gloves and [1] disinfect the OCTA (O-C-T-A) head and chin rest with an alcohol swab [2-TXT].

    - WIDE: Talent putting on gloves

    - Talent wiping rests OCTA: optical coherence tomography angiography

  - Place a pulse oximeter on the Subject’s finger [1] and begin monitoring the oxygen saturation levels and pulse [2].

    - Talent placing oximeter onto Subject’s finger

    - Talent checking oxygen saturation level/pulse

  - Adjust the height of the OCTA setup so that the Subject can easily rest their chin on the chinrest without overextending or flexing their neck [1] and loop the gas delivery tubing with the mouthpiece attachment through the head and chin rest with the mouthpiece facing the Subject [2-TXT].

    - Talent adjusting OCTA setup

    - Talent looping tubing/mouthpiece

  - Insert the mouthpiece into the Subject’s mouth [1] and encourage the Subject to practice breathing through the non-rebreathing setup to achieve familiarity with the apparatus [2].

    - Talent inserting mouthpiece

    - Talent gesturing/Subject practicing breathing

  - Instruct the Subject to take deep breathes to facilitate gas exchange [1] and place the nose clip onto the Subject to ensure that they are breathing through the mouthpiece [2].

    - Talent gesturing/Subject taking deep breath

    - Talent placing clip onto Subject’s nose

  - Switch the three-way valve to the appropriate channel as necessary [1] and note the time as the start of gas inhalation [2]. Image acquisition will begin at least one minute after gas inhalation commences.

    - Shot of 3-way valve Video Editor: please emphasize configuration 1 and add “specific gas mixture” text and configuration 2 and add “room air” text

    - Talent checking watch/clock

  - Have the Subject place their chin on the side of the chin rest opposite the eye being imaged [1] and have the Subject move their head forward until the forehead is in firm contact with the headrest [2].

    - Subject placing chin in chin rest

    - Subject moving head to head rest

  - While the Subject faces forward and fixates on the target in the center of their view, [1-TXT], center the scan seen in the iris view’s live image [2] and use the left and right arrows to move the chinrest until the iris comes into focus [3].

    - Shot of Subject fixating on target TEXT: Perform scans as determined by testing protocol

    - SCREEN: Iris being centered in the live image

    - SCREEN: To be provided by Authors: Iris coming into focus

  - Confirm that the foveal dip is centered in the OCT scan [1]. Then, acquire an image. The scanning will usually last several seconds [2].

    - SCREEN: To be provided by Authors: Centering of foveal dip

    - SCREEN: To be provided by Authors: Image being acquired

  - View the OCTA image after the completion of the scan to confirm that it is of an adequate quality [1-TXT] and select Save or rescan the eye as appropriate [2].

    - SCREEN: To be provided by Authors: Shot of image at end of scan TEXT: Signal strength should be ≥7

    - SCREEN: To be provided by Authors: Image being saved

  - When no more scans of the eye with this gas mixture are needed, allow the Subject to sit back from the machine [1] and remove the nose clip and mouthpiece [2].

    - Subject sitting back

    - Talent removing clip and/or mouthpiece

  - After a 2-minute break, fill the Douglas bag with the desired air mixture [1] and set the three-way valve to the appropriate configuration [2].

    - Talent filling bag

    - Valve being switched

  - Then repeat the scan as previously demonstrated [1].

    - Subject placing chin onto chin rest, with nose clip and mouthpiece visible as possible

- Experimental Clean Up

  - When all of the images have been acquired, discard the disposable elements of the setup [1] and use an alcohol swab to wipe down the head and chin rest [2].

    - WIDE: Talent discarding mouthpiece and/or nose clip

    - Talent wiping rest(s)

  - Wipe the subject chair, OCTA table, and OCTA handles with a disinfectant wipe to remove any errant saliva [1] and disconnect the setup into its base components [2].

    - Talent wiping chair and/or table and/or handles

    - Talent disconnecting setup

  - To empty the Douglas bag, roll the bag from the distal end toward the inlet port connected to the three-way valve [1] and store the bag in an appropriate location for future retrieval [2-TXT].

    - Talent rolling bag

    - Talent storing bag TEXT: Disconnect clean-bor tube and 3-way valve for storage as necessary

  - Next, fill a container large enough to submerge the gas delivery tubing with an appropriately diluted and well mixed detergent disinfectant [1] and soak the two-way non-rebreathing valve, the elbow joint, in-house rubber tubing, and tubing adapters in the disinfectant bath [2].

    - Talent filling container with disinfectant, with stock disinfectant container visible in frame

    - Talent placing components into bath

  - After at least 10 minutes, thoroughly rinse all of the materials with water [1] and air dry them on a paper towel on a clean countertop [2].

    - Parts being rinsed

    - Talent placing part(s) onto paper towel

  - Then put all of the dried parts into storage until the next analysis [1].

    - Talent placing part(s) into storage

OPTIONAL – Critical Step Statement:

- An OPTIONAL brief statement may be submitted for further elaboration of the best way to perform the required technique for the single most critical step of this procedure.

- If there is no single critical step, then there is no need to fill out this statement.

- This will be an interview style shot interjected after the relevant step within the Protocol section of the video.

- This statement is limited to 30 words or less.

- Please indicate the full name of the Author who will give this statement and the step of the protocol to which the statement pertains using the step numbers from the Protocol section (above).

# Fill in the details below based on the instructions above for the “Critical Step Statement”

# Sam Kushner-Lenhoff, Step 3.6 :    After gas inhalation begins, carefully time the start of image acquisition. Images obtained before one minute of gas exposure may not have had sufficient time to reflect the new gas provocation condition.

# Section – Results

# The Results section is restricted to 200 words of narrative. Please read through the results as presented to make sure that it accurately represents your findings. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.

- Results: Representative Vessel Skeletal Density Analysis Under Hyperoxic, Room Air, and Hypercapnic Conditions

  - Here OCTA data is presented [1]. Horizontal B-scans are often seen on the OCTA device. When properly aligned and viewed as a 2D en face image, these B-scans constitute an OCTA angiogram. [2] The OCTA angiogram is what is exported from the device and is used for image analysis [3]

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please emphasize OCTA B-Scans

    - LAB MEDIA: Figure 2 Video Editor: please emphasize OCTA images

  - To quantify this data in a way that allows for comparisons between subjects and among different conditions [1], a metric such as vessel skeleton density can be computed from a skeletonized OCTA image [2]. A heat map of these skeletonized images can qualitatively show the change in vessel density[3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Skeletonized images

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Vessel Density Map images

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- Below are questions for statements that can be used to further emphasize the significance of your protocol. At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences, as you will be expected to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each Conclusion Interview statement.

- Each author may give two Conclusion statements maximum.

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Sam Kushner-Lenhoff: Carefully explain the procedure to the subject. Have them practice breathing through the testing apparatus before starting the imaging so they can ask questions if needed.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Dr. Amir H Kashani:  Any retinal or ocular imaging procedure can be readily adapted to allow RVR measurements. Also, the method can be applied to any disease process that may affect the vascular function.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take. If no materials are hazardous, leave this statement blank.

    - Sam Kushner-Lehnoff:  While nothing in this protocol is inherently hazardous, it is important to monitor the subject and their vital signs closely.  Stop if you have any concerns or see any signs of distress.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.