Dear editorial team, dear reviewers,

We are thankful for the positive assessment and the useful comments that helped us improve our manuscript. Below we provide a point-by-point response to editorial comments and comments from the peer reviewers that explain the changes we made to the revised manuscript.

Editorial Comments:

• Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

We proofread our revised manuscript and hope there are no more typos.

• Protocol Language:

1) Please ensure that ALL text in the protocol section is written in the imperative voice/tense as if you are telling someone how to do the technique (i.e. “Do this”, “Measure that” etc.) Any text that cannot be written in the imperative tense may be added as a “Note”, however, notes should be used sparingly and actions should be described in the imperative tense wherever possible. Example not in imperative voice: 2.5, 3.1.

We changed this in the revised manuscript.

2) Limit steps to no more than 4 sentences (2-3 actions) each.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol. Some examples:

1) 2.6: Is imaging to be conducted at this step, or are you using this as a segue into the next section? If imaging is being performed here, more details are required regarding the equipment and settings.

Imaging is not yet performed in this step. Hence we have removed this in the revised manuscript.

2) 4.1: This is more of a discussion than an instruction, please clearly describe the steps to be followed. Short discussions (1-2 sentences can be a note following an instructional step.

We clarified this in the revised version.

3) Section 5: mention explicit details regarding software actions.

We made those changes in the revised manuscript.

4) 5.1: Please specifically describe the actions using a single software.

5) 5.3-5.8: Unclear what is being done and how. If you wish to film this, software screenshots will need to be supplied.

We think it is best to film up to the image reconstruction. We like to remove this part for filming.

6) 5.4: How is the quality assessed?

This means assessing the quality of localizations to avoid detecting false localizations and autofluoresence due to cell death etc.

• Protocol Highlight: Please highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps.

We have highlighted the parts for filming.

1) The highlighting must include all relevant details that are required to perform the step. For example, if step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be included in the highlighting.

2) The highlighted steps should form a cohesive narrative, that is, there must be a logical flow from one highlighted step to the next.

3) Please highlight complete sentences (not parts of sentences). Include sub-headings and spaces when calculating the final highlighted length.

4) Notes cannot be filmed and should be excluded from highlighting.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

We believe we have discussed the above aspects in our manuscript.

• Figures: Please remove the embedded figures from the manuscript. Figure legends, however, should remain within the manuscript text, directly below the Representative Results text.

We corrected this in the revised manuscript.

• References: Please spell out journal names.

We corrected this in the revised manuscript.

• Commercial Language: JoVE is unable to publish manuscripts containing commercial sounding language, including trademark or registered trademark symbols (TM/R) and the mention of company brand names before an instrument or reagent. Examples of commercial sounding language in your manuscript are FluoroBrite, Nikon Ti-E, Matlab, Igor pro, Insight, etc

1) Please use MS Word’s find function (Ctrl+F), to locate and replace all commercial sounding language in your manuscript with generic names that are not company-specific. All commercial products should be sufficiently referenced in the table of materials/reagents. You may use the generic term followed by “(see table of materials)” to draw the readers’ attention to specific commercial names.

We have made sure to omit commercial sounding language as much as possible.

• If your figures and tables are original and not published previously or you have already obtained figure permissions, please ignore this comment. If you are re-using figures from a previous publication, you must obtain explicit permission to re-use the figure from the previous publisher (this can be in the form of a letter from an editor or a link to the editorial policies that allows you to re-publish the figure). Please upload the text of the re-print permission (may be copied and pasted from an email/website) as a Word document to the Editorial Manager site in the "Supplemental files (as requested by JoVE)" section. Please also cite the figure appropriately in the figure legend, i.e. "This figure has been modified from [citation]."

All figures are original.

Reviewer #1:
Manuscript Summary:
The authors describe using BODIPY dyes for single-molecule imaging/tracking. The article is clearly written and steps are easy to follow.

Major Concerns:
None. I think the article could be published. Minor issues the authors might want to address (if they agree that these suggestions would improve the paper) are listed below.

We thank the reviewer for the positive assessment and the helpful comments that helped us improve our manuscript.

Minor Concerns:
1. Since "single-molecule tracking" is in the title, I think it might help to have some more details regarding this. How long (in time or frames) might one expect to be able to track a BODIPY molecule?

Yes, we agree with the reviewer. Based on the on-time distribution, ~ 40 % of localizations (n=6569 localizations) appeared in two or more frames at 20 Hz, which we now mention in the manuscript.

2. Step 2.6 seems out of place. I think it should be listed under "4. Data Acquisition".

Yes, we now list it under “Data Acquisition”.

3. It wasn't immediately clear to me how the two-color imaging was being done. Perhaps add more detail -- are the two color channels split and sent to the same camera? two cameras used?

Thank you for pointing this out. The emission colors were first split and then send to different areas of the same camera chip. We clarified this in the manuscript.

4. Are there reasons for imaging at 20 Hz rather than some other speed? I imagine this will depend on how long the molecules emit. Do the authors know how long the dye molecules remain "on"?

We typically use 20 Hz for live cell PALM with mEos2 to achieve a high signal to noise ration. We chose 20 Hz for BODIPY to have a better comparison for photon counts with mEos2. Based on the average photon counts (977 per localization) and on time distribution (~60% for one acquisition frame), higher imaging speeds should be possible.

5. In some single-particle tracking applications, one can allow a particle/molecule to be missing from one frame but still link that molecule in the surrounding frames. Would that be okay to do with BODIPY?

We agree with the reviewer and for some mEos2 tracking application we indeed allow for a fluorophore to e.g. be dark in one frame and link it to the next frame. However, since BODIPY D|| states arise from transient bi-molecular encounters of dense monomers, it will be unlikely to detect/difficult to link the fluorescence from same two monomers once they have disassociated. So we think it is better not to link molecules once they are off.

6. Line 195 reads "... The later will offer a brighter conventional signal." I'm not sure I understand why exactly. Could the authors explain this?

Thank you for pointing out this confusion. BODIPYs also exhibit anti-stokes fluorescence that comes from the excitation of the fraction of monomers in higher vibrations states that are much less in number compared to stokes fluorescence that comes from monomers in lower vibrational state. Hence, 488 nm excitation of monomers (Stokes fluorescence) leads to brighter signal compared to 561 nm excitation (Anti-Stokes fluorescence). We clarified this in the revised manuscript.


Reviewer #2:
Manuscript Summary:
The manuscript submitted by Adhikari et al., "Conventional BODIPY conjugates for live-cell super-resolution microscopy and single-molecule tracking," serves as a detailed method for the paper "Single-molecule localization microscopy and tracking with red-shifted states of conventional BODIPY conjugates in living cells" published on Nature Communications in 2019. The authors used transient red-shifted BODIPY ground-state dimers to localize lipid droplets, fatty acids, and lysosomes in living yeast. Further, they resolved fatty acids and neutral lipids with ~30 nm resolution using BODIPY-C12 red in combination with lysotracker-green. The work also demonstrates two color localization of Sec63 molecules and fatty acids in single cells using BODIPY-C12 green and mEos2 under different metabolic states. Overall, this is a very interesting work that provides applications in other biological processes in living cells. This manuscript is suitable for JoVE publication with minor revisions.

Major Concerns:
None

We thank the reviewer for the positive assessment and the helpful comments that helped us improve our manuscript.

Minor Concerns:
1. On page 2 line 109 and line 113, the authors did not specify the incubation temperature of ConA. Are these steps performed at room temperature?

Yes, these steps are at room temperature and we added the incubation time and temperature in the revised manuscript.

2. On page 2 line 131, is the 8-well plate glass-bottom? What is the vendor?

Yes, it is a glass-bottom. We used the 8-well from LabTek (Sigma-Aldrich) and Cellvis. This information is provided in the separate materials sheet that JoVE requires.

3. On page 3 line 150, the quad-band dichroic mirror is missing 488 band.

We thank the reviewer for catching this. We corrected this in the revised manuscript.

4. On page 3 line 166, which microscope stage heater/incubator was used? The vendor information should be included.

We included this information in the separate materials sheet.

5. On page 5 line 229 and 244, the authors should provide the equations used to fit curves. What is the equation used to determine radial distribution function p(r)? Which equation was chosen to determine the average diffusion coefficient? In Fig 1F, the MSD reached a plateau at long lag time. Was a confined diffusion equation used to determine the average diffusion coefficient?

Thank you for pointing this. We used MSD=4DΔt + 2σ2 to determine diffusion coefficient (D) from MSD curves. For ρ(r), we computed density of localizations at a distance ri as ρ(ri)= H(ri)/(π((ri+dr)2-ri2) by making histogram H(ri) with bin width dr from counts of pairwise distances of unique pairs. This information is now included in the revised manuscript. In Fig 1F, we did not fit any equation to calculate the diffusion co-efficient. We just made a qualitative statement on the sub-diffusive nature of BODIPY (493/503) inside LDs.

6. Which method was used to estimate the 30 nm resolution?

We used theoretical resolution estimation using Thompson’s formula and indicate this in the revised manuscript.