# Submission ID #: 60965

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18594373

Title: Adaptable Angled Stereotactic Approach for Versatile Neuroscience Techniques

Authors and Affiliations: Chelsea L Faber1, Miles E Matsen1, Thomas H Meek1, Jordan E Krull1, and Gregory J Morton1

1Department of Medicine, University of Washington

# Corresponding Author:

Gregory J. Morton

gjmorton@uw.edu

Tel: (206) 897-5292

# Co-authors:

kasperc@uw.edu

miles.matsen@gmail.com

tmeek001@gmail.com

# Krull.Jordan@mayo.edu

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  Y, Kopf Model 1900 stereotax

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Gregory Morton: This protocol is significant, as it is an adaptable stereotactic procedure that can be utilized in both mice and rats and can be applied to many new neuroscientific techniques [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Gregory Morton: The main advantage of this adaptable stereotactic procedure is its ability to be used to target challenging and difficult-to-reach regions of the brain [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Introduction of Demonstrator on Camera

  - Gregory Morton: Demonstrating the procedure will be Chelsea Faber, a Molecular, Medicine and Mechanisms of Disease graduate student from my laboratory [1][2].

    - INTERVIEW: Author saying the above

    - Named demonstrator(s) looks up from workbench or desk or microscope and acknowledges camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the National Institutes of Health Guide for the Care and Use of Animals and approved by both the Institutional Animal Care and Use Committee and Environmental Health and Safety at the University of Washington.

NOTE: Authors have requested that the following text is added to the video. I’d put it either right after the intro interviews or at the end, but please add it wherever you think it fits best.

TEXT:

Gregory Morton and Chelsea Faber have been vaccinated against COVID-19. This was conditional to having them deliver their interview statements without wearing a mask.

# Protocol

- Angled Procedure Stereotax Preparation

  - After confirming that the frame and micromanipulator have been calibrated [1-TXT], place the center height gauge into the socket of the head holder base plate [2].

    - WIDE: Talent checking manual, with frame and micromanipulator in frame TEXT: See manual for calibration details

    - Talent placing gauge onto socket

  - Secure the centering scope in the tool holder [1] and sight down the scope [2].

    - Talent securing scope

    - Talent sighting down scope

  - Adjust the position of the micromanipulator until the crosshairs are aligned and focused on the gauge crosshairs [1] and place the ear bars into the holders such that the indicator lines on both sides are at 0 [2].

    - SCOPE: Crosshairs being aligned

    - Bars being centered

  - Use the medial-lateral and anterior-posterior knobs on the head holder to center-align the ear bars in the x- and y-planes above the crosshair of the center height gauge [1].

    - Ear bars being aligned in x- and y-planes

  - To align the ear bar position in the z-axis, remove the ear bars from the holder [1] and remove the center height gauge [2]. Then replace the ear bars [3] and re-center the bars at 0 [4].

    - Ear bars being removed

    - Center height gauge being removed

    - Ear bars being replaced

    - Ear bars being re-centered

  - Then sight down the scope again and use the vertical shift and coronal tilt knobs, respectively [1], to lower and rotate the ear bars until the scope crosshairs remain centered between the ear bars throughout coronal rotation [2-TXT].

    - Talent at scope, using knobs to adjust crosshairs

    - SCOPE: Crosshairs being centered between ear bars TEXT: Do not make further adjustments to head holder position

- Angled Coordinate Central Axis of Rotation Alignment

  - To align the central axis of rotation for angled coordinates, secure the centering scope in the tool holder [1] and position the micromanipulator to the calculated coordinate [2-TXT].

    - WIDE: Talent securing scope

    - Talent positioning micromanipulator TEXT: See text for coordinate calculation details

  - Note that the right-left coordinate for the angled implantation corresponds to the length of side A [1].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize red “A” triangle

  - Sighting down the scope [1], mark this coordinate to represent the point at which the cannula will enter the brain once the head is rotated [2].

    - Talent sighting down scope Videographer: Important/difficult step

    - SCOPE: Shot of coordinate OR Talent marking coordinate Videographer: Important/difficult step

  - Reposition the micromanipulator over the midline [1] and use the coronal tilt knob to rotate the head to the calculated angle [2-TXT].

    - Micromanipulator being positioned Videographer: Important/difficult step

    - Head being rotated Videographer: Important/difficult step TEXT: See text for angle calculation details

  - If the scope crosshairs do not line up with the reference mark, use the vertical shift knob to adjust the head position in the z-axis until the crosshairs line up as close as possible to the mark [1] and rotate the head back to the 0-degree coronal position [2-TXT].

    - SCOPE: Head position being adjusted Videographer: Important/difficult step

    - SCOPE: Head being rotated back Videographer: Important/difficult step TEXT: Reassign bregma as necessary

  - When the crosshairs consistently hit the reference mark when the head is rotated, the arbitrary point of rotation should now be aligned with the stereotactic center of rotation [1].

    - SCOPE: Shot of point of rotation aligned with stereotactic center of rotation Videographer: Important/difficult step

- Fiberoptic Implantation

  - After performing the microinjection, return the head to the 0-degree level position [1-TXT] and use a hand drill to place two holes anteriorly [2] and two holes posteriorly far enough from the angled coordinate burr holes to accommodate the ferrule portion of the fiberoptic that sits above the skull [3].

    - WIDE: Talent returning head to 0° level position TEXT: See text for microinjection drill hole preparation and compound delivery details

    - Anterior hole being drilled

    - Posterior hole being drilled

  - When all of the holes have been drilled, use a small flathead screwdriver to insert the bone screws as gently as possible such that they sit firmly in the skull without penetrating the brain [1].

    - Screw(s) being inserted

  - Clamp a fiberoptic cannula into the cannula holder [1] and place the cannula holder in the stereotactic holder [2].

    - Cannula being clamped

    - Holder being placed into holder

  - Rotate the head to the calculated angle, noting again that the coordinates on the micromanipulator do not apply to the new tool [1], and use the center of the angled burr holes as the implantation target [2].

    - Head being rotated

    - Shot of center of burr holes

  - Lower the fiberoptic until it just touches the dura within the center of the burr hole [1] and zero the micromanipulator in the z-axis [2].

    - Fiberoptic being lowered

    - Micromanipulator being zeroed

  - Slowly slower the fiberoptic to the dorsal-ventral angled coordinate [1] and use cyanoacrylate gel to connect the fiberoptic ferrule to the ipsilateral anchor screws [2].

    - Fiberoptic being lowered

    - Gel being applied

  - Use a micropipette tip to apply an accelerant before the gel completely hardens [1] and gently loosen and raise the cannula holder until it is clear of the ferrule [2].

    - Accelerant being applied

    - Holder being loosened

  - Insert the contralateral angled coordinate in the same manner [1] and level the head [2].

    - Fiberoptic being lowered into contralateral coordinate

    - Head being leveled

  - For extra security, use the cyanoacrylate gel and accelerant to make an additional connection between the two angled fiberoptic cannulas [1] and apply a small, relatively thin amount of dental cement to the surface of the skull, taking care to thoroughly cover the anchor screws and the base of the fiberoptic cannulas [2-TXT].

    - Gel and/or accelerant being applied

    - Cement being applied TEXT: Leave enough ferrule clean for subsequent mating with fiberoptic patch cable

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

3.3.-3.6.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

3.3.-3.6. To ensure that these steps are successful and to ultimately achieve accurate rotation of the head, it is critical to i) make sure that the head is absolutely secure in the ear bars, and ii) consistently and accurately assign the midline (R/L) coordinate. Use of the centering scope is immensely helpful with this latter point, and furthermore, centering the scope on the gauge crosshairs prior to beginning the surgery provides an approximation for the midline, once the animal is centered on the ear bars.

# Results

- Results: Representative Bilateral Ventromedial Hypothalamus Targeting

  - To interrogate the role of hypothalamic ventromedial nucleus neurons in glycemic control, in this representative analysis, a standard, non-angled stereotactic approach was utilized for the bilateral microinjection of an inhibitory channelrhodopsin virus to the ventromedial nucleus [1].

    - LAB MEDIA: Figure 6A Video Editor: please emphasize syringes and light blue triangles

  - Given the proximity of the ventromedial nucleus to the midline, space constraints did not permit the non-angled implantation of bilateral fiberoptics [1], necessitating the development of a surgical strategy for precisely implanting fiberoptics at an angle [2].

    - LAB MEDIA: Authors: Please upload the image from Figure 6B to your project page without the B or Fiberoptic tracts labels and lines

    - LAB MEDIA: Figure 6B Video Editor: please add text/emphasize Fiberoptic tracts as in original Figure 6B

# Conclusion

- Conclusion Interview Statements

  - Chelsea Faber: The most important things to remember are to simply be patient and to take your time, as being consistent and accurate with your coordinate assignments is critical to success [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Chelsea Faber: This procedure can be adapted and applied to any neuroscientific method requiring microinjection or implantation into the rodent brain, including chemo- and optogenetics and fiber photometry approaches [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera