William Schill

USGS-Leetown Science Center

11649 Leetown Road

Kearneysville, WV  25430

April 17, 2020

Vineeta Bajaj, Ph.D.

JoVE

Dear Dr. Bajaj:

I have submitted a revised version of my manuscript, JoVE60967R1 “Capture of Environmental DNA (eDNA) From Water Samples by Flocculation”. Hopefully, I have addressed the concerns with the submission.  I have addressed each of the Editorial and reviewer comments and have noted the changes by comments added to your letter of April 03, 2020 (below). You should be aware that as a Federal Government employee, I have no copyright to convey. Thank you for your consideration.

Sincerely,

W. Bane Schill

USGS- Leetown Science Center

11649 Leetown Road

Kearneysville, WV  25430

Tele:  304.724.4438

FAX:   304.724.4435

email: wschill@usgs.gov

Editorial comments:
Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version. Done
2. Please format the manuscript as: paragraph Indentation: 0 for both left and right and special: none, Line spacings: single. Please include a single line space between each step, substep and note in the protocol section. Please use Calibri 12 points. Used JoVE Template
3. Please rephrase the Short Abstract/Summary to clearly describe the protocol and its applications in complete sentences between 10-50 words: “Presented here is a protocol …” Done- 46 words including header.
4. Please ensure that the long Abstract is within 150-300 word limit and clearly states the goal of the protocol. Done- 140 words including header.
5. JoVE cannot publish manuscripts containing commercial language. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
For example: Comet, Zymo, Whatman™ 934-AH™, Global Life Sciences Solutions USA 193 LLC, Pittsburg, PA, 1X GoTaq® qPCR® Master Mix, Promega, Madison, WI, Corbett Rotor‐Gene 3000, Qiagen, Germantown, MD, ROTOR‐GENE 6.1, build 93, etc. Commercial references removed and Federal Government required disclaimer added to Acknowledgements.
6. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.” Done
7. The Protocol should contain only action items that direct the reader to do something. Corrected
8. Please ensure that individual steps of the protocol should only contain 2-3 actions sentences per step. Done
9. Please use complete sentences throughout. Checked
10. Please ensure you answer the “how” question, i.e., how is the step performed? Done
11. 2.1. How do you collect the samples, what is collected? How many sites are studied in the present experiment? Hmmm, no “sites” were sampled for this report.  All samples used in the demonstration of the protocol were from aquaria.
12. 3.9: Please make substeps. Substeps are indicated.
13. There is a 10-page limit for the Protocol, but there is a 2.75-page limit for filmable content. Please highlight 2.75 pages or less of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Protocol steps for video highlighted.
14. Please move the DNA isolation and PCR -details to the protocol section. Done
15. Significance of using Eastern painted turtle DNA primers. Hmmm, turtles were only used for convenience in the demonstration of the protocol.  The target species is secondary as any species could be substituted. The protocol is about capturing eDNA not about turtles per se.  
16. Please ensure the results are described with respect to your experiment, you performed an experiment, how did it help you to conclude what you wanted to and how is it in line with the title. Done
17. Please obtain explicit copyright permission to reuse any figures from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].” None used
18. As we are a methods journal, please revise the Discussion to explicitly cover the following in detail in 3-6 paragraphs with citations: Done
a) Critical steps within the protocol
b) Any modifications and troubleshooting of the technique
c) Any limitations of the technique
d) The significance with respect to existing methods
e) Any future applications of the technique
19. Each Figure Legend should include a title and a short description of the data presented in the Figure and relevant symbols. Done
20. Please remove trademark (™) and registered (®) symbols from the Table of Equipment and Materials. Please sort the table in alphabetical order. Done


Reviewers' comments:
Reviewer #1:
I have reviewed a manuscript entitled "Capture of Environmental DNA (eDNA) From Water Samples by Flocculation" authored by William Bane Schill. This manuscript describes a new method for sample processing for environmental DNA studies. I think this method is useful and provide another option to the researchers. Overall manuscript is well written. I have only minor concerns on it as listed below.

Line 106: I found some types reagents are available for LaCl3, namely, anhydrous, hexahydrate, and heptahydrate. Authors used heptahydrate one, and it is better to be clarified here. The compound “type” used is unambiguous as stated as well as health and safety warnings etc.
Line 117: Why at least five samples are needed? The number of samples depends on the purpose. OK, reworded.
Line 192: Nominal pore size of the filter should be added. Diameter and porosity added.
Line 196: More details on the PCR quantification should be provided. For example, what was used as quantification standards? Added, with the caveat that the qPCR assay is totally dependent on the targeted organism. The turtle assay is used only for demonstration of the efficiency of the flocculation protocol. Any organism could be substituted. Figure added showing the standard curve and reaction parameters.
Line 209: What was 23.5? I could not understand that. Reworded for clarity- 23.5 is the cycle at which the second derivative is 20% of the maximum level- a parameter specific to the relative quantification method.
Line 234: "The collection and transfer of the flocs must be done quantitatively ...". What does "quantitatively" mean here? Does it mean "completely"? Although I am not a native English speaker, I think the word "quantitatively" here is not easy to understand. Yes, quantitatively means completely – all occurrences changed.

Figure 2: What is the unit for X- and Y- axis? Figure modified
Figure 3: What is "Picta"? Figure modified


Reviewer #2:
Manuscript Summary:
The manuscript "Capture of Environmental DNA (eDNA) From Water Samples by Flocculation" is well written and is a useful method for the isolation of DNA from environmental water samples. This method is likely of great value to others in this discipline as it addresses a significant procedural hurdle. As written this method is clear and should be simply adopted by users. The practical nature of this is wonderful. There are a number of clarifications that should be made within the protocol and it is recommended that a number of statements are reworded.

Line 26) Rewrite to remove the possessive attribute (species'). …sediment for the presence of characteristic DNA signatures unique to the target species. Done
Line 27) there should be a hyphen or comma before 'especially Done
Line 29-30) Please rewrite to minimize the number of commas. Done
Line 36) change 'generally was' to 'was generally'. Done
Line 41) change 'and (or)' to 'or' Done
Line 42) change 'and (or)' to 'or' Done
Line 43) rewrite as suggested in abstract to remove the possessive Done
Lines 47-48) Suggest rewriting to 'Many improvements in sample collection, processing and data analysis regarding eDNA research during the last two decades.' Done
PROTOCOL:
Line 89-90) Not sure if it's OK to recommend a brand name cleaner Commercial references eliminated.
Line 93) While household bleach is easily understood, there are household bleaches of differing sodium hypochlorite concentrations). Please specify the sodium hypochlorite concentration for clarification. Done
Line 93-94) write to remove possessive. Done
Line 133) add 'e' to 'tap' - electrical tape Corrected typo
Line 143) change 'unfrozen' to 'thawed' Some samples may never be frozen—clarified.
Line 160) change 'small' to 'low volume' Done
Line 166) add 'a' before 'clean' Done
Line 166) change 'toweling' to 'towel' Done

Line 170) the volume of chemicals is mentioned but not the starting concentration (linear polyacrylamide; isopropyl) OK, added.
Line 180 Add a period "." After "cooling" Done
Line 195-196) "designed by the author" is not necessary. OK
Line 234) Rewrite to remove possessive Done
Line 242) Rewrite sentence. 'That is for doing' doesn't make sense as written. Also snapshots should not be set off in quotes. Avoid the use of jargon. Rewritten

Major Concerns:
NO

Minor Concerns:
NO


Reviewer #3:
Manuscript Summary:
Protocols described here are sufficient for duplication by other researchers. Additionally, the author is correct in that this approach will help with ease the field collection of water samples for eDNA analysis. The field process is simple enough to allow citizen science inclusion.

Major Concerns:
None

Minor Concerns:
None