# Submission ID #: 60970

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18595898

Title: TMT Sample Preparation for Proteomics Facility Submission and Subsequent Data Analysis

Authors and Affiliations: Silveli Suzuki-Hatano1, Ang-Chen Tsai1, Audrey Daugherty1, and Christina A. Pacak1

1Department of Pediatrics, University of Florida

# Corresponding Author:

# Christina A. Pacak

# pacakc@peds.ufl.edu

# Co-authors:

s.suzukihatano@ufl.edu

# angchen@ufl.edu

# audrey.daugherty@ufl.edu

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy? N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Audrey Daugherty: The major benefits of this protocol are that it reduces the costs of labeling, improves protein extraction, and generates high quality data [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Audrey Daugherty: The major advantages of our protocol are the high labeling efficiencies for the different types of samples, its reproducibility, and the reliable data acquisition [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at University of Florida.

# Protocol

- Protein Extraction

  - After isolating quadriceps muscle tissue samples from a euthanized mouse according to an IACUC approved protocol, weigh out 10 milligrams of muscle tissue [1] and use tweezers to separate the muscle fibers [2].

    - Talent placing muscle in weigh boat on balance NOTE: There was originally another shot planned ahead of this one, so this one may be slated as 2.1.2.

    - Muscle fibers being separated NOTE: This was filmed in 2 parts.

  - To release the DNA-bound protein, transfer the separated tissue sample into a 2-milliliter tube containing 200 microliters of 1-millimeter zirconia-silica beads [1] and 500 microliters of CHAPS (chaps) lysis buffer [2-TXT].

    - Talent placing tissue into tube, with bead container visible in frame Videographer: Important step

    - Talent adding buffer to tube, with buffer container visible in frame Videographer: Important step TEXT: Alternative: pass lysate through 21-gauge needle 10 times or incubate 30 min with benzoase at 37 °C NOTE: Added shot 2.2.2.1 shows closeups of tube.

  - To create a lysate, place the samples in a bead disruptor [1] and perform two sequential 45-second runs [2].

    - Talent adding sample to disruptor NOTE: 2.3.1. and 2.3.2 are combined.

    - Tissue being lysed in bead disruptor

  - After the second cycle, sonicate the sample 10 times for 10 seconds per sonication at a 50% amplitude with 30-second intervals on ice [1].

    - Lysate being sonicated Videographer: Important step

  - After the last sonication, centrifuge the lysate [1-TXT] and transfer the supernatant to a new centrifuge tube [2].

    - Talent adding tube(s) to centrifuge TEXT: 10 min, 16,000 x g, 4 °C

    - Talent adding supernatant to tube

- Reducing/Alkylating Reagent Treatment

  - For reducing-alkylating reagent treatment, transfer 200 micrograms of protein per condition into new centrifuge tubes [1] and use fresh CHAPS lysis buffer to bring the final volume in each tube to up to 100 microliters [2-TXT].

    - WIDE: Talent adding protein to tube(s). Talent adding buffer to tube(s) TEXT: See text for all buffer and solution preparation details NOTE: 3.1.1 and 3.1.2 are combined.

  - Next, add 5 microliters of TCEP (T-C-E-P) to each tube [1-TXT] and incubate the samples at 55 degrees Celsius for 1 hour [2].

    - Talent adding TCEP to tube Videographer: Important step TEXT: TCEP: tris (2-carboxyethyl) phosphine hydrochloride

    - Talent placing sample(s) as 55 °C Videographer: Important step

  - At the end of the incubation, dissolve 9 milligrams of iodoacetamide in 132 microliters of 100-millimolar TEAB (T-E-A-B) [1-TXT] and protect the resulting 375-millimolar iodoacetamide solution from light [2].

    - Talent adding iodoacetamide to tube, with TEAB container visible in frame TEXT: TEAB: triethylammonium bicarbonate

    - Talent placing tube in a box to protect it from light

  - Then add 5 microliters of iodoacetamide to each sample [1] and incubate for a 30 minutes at room temperature protected from light [2].

    - Talent adding iodoacetamide to tube(s), with iodoacetamide container visible in frame

    - Talent placing tube(s) at RT in a box to protect them from light and then sets a timer

- Methanol/Chloroform Precipitation

  - For methanol-chloroform precipitation, add 400 microliters of methanol to each 100 microliters of protein [1] and briefly vortex the samples [2].

    - WIDE: Talent adding methanol to protein, with methanol container visible in frame. Sample(s) being vortexed NOTE: 4.1.1 and 4.1.2 are combined.

  - To incorporate the liquids deposited on the sides of the sample tubes, briefly centrifuge the samples [1-TXT] and add 100 microliters of chloroform to each tube [2-TXT].

    - Talent placing tube(s) into centrifuge TEXT: 10 s, 9000 x g, RT NOTE: 4.2.1 and 4.2.2 are combined.

    - Talent adding chloroform to tube, with chloroform container visible in frame TEXT: Optional: Add 200 microliters chloroform if high phospholipid concentration

  - After a brief vortexing, quickly centrifuge the tubes again to collect the liquid on the sides of the tubes [1] and add 300 microliters of water to the samples [2].

    - Talent removing tube(s) from centrifuge

    - Talent adding water to tube(s)

  - Vortex vigorously to obtain homogenous solutions [1] and centrifuge the samples for 1 minute under the same centrifuge conditions [2].

    - Tube(s) being vortexed Videographer: Important step

    - Talent setting centrifuge time to 1 minute

  - At the end of the centrifuge, transfer the tubes carefully to a rack without disturbing the layers [1] and carefully remove the supernatant [2].

    - Talent placing tube(s) into rack NOTE: Added shot 4.5.1.1. shows closeup of tube.

    - Supernatant being removed from one tube Videographer: Important step

  - Add 300 microliters of methanol to the remaining inter- and bottom phases [1] and vortex the samples vigorously again [2].

    - Methanol being added to tube, with methanol container visible in frame Videographer: Important step

    - Tube(s) being vortexed Videographer: Important step

  - Centrifuge the samples for 2 minutes [1] and carefully aspirate the supernatants [2].

    - Talent placing tube(s) into centrifuge

    - Supernatant being removed from one tube

  - Then gently aspirate as much liquid from each sample as possible under a stream of air until the pellets are just a bit moist [1], assessing the hydration every 2 minute for about 10 minutes. If needed, the pellets can be stored at minus 80 degrees Celsius until further processing [2-TXT].

    - Tube(s) in vacuum concentrator or similar

    - ECU: Shot of pellet Videographer: Difficult step TEXT: Do not allow sample to become dry/Sample should be just moist

- Protein Digestion

  - To digest the protein, resuspend the precipitated pellet in 100 microliters of TEAB lysis buffer [1] and add 100 microliters of trypsin storage solution to the bottom of a 100-microgram trypsin glass vial [2].

    - WIDE: Talent adding TEAB to pellet, with TEAB container visible in frame

    - Talent adding solution to vial, with solution container visible in frame

  - After 5 minutes at room temperature, add 2.5 microliters of the freshly prepared trypsin solution per 100 micrograms of protein to each sample [1-TXT] and store the samples at 37 degrees Celsius overnight [2].

    - Talent adding trypsin to sample, with trypsin container visible in frame TEXT: Store remaining reagent in single-use aliquots at -80 °C

    - Talent placing sample(s) at 37 °C

- Peptide Labeling

  - For peptide labeling, dissolve each 0.8-milligram TMT (T-M-T) tag vial with 41 microliters of anhydrous acetonitrile per tag [1-TXT] and incubate the reagents for 5 minutes at room temperature with occasional vortexing while keeping the labels protected from light [2].

    - WIDE: Talent adding acetonitrile to vial, with acetonitrile and TMT kit visible in frame TEXT: TMT: tandem mass tag Videographer NOTE: Filmed in 2 parts. 6.1.1.1 had some confusion. It is 6.1.2 but the action is replaced. During filming, I thought they meant to add it in between 6.1.1 and 6.1.2.

    - Talent vortexing the reagent, then placing tube(s) at RT in a box to protect them from light, and sets a timer

  - At the end of the incubation, briefly centrifuge the vials [1] and carefully add 41 microliters of TMT label reagent to each 100-microliter sample for a 1-hour incubation at room temperature [2].

    - Talent placing vial(s) into centrifuge

    - Talent adding reagent to vial(s), with reagent container visible in frame

  - At the end of the incubation, quench the reactions with the addition of 8 microliters of 5% hydroxylamine for 15 minutes at room temperature [1].

    - Talent adding hydroxylamine to vial(s), with hydroxylamine container visible in frame

  - Then split the samples into equal aliquots in new centrifuge tubes [1] for storage at minus 80 degrees Celsius [2].

    - Talent aliquoting one sample and placing tube(s) in a box Videographer: Important step

    - Talent placing tube(s) at -80 °C Videographer: Important step

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

2.2., 3.2., 4.4.-4.6., 6.4.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

4.8. Do not allow samples to become completely dry – leave the samples just barely moist.

# Results

- Results: Representative Protein Quantification and Volcano Plot and Protein Analysis through Evolutionary Relationships (PANTHER) Analyses

  - In this representative data acquisition, 39,653 total peptides were analyzed [1], of which 7211 had equal or greater than two unique peptides [2] and 3829 included reporter ions for all of the channels [3].

    - LAB MEDIA: Table 1 Video Editor: please emphasize Total peptides column

    - LAB MEDIA: Table 1 Video Editor: please emphasize Total identified column

    - LAB MEDIA: Table 1 Video Editor: please emphasize Quantified proteins column

  - A fold-change cutoff was used to determine the relative distribution of proteins from diseased compared to healthy cells [1], with 296 downregulated [2] and 108 upregulated proteins observed [3].

    - LAB MEDIA: Figure 1

    - LAB MEDIA: Figure 1 Video Editor: please emphasize blue data points

    - LAB MEDIA: Figure 1 Video Editor: please emphasize red data points

  - Panther analyses showed a categorized list of proteins based upon significantly lower [1] or higher abundance in diseased cells based upon their molecular function [2].

    - LAB MEDIA: Figures 2A and 2B Video Editor: please emphasize Low Abundance graph

    - LAB MEDIA: Figures 2A and 2B Video Editor: please emphasize High Abundance graph

  - String analyses of the proteins of significantly lower [1] or higher abundance further identified multiple interactions and strong associations between proteins [2].

    - LAB MEDIA: Figures 2C and 2D Video Editor: please emphasize Low Abundance cluster

    - LAB MEDIA: Figures 2C and 2D Video Editor: please emphasize High Abundance cluster

# Conclusion

- Conclusion Interview Statements

  - Audrey Daugherty: Additional methods can be performed to identify protein-protein interactions, to classify the interactions by groups, and to identify the interactions in a variety of pathways [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Audrey Daugherty: Proteomic techniques are powerful tools within the biomedical research field for understanding the mechanisms of disease development by providing detailed protein abundance information [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera