Response to Reviewers Comments

The value of thoughtful, well-informed peer review was very much realized in the case of this manuscript, and we are grateful to the two reviewers who drew our attention to important previous work we had unaccountably missed, and issues with our method that needed consideration. We believe their feedback has strengthened the manuscript considerably, and helped us more accurately reflect the contribution this new method makes.

Direct responses to each point raised follow the reviewers’ comments.

Editorial comments:

General:

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

We have proofread the manuscript carefully, and believe it to be error free. One point that we would appreciate editorial clarification on; spellcheckers flag “plexiglass” as needing to be capitalized (“Plexiglass”), presumably because it is a brand name. Our sense is that, in common use, plexiglass is understood to mean a kind of generic kind of material, and therefore should not be capitalized. Does JoVE have an editorial policy on this?

2. Please reduce the number of personal pronouns (we, you, your).

We have eliminated personal pronouns, with the exception of “we advocate” twice, in the Discussion section, where it seems appropriate to acknowledge personal opinions as belonging to the authors.

Protocol:

1. If applicable, please include an ethics statement before your numbered protocol steps, indicating that the protocol follows the animal care guidelines of your institution.

As this work did not involve live animals at any point, it was exempt from animal care review; we have added a statement saying so at the beginning of the protocol.

2. For each protocol step/substep, please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. If revisions cause a step to have more than 2-3 actions and 4 sentences per step, please split into separate steps or substeps.

This requirement was met in the original manuscript, and revisions have not changed it.

Figures:

1. Please cite Figure 1 outside of the Figure Legends section.

Done; Figure 1 is now appropriately cited at the end of the subhead, “1. Setup and Materials”, since it illustrates the entire set up.

2. Figures 3-5: Please use a proper degree symbol (°) instead of a superscript ‘o’.

Done. We have also remade all figures as .SVG files, as requested.

References:

1. Please do not abbreviate journal titles.

This has been corrected throughout the References list.

Table of Materials:

1. Please ensure the Table of Materials has information on all materials and equipment used, especially those mentioned in the Protocol.

Done. For some materials, it is not imperative to use the exact model listed in the table (e.g. tripod); this has been noted in the table.

Reviewers' comments:

Reviewer #1:

General comments:

I agree with the authors that there has been, and is, to [sic] little focus on the insulative value of bird coats, and how this changes within and across species in different latitudes. So for this reason, there is good reason to apply techniques to be able to measure these things. However, there are some points where I disagree about the novelty of this study. There is certainly value in this approach, but the paper and protocol is not quite there yet. I have written some general comments below, which are followed by a list of more itemized, line-specific, remarks. I hope my assessment will be useful.

1. I disagree that this is a new approach, which is a central premise of the paper. The protocol is still useful, but it is basically an extension of the 'guarded hot plate' method that has been used to measure thermal resistance of animal coats (and manmade materials) for a long time. The only major difference here is that you measure the surface temperature using a thermal camera, but then on the other hand you also do not use a highly conductive material to distribute the heat (e.g. copper) and you do not ensure that there are no air pockets between the skin surface and the hot plate. The Plexiglas could be problematic because it has a sluggish thermal response.

We are very grateful to Reviewer 1 for drawing our attention to these important papers and the guarded hot plate method, and for saving us from publishing in ignorance of them. We agree completely that we have converged on a similar method, and it has been very instructive to us to study the difference; we have altered the manuscript in the Introduction and the Discussion sections to acknowledge this, and to point out the differences, and trade-offs between the two methods.  If we had found the guarded hot plate method first, we might have attempted it, but we ultimately would have rejected it, because of two problems: a) it requires the destruction of a specimen by cutting it into pieces. This is problematic in almost all birds because of the uneven distribution of attachment of feather quills to the skin – the exact location from which you cut out the square sample to stick down to the hot plate would have an enormous effect on the final result, and results in, e.g. Ward et al. 2001, demonstrate that fouling and disarrangement of feathers reduces the value of the measurement.  b) it requires that the underside of a specimen be greased to ensure there are no air pockets between the specimen and the hot plate, a step that would not be allowable with dried museum specimens, and that would negate the value of any specimen so treated for potential further use as a museum specimen.

It is accurate that a copper plate is highly conductive, and is generally excellent at distribution of heat; we agree that the guarded hot plate method is likely to be a better, more precise method for estimating the thermal resistance of materials, and we have altered the Discussion to acknowledge that. It is not obvious to us, however, that a sufficiently long waiting period for the temperature of the specimen to stabilize, as detailed in the protocol, for the heat to rise through the plexiglass (even if sluggishly), and the air pocket above the plexiglass, does not ultimately result in even, stable application of heat to the underside of the specimen (and indeed, our work showed that temperature stabilizes after a 15 minute wait period; see line 236 of the manuscript, item 2.4 of the protocol). When some of the skin is in contact with a hot plate, and some of it is not, it will indeed add uncontrolled error to the measurement; however, in our case, ALL of the heat transfer is from air to skin, and any error in the estimate should be consistent across the whole area heated, and therefore comparable from one measurement to the next.

Our overarching goal in the development of this method was not to measure the thermal resistance of the materials the feather coat of birds is made of (though that is a worthy goal), per se, but to develop the means to quantitatively compare the performance (see response to Comment 2, below) of the skin plus the plumage in retaining heat across species, individuals, and areas of the body, integrating all the variation in attachment of feathers to the skin, morphology of feathers, and relative abundance of feather types. We aimed to develop a method to search rapidly across species for patterns that might identify where deeper investigation of materials might be fruitful. We believe that the method we report in this manuscript has value for detection of such patterns without the need to destructively sample specimens, and have altered the manuscript throughout to reflect the relative value of, and distinction between, each method.

These classical approaches can be achieved for a fraction of the cost of a thermal camera. See e.g. Kvadsheim et al. J Therm Biol 1994, Ward et al. British Poultry Sci 2001, Wildlife Biol 2007.

Reviewer 1 is, again, right about this; a good thermal camera is far more expensive than the materials for a guarded hot plate, and we acknowledged the expense as a limitation of the method in the original draft. Having said that: thermal cameras are rapidly becoming more affordable, and more importantly, are now in widespread use to measure the thermal relations of live, wild birds. Our method has the advantage of using a tool that can be used on both a live bird and its pelt alone, and producing measurements, in the same units, that can be directly compared. We have added language in multiple places in the manuscript explicitly identifying these as values of the approach.

2. You do not supply methods for quantifying coat insulation, but only report on thermal gradients. From these data you would need to work out how much energy is retained by the coat (thermal resistance, or its inverse thermal conductivity). Alternatively, you could supply the necessary information to let readers work of heat transfer rate. But without any unit of energy transfer, I am afraid that you do not deliver on your central premise.

Thanks to these comments, it has become apparent to us, as it was not during the writing of the original draft, that the term “insulation value” has been used in earlier work to mean, technically and specifically, the energy retained by the materials of the pelt, in units other than °C. The reviewer is correct that we do not supply those methods, or provide those values. We converged on the term “insulation value” with a looser definition based on thermal gradients, i.e., the temperature on the inside (of the skin) vs. the temperature on the outside (of the feathers), and we continue to believe that these temperature gradients are an appropriate and biologically informative (as well as intuitive) measure of how the whole (uncut) feather coat performs thermally across all the variation present in birds. We agree however that, in light of the strict definition of “insulation value”,  it is inappropriate to use that term in this paper. We have revised the title, and lines throughout the manuscript, to use the term “thermal performance” instead, a term that we believe more closely reflects our interest in how all the elements of the feather coat (e.g., feather morphology and curvature, placement, density) interact to keep heat inside the bird, rather than focusing on thermal resistance of the materials, alone.

3. I am a bit skeptical that you can accurately measure your reference temperature by simply taking a thermal image of the plexiglass plate, because to work out the heat loss through the plumage you would want a measure of the plate temperature when the skin sample is on.

We acknowledge that ideally we would want a measure of the temperature of the plexiglass while the skin is over it. Measuring it with the skin off adds error through heat loss. We have worked to minimize this error in our own practice by minimizing the amount of time between removing the skin and taking the image of the plexiglass, and we have revised the text in step 2.6 to emphasize the need to take the measurement immediately upon lifting the skin, and to explicitly identify heat loss at this step as a source of error. We have avoided the term “accurate” in the manuscript because we acknowledge, and are open and explicit about, the presence of error in our measurements, as every method has error. The repeatability of our measurements suggests that we have contained the error from this source. But we emphasize, as above, that our aim is to facilitate the uncovering of  patterns by comparable measurements; we are trading off the greatest possible accuracy in estimating the “true” value of the measurement in any particular case against other goals. We have revised the manuscript in multiple places to reflect this focus on comparison as our goal, as well as to suggest the guarded hot plate method as superior for more exacting measurements.

4. You give a lot of details on setting up the thermal camera. This is important, but will have mostly minor influence on the absolute thermal gradient you measure. What is missing is a method for knowing exactly which temperature the camera is measuring (it is only accurate to +/- 2%). See some guidelines e.g. in Jerem et al. JoVe 2015.

We have read the guidelines presented in Jerem et al. JoVe 2015 with interest, but have to admit that we cannot see their relevance for the present study. We have therefore been unable to respond to this comment with changes in the manuscript.

The guidelines presented in Jerem et al. address obtaining the correct eye temperature of free living, moving birds, despite blinking by the birds, and filming through a mesh known to influence the temperature reading. They address, at some length, a method for collecting temperatures from many frames of a thermal video recording, creating a spreadsheet for those values, and correcting for/filtering out those that are associated with, e.g., low temperatures recorded when the bird’s eye is not visible to the camera, or closed, or obscured by mesh components, plus correcting for the ambient temperature. Our study uses temperatures obtained from single images (snapshots) of unmoving materials (the bird pelt; the plexiglass), corrected for ambient temperature by the software that reports the temperatures, as detailed in our protocol in the original manuscript. The importance of entering the ambient temperature and relative humidity, for this correction, is mentioned repeatedly (e.g., at lines 209- 214 and lines 277- 279). That the camera accuracy is limited to +/- 2% is an unavoidable limitation of the equipment, one that we reported explicitly in the original manuscript. Kvadsheim et al. report that the accuracy of the guarded hot plate is +/- 4%, thus it is unclear to us that the degree of error in our measurement is in any way remarkable. We acknowledge, again, that there is error in our measurements, as there is in all measurements, but we are convinced our results show that the method constrains the error so that measurements are comparable, and the error is sufficiently small that patterns of biological interest can be identified.

Moreover, you also do not mention the need to standardize arrangement of the feathers when sampling a skin. Different amounts of 'ptiloerection' will influence heat transfer processes.

We agree absolutely that the arrangement of feathers will have a large effect on the resulting measurements; indeed, the disruption of natural feather arrangement is our chief concern with cutting skins up to measure their insulation performance. When preparing an avian flat-skin specimen, the last step in the protocol is to preen the feathers into a natural position (Spaw 1989), and into a flat (i.e. not erected; curved feathers are not flattened) position. We have emphasized this by adding “preen feathers into a neat, natural position” to step 1.1 and by further explaining this in the Discussion. In the Discussion, we also have added wording to explain that feathers are preened down against the skin in flat-skin specimens, so ptiloerection should be comparable across specimens.

Line-specific comments:

1. Line 2: I disagree this is what you report on in the paper.

See response to Comment 2, above. We have changed the title to “A Method for Using a Thermal Camera to Measure the Heat Loss Through Bird Feather Coats” to reflect the fact that we are not taking measurements in units of energy.

2. Line 25: I would be more inclined to say feathers are essential to birds' insulation, but not so much to the way they thermoregulate as this writing implies physiological regulation.

This wording has been changed from “Feathers are essential to the way birds thermoregulate” to “Feathers are essential to insulation, and therefore to the cost of thermoregulation,  in birds” to minimize physiological implications.

3. Lines 28-29: I think you are undermining all previous efforts to describe insulation of animal coats here.

Given our previous ignorance of the papers pointed at by this reviewer, we agree that this section was overstating the case for novelty, and have toned down novelty claims throughout the manuscript. We do believe there is still much left to be discovered, but have revised the Introduction to discuss this with more nuance, and more thoroughly describe the available literature, and to clarify the contribution of this particular study in that context.

4. Line 30: Please revise - you only report on the temperature gradient.

Done: see response to Comment 2, above.

5. Line 44: Perhaps 'changes' rather than 'swings'?

“Swings” has been revised to “changes.”

6. Line 46: What does 'thermal flux' mean in this context?

Revised to “changes in thermal condition in birds”

7. Line 47: This is not true.

We have to respectfully disagree; we have re-searched the literature, and find far more literature on metabolic responses to temperature changes, than on insulation values of feathers, specifically. Nonetheless, we acknowledge there is more of a literature than we were aware of on insulation, specifically, and we have added citations at the end of this sentence to reflect that.

8. Lines 51-52: Biologically speaking, would not the sum of these effects (i.e. what you measure in a live animal) be the property of matter?

We are not sure we understand this comment; taken to an extreme logical conclusion, all biological phenomena are the result of the properties of matter. This does not negate the importance of understanding the contribution of feathers which, once grown, do not respond dynamically to thermal challenges the way that, for instance, a bird can change its metabolic rate. We have not revised this passage.

9. Line 53: In-between the feathers?

Yes, insulating air is also trapped between feathers. This detail has been added to this line.

10. Line 54: Why only to convective heat loss?

This has been revised to just “heat loss” to include all kinds of heat loss, including convection, conduction, and radiation.

11. Line 58: I think e.g. some of the papers by Peter Pap and colleagues would say differently.

We are perplexed by this comment; it appears to us that the papers in question (one of the most relevant of which we cited in the original draft) unquestionably support the assertion we made that “feather coats vary across species, within species, and within comparable individuals”. We have left the line unchanged, but have added additional citations from Pap and colleagues.

12. Line 70: You need to remember physiological regulation of heat production and heat dissipation here.

Indeed; that is why we think it is important to be able to characterize the contribution of the feathers, alone. The feathers also have an effect. See lines 113-120. We have left this line unchanged.

13. Line 80: Though, in many birds, heat dissipation is a very active process.

Agreed; but the feathers, and condition of the feathers, also have an effect, and our method attempts to quantify the thermal performance of the feathers alone in order to better understand how birds thermoregulate as a whole. See lines 113-120. We have left this line unchanged.

Reviewer #2:

Major Concerns:

I was struck by the fact that in the method described, the flat-skin specimen is placed over a "air hole" in a thick insulating "foam" resting over a plexiglass sheet. This means that there is radiative heat transfer to the inner surface of skin, something that never happens in living birds. Also, the convective/conductive heat transfer is from the underlying air space, not tissue/blood. While the method aims at measuring the passive thermal properties of the skin/feather preparation, this is very different from the situation in the whole bird. Could differences in the emissivity of the inside of the skin have an effect? If so, this would be artefactual because such differences in emissivity have no effect in living birds.

We agree that this method does not provide a biologically realistic heat source; at the same time we would argue that a hot plate does not either. Given that, across samples, whatever error resulting should be consistent. As revised into the manuscript, and elsewhere in this response, this method holds its value in simplicity, preservation of specimens, and is useful for comparative work. We believe the most important use of this method is the identification of patterns of variation, rather than replicating exactly what is occurring in a live bird.

Additionally, .95 is the accepted emissivity value for feathers and skin, so this should not have an effect, or if does, this is not the only study affected. See the second note on step 1.6.2 in the protocol for further explanation.

Although the method is standardizes as for the placement of the flat-skin specimen, it may be that even the same anatomical location is not comparable between species because there may differences in pterylosis between species. Although feathers cover the skin in a relatively uniform way, the higher amount of solid keratin shafts in pterylae might create variation in results.

This is absolutely a source of error among species. However, on flat skin specimens, feathers are less spread out than they would be on a round skin, so all the feathers in all tracts will be somewhat pushed together, even when the feathers are properly preened during specimen preparation. Still, because the length of feathers across species varies, measuring a point in the middle of a feather tract has less error between comparisons than measuring apteria covered in feathers. Finally, we aim, with this method, to uncover such impacts of variation in pterylosis on thermal performance overall.

The authors make a strong point an fixing a standardized temperature for these tests. Yet, in a contradictory fashion, they show in figure 5 nicely how a range of temperatures can be used to detect differences using the slope of plexiglass/feather surface temperature.

Our intention in including Figure 5 was to demonstrate that the relationship was linear across a range of temperatures, i.e., that anomalous values for a given species would not be obtained as a function of very high or very low plexiglass temperature. However, we can see that the reviewer is right, in that the slopes of the line vary across these species. What this might mean, biologically, at temperatures birds would not ever survive (e.g., 55°C) is not clear, which is why we suggest a target temperature that is typical of the core temperature of many birds, but we have revised the Discussion, and the Figure caption, to address this promising avenue for further investigation.

Minor Concerns:

Lines 45-47. It Is bit strong to say the studies on avian thermoregulation have *ignored* feathers as insulation. For example, heated, skin-covered metal casts have been used, https://www.sciencedirect.com/science/article/abs/pii/0300962980900341 and skin/feather patches have been used to measure passive thermal conduction, https://sora.unm.edu/sites/default/files/journals/auk/v103n01/p0160-p0168.pdf.

That is true, and feathers have not been completely unstudied. We have revised this paragraph to convey that the “majority” of literature on avian thermal biology addresses aspects other than the feathers, alone (which we believe to be true), but to reinforce this, we cited the papers the reviewer helpfully pointed at, along with a few others, at the end of this sentence.

Line 53: Air is trapped not only *between* the feathers and skin, but also within the feathers.

Yes, insulating air is also trapped between feathers. This detail has been added to this line.

Lines 232-233. "…suggests that repeatability of measurements". Please clarify.

This clause was an error and has been removed entirely.

Line 294. "The use of thermal camera software than we used…" should probably read "The use of thermal camera software other than we used…”

This has been changed to “The use of thermal camera software other than that which was used in this study.”