# Submission ID #: 60997

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18604133

Title: Impedance-Based Real-Time Measurement of Cancer Cell Migration and Invasion

Authors and Affiliations: Giridhar Mudduluru1, Neka Large1, and Taeju Park1,2

1Children’s Mercy Research Institute, Children’s Mercy Hospital

2Department of Pediatrics, University of Missouri Kansas City School of Medicine

# Corresponding Authors:

Giridhar Mudduluru

gmudduluru@cmh.edu

# Taeju Park

# tjpark@cmh.edu

# Co-authors:

# nlarge@cmh.edu

## Author Questionnaire

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Giridhar Mudduluru: Using this protocol, cell migration and invasion can be evaluated under a real time conditions, enabling cell kinetics under loss or gain of gene function and drug treatment to be determined [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Giridhar Mudduluru: Unlike other methods, no staining, mechanical cell damage, or florescent markers are needed. Most importantly, the time course cell kinetics can be determined in an effective manner [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- U-118MG Glioblastoma Cell Line Culture and Electroporation

  - When the U-118MG (U-one-eighteen-M-G) cell line culture reaches 70-80% confluency, wash the cells with PBS [1] before treating the cells with 2 milliliters of 0.05% trypsin-EDTA (E-D-T-A) [2].

    - WIDE: Talent washing cells with PBS, with PBS container visible in frame

    - Talent adding trypsin-EDTA to cells, with trypsin-EDTA container visible in frame

  - After 30 seconds at 37 degrees Celsius, stop the reaction with an equal volume of fresh culture medium [1-TXT] and transfer the detached cells to at 15-milliliter conical tube [2].

    - Talent adding medium to cultured, with medium container visible in frame TEXT: See text for all medium and reagent preparation details

    - Talent adding cells to tube

  - After counting, collect the cells by centrifugation [1-TXT] and resuspend the pellet at a 6 x 105 cells per condition concentration in the appropriate volume of fresh medium [2].

    - Talent placing tube(s) into centrifuge TEXT: 5 min, 100 x g, RT

    - Shot of pellet if visible, then medium being added to tube, with medium container visible in frame

  - Transfer 6 x 105 cells into one microcentrifuge tube per condition [1] and add 800 microliters of Dulbecco’s PBS to each tube [2].

    - Talent adding cells to tube(s)

    - Talent adding DPBS to tube(s), with DPBS container visible in frame

  - After centrifugation, resuspend each pellet in 60 microliters of resuspension buffer R [1] and 6-micromolar of the siRNA (S-eye-R-N-A) of interest [2-TXT].

    - Shot of pellet(s) if visible, then buffer being added to tube(s), with buffer container visible in frame

    - siRNA being added to tube(s), with siRNA containers visible in frame TEXT: siRNA: small interfering RNA

  - Mix each tube with gentle tapping [1] before electroporating 10-microliter aliquots of each cell suspension with three, 10-millisecond, 1350-volt pulses [2].

    - Tube being tapped Videographer: Important/difficult step

    - Talent adding aliquot to electroporator vial Videographer: Important/difficult step

  - After each treatment, pool the electroporated cells from each condition in individual 5-milliliter aliquots of fresh culture medium [1].

    - Talent adding cells to tube, with medium container visible in frame

  - Then seed the cells into two, 35-millimeter culture dishes per condition [1] and place the cells in the cell culture incubator for 3 days [2].

    - Talent adding cells to dish(es)

    - Talent placing plate(s) into incubator

- Real-Time Cell Analysis System, Cell Invasion and Migration (CIM) Plate, and Electroporated U-118MG Cells Preparation

  - Five-six hours before the real-time cell analysis, place the real-time cell analysis system into the cell culture incubator [1].

    - WIDE: Talent placing system into incubator

  - To set up an invasion assay, use reverse pipetting to plate 50 microliters of DMEM (D-M-E-M) supplemented with 0.1 microgram/microliter of extracellular matrix gel into each well of the upper chamber of a cell invasion plate [1-TXT].

    - Medium + ECM o wells, with medium and ECM conatiners visible in frame TEXT: DMEM: Dulbecco’s modified eagle medium

  - Immediately after plating, remove 30 microliters of the extracellular matrix solution from each well [1-TXT] and place the plate into the cell culture incubator for 4 hours [2].

    - ECM being removed Videographer: Important step

    - Talent placing plate into incubator TEXT: Avoid direct contact with electrodes in CIM plate upper chamber

  - To set up an impedance measurement program, six hours before the measurement, replace the medium in all of the electroporated cell cultures with low serum medium [1].

    - Talent adding medium to plate(s), with medium container visible in frame

  - Under the Layout tab in the associated impedance measurement software [1], select quadruplicate wells for each biological condition [2].

    - Talent opening software, with monitor visible in frame

    - SCREEN: screenshots 1: 01:04-01:15

  - Under the Schedule tab, set a one-time baseline measurement sweep step with a 1-minute interval [1] and set a second step to measure the cell impedance in respective individual cradles for the actual experiment [2-TXT].

    - SCREEN: screenshots 1: 01:50-02:06

    - SCREEN: screenshots 1: 02:06-02:22  TEXT: Migration: 145 sweeps, 10-min interval; Invasion: 577 sweeps, 10-min interval

  - One hour before the start of the cell impedance measurement, add 160 microliters of medium supplemented with 10% fetal bovine serum as the chemoattractant into the wells of the lower chamber of the cell invasion and migration plate [1].

    - Medium being added to well(s), with medium container visible in frame Videographer: Important step

  - To measure invasion, assemble the upper chamber containing the extracellular matrix gel-coated wells [1]. To measure migration, use uncoated wells in the lower chamber [2].

    - Talent assembling upper chamber Videographer: Important/difficult step

    - Talent assembling lower chamber Videographer: Important/difficult step

  - For either type of experiment, fill the wells in the upper chamber with 50 microliters of low serum medium [1] and place the chambers into the cradle of the system [2].

    - Well(s) being filled, with medium container visible in frame

    - Chamber(s) being placed into cradle

  - Click the Message tab in the software to determine whether all of the wells are recognized by the control unit. If the message displays as expected, the plate in the cradle is ready for the experiment [1].

    - SCREEN: screenshots 1: 02:44-03:19 Video Editor: please speed up/cut blank time

  - Then place the completely packed plates into the cell culture incubator in the real-time cell analysis system cradle for 1 hour to acclimate the plate to the cell culture conditions [1].

    - Talent placing plate(s) into incubator

  - While the plates are equilibrating, harvest the glioblastoma cells as demonstrated [1] and resuspend the cells from each condition at an 8 x 105 cells/800 microliters of low serum medium concentration [2].

    - Talent adding trypsin-EDTA to plate(s)

    - Talent adding medium to tube(s), with medium container visible in frame

  - Additionally, set aside 3 x 105 cells in 2 milliliters of culture medium for seeding in a 35-millimeter dish for downstream western blot analysis [1].

    - Talent adding cells to tube, with medium container visible in frame

- Baseline Reading, Cell Seeding, and Cell Impedance Measurement and Visualization

  - To measure the baseline, pre-migration reading, at the end of the acclimatization, click the cradle Start button [1].

    - WIDE: Talent pressing Start, with monitor visible in frame

  - After the baseline measurement has been acquired, transfer the migration and the invasion plates from their respective cradles into a biosafety cabinet [1].

    - Talent placing plate(s) into BSC

  - Reverse pipette 100 microliters of cells into quadruplicate upper chamber wells for each biological conditionin the appropriate well of the cell invasion and migration plates as programmed in the control unit of the cradle [1].

    - Cells being added to well(s), with cell container visible in frame Videographer: Important step

  - After seeding, keep the plates in the biosafety cabinet for 30 minutes at room temperature to allow the cells to settle evenly on the plate bottom [1] before transferring the plates to their respective cradles [2].

    - Talent setting timer, with plate in BSC visible in frame

    - Talent placing plate into cradle

  - Click the cradle Start button to begin measuring the cell impedance [1-TXT].

    - SCREEN: screenshots 1: 06:32-06:45 TEXT: Data will be saved automatically at end of experiment

  - To visualize the changes in cell impedance as the cell index in a time-dependent manner during or after completion of the experiment, open the Data Analysis tab [1].

    - SCREEN: screenshots 2: 00:08-00:16

  - To visualize the data for each of the respective conditions either individually or as averages and/or standard deviations, click the Option boxes for average and standard deviation [1].

    - SCREEN: screenshots 2: 00:26-00:36

  - To export the cell index data to a spreadsheet file, place the cursor in the middle of the Data Analysis window, and right-click [1].

    - SCREEN: screenshots 2: 00:51-00:57

  - In the dialog box that appears, select the Copy Data into List Format option and paste the data into an open spreadsheet [1].

    - SCREEN: screenshots 2: 01:33-01:38

  - To release the experiment, click the Release button in each cradle [1].

    - Talent clicking Release button

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

2.6., 3.3., 3.7., 3.8., 4.3.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.6., 3.8.

# Results

- Results: Representative Effects of Crk/CrkL Knockdown on U-118MG Cell Migration

  - Crk (C-R-K) adaptor protein knockdown decreases Crk-one [1] and Crk-two protein levels by 85% and 86%, respectively [2], without reducing Crk-like protein levels [3].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize lack of band in CrkI row in siRNA-Crk lane and blue CrkI data bar

    - LAB MEDIA: Figure 1 Video Editor: please emphasize lack of band in CrkII row in siRNA-Crk lane and blue CrkII data bar

    - LAB MEDIA: Figure 1 Video Editor: please emphasize band in CrkL row in siRNA-Crk lane and blue CrkL data bar

  - The knockdown of Crk-like reduces Crk-like protein expression by 85% [1], with slight reductions in Crk-one and Crk-two protein levels [2].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize light band in CrkL row in siRNA-CrkL lane and red CrkL data bar

    - LAB MEDIA: Figure 1 Video Editor: please emphasize light of band in CrkI row and dark band in CrkII row in siRNA-CrkL lane and red CrkI and CrkII data bars

  - Combining both siRNAs reduces Crk-one, Crk-two, and Crk-like expression by over 80% [1], while neither vinculin nor alpha-tubulin expression is affected by any combination of Crk or Crk-like knockdown [2].

    - LAB MEDIA: Figure 1 Video Editor: please emphasize lack of bands in CrkII, CrkI, and CrkL rows in siRNA-Crk & CrkL lane and green CrkII, CrkI, and CrkL data bars

    - LAB MEDIA: Figure 1 Video Editor: please emphasize blue, red, and green Vinculin and aTubulin data bars

  - Human brain glioblastoma cells migrate along a gradient in response to high serum concentrations [1], reaching the maximal level of migration at 13 hours [2].

    - LAB MEDIA: Figure 2A Video Editor: please emphasize black data line

    - LAB MEDIA: Figure 2A Video Editor: please add/emphasize yellow arrow at 13 h

  - In Crk-knocked down cells, although the migration is initially delayed [1], the cells continue to migrate until 23 hours [2].

    - LAB MEDIA: Figure 2A Video Editor: please emphasize blue data line from 0 to about 1 ½ hours

    - LAB MEDIA: Figure 2A Video Editor: please emphasize blue data line from about 1 ½ hours to 23 hours

  - Crk-like knockdown substantially reduces cell migration [1], with the glioblastoma cell line  completely losing their migratory ability upon knockdown of both Crk and Crk-like [2], suggesting that Crk and Crk-like play essential overlapping roles in cancer cell migration [3].

    - LAB MEDIA: Figure 2A Video Editor: please emphasize red data line

    - LAB MEDIA: Figure 2A Video Editor: please emphasize green data line

    - LAB MEDIA: Figure 2A

  - However, when cell migration is monitored over several days [1], the Crk knockdown cells reach a similar maximum level of cell migration compared to control glioblastoma cells at 60 hours [2], with Crk-like cells fully recovering their migratory ability by 90 hours [3], and double Crk-Crk-like cells demonstrating an ability to migrate after 40 hours [4].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Figure 3A Video Editor: please emphasize black and blue data lines at 60 hours and/or add/emphasize yellow arrow at 60 hours

    - LAB MEDIA: Figure 3A Video Editor: please emphasize red data line from 20-90 hours

    - LAB MEDIA: Figure 3A Video Editor: please emphasize green data line from 40-90 hours

  - These results clearly support the suggestion that cell invasion should be analyzed over the entire period of the experiment [1].

    - LAB MEDIA: Figure 3B

# Conclusion

- Conclusion Interview Statements

  - Giridhar Mudduluru: Seeding the right number of cells and avoiding air bubbles while coding the ECM and seeding the cells are key to the success of the experiment [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Giridhar Mudduluru: Following a similar procedure but using “E-plates”, cell proliferation and cell adhesion kinetics can also be determined [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera