To												            12/23/2019

The Editor,
JoVE Methods Collections.

Sub: Submission of revised methods manuscript with the title “Impedance-Based Real-Time Measurement of Cancer Cell Migration and Invasion” # JoVE60997

Dear Editor,

We thank the reviewers and editorial office for reviewing the manuscript and appreciate their positive responses.

We have carefully addressed the comments and revised the manuscript. We have included additional, detailed steps in the protocol and have deleted figure 1 as per the reviewer’s suggestion. As per the editorial comment, video content of the introduction and the protocol is heighted the manuscript.

We sincerely hope that the current version of the manuscript is clearer than the previous one and is suitable for publication in JoVE.

For your convenience, we have detailed our responses to the editorial and reviewers’ comments below.

Yours sincerely,

Giridhar Mudduluru and Taeju Park

Comments and responses:

Editorial comments:
Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.
2. Please provide an email address for each author.
3. Please format the manuscript as: paragraph Indentation: 0 for both left and right and special: none, Line spacings: single. Please include a single line space between each step, substep and note in the protocol section. Please use Calibri 12 points
4. Please provide at least 6 keywords or phrases.
5. JoVE policy states that the video narrative is objective and not biased towards a particular product featured in the video. The goal of this policy is to focus on the science rather than to present a technique as an advertisement for a specific item. To this end, we ask that you please remove the term xCELLigence and use the generic terms instead. The term can be introduced once in the introduction.
Response: We have updated the manuscript as per the author guidelines and all 5 of the editorial comments above.

6. JoVE cannot publish manuscripts containing commercial language. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
For example xCELLigence, the Cell Analysis Division of Agilent Technologies, Inc., Matrigel, Corning, CIM plates, etc.
Response: We concur and have minimized the repetitive use of commercial terminology, replacing “xCELLigence DP system” with “real-time cell analysis system,” “matrigel” with “extracellular matrix gel” and so on. We have kept the reference to CIM plate, which stands for “cell invasion and migration plate,” as CIM plates are used often in the experiment. 

7. Please do not refer to the manuscript as a video. The text manuscript component is an individual part of the submission.
Response: We made this change as requested and detailed protocol is written under protocol section 3 without referring the video.

8. Please expand all abbreviations during the first-time use.
Response: All abbreviations were expanded when first used in the manuscript.

9. We cannot have non-numbered steps, headings, subheadings, and substeps in the protocol section. Please adjust the numbering of the Protocol to follow the JoVE Instructions for Authors. For example, 1 should be followed by 1.1 and then 1.1.1 and 1.1.2 if necessary.
Response: We adjusted the numbering of sections and sub-sections as requested.

10. Please ensure that individual steps of the protocol should only contain 2-3 actions per step.
Response: We modified the protocol as per the request.

11. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed? Please include discrete experimental steps, the knob turns, button clicks, etc to show how the step is performed.
Response: We updated the protocol as requested by the editors.

12. Please make a separate section for the glioblastoma cell culture and electroporation step. Please include details of how it is performed in the imperative tense, including reaction set up, etc. How do you check for the knockdown? These steps may not be shown in the video.
Response: We included a separate procedure section in the protocol for U-118MG cell line culture and electroporation.

13. Please ensure that you describe each action in a stepwise manner.
Response: We updated the protocol to describe each action in a stepwise manner.

14. 1.3: Please make substeps.
Response: We updated the protocol by adding substeps.

15. 1.4: How do you program the cradle? Please provide all the details. How do you ensure that the system is recognizing all the wells?
Response: We have provided the details for the cradle programming procedure in the protocol and described how to check the messages generated by the control unit to ensure the wells are recognized by the control unit.

Changes or additional text added in the manuscript as response to the above comment:

Under protocol subsection 3.7 the procedure is updated with the following comment “Check whether all the wells are recognized by the control unit by clicking the message tab. If the message displays as OK, the CIM plate in the cradle is ready for the experiment.”

16. 1.5: Please detail all steps in the text as well to show the experiment is performed?
Response: We provided details for all the steps that are necessary to start and finish the experiment.

Changes or additional text added in the manuscript as response to the above comment:

3.4. To set up the impedance measurement program, double-click the RTCA Software Pro icon to open the system software application (control unit). Each cradle has an individual window with different tabs to set the experimental conditions, the impedance measuring time interval and duration, and data analysis.

4.10. Release the experiment by clicking the release button in each cradle.

17. 2.1: How do you perform the baseline readings- button clicks etc? e.g. move the plate to the detection chamber and click “baseline”.
Response: We provided the details to set and read the baseline and actual cell impedances.

Changes or additional text added in the manuscript as response to the above comment:

4.1. Measure the baseline reading by clicking the cradle start button. The baseline should be read after pre-incubating CIM plates for 1 hr in the cradle of the real-time cell analysis system under culture conditions in the CO2 incubator and before seeding the cells to the respective wells in the upper chamber. (Once the cradle start button is clicked, the control unit will ask to save the experimental file. After the file is saved, the cradle analyzer measures the baseline cell impedance as set in the program initially and enters a pause mode until the cradle start button is clicked again to measure cell impedance in the second step).

18. 2.2: How do you trypsinize, how is the counting performed etc. Do you keep the cells at 37 degrees for 3 days after electroporation?
Response: We provided elaborated new section 2 under protocol by addressing this comment.

19. 2.3: How do you program for the migration and invasion?
Response: We provided the details on the program settings for migration and invasion. 

Changes or additional text added in the manuscript as response to the above comment:

3.5. Under the layout tab, set quadruplicate wells for each biological condition and set two-step cell impedance measurements under the schedule tab. The first step is for one-time baseline measurement (1 sweep with a 1-min interval), and the second step is to measure the cell impedance for an actual experiment (for migration, 145 sweeps with a 10-min interval, and for invasion, 577 sweeps with a 10-min interval) in respective cradles.

20. 2.4: How do you monitor the cell impedance?
Response: Details are provided on how to monitor the cell impedances in the protocol. 

Changes or additional text added in the manuscript as response to the above comment:

4.6. Under the data analysis tab, visualize the changes in cell impedance as cell index in a time-dependent manner during or after completion of the experiment. Each of the respective conditions of quadruplicates can be visualized either individually or as averages and/or standard deviations by clicking the option boxes for average and standard deviation.

21. 2.5: How is this done? Please include all the button clicks, the knob turns, etc.
Response: We provided the details on how to monitor the impedances with different options in the protocol.

22. There is a 10-page limit for the Protocol, but there is a 2.75-page limit for filmable content. Please highlight 2.75 pages or less of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol.
Response: We have highlighted the important text in the manuscript and protocol so that it tells a cohesive story of the Protocol. 

23. Please obtain explicit copyright permission to reuse any figures from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in Figure Legend, i.e. “This figure has been modified from [citation].”
Response: We are not including any published data.

24. As we are a methods journal, please revise the Discussion to explicitly cover the following in detail in 3-6 paragraphs with citations:
a) Critical steps within the protocol
b) Any modifications and troubleshooting of the technique
c) Any limitations of the technique
d) The significance with respect to existing methods
e) Any future applications of the technique
Response: We rewrote the discussion section to address all the points mentioned in the comment. 

25. Please sort the materials table in alphabetical order. Please ensure that the table includes the name, company, and catalog number of all relevant materials in separate columns in an xls/xlsx file.
Response: We have sorted the materials in alphabetical order.

Reviewers’ comments:
Reviewer #1:

The authors describe the method for the use of xCELLigence cell-substrate impedance real time analysis methodology on cancer cell migration and invasion, supported by the JoVe video strategy. This complements similar text only online methods articles already available (see Scrace et al 2013, for example).

As well as the protocol for the use of the instrument per se, the authors use a biological question to demonstrate this, focusing on evaluating the role of Crk and CrkL in cancer cell migration and invasion. I think that this angle is not necessary to the degree the authors have used it in the protocol, as it reads more as an evaluation of the later, rather than a detailed protocol for using the xCELLigence system.

Response: We agree with the reviewer’s comment. In the resubmitted version, the protocol is updated with more detailed descriptions. However, our method paper emphasizes the advantages of continuous monitoring of cell kinetics after knockdown of two functionally overlapping adaptor molecules. For this reason, we give more emphasis on Crk and CrkL information in the results and discussion sections, which gives fine details and strengths of this method.

Methodology:

The protocols are described, but lack details at points (see specific comments below). It would be desirable to improve on this part of the manuscript, especially due to the nature of the publication as a methodological resource.

The authors also describe (and include figures relating to) the process of knocking down Crk and CrkL in these cells in both the 1st section of the protocol (point 1) as well in the Representative Results section. I propose this level of detail is not required about the specific experimental design and interpretation of the data as the paper should be methodological in nature, and more attention to detail should be given to the actual setup, use, and data analysis procedures for the xCELLigence system.

Response: As per the reviewer’s suggestion, in the presently submitted version the protocol is updated in detail, and some information related to Crk and CrkL is deleted from the figures and discussion sections. 

Protocol specific notes:

- No specs are included for cell incubation pre-setup of the CIM plate, including humidity levels.
Response: We provided the details.

Changes or additional text added in the manuscript as response to the above comment:

2.1. Culture the U-118MG cell line in 5% fetal bovine serum (FBS) containing Dulbecco’s Modified Eagle Medium (DMEM) (culture medium) and maintain at 37°C in a humid atmosphere containing 5% CO2 incubator (culture conditions).

3.1. Place the real-time cell analysis system in a CO2 incubator under culture conditions 5 to 6 hr prior to the start of experiment to stabilize the system to the culture conditions.

3.3. After the ECM gel coating, keep the CIM plate in the incubator under culture conditions for 4 hr with its lid on. (During the ECM gel coating and drying, take preventive measures to avoid direct contact of electrodes of the upper chamber of CIM plates with either the hands or the surfaces of the biosafety cabinet or the CO2 incubator.)

- There is no note re humidity levels for xCELLigence RTCA DP system stabilization
Response: We updated the protocol with this information. 

- The assembly of the CIM plates lacks some crucial details regarding avoiding air bubbles and plate manipulation, and these need to be included. See Scrace et al 2013 for more details.
Response: The details are provided on how to avoid having air bubbles while coting the plates with matrigel and seeding the cells for impedance. As the reviewer stated, Scrace et al. provided the details in their book chapter since they were using both E-plates and CIM plates. The present method paper is describing only the cell migration and invasion using CIM plates. Due to this reason, we have not included more details on plates and plate manipulate issues.

- The well background measurement procedures before adding the cells need to be more detailed.
Response: We have provided the details.

Changes or additional text added in the manuscript as response to the above comment:

4.1. Measure the baseline reading by clicking the cradle start button. The baseline should be read after pre-incubating CIM plates for 1 hr in the cradle of the real-time cell analysis system under culture conditions in the CO2 incubator and before seeding the cells to the respective wells in the upper chamber. (Once the cradle start button is clicked, the control unit will ask to save the experimental file. After the file is saved, the cradle analyzer measures the baseline cell impedance as set in the program initially and enters a pause mode until the cradle start button is clicked again to measure cell impedance in the second step).

- The experimental setup on the computer is too brief. I am aware this is noted as per manufacturer’s instructions and will be demonstrated in the video, but more detail needs to be included, including perhaps screen grabs of the process.
Response: In the revised version, we have provided more details. 

- Baseline readings setup and measurements need to include more detail.
Response: We have provided more details on baseline reading in the protocol. 

- The calculation of the normalized cell index needs to be explained in more detail.
Response: In this method paper, we have not included the normalized cell index. We simply plotted the graphs using the cell index, because we think normalization is not required if you analyze the trend of biological effects over the entire time period. Therefore, we did get into the details of the normalized cell index. 

Data specific notes:

- I suggest that Figure 1 is removed from the paper, and only include Figures 2 and 3 (in particular 2A and 3A) are included from the current version, Figure 1 is not truly relevant to the methodological nature of the paper.
- Similarly, references to the actual biological relevance of the role of Crk and CrkL should be removed from the paper (Data and Discussion).

Response: We thank the reviewer for this suggestion and agree. Accordingly, we have removed Figure 1 and some information about Crk and CrkL from the discussion section. However, Figures 2b, c, and d and 3b, c, and d, which represent cell impedance values at specific time points, provide valuable information and help readers understand clearly the importance and benefit. For this reason, we kept these subfigures in the present revised version.

Reviewer #2:

Manuscript Summary:

Mudduluru et al. submitted an interesting method paper for the field with the title "Impedance-based real-time measurement of cancer cell migration and invasion". Measuring real-time cell kinetics under loss or gain of gene function are essentials to estimate the cancer cell behavior. This method procedure facilitates the researcher to obtain real-time data in a time-dependent manner under different experimental conditions. The authors clearly mention the advantages of real-time measurement cell impedance over traditional single-point determination.

The complete procedure is explained in detail, which can be performed elsewhere by flowing step by step.

Response: We thank this reviewer for the positive response to our method paper. With all the additional details in the protocol, we hope that this reviewer will appreciate the revised version.