Screenshot Summary 61001

- 61001_screenshot_1

  - 6.1.2.5. (Turn on lasers in software window by clicking START, then click RUN in pop-up window (00:04-:00:20)

  - 6.1.2.6 (Click DONE when complete) (01:12)

  - 6.1.3.1-6.1.3.2 (Check pressure gauges, check box Pressure OK, check fluidics and press CLEAN button to clear any air bubbles or debris) (01:15-03:06)

- 61001_screenshot_2

  - 6.2.1. Adjust laser PMT power in windows labeled Green, Yellow, and Red (00:02-00:05)

  - 6.2.2. (Click AQUIRE to sort worms) (00:05)

  - 6.2.3 (Click PAUSE and then STOP when sufficient worms have been sorted) 00:11-00.13)

  - 6.2.4. (Click Setup and Data Storage, and select Gated Only (00:19-00:25)