## Table of Materials
Name of Material/Equipment | Company | Catalog Number | Comments/Description
50 ml XLP Glass Syringe | Bio Spec Products, Inc. | 985370-XL | To isolate myofibrils
AC Power Adapter for EXT/EX2 Systems | Custom coded |  | Matlab
Cavro pump control software | Custom fabricated |  | Includes Labview program to control over serial connection; To control valves
Cavro® XLP 6000 Pump | Custom fabricated |  | To cool the Peltier module
Computer Liquid Cooling System, Rev1.3 | Custom fabricated
Data acquisition panel | Custom fabricated |  | Aluminum tissue chamber
Excel | Custom fabricated |  | To control the valves; Includes PC software to control over USB
Fast step perfusion system | IonOptix |  | System controller software: data recording software with advanced signal generator for piezo and fast-step
Inverted microscope | IonOptix | MCS100 | To record sarcomere length
IonWizard | IonOptix |  | Includes: Optiforce (interferometer), Micromanipulators, Signal interface, Piezo motor and controller. Based on the MyoStretcher
Liquid cooling block for Peltier module | IonOptix |  | Force probe
Microscope light | Koolance | ADT-EX004S
Microscope slides 40x40mm #0 | Koolance | EX2-755 | To cool the Peltier module
Myocam-S | Microsoft |  | Data registration
Myostretcher system | Olympus | IX71
Optical force transducer (0.7-1.0 N/m) | Olympus | TH4-200
PC systems | Sigma-Aldrich | 529265 | Poly(2-hydroxyethyl methacrylate); Coating for microscope slides to prevent sticking of tissue
Peltier Thermoelectric Cooler Module | Sigma-Aldrich | 78471 | Crystals to dissolve in ethanol resulting in glue
Poly-HEMA | TE Technology, Inc. | TE-63-1.0-1.3 | To cool the tissue flow chamber
Shellac wax-free | TE Technology, Inc. | TC-720 | Includes PC software to control over USB
Thermoelectric temperature controller | Tecan Trading AG | 20736652
Theta glass | Tecan Trading AG | 20739263 | Syringe pump to induce backgroundflow together with fast-step perfusion system; Outflow from tissue flow chamber
Theta glass holder | Thermo scientific | 2441081
Tissue flow chamber | Warner Instruments (Harvard Bioscience, Inc.) | Discontinued | Alternative: SF-77CST/VCS-77CSP
Tissue-Tearor + Probe | Warner Instruments (Harvard Bioscience, Inc.) | TG150-4 | To perfuse the tissue
UniFRY valve controller |  |  | 1 PC for IonWizard and 1 PC for other software