# Submission ID #: 61004

# Scriptwriter Name: Qingyun Ping

# Project Page Link: https://www.jove.com/account/file-uploader?src=18606268

# Title: Characterization of Amyloid Structures in Aging C. Elegans Using Fluorescence Lifetime Imaging

# Authors and Affiliations:  Maria Lucia Pigazzini1,2,*, Christian Gallrein1,*, Manuel Iburg1,*, Gabriele Kaminski Schierle3, Janine Kirstein1,4

1Leibniz Research Institute for Molecular Pharmacology im Forschungsverbund Berlin, Berlin, Germany

2NeuroCure Cluster of Excellence, Charité – Universitätsmedizin Berlin, Berlin, Germany

3Molecular Neuroscience Group, Department of Chemical Engineering and Biotechnology, University of Cambridge, Cambridge, UK

4University of Bremen, Cell Biology, Bremen, Germany

*These authors contributed equally.

# Corresponding Author:

# Janine Kirstein

# kirstein@uni-bremen.de

# Email addresses for Co-authors:

pigazzini@fmp-berlin.de

gallrein@fmp-berlin.de

iburg@fmp-berlin.de

gsk20@cam.ac.uk

Author Questionnaire:

1. Microscopy: Does your protocol involve video microscopy, such as filming a complex dissection or microinjection technique? Yes, but not complex – a stereomicroscope is utilized to mount nematodes onto a microscopy glass slide.

Can you record movies/images using your own microscope camera? No

If no, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Mounting Stereoscope: Leica M165 FC or Nikon SMZ FC 745. The remaining of the microscopy is performed via the microscope´s acquisition software and recordable on the computer

2. Does your protocol include software usage? Yes, FLIMfit software

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

3. Which steps from the protocol section below are the most important for viewers to see? Please list 4-6 individual steps using the step numbers listed in this document. This information is important to prepare your Videographer for your shoot. (You do not need to include steps that will be screen captured. Please do not list entire sections.)

2.3.3 - 2.6.1 – 3.2.1 – 3.3.2

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

2.1 and 3.6.

5. Will the filming need to take place in multiple locations? No

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

Authors, these headshots will be used for the JoVE Dedicated Author Webpage. Here is one example if you wish to take a look.

- REQUIRED Interview Statements: (Said by you on camera)  - All interview statements may be edited for length and clarity.

  - Janine Kirstein: The methods allows to clearly distinguish aggregated, amyloid-like protein structures compared to their soluble or even accumulated counterparts.

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Janine Kirstein: The technique is performed in vivo, non-invasively, with little toxic side effects. As it depends on the properties of the fluorophore itself it is very robust and reproducible over time [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Maria Lucia Pigazzini: FLIM has been widely used for cancer diagnosis, however, for our implication it´s employed to study the basic mechanisms of protein aggregation, which are indeed relevant to neurodegenerative diseases [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Maria Lucia Pigazzini: The methodology can be utilized in the field of protein aggregation: as long as a disease-associated protein is tagged with a fluorescent probe, it can be tracked and monitored over time. Compounds or strategies that prevent or promote aggregation can indeed be successfully studied [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Manuel Iburg: Any biological system that allows to be visualized by light microscopy is suitable for FLIM, either in vivo or ex vivo (ex. cell culture), in fixed/permeabilized samples and in any medium necessary [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Maria Lucia Pigazzini: Make sure to properly test the properties of your selected fluorophore, within the nematode, before obtaining experimental data, and test that the set-up is fully functional before acquiring lifetime measurements [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Manuel Iburg: Visualization is critical to establish a reference of how to properly handle and mount C. elegans, and subsequently acquire a robust number of photons to build a good lifetime map [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

# Section - Protocol

- Synchronization of C. elegans and Mounting Nematodes onto Microscopy Slides

  - To begin, grow and maintain nematodes at 20 degrees Celsius on NGM plates [1]. Age the nematodes until day 4 of life as the young adults [2], and day 8 of life as the old adults [3].

    - Talent shows the worms on plates. Important Step

    - SCOPE: Talent shows worms 4 days old. (Author Comment: The nematode strain here shown is iQ44-YFP)

    - SCOPE: Talent shows worms 8 days old. (Author Comment: The nematode strain here shown is iQ85-YFP)

  - On the day of imaging, start by preparing the imaging slides [1]. Place agarose in double distilled water at a concentration of 3 percent weight by volume [2]. Transfer it into a microwave to melt, and then let it cool slightly [3] [4].

    - Talent shows the slides.

    - Talent adds water into agarose.

    - Talent places the agarose into a microwave.

    - Talent places the agarose on a surface.

  - Cut the tip of a 1-milliliter pipette tip [1] and take roughly 200 microliters of the melted agarose [2]. Pipette the agarose onto a clean glass slide and immediately place a second one on top, avoiding the formation of any bubbles [3].

    - CU: Talent cuts the tip of a pipette tip. [Shots 2.3.1 – 2.3.3 combined]

    - Talent takes agarose into the pipette tip.

    - Talent pipettes the agarose onto a slide, and places a second one on top. Important Step

  - Leave the slides to dry and gently remove the top glass slide. The result is a glass slide with an even agarose surface where the nematodes will be positioned [1].

    - CU: Talent shows the slides, and removes the top slide.

  - Once the imaging setup is ready to use [1], working under a stereomicroscope, place a 10-microliter drop of anesthetic compound onto an agarose pad and gently transfer 5–10 nematodes into it [2].

    - Shot of the imaging setup.

    - SCOPE: Talent drops liquid onto an agarose pad, and places worms into the drop.

  - Use an eyelash tip to separate the nematodes. Keep them close together but not touching to allow for easier localization of the nematodes during image acquisition [1]. Carefully overlay the nematodes with a coverslip [2].

    - SCOPE: Talent adjusts the worms’ position. Important Step

    - SCOPE: Talent covers the worms with a coverslip.

    - SCOPE: Shot of the worms not moving (old step 3.1.1) (Editor: The VO for this shot is still in 3.1, so I don’t think this shot should be shown here until the authors update the VO for both this step and 3.1. For now, I’ve left the VO in 3.1 and made a place for this shot there)

- Acquisition of FLIM (Fluorescence Lifetime Imaging Microscopy) Data

  - Within 1 hour after mounting, take measurements [1]. Make sure the nematodes are completely immobile [3.1.1A]. Open the FLIM acquisition software. Locate the tab button and press Enable Outputs [2].

    - Shot of the worms not moving. Shot of the imaging setup (old step 2.5.1). (Editor: See the note for 2.6.3)

    - SCREEN: Talent opens the software and presses buttons.

  - To acquire the instrument response function, place an empty coverslip above the objective and find its surface. To easily find the surface, pipette a drop of water and focus on its edge [1]. Record the scatter signal obtained from the coverslip for a minimum of 30 seconds [2].

    - SCOPE: Talent places a coverslip above the objective, and finds surface. Important Step

    - SCREEN: Talent shows the scatter signal

  - Place the slide with the mounted C. elegans (pronounce as C-elegans) on the stage [1]. Using a 10x magnification lens in transmission mode and localize the position of the nematodes on the slide [2].

    - Talent places the slides with worms on the stage.

    - SCOPE: Talent locates the worms on the slide. Important Step

  - Remove the slide [1], switch the objective to a 63x magnification lens, and apply the required immersion medium [2]. Place the slide on the stage and localize the nematodes [3].

    - Talent removes the slide. [Shots 3.4.1 – 3.4.3 combined]

    - Talent switches the objective, and adds medium.

    - Talent places the slide on the stage and observes.

  - Start scanning the sample, select a region of interest, and focus on its maximum projection plane [1].

    - SCREEN: Talent opens the pinhole manager, selects a region, and focuses.

  - On the interface of the FLIM (pronounce as one word, rhymes with “dim”) software, preview the number of photons detected: the ADC (pronounce as A-D-C) value should be between 1 x 104 and 1 x 105 [1]. If necessary, shift the focus on a different plane or increase the laser power to collect more photons [2].

    - SCREEN: Talent shows the ADC value.

    - SCREEN: Talent shifts the focus, and increases the laser power. Important Step

  - Maria Lucia Pigazzini: Ensure that you avoid photon pile up and collect sufficient photons to produce a good lifetime fit and measurement [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - In the menu bar, select the tab to set the acquisition parameters. Select scan sync in to allow for single photon detection [1].

    - SCREEN: Talent selects the tab, and selects scan sync.

  - Set the acquisition to a fixed amount of time or a fixed number of photons. Press Start to begin acquisition [1].

    - SCREEN: Talent points to the settings of a fixed amount of time, and then points to the settings of a fixed number of photons. Then, Talent presses start.

  - To acquire the instrument response function, place an empty coverslip above the objective and find its surface. To easily find the surface, pipette a drop of water and focus on its edge [1]. Record the scatter signal obtained from the coverslip for a minimum of 30 seconds [2].

    - SCOPE: Talent places a coverslip above the objective, puts water on it and finds surface. Important Step

    - SCREEN: Talent shows the scatter signal. (as 3.9 on video, second to last)

- Analysis of FLIM Data Using FLIMfit Software

  - Open the software and import FLIM data files via File, Load FLIM Data. Load all the samples from one condition, even if obtained in different sessions and from different biological repeats [1].

    - SCREEN: Talent loads data. 61004_Screenshot_1 00:00 – 00:30

  - If necessary, segment a single nematode from any FLIM picture via Segmentation, Segmentation Manager. Drag the cropping tool around the area of interest until it is highlighted. Once completed, press OK [1].

    - SCREEN: Talent crops a single nematode. 61004_Screenshot_1 00:30 – 00:48 and 02:43 – 03.02

  - Select a small region where the intensity-based image of a C. elegans appears. The decay curve of that region appears in the large decay window on the right side of the interface [1].

    - SCREEN: Talent selects a small region, and the decay curve shows up. 61004_Screenshot_2 00:00 – 00:10

  - To extrapolate the lifetime, on the Data tab, set an arbitrary Integrated Minimum value between 40 – 300, to exclude any pixels that are too dim to produce a good fit. Select a Time Minimum and a Time Maximum number to limit the FLIM signal to these values [1].

    - SCREEN: Talent sets a number on the data tab, and puts in time min and max number. 61004_Screenshot_2 00:11 – 00:28

  - Do not change the preset Counts Photon of 1. Input the Repetition Rate, in megahertz, of the laser utilized during acquisition. Input a Gate Max value to exclude all saturated pixels [1].

    - SCREEN: Talent points to the counts/photon, and puts in Rep. Rate and Gate Max. 61004_Screenshot_2 00:28 – 00:35

  - On the Lifetime tab, select a global fitting to be used. Do not change any other parameter except for the Number of Exponential selection if it is known that the chosen fluorescence decay is multiexponential and exhibits more than a single lifetime [1].

    - SCREEN: Talent selects a global fitting, and points to No. Exp. 61004_Screenshot_2 00:36 – 00:45

  - Upload the IRF (pronounce as eye-R-F) via the IRF menu. To estimate the IRF shift, select IRF, Estimate IRF Shift. A set of values automatically appears on the IRF tab. Once this is established, do not change any other parameters of this tab [1].

    - SCREEN: Talent uploads IRF, and estimates IRF shift. 61004_Screenshot_3 00:00 – 00:59

  - Once all parameters are set, press Fit Dataset. The resulting fit, highlighted in a blue line, should overlap with all the events. A good fit is obtained when all events are aligned along the fit [1].

    - SCREEN: Talent fits dataset, and shows a good fit. 61004_Screenshot_3 01:00 – 01:34

  - Click the Parameters tab, located within the top right menus of the software´s interface, and select Statistic: weighted mean and check that the chi2 (pronounce as kai square) value is as close as possible to 1. The lifetime value of the selected image is thus revealed as tau_1 (pronounce as tau one) [1].

    - SCREEN: Talent clicks the parameters tab, and checks chi2 value, and tau_1 value. 61004_Screenshot_4 00:00 – 00:35

  - Export any information of interest through File, Export Intensity Images, Fit Result Table, Images, Histograms [1].

    - SCREEN: Talent exports information. 61004_Screenshot_3 00:36 – 00:50

# Section – Results

- Results: Fluorescence Lifetimes

  - Representative maps of C. elegans expressing muscular Q40-RFP (pronounce as Q-forty-R-F-P) on day 4 or day 8 of life are shown here [1].

    - LAB MEDIA: Figure 2A

  - The longer Q-stretch of the iQ85 (pronounce as eye-Q-eighty-five) was more prone to aggregation and exhibited a fluorescence lifetime shift in the histogram already at day 4 of life [1].

    - LAB MEDIA: Figure 3A – Video editor: emphasize the iQ85 six images.

  - In fact, at day 4, foci formation was observed for iQ85 [1], while still absent in iQ44 [2]. Upon aging, however, iQ44 also exhibited foci formation and thus a reduced fluorescence lifetime [3].

    - LAB MEDIA: Figure 3A – Video editor: emphasize the iQ85 Day-4 three images.

    - LAB MEDIA: Figure 3A – Video editor: emphasize the iQ44 Day-4 three images.

    - LAB MEDIA: Figure 3A – Video editor: emphasize the iQ44 Day-8 three images.

  - Finally, foci formation was not detected, nor was decreased fluorescence lifetime in the nQ40-CFP (pronounce as N-Q-forty-C-F-P) strain [1]. For this strain, there were only subtle, nonsignificant changes to the mean fluorescence lifetime upon aging [2].

    - LAB MEDIA: Figure 4A

    - LAB MEDIA: Figure 4B

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

  - Maria Lucia Pigazzini: Once the nematode model is established, the amounts of photons collected is paramount to produce a good lifetime measurement [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Maria Lucia Pigazzini: The method can be further conjoined with different techniques such as Förster resonance energy transfer (FRET), fluorescent recovery after photobleaching (FRAP) and anisotropy measurements. All these adaptations provide extra information on the properties of the protein studied and its aggregated form [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Manuel Iburg: Within the fields of aggregation and proteostasis, the technique allowed to investigate any perturbation imposed on the system, the distribution of different species and their trafficking, and in general the difference and significance between soluble and insoluble fractions within a living organism [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.

  - Manuel Iburg: The anesthetic sodium azide is toxic and should be handled with gloves, goggles and diluted under a fume hood. Because the techniques is microscopy based, it is important to follow all warnings related to working with lasers [1].

    - INTERVIEW: Named author says the statement above in an interview-style shot while looking slightly off-camera.