# Submission ID #: 61006

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18606878

Title: Translaminar Autonomous System Model for the Modulation of Intraocular and Intracranial Pressure in Human Donor Posterior Segments

Authors and Affiliations: Tasneem P. Sharma1, Stacy M. Curry1, Husain Lohawala2, and Colleen McDowell3

1North Texas Eye Research Institute, Department of Pharmacology and Neuroscience, University of North Texas Health Science Center

2 Mechanical Engineer Consultant

3Department of Ophthalmology and Visual Sciences, School of Medicine and Public Health, University of Wisconsin

# Corresponding Authors:

Tasneem P. Sharma

tasneem.sharma@unthsc.edu

Colleen M. McDowell

cmmcdowell@wisc.edu

Email addresses for Co-authors:

stacy.curry@unthsc.edu

husain52121@gmail.com

# PLEASE READ THE INSTRUCTIONS IN THE GRAY BOXES CAREFULLY AND USE TRACK CHANGES WHILE MAKING ANY EDITS TO THE DOCUMENT.

# This document has several sections on separate pages, so take care to view each page.

Author Questionnaire:

Authors, please fill out the unanswered questions below.

1. Microscopy: Does your protocol involve video microscopy? N

2. Does your protocol demonstrate software usage? (Y/N)

If yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured files to your project page by your script return deadline.

3. Which steps from the protocol section below are the most visually important? Please list 4-6 individual steps using the step numbers listed in this document. This information is important for informing the Videographer how to film these steps. (Do not include steps that will be screen captured or represented by lab media. Do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

4. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1-2 individual steps using the step numbers listed in this document. (Please do not list entire sections.)

Authors, please answer this question with the steps listed here in the Protocol section below for use by the videographer.

5. Will the filming need to take place in multiple locations (greater than walking distance)? N

# Section - Introduction

Videographer: Interviewee Headshots are required. Take a headshot for each interviewee.

- REQUIRED Interview Statements (Said by you on camera): All interview statements may be edited for length and clarity.

- The total introduction length (i.e., Required and Optional Interview Statements) cannot exceed 150 words.

- Restrict the length of each statement to no more than 30 words.

- Please answer the questions below in full sentences to highlight the significance of your protocol. You will be expected to memorize and deliver these sentences as spoken interview statements during filming.

- Indicate the full name of each author who will give each statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Why is your protocol significant? OR What key questions can this method help answer?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# What is the main advantage of this technique?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- The following OPTIONAL questions may be answered to provide additional introductory information about your protocol.

- The length of each OPTIONAL statement is restricted to no more than 30 words and contributes to the total introduction length, which cannot exceed 150 words.

- Indicate the full name of each author who will give each OPTIONAL statement.

- Each author may give two Introduction statements maximum (i.e., two Required, two Optional, or one Required + one Optional).

# Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are there any specific areas of research that this method could provide insight into?

# Can this method be applied to any other systems?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# How would you expect an individual who has never performed this technique to struggle?

# Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Author Name: ___________ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Above Talent speaking the statement above in an interview-style shot, looking slightly off-camera

# Why is visual demonstration of this method critical?

  - Author Name: ___________(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Introduction of Demonstrator (Said by you on camera):

- Please use this statement ONLY if any of the individuals who will be demonstrating the procedure on camera have not given a required or optional Introduction interview statement already.

- Include the full name(s) of the person(s) demonstrating the experiment followed by their title (e.g., technician, post doc, grad student, clinician, etc.)

- Also indicate the full name of the author who will introduce the demonstrator(s).

  - Author Name: Demonstrating the procedure will be _________ (name of the person or persons), a _________ (technician, post doc, grad student) from my laboratory. (Add additional mention of demonstrators as necessary).

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

    - The named technician, post doc, student looks up from workbench or desk or microscope and acknowledges the camera

# Section - Protocol

- Read through the entire protocol carefully to understand what you will need on the filming day and prepare accordingly.

- The two-digit numbers (e.g. 2.1., 2.2.) represent the “steps” of you protocol and will be read by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the “shots” that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in a single workday, the protocol is restricted to 30 steps and/or 60 shots.

- It is critical for a smooth and organized shoot that all materials and workspaces are prepared and labeled (if applicable) in advance.

- Any specimens/samples that require long or overnight incubation steps should be prepared in advance. (i.e. day 0 sample preparation will be filmed on the day of the shoot; day 1 samples should be prepared the day before the shoot so their processing can be filmed on the day of the shoot/after their overnight culture/treatment/etc.)

- Each section must contain a minimum of 3 steps (~6 shots), so short sections may be combined.

- Translaminar Autonomous System (TAS) Setup

  - To set up the inflow syringes, load a 30-milliliter syringe with 30 milliliters of the perfusion fluid of interest [1] and attach a 3-way stopcock to the syringe [2].

    - WIDE: Talent loading syringe, with fluid container visible in frame

    - Stopcock being attached to syringe

  - Attach a 0.22-micrometer hydrophilic filter to the stopcock [1] and attach a 15-gauge Luer stub adapter to the 0.22-micrometer hydrophilic filter [2].

    - Filter being attached to stopcock

    - Adapter being attached to filter

  - After removing air bubbles from the syringe setup, attach tubing to the Luer stub adapter [1] and close the side port of the stopcock with an unvented universal lock cap [2].

    - Tubing being attached

    - Side port being closed

  - After setting up a second inflow syringe as just demonstrated, label one syringe “channel 1 intracranial pressure” [1] and label the other syringe “channel 2 intraocular pressure” [2].

    - Talent labeling syringe

    - Second syringe being placed into frame, with both syringe labels visible in frame

  - Then setup the outflow syringes as just demonstrated but without loading the syringes with the infusion medium [1].

    - Talent attaching 3-way stopcock to syringe

- Human Whole Eye Globe Preparation

  - To prepare a human whole eye globe sample, remove the optic nerve sheath [1] and remove the vitreous humor from the posterior segment [2].

    - WIDE: Talent removing sheath

    - Humor being removed

  - To ensure a good fit on the round dome of the IOP chamber, trim additional sclera from the posterior segment as necessary [1] and use forceps to ensure that the retina is spread evenly over the human posterior of the segment [2].

    - Sclera being trimmed

    - Retina being spread

  - Then place the segment into the IOP chamber of the TAS over the round dome with the optic nerve facing up [1] and use an epoxy resin O-ring and four screws to seal the posterior segment [2].

    - Talent placing segment into IOP chamber

    - Segment being sealed

- IOP (Bottom) Chamber Setup

  - To set up the IOP chamber, insert the tubing into the IN and OUT ports of the chamber [1] and insert the IOP inflow syringe into the IN port [2].

    - WIDE: Talent inserting tubing into at least one port

    - Syringe being inserted

  - Insert the empty IOP outflow syringe into the OUT port [1] and use the push-pull method to slowly infuse the perfusion medium into the inflow port to fill the posterior eye cup while simultaneously slowly pulling the perfusion medium out through the outflow syringe to remove any air bubbles from the lines [2].

    - Syringe being inserted

    - Medium being perfused/pulled

  - Once both the IN and OUT tubes are void of air bubbles, stop the infusion [1] and lock the stopcocks in the off position [2].

    - Infusion being stopped

    - Stopcock being locked

  - Remove the syringe from the IOP IN port filter assembly [1] and refill the syringe with 30 additional millimeters of medium [2].

    - Syringe being removed

    - Syringe being refilled

  - Then re-insert the syringe into the filter assembly [1].

    - Syringe being re-inserted

- ICP (Top) Chamber Setup

  - To set up the ICP chamber, place the chamber over the back of the posterior segment [1], taking care that the optic nerve is within the top chamber [2], and seal the top chamber with four screws [3].

    - WIDE: Talent placing chamber over segment

    - Shot of optic nerve in top chamber

    - Chamber being sealed

  - Then insert the tubing into the IN and OUT ports of the ICP chamber [1], the ICP input syringe into the IN port [2], and the empty ICP outflow syringe into the OUT port [3] and flush the system with medium as just demonstrated [4].

    - Tubing being inserted

    - Syringe being inserted

    - Syringe being inserted

    - Medium being infused/pulled

- Data Recording System Setup

  - To set up the data recording system, turn on the 8-channel power source and the computer [1] and initiate the data acquisition software [2].

    - WIDE: Talent turning on power source and/or computer

    - Talent opening software, with monitor visible in frame

  - Select File and New and select Setup and Channel Settings [1].

    - SCREEN: screenshot_1: 00:02-00:10

  - Select three channels and rename the channels as indicated [1].

    - SCREEN: screenshot_1: 00:14-00:53 Video Editor: please speed up

  - Select 2 millivolts for the Range on all if the channels [1] and, in the Calculation column, select No Calculation for channels 1 and 2 [1].

    - SCREEN: screenshot_1: 00:57-01:12

    - SCREEN: screenshot_1: 01:13-01:19

  - Select Arithmetic for channel 3. In the Formula window, under Channels, select CH2 [1], under Function, select Math and Minus [2], and under Channels, select CH1 [1].

    - SCREEN: screenshot_1: 01:19-01:26

    - SCREEN: screenshot_1: 01:39-01:44

    - SCREEN: screenshot_1: 01:44-01:51

  - To set up and calibrate the hydrostatic pressure transducers, connect the hydrostatic pressure transducers to the transducer lines attached to the multichannel bridge amplifier [1] and attach an empty 30-milliliter syringe to the side port of the channel 1 ICP pressure transducer [2].

    - Talent connecting transducer(s) to transducer line(s)

    - Syringe being attached

  - Attach a sphygmomanometer to the bottom of the channel 1 ICP pressure transducer [1] and click the arrow next to the sampling time to set the sampling speed to 100 [2].

    - Talent attaching sphygomomanometer

    - SCREEN: screenshot_2: 00:01-00:03

  - Select Bridge Amp, Mains Filter, and Zero [1] and wait for the system to zero out, taking care to not move the pressure transducer [2].

    - SCREEN: screenshot_2: 00:04-00:10

    - SCREEN: screenshot_2: 00:10-00:27 Video Editor: please speed up

  - Next, pinch the white tabs of the pressure transducer [1] and push air through the transducer until 40 millimeters of mercury are obtained on the sphygmomanometer [2].

    - Tabs being pinched

    - Pressure reaching 40 mmHg

  - Then release the white tabs [1] and remove the syringe and sphygmomanometer [2].

    - Tabs being released

    - Talent removing syringe and/or sphygmomanometer

  - On the Units Conversion page, select minus and highlight the highest plateau to indicate 40 millimeters of mercury [1].

    - SCREEN: screenshot_3: 00:11-00:15

  - Click the Arrow for point 1, enter 100, and highlight the lowest plateau to indicate 0 millimeters of mercury [1].

    - SCREEN: screenshot_3: 00:15-21

  - Click the Arrow for point 2, enter 0, select millimeters of mercury for the units, and click OK [1].

    - SCREEN: screenshot_3: 00:23-28

  - In the Bridge Amp window, click OK [1] and calibrate the hydrostatic pressure transducers for channel 2 IOP as just demonstrated, using 100 millimeters of mercury for the highest plateau [2] and 0 for the lowest plateau [3].

    - SCREEN: screenshot_3: 00:28-00:31

    - SCREEN: screenshot_3: 00:15-21

    - SCREEN: screenshot_3: 00:23-28

  - To connect the TAS-posterior segment unit to the data acquisition system, place the TAS-posterior segment unit into a 37 degree Celsius, 5% carbon dioxide incubator [1] and attach the ICP tubing from the OUT port to the channel 1 ICP pressure transducer [2].

    - Talent placing segment into incubator

    - Talent attaching tubing

  - Attach the IOP tubing from the OUT port to the channel 2 IOP pressure transducer [1] and attach the medium-loaded, IN port syringe setups to the ring stand [2].

    - Talent attaching tubing

    - Talent attaching syringe setups to ring stand

  - On the Chart view page, select Start Sampling and set the sampling speed to Slow and 1 minute [2].

    - SCREEN: screenshot_4: 00:04-08

  - Then adjust the syringes on the ring stand up or down to regulate ICP and IOP pressures according to the protocol requirements [1-TXT].

    - Talent adjust syringe(s) TEXT: Replenish medium every 48-72 h via push/pull method as demonstrated

OPTIONAL – Critical Step Statement:

- An OPTIONAL brief statement may be submitted for further elaboration of the best way to perform the required technique for the single most critical step of this procedure.

- If there is no single critical step, then there is no need to fill out this statement.

- This will be an interview style shot interjected after the relevant step within the Protocol section of the video.

- This statement is limited to 30 words or less.

- Please indicate the full name of the Author who will give this statement and the step of the protocol to which the statement pertains using the step numbers from the Protocol section (above).

# Fill in the details below based on the instructions above for the “Critical Step Statement”

# Author name, Step            :           (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

# Section – Results

# The Results section is restricted to 200 words of narrative. Please read through the results as presented to make sure that it accurately represents your findings. If you would like to highlight other data, please revise this section accordingly, keeping in mind the word count restriction. Please note that we cannot include narrative without an accompanying visual.

- Results: Representative Translaminar Autonomous System Model Analyses

  - In this representative analysis, the maintenance of the average normal pressure differentials in both chambers were tested through various parameters of IOP and ICP conditions [1].

    - LAB MEDIA: Figure 3 Video Editor: please sequentially add/indicate graphs from top to bottom of Figure

  - To ensure the viability of the tissue, the medium in the tissues was exchanged every 48 hours [1].

    - LAB MEDIA: Figure 4

  - Minimal pressure increases occurred at the time of medium exchange [1] and did not affect the viability or the morphology of the optic nerve head as observed by immunohistochemical analysis [2] and collagen four expression on days 14 and 30 of the experiment [3].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize data line in Figure 4G

    - LAB MEDIA: Figure 4 Video Editor: please emphasize Figures 4A, 4B, 4D, and 4E

    - LAB MEDIA: Figure 4 Video Editor: please emphasize green signal in Figures 4C and 4F

  - Increasing the IOP [1] or decreasing the ICP [2] over various timepoints allows the maintenance of a range in elevated translaminar pressure gradient for 7 days [3].

    - LAB MEDIA: Table 2 Video Editor: please emphasize Mean IOP of 24 h column

    - LAB MEDIA: Table 2 Video Editor: please emphasize Mean ICP of 24 h column

    - LAB MEDIA: Table 2 Video Editor: please emphasize Mean TLPG of 24 h column

  - At 7 days of elevated translaminar pressure gradient, cupping and thickening were observed in posterior segments [1] and collagen four expression demonstrates thickened beams with an increased signal expression over the experimental period [2].

    - LAB MEDIA: Figure 5A-D Video Editor: please emphasize Figure 5D image

    - LAB MEDIA: Figure 5E-H Video Editor: please sequentially emphasize green signal in Figure 5F-5H images

  - Phase imaging [1] reveals healthy retinal ganglion cells within the GCL [2] with no cupping in the control segments [3], while images from elevated translaminar pressure gradient cultures exhibit extensive cupping with no retinal ganglion cells remaining within the RNFL [4] and increased remodeling of the extracellular matrix [5].

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figures 5I and 5J

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figure 51’

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figure 5I”

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figure 5J’

    - LAB MEDIA: Figures 5I-J” Video Editor: please emphasize Figure 5J”

# Section - Conclusion

- Conclusion Interview Statements: (Said by you on camera) - All interview statements may be edited for length and clarity.

- Below are questions for statements that can be used to further emphasize the significance of your protocol. At least one statement is required.

- Each statement is limited to 30 words.

- Answer the questions in full sentences, as you will be expected to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each Conclusion Interview statement.

- Each author may give two Conclusion statements maximum.

# What is most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section this advice correlates to.

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera) (Step: __)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Author Name: ____ (Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Are any of the reagents or instruments hazardous? If so, please use this interview statement to remind viewers of what precautions they should take. If no materials are hazardous, leave this statement blank.

  - Author Name: ___(Write your answer here in the form of a spoken statement. Don’t forget to replace “Author Name” with the name of the person who will be speaking the statement on camera)

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Thank you for following the instructions and addressing our questions. We will incorporate your answers/suggestions and send you the finalized script before your shoot. You will also receive detailed shoot preparation instructions in the email accompanying the finalized script.